FINAL REPORT for

DEPARTMENT OF ENERGY GRANT:

DE-FG02-95ER62065

submitted to

CARBON DIOXIDE RESEARCH DIVISION

OFFICE OF HEALTH AND ENVIRONMENTAL RESEARCH

U.S. DEPARTMENT OF ENERGY

WASHINGTON, DC  20545

UNDERWAY pCO2 MEASUREMENTS IN SURFACE WATERS

DURING THE OCEAN MARGINS PROGRAM CRUISES

IN THE NORTH WESTERN ATLANTIC OCEAN

by

Taro Takahashi, David W. Chipman, John Goddard,

and S. C. Sutherland

Lamont-Doherty Earth Observatory of Columbia University

Palisades, NY 10964

3 May 2001

TABLE OF CONTENTS

1. 	INTRODUCTION		.............................................................................	3

2.	SAMPLE DATA LISTING	.............................................................................	5

3.	MEASUREMENTS OF pCO2 IN SURFACE WATERS	.............................	14

3-a)  The LDEO Underway System for Surface Water pCO2 Measurements ...	14

3-b)  Water-air Equilibrator	.............................................................................	14

3-c)  Infra-red CO2 Gas Analyzer	.................................................................	15

3-d)  Data Logging System	.............................................................................	17

3-e)  Data Reduction Procedures	.................................................................	17

4.         MEASUREMENTS OF pCO2 IN THE ATMOSPHERE

AND SEA-AIR pCO2 DIFFERENCE 			.............................	18

4-a)  Measurements	.........................................................................................	18

4-b)  Data Processing	.........................................................................................	18

4-c)  Results	.....................................................................................................	19

4-d)  Sea-air pCO2 difference 	………………………………………….	19

5.	SALINITY MEASUREMENTS	.................................................................	20

6.	REFERENCES CITED	.............................................................................	20

APPENDIX I - Letter of Receipt from CDIAC.	.....................................................	21

FINAL REPORT for DEPARTMENT OF ENERGY GRANT

DE-FG02-95ER62065

UNDERWAY pCO2 MEASUREMENTS IN SURFACE WATERS

DURING THE OCEAN MARGINS PROGRAM CRUISES

IN THE NORTH WESTERN ATLANTIC OCEAN

Taro Takahashi, David W. Chipman, John Goddard, and S. C. Sutherland

Lamont-Doherty Earth Observatory of Columbia University

Palisades, NY 10964

3 May 2001

1.  INTRODUCTION

This report is the final technical report for the grant DE-FG02-95ER62065, and describes the methods employed and the data obtained during the Ocean Margins Program expeditions for the measurement of pCO2 in surface waters and in the overlying atmosphere in 1993, 1994, and 1996.  This is a companion report to Chipman and Takahashi (1995), in which the results obtained under the grant DE-FG02-92ER61451, the predecessor of the present grant, have been summarized.  	The dates and number of measurements made during this project are summarized in Table 1.  The operational procedures of the underway pCO2 measurement system are described in the “pCO2 Equilibrator Users Manual” prepared by the LDEO CO2 Group (1999).  The methods for measurements and calibrations are described in section 3 of this report.  The ships' tracks are shown in Figure 1.

Table 1 -  Surface Observations listed by ship, date, and number of observations.

___________________________________________________________________________________

Ship (LDEO Leg)	Dates			Julian		pCO2 in

mm/dd/yy		Dates		Seawater

____________________________________________________________________________________

R/V Gyre &

Columbus Iselin (9)	05/11/93-05/16/93	131-136	1,350

R/V Oceanus (8)	04/18/94-05/01/94	108-121	3.064

R/V Oceanus (1)	02/01/96-02/16/96	032-047	3,628

R/V Endeavor (2)	03/01/96-03/21/96	061-081	4,093

R/V Oceanus (3)	05/06/96-05/17/96	127-138	2,906

R/V S. Johnson (4)	06/22/96-06/30/96	174-182	2,073

R/V S. Johnson (5)	07/11/96-07/13/96	192-194	   448

R/V S. Johnson (6)	07/19/96-07/27/96	201-209	2,169

R/V Oceanus (7)	10/07/96-10/17/96	281-291	2,624

----------------------				----------	--------

Total						99 days	22,355

Figure 1 - Map of station locations.

2.  SAMPLE DATA LISTING.

We have submitted to the Carbon Dioxide Information and Analysis Center (CDIAC), Oak Ridge National Laboratory, an electronic data listing for the 22,355 measurements for surface water pCO2 , and other associated data of time, date, position, sea surface temperature, and sea-air pCO2 difference.  CDIAC will be responsible for archiving and distributing these data.  A letter of acknowledgement from Alex Kozry of CDIAC is attached as Appendix 1 at the end of this report.  In this section we have reproduced as examples the first 20 and last 10 records from each of the 9 legs

Lamont-Doherty Earth Observatory of Columbia University     Printed on 05/02/01

Source File = OMP_SFCR   LDEO Leg No:  1  Ship:  R/V Oceanus                    Page 1

pCO2 of air calculated from the GlobalView CO2 Database VCO2 of dry air

assuming 100% relative humidity at the sea/air interface.

Seawater pCO2 is reported at Sea Surface Temperature.

Only the first 20 and last 10 records of each leg are printed.

Julian                         Sea Surface   Seawater Atmosphere Delta pCO2

Sta     Date       Date      Lat      Long       Temp    Sal    pCO2    VCO2  pCO2  sw-air

No.  MM/DD/YYYY           DD-MM.mm   DDD-MM.mm   Deg C   PSS    uatm    ppm   uatm   uatm

1   2/ 1/1996   32.6989 41-10.98N   71- 5.46W  3.43  31.983  386.1  364.5  361.4   24.7

2   2/ 1/1996   32.7012 41-10.38N   71- 6.06W  3.38  31.996  379.1  364.5  361.4   17.7

3   2/ 1/1996   32.7035 41- 9.72N   71- 6.78W  3.37  31.982  374.0  364.5  361.4   12.6

4   2/ 1/1996   32.7058 41- 9.36N   71- 7.26W  3.43  31.956  368.7  364.5  361.4    7.4

5   2/ 1/1996   32.7081 41- 8.82N   71- 7.86W  3.42  31.950  374.8  364.5  361.4   13.4

6   2/ 1/1996   32.7105 41- 8.16N   71- 8.58W  3.39  31.957  383.0  364.5  361.4   21.6

7   2/ 1/1996   32.7128 41- 7.74N   71- 9.06W  3.43  31.981  385.1  364.5  361.4   23.8

8   2/ 1/1996   32.7151 41- 7.20N   71- 9.66W  3.44  31.984  387.8  364.5  361.4   26.4

9   2/ 1/1996   32.7238 41- 5.16N   71-11.88W  3.52  31.979  384.7  364.5  361.4   23.4

10   2/ 1/1996   32.7261 41- 4.56N   71-12.54W  3.52  31.979  391.3  364.5  361.4   30.0

11   2/ 1/1996   32.7284 41- 4.08N   71-13.08W  3.57  31.980  393.1  364.5  361.3   31.8

12   2/ 1/1996   32.7307 41- 3.54N   71-13.68W  3.61  31.974  392.2  364.5  361.3   30.9

13   2/ 1/1996   32.7330 41- 3.00N   71-14.28W  3.64  31.978  394.3  364.5  361.3   33.0

14   2/ 1/1996   32.7353 41- 2.46N   71-14.88W  3.69  31.969  396.6  364.5  361.3   35.3

15   2/ 1/1996   32.7377 41- 1.98N   71-15.42W  3.70  31.987  397.1  364.5  361.3   35.8

16   2/ 1/1996   32.7400 41- 1.32N   71-16.14W  3.75  31.989  398.5  364.5  361.3   37.2

17   2/ 1/1996   32.7487 40-59.22N   71-18.48W  3.87  32.018  388.4  364.5  362.2   26.2

18   2/ 1/1996   32.7510 40-58.86N   71-18.90W  3.93  32.020  388.3  364.5  362.2   26.1

19   2/ 1/1996   32.7533 40-58.26N   71-19.56W  3.98  32.025  388.5  364.5  362.2   26.3

20   2/ 1/1996   32.7556 40-57.60N   71-20.28W  4.00  32.031  388.1  364.5  362.2   25.9

3619   2/16/1996   47.7781 40-58.02N   70-42.78W  2.15  31.854  329.1  364.9  362.3  -33.3

3620   2/16/1996   47.7805 40-58.68N   70-43.32W  2.06  31.842  322.1  364.9  362.3  -40.3

3621   2/16/1996   47.7915 41- 2.04N   70-45.78W  1.81  31.829  306.8  364.9  362.1  -55.3

3622   2/16/1996   47.7938 41- 2.64N   70-46.26W  1.90  31.871  304.2  364.9  362.1  -57.8

3623   2/16/1996   47.7961 41- 3.36N   70-46.74W  2.05  31.884  304.3  364.9  362.0  -57.7

3624   2/16/1996   47.7984 41- 4.02N   70-47.28W  2.15  31.888  312.6  364.9  362.0  -49.4

3625   2/16/1996   47.8008 41- 4.74N   70-47.82W  2.09  31.898  318.6  364.9  362.0  -43.4

3626   2/16/1996   47.8030 41- 5.46N   70-48.30W  2.00  31.903  317.8  364.9  362.0  -44.2

3627   2/16/1996   47.8054 41- 6.06N   70-48.78W  2.00  31.915  314.0  364.9  362.0  -48.1

3628   2/16/1996   47.8077 41- 6.84N   70-49.32W  2.06  31.914  311.7  364.9  362.0  -50.3

Lamont-Doherty Earth Observatory of Columbia University     Printed on 05/02/01

Source File = OMP_SFCR   LDEO Leg No:  2  Ship:  R/V Endeavor                    Page 2

pCO2 of air calculated from the GlobalView CO2 Database VCO2 of dry air

assuming 100% relative humidity at the sea/air interface.

Seawater pCO2 is reported at Sea Surface Temperature.

Only the first 20 and last 10 records of each leg are printed.

Julian                         Sea Surface   Seawater Atmosphere Delta pCO2

Sta     Date       Date      Lat      Long       Temp    Sal    pCO2    VCO2  pCO2  sw-air

No.  MM/DD/YYYY           DD-MM.mm   DDD-MM.mm   Deg C   PSS    uatm    ppm   uatm   uatm

10   3/ 1/1996   61.8019 41-18.84N   71-10.92W  1.60          500.8  365.4  363.3  137.5

11   3/ 1/1996   61.8043 41-18.42N   71-10.26W  1.57          484.7  365.4  363.3  121.4

12   3/ 1/1996   61.8067 41-18.06N   71- 9.54W  1.52          453.2  365.4  363.3   89.9

13   3/ 1/1996   61.8092 41-17.76N   71- 8.88W  1.49          455.8  365.4  363.3   92.5

14   3/ 1/1996   61.8115 41-17.40N   71- 8.22W  1.50          472.0  365.4  363.3  108.7

15   3/ 1/1996   61.8138 41-17.10N   71- 7.62W  1.48          469.1  365.4  363.3  105.8

16   3/ 1/1996   61.8161 41-16.74N   71- 6.96W  1.46          478.4  365.4  363.3  115.1

17   3/ 1/1996   61.8184 41-16.44N   71- 6.30W  1.39          490.1  365.4  363.3  126.8

23   3/ 1/1996   61.8305 41-14.52N   71- 2.52W  1.63          466.4  365.4  363.3  103.2

24   3/ 1/1996   61.8329 41-14.16N   71- 1.80W  1.70          465.5  365.4  363.3  102.2

25   3/ 1/1996   61.8353 41-13.80N   71- 1.08W  1.71          483.1  365.4  363.3  119.9

26   3/ 1/1996   61.8378 41-13.44N   71- 0.36W  1.79          469.0  365.4  363.3  105.8

27   3/ 1/1996   61.8402 41-13.08N   70-59.64W  1.75          464.0  365.4  363.3  100.7

28   3/ 1/1996   61.8426 41-12.72N   70-58.92W  1.80          483.0  365.4  363.3  119.8

29   3/ 1/1996   61.8451 41-12.36N   70-58.26W  1.80          448.1  365.4  363.3   84.8

30   3/ 1/1996   61.8475 41-12.00N   70-57.54W  1.79          431.5  365.4  363.3   68.2

36   3/ 1/1996   61.8589 41-10.32N   70-54.24W  1.90          513.6  365.4  363.2  150.4

37   3/ 1/1996   61.8614 41- 9.96N   70-53.58W  1.93          476.0  365.4  363.2  112.8

38   3/ 1/1996   61.8638 41- 9.60N   70-52.92W  1.91          453.6  365.4  363.2   90.4

39   3/ 1/1996   61.8662 41- 9.42N   70-52.08W  1.95          439.3  365.4  363.2   76.1

6717   3/21/1996   81.1283 40- 4.20N   72-15.00W  5.08          271.9  366.3  364.1  -92.2

6718   3/21/1996   81.1306 40- 4.68N   72-14.58W  5.11          274.2  366.3  364.1  -89.9

6724   3/21/1996   81.1424 40- 7.20N   72-12.60W  5.24          281.0  366.3  364.1  -83.1

6725   3/21/1996   81.1448 40- 7.68N   72-12.12W  5.22          283.0  366.3  364.1  -81.1

6726   3/21/1996   81.1472 40- 8.22N   72-11.70W  5.26          283.1  366.3  364.1  -81.0

6727   3/21/1996   81.1496 40- 8.70N   72-11.28W  5.25          283.2  366.3  364.1  -80.9

6728   3/21/1996   81.1521 40- 9.24N   72-10.86W  5.21          283.0  366.3  364.1  -81.1

6729   3/21/1996   81.1545 40- 9.78N   72-10.44W  5.14          282.6  366.3  364.1  -81.5

6730   3/21/1996   81.1569 40-10.26N   72- 9.96W  4.96          281.5  366.3  364.1  -82.6

6731   3/21/1996   81.1594 40-10.74N   72- 9.54W  4.62          281.8  366.3  364.1  -82.3

Lamont-Doherty Earth Observatory of Columbia University     Printed on 05/02/01

Source File = OMP_SFCR   LDEO Leg No:  3  Ship:  R/V Oceanus                    Page 3

pCO2 of air calculated from the GlobalView CO2 Database VCO2 of dry air

assuming 100% relative humidity at the sea/air interface.

Seawater pCO2 is reported at Sea Surface Temperature.

Only the first 20 and last 10 records of each leg are printed.

Julian                         Sea Surface   Seawater Atmosphere Delta pCO2

Sta     Date       Date      Lat      Long       Temp    Sal    pCO2    VCO2  pCO2  sw-air

No.  MM/DD/YYYY           DD-MM.mm   DDD-MM.mm   Deg C   PSS    uatm    ppm   uatm   uatm

1   5/ 6/1996  127.5780 41-21.84N   70-53.58W  8.77          373.6  366.5  363.9    9.7

2   5/ 6/1996  127.5803 41-21.42N   70-54.12W  8.74          368.6  366.5  363.9    4.7

3   5/ 6/1996  127.5826 41-20.94N   70-54.72W  8.81          366.2  366.5  363.9    2.3

4   5/ 6/1996  127.5849 41-20.40N   70-55.32W  8.91          367.8  366.5  363.8    3.9

5   5/ 6/1996  127.5872 41-19.86N   70-55.92W  8.98          368.4  366.5  363.8    4.6

6   5/ 6/1996  127.5895 41-19.38N   70-56.52W  8.93          367.4  366.5  363.8    3.6

7   5/ 6/1996  127.5919 41-18.78N   70-57.12W  8.95          366.3  366.5  363.8    2.5

8   5/ 6/1996  127.5942 41-18.24N   70-57.72W  8.88          366.4  366.5  363.8    2.5

9   5/ 6/1996  127.6052 41-15.78N   71- 0.66W  9.04          372.9  366.5  363.8    9.1

10   5/ 6/1996  127.6075 41-15.30N   71- 1.32W  9.14          373.2  366.5  363.8    9.4

11   5/ 6/1996  127.6098 41-14.70N   71- 1.86W  9.16          372.8  366.5  363.8    9.1

12   5/ 6/1996  127.6121 41-14.28N   71- 2.58W  9.23          372.8  366.5  363.7    9.1

13   5/ 6/1996  127.6145 41-13.68N   71- 3.18W  9.22          373.0  366.5  363.8    9.3

14   5/ 6/1996  127.6168 41-13.14N   71- 3.78W  9.18          372.9  366.5  363.8    9.2

15   5/ 6/1996  127.6191 41-12.66N   71- 4.38W  9.13          370.0  366.5  363.8    6.3

16   5/ 6/1996  127.6214 41-11.94N   71- 4.86W  9.34          371.8  366.5  363.7    8.1

17   5/ 6/1996  127.6324 41- 9.12N   71- 7.14W  9.11          360.8  366.5  363.8   -3.0

18   5/ 6/1996  127.6348 41- 8.46N   71- 7.50W  9.14          359.2  366.5  363.8   -4.5

19   5/ 6/1996  127.6371 41- 7.86N   71- 7.98W  8.99          358.0  366.5  363.8   -5.9

20   5/ 6/1996  127.6394 41- 7.20N   71- 8.34W  8.93          356.4  366.5  363.8   -7.5

2897   5/17/1996  138.6480 41-20.46N   70-53.46W  9.92  31.465  383.6  366.2  363.3   20.3

2898   5/17/1996  138.6503 41-21.06N   70-52.98W  9.88  31.463  382.7  366.2  363.3   19.4

2899   5/17/1996  138.6614 41-24.06N   70-50.52W  9.80  31.529  393.9  366.2  363.4   30.5

2900   5/17/1996  138.6636 41-24.60N   70-49.74W  9.75  31.509  395.1  366.2  363.4   31.7

2901   5/17/1996  138.6660 41-25.02N   70-48.90W  9.76  31.362  395.3  366.2  363.4   31.9

2902   5/17/1996  138.6683 41-25.50N   70-48.06W 10.36  31.362  397.8  366.2  363.2   34.6

2903   5/17/1996  138.6706 41-25.92N   70-47.22W 10.29  31.270  407.3  366.2  363.2   44.1

2904   5/17/1996  138.6729 41-26.34N   70-46.44W 10.47  31.212  413.5  366.2  363.2   50.3

2905   5/17/1996  138.6752 41-26.76N   70-45.78W 10.47  31.057  419.0  366.2  363.2   55.9

2906   5/17/1996  138.6775 41-27.24N   70-44.94W 10.54  31.066  422.1  366.2  363.1   59.0

Lamont-Doherty Earth Observatory of Columbia University     Printed on 05/02/01

Source File = OMP_SFCR   LDEO Leg No:  4  Ship:  R/V Seward Johnson                    Page 4

pCO2 of air calculated from the GlobalView CO2 Database VCO2 of dry air

assuming 100% relative humidity at the sea/air interface.

Seawater pCO2 is reported at Sea Surface Temperature.

Only the first 20 and last 10 records of each leg are printed.

Julian                         Sea Surface   Seawater Atmosphere Delta pCO2

Sta     Date       Date      Lat      Long       Temp    Sal    pCO2    VCO2  pCO2  sw-air

No.  MM/DD/YYYY           DD-MM.mm   DDD-MM.mm   Deg C   PSS    uatm    ppm   uatm   uatm

1   6/22/1996  174.5614 41-22.68N   70-51.66W 16.54  31.328  481.9  364.6  359.4  122.4

2   6/22/1996  174.5637 41-22.20N   70-52.20W 16.49  31.328  479.2  364.6  359.5  119.7

3   6/22/1996  174.5660 41-21.78N   70-52.68W 15.84  31.318  473.5  364.6  359.7  113.8

4   6/22/1996  174.5683 41-21.30N   70-53.16W 15.75  31.329  470.1  364.6  359.8  110.4

5   6/22/1996  174.5706 41-20.82N   70-53.64W 15.68  31.331  466.6  364.6  359.8  106.8

6   6/22/1996  174.5730 41-20.34N   70-54.18W 15.51  31.356  460.7  364.6  359.9  100.8

7   6/22/1996  174.5753 41-19.92N   70-54.66W 15.50  31.347  456.0  364.6  359.9   96.1

8   6/22/1996  174.5776 41-19.44N   70-55.14W 15.74  31.350  449.8  364.6  359.8   90.1

9   6/22/1996  174.5886 41-17.28N   70-57.60W 15.62  31.311  425.9  364.6  359.8   66.1

10   6/22/1996  174.5909 41-16.80N   70-58.08W 15.64  31.308  425.9  364.6  359.8   66.1

11   6/22/1996  174.5933 41-16.44N   70-58.56W 15.65  31.293  426.0  364.6  359.8   66.2

12   6/22/1996  174.5956 41-15.90N   70-59.04W 15.55  31.278  427.0  364.6  359.8   67.2

13   6/22/1996  174.5979 41-15.48N   70-59.58W 15.34  31.294  426.5  364.6  359.9   66.6

14   6/22/1996  174.6002 41-15.06N   71- 0.06W 15.26  31.302  426.8  364.6  359.9   66.9

15   6/22/1996  174.6025 41-14.64N   71- 0.48W 15.31  31.322  427.5  364.6  359.9   67.6

16   6/22/1996  174.6049 41-14.16N   71- 1.02W 15.29  31.319  428.1  364.6  359.9   68.2

17   6/22/1996  174.6159 41-12.06N   71- 3.30W 15.06  31.501  455.0  364.6  360.0   95.0

18   6/22/1996  174.6182 41-11.64N   71- 3.84W 15.05  31.492  432.1  364.6  360.0   72.1

19   6/22/1996  174.6205 41-11.16N   71- 4.32W 15.12  31.494  417.1  364.6  360.0   57.1

20   6/22/1996  174.6228 41-10.68N   71- 4.80W 15.10  31.517  408.2  364.6  360.0   48.2

2065   6/30/1996  182.4061 41-16.14N   70-57.84W 17.04  28.910  431.2  364.0  358.7   72.5

2066   6/30/1996  182.4084 41-16.68N   70-57.36W 17.03  28.786  433.0  364.0  358.7   74.3

2067   6/30/1996  182.4195 41-19.14N   70-55.32W 17.39  29.251  442.9  364.0  358.5   84.4

2068   6/30/1996  182.4218 41-19.68N   70-54.90W 17.45  28.947  443.9  364.0  358.5   85.4

2069   6/30/1996  182.4241 41-20.22N   70-54.48W 17.44  29.012  444.0  364.0  358.5   85.5

2070   6/30/1996  182.4264 41-20.76N   70-54.00W 17.42  28.748  444.3  364.0  358.5   85.8

2071   6/30/1996  182.4288 41-21.36N   70-53.52W 17.38  28.212  444.7  364.0  358.5   86.2

2072   6/30/1996  182.4311 41-21.90N   70-53.10W 17.26  29.708  444.3  364.0  358.6   85.8

2073   6/30/1996  182.4334 41-22.50N   70-52.50W 16.93  31.070  442.9  364.0  358.7   84.2

2074   6/30/1996  182.4357 41-22.98N   70-51.78W 16.86  30.734  439.1  364.0  358.7   80.4

Lamont-Doherty Earth Observatory of Columbia University     Printed on 05/02/01

Source File = OMP_SFCR   LDEO Leg No:  5  Ship:  R/V Seward Johnson                    Page 5

pCO2 of air calculated from the GlobalView CO2 Database VCO2 of dry air

assuming 100% relative humidity at the sea/air interface.

Seawater pCO2 is reported at Sea Surface Temperature.

Only the first 20 and last 10 records of each leg are printed.

Julian                         Sea Surface   Seawater Atmosphere Delta pCO2

Sta     Date       Date      Lat      Long       Temp    Sal    pCO2    VCO2  pCO2  sw-air

No.  MM/DD/YYYY           DD-MM.mm   DDD-MM.mm   Deg C   PSS    uatm    ppm   uatm   uatm

6   7/11/1996  193.1047 27-32.16N   80-21.36W 22.30          525.0  363.4  355.7  169.3

7   7/11/1996  193.1070 27-32.16N   80-21.30W 22.32          522.1  363.4  355.7  166.5

8   7/11/1996  193.1181 27-32.10N   80-21.24W 22.46          522.8  363.4  355.6  167.2

9   7/11/1996  193.1204 27-32.10N   80-21.30W 22.49          525.2  363.4  355.6  169.6

10   7/11/1996  193.1227 27-32.16N   80-21.30W 22.50          526.4  363.4  355.6  170.8

11   7/11/1996  193.1250 27-32.10N   80-21.30W 22.48          527.6  363.4  355.6  172.0

12   7/11/1996  193.1274 27-32.10N   80-21.30W 22.47          528.7  363.4  355.6  173.1

13   7/11/1996  193.1297 27-32.10N   80-21.24W 22.48          529.4  363.4  355.6  173.9

14   7/11/1996  193.1320 27-32.10N   80-21.24W 22.46          530.1  363.4  355.6  174.5

15   7/11/1996  193.1343 27-32.10N   80-21.30W 22.45          530.7  363.4  355.6  175.1

16   7/11/1996  193.1454 27-32.10N   80-21.30W 22.42          532.8  363.4  355.6  177.2

17   7/11/1996  193.1477 27-32.10N   80-21.24W 22.42          532.8  363.4  355.6  177.2

18   7/11/1996  193.1500 27-32.10N   80-21.24W 22.42          533.2  363.4  355.6  177.6

19   7/11/1996  193.1523 27-32.10N   80-21.24W 22.41          533.6  363.4  355.6  178.0

20   7/11/1996  193.1546 27-32.10N   80-21.30W 22.44          534.0  363.4  355.6  178.4

21   7/11/1996  193.1569 27-32.10N   80-21.30W 22.51          534.2  363.4  355.6  178.6

22   7/11/1996  193.1592 27-32.10N   80-21.30W 22.52          534.6  363.4  355.6  179.0

23   7/11/1996  193.1615 27-32.10N   80-21.30W 22.57          534.7  363.4  355.5  179.1

24   7/11/1996  193.5724 27-27.60N   80-19.38W 23.18          546.8  363.4  355.2  191.7

25   7/11/1996  193.5747 27-27.60N   80-19.38W 23.21          546.2  363.4  355.2  191.1

448   7/13/1996  195.7444 34-32.82N   76-44.94W 25.63          445.3  363.0  353.0   92.3

449   7/13/1996  195.7467 34-33.06N   76-44.70W 25.63          446.5  363.0  353.0   93.5

450   7/13/1996  195.7577 34-34.92N   76-43.44W 25.75          452.1  363.0  352.9   99.2

451   7/13/1996  195.7600 34-35.34N   76-43.20W 25.78          453.3  363.0  352.9  100.4

452   7/13/1996  195.7623 34-35.70N   76-42.90W 25.86          455.3  363.0  352.8  102.5

453   7/13/1996  195.7647 34-36.06N   76-42.66W 25.94          457.1  363.0  352.8  104.3

454   7/13/1996  195.7669 34-36.42N   76-42.36W 25.95          458.4  363.0  352.8  105.6

455   7/13/1996  195.7693 34-36.78N   76-42.12W 26.00          459.5  363.0  352.7  106.8

456   7/13/1996  195.7715 34-37.20N   76-41.88W 26.02          460.4  363.0  352.7  107.7

457   7/13/1996  195.7739 34-37.50N   76-41.52W 26.06          462.1  363.0  352.7  109.4

Lamont-Doherty Earth Observatory of Columbia University     Printed on 05/02/01

Source File = OMP_SFCR   LDEO Leg No:  6  Ship:  R/V Seward Johnson                    Page 6

pCO2 of air calculated from the GlobalView CO2 Database VCO2 of dry air

assuming 100% relative humidity at the sea/air interface.

Seawater pCO2 is reported at Sea Surface Temperature.

Only the first 20 and last 10 records of each leg are printed.

Julian                         Sea Surface   Seawater Atmosphere Delta pCO2

Sta     Date       Date      Lat      Long       Temp    Sal    pCO2    VCO2  pCO2  sw-air

No.  MM/DD/YYYY           DD-MM.mm   DDD-MM.mm   Deg C   PSS    uatm    ppm   uatm   uatm

1   7/19/1996  201.6051 35-30.12N   75-23.64W 24.65          421.0  362.9  352.2   68.8

2   7/19/1996  201.6074 35-30.18N   75-23.64W 24.67          393.3  362.9  352.2   41.0

3   7/19/1996  201.6097 35-30.06N   75-23.88W 24.68          382.3  362.9  352.2   30.1

4   7/19/1996  201.6120 35-30.06N   75-24.12W 24.61          377.2  362.9  352.2   24.9

5   7/19/1996  201.6143 35-30.06N   75-24.12W 24.60          373.6  362.9  352.2   21.4

6   7/19/1996  201.6166 35-30.12N   75-24.06W 24.52          373.4  362.9  352.2   21.2

7   7/19/1996  201.6190 35-30.12N   75-24.00W 24.60          373.5  362.9  352.2   21.3

8   7/19/1996  201.6213 35-30.12N   75-23.88W 24.62          371.9  362.9  352.2   19.6

9   7/19/1996  201.6323 35-30.12N   75-24.30W 24.44          366.5  362.9  352.2   14.3

10   7/19/1996  201.6346 35-30.12N   75-24.18W 24.44          364.0  362.9  352.2   11.7

11   7/19/1996  201.6369 35-30.00N   75-24.18W 24.48          363.2  362.9  352.2   10.9

12   7/19/1996  201.6392 35-30.06N   75-24.12W 24.48          363.4  362.9  352.2   11.1

13   7/19/1996  201.6416 35-30.06N   75-24.12W 24.46          362.3  362.9  352.2   10.0

14   7/19/1996  201.6439 35-30.18N   75-24.12W 24.48          361.5  362.9  352.2    9.2

15   7/19/1996  201.6462 35-30.18N   75-24.06W 24.48          361.1  362.9  352.2    8.9

16   7/19/1996  201.6485 35-30.12N   75-24.00W 24.52          360.8  362.9  352.2    8.6

17   7/19/1996  201.6595 35-29.82N   75-24.12W 24.39          365.7  362.9  352.2   13.5

18   7/19/1996  201.6618 35-29.70N   75-24.24W 24.34          367.7  362.9  352.2   15.5

19   7/19/1996  201.6642 35-29.70N   75-24.30W 24.31          370.0  362.9  352.2   17.7

20   7/19/1996  201.6664 35-29.64N   75-24.36W 24.28          371.3  362.9  352.2   19.0

2215   7/27/1996  209.1330 36-41.64N   75-17.94W 23.66          395.7  362.0  352.4   43.3

2216   7/27/1996  209.1353 36-41.94N   75-18.72W 23.65          393.3  362.0  352.4   40.9

2217   7/27/1996  209.1463 36-43.32N   75-22.14W 23.66          376.7  362.0  352.4   24.3

2218   7/27/1996  209.1487 36-43.56N   75-22.92W 23.68          377.5  362.0  352.4   25.1

2219   7/27/1996  209.1509 36-43.80N   75-23.64W 23.69          410.6  362.0  352.4   58.2

2220   7/27/1996  209.1533 36-44.04N   75-24.42W 23.68          424.5  362.0  352.4   72.1

2221   7/27/1996  209.1555 36-44.28N   75-25.14W 23.67          430.6  362.0  352.4   78.2

2222   7/27/1996  209.1579 36-44.46N   75-25.92W 23.68          433.8  362.0  352.4   81.4

2223   7/27/1996  209.1602 36-44.70N   75-26.58W 23.65          436.1  362.0  352.4   83.8

2224   7/27/1996  209.1625 36-44.88N   75-27.36W 23.63          442.7  362.0  352.4   90.3

Lamont-Doherty Earth Observatory of Columbia University     Printed on 05/02/01

Source File = OMP_SFCR   LDEO Leg No:  7  Ship:  R/V Oceanus                    Page 7

pCO2 of air calculated from the GlobalView CO2 Database VCO2 of dry air

assuming 100% relative humidity at the sea/air interface.

Seawater pCO2 is reported at Sea Surface Temperature.

Only the first 20 and last 10 records of each leg are printed.

Julian                         Sea Surface   Seawater Atmosphere Delta pCO2

Sta     Date       Date      Lat      Long       Temp    Sal    pCO2    VCO2  pCO2  sw-air

No.  MM/DD/YYYY           DD-MM.mm   DDD-MM.mm   Deg C   PSS    uatm    ppm   uatm   uatm

1  10/ 7/1996  281.5683 41-19.86N   70-53.40W 15.67  31.013  448.4  359.2  354.5   93.9

2  10/ 7/1996  281.5706 41-19.14N   70-53.34W 15.68  31.009  405.4  359.2  354.5   50.9

3  10/ 7/1996  281.5729 41-18.42N   70-53.34W 15.70  31.011  383.8  359.2  354.5   29.3

4  10/ 7/1996  281.5753 41-17.76N   70-53.40W 15.64  31.005  376.3  359.2  354.5   21.7

5  10/ 7/1996  281.5776 41-16.98N   70-53.40W 15.50  30.999  378.0  359.2  354.6   23.4

6  10/ 7/1996  281.5799 41-16.20N   70-53.40W 15.47  30.968  370.8  359.2  354.6   16.2

7  10/ 7/1996  281.5822 41-15.54N   70-53.34W 15.47  30.955  363.0  359.2  354.6    8.4

8  10/ 7/1996  281.5845 41-14.70N   70-53.28W 15.47  30.960  362.0  359.2  354.6    7.4

9  10/ 7/1996  281.5955 41-11.34N   70-52.38W 15.37  31.003  367.3  359.2  354.6   12.7

10  10/ 7/1996  281.5978 41-10.68N   70-52.02W 15.27  31.015  382.0  359.2  354.7   27.3

11  10/ 7/1996  281.6002 41- 9.96N   70-51.66W 15.26  31.059  397.2  359.2  354.7   42.5

12  10/ 7/1996  281.6025 41- 9.24N   70-51.36W 15.10  31.055  404.7  359.2  354.7   50.0

13  10/ 7/1996  281.6048 41- 8.52N   70-50.88W 15.11  31.074  421.8  359.2  354.7   67.0

14  10/ 7/1996  281.6071 41- 7.86N   70-50.58W 14.95  31.184  431.5  359.2  354.8   76.7

15  10/ 7/1996  281.6094 41- 7.26N   70-50.22W 14.76  31.186  435.1  359.2  354.9   80.2

16  10/ 7/1996  281.6117 41- 6.54N   70-49.86W 14.77  31.189  432.1  359.2  354.9   77.3

17  10/ 7/1996  281.6228 41- 3.18N   70-48.06W 14.31  31.301  425.3  359.2  355.0   70.2

18  10/ 7/1996  281.6251 41- 2.64N   70-47.82W 14.20  31.337  426.9  359.2  355.1   71.8

19  10/ 7/1996  281.6274 41- 1.92N   70-47.46W 14.14  31.343  432.1  359.2  355.1   77.0

20  10/ 7/1996  281.6297 41- 1.26N   70-47.10W 14.06  31.341  430.0  359.2  355.1   74.8

2615  10/17/1996  291.4066 41-10.80N   70-53.04W 14.96  30.950  380.7  360.1  355.7   25.0

2616  10/17/1996  291.4089 41-11.34N   70-53.10W 14.96  30.947  382.3  360.1  355.7   26.6

2617  10/17/1996  291.4200 41-13.98N   70-53.10W 14.94  30.902  397.1  360.1  355.7   41.4

2618  10/17/1996  291.4223 41-14.70N   70-53.16W 14.97  30.920  398.1  360.1  355.7   42.4

2619  10/17/1996  291.4246 41-15.36N   70-53.16W 15.01  30.890  396.9  360.1  355.7   41.2

2620  10/17/1996  291.4269 41-16.02N   70-53.10W 14.94  30.931  394.1  360.1  355.7   38.5

2621  10/17/1996  291.4293 41-16.80N   70-53.10W 15.06  30.927  395.7  360.1  355.6   40.1

2622  10/17/1996  291.4315 41-17.40N   70-53.10W 15.08  30.902  395.7  360.1  355.6   40.1

2623  10/17/1996  291.4339 41-18.06N   70-53.10W 15.01  30.916  393.1  360.1  355.7   37.5

2624  10/17/1996  291.4362 41-18.78N   70-53.10W 15.01  30.935  394.8  360.1  355.7   39.1

Lamont-Doherty Earth Observatory of Columbia University     Printed on 05/02/01

Source File = OMP_SFCR   LDEO Leg No:  8  Ship:  R/V Oceanus                    Page 8

pCO2 of air calculated from the GlobalView CO2 Database VCO2 of dry air

assuming 100% relative humidity at the sea/air interface.

Seawater pCO2 is reported at Sea Surface Temperature.

Only the first 20 and last 10 records of each leg are printed.

Julian                         Sea Surface   Seawater Atmosphere Delta pCO2

Sta     Date       Date      Lat      Long       Temp    Sal    pCO2    VCO2  pCO2  sw-air

No.  MM/DD/YYYY           DD-MM.mm   DDD-MM.mm   Deg C   PSS    uatm    ppm   uatm   uatm

1   4/18/1994  108.9391 41- 6.78N   70-21.12W  6.38  32.053  309.8  363.9  361.9  -52.1

2   4/18/1994  108.9414 41- 6.48N   70-21.06W  6.40  31.941  309.5  363.9  361.9  -52.4

3   4/18/1994  108.9437 41- 5.70N   70-21.06W  6.40  32.040  309.0  363.9  361.9  -52.9

4   4/18/1994  108.9460 41- 4.80N   70-21.06W  6.45  32.031  309.7  363.9  361.9  -52.2

5   4/18/1994  108.9483 41- 4.38N   70-21.06W  6.44  32.023  309.2  363.9  361.9  -52.7

6   4/18/1994  108.9506 41- 3.48N   70-21.00W  6.43  32.044  309.2  363.9  361.9  -52.7

7   4/18/1994  108.9603 41- 0.48N   70-21.06W  6.26  32.133  301.0  363.9  362.0  -61.0

8   4/18/1994  108.9626 40-59.58N   70-21.06W  6.10  32.269  300.4  363.9  360.9  -60.5

9   4/18/1994  108.9649 40-59.22N   70-21.06W  5.97  32.210  300.4  363.9  360.9  -60.5

10   4/18/1994  108.9672 40-58.32N   70-21.06W  5.92  32.211  303.6  363.9  360.9  -57.3

11   4/18/1994  108.9695 40-57.48N   70-21.12W  5.74  32.276  304.7  363.9  360.9  -56.2

12   4/18/1994  108.9718 40-57.24N   70-21.06W  5.58  32.189  304.8  363.9  360.9  -56.1

13   4/18/1994  108.9816 40-56.94N   70-20.94W  5.67  32.224  307.3  363.9  360.9  -53.6

14   4/18/1994  108.9839 40-56.94N   70-20.88W  5.67  32.341  306.6  363.9  360.9  -54.3

15   4/18/1994  108.9862 40-56.94N   70-21.00W  5.67  32.210  306.3  363.9  360.9  -54.6

16   4/18/1994  108.9885 40-57.00N   70-20.94W  5.66  32.222  307.0  363.9  360.9  -53.9

17   4/18/1994  108.9907 40-57.00N   70-20.88W  5.66  32.229  307.2  363.9  360.9  -53.7

18   4/18/1994  108.9930 40-57.00N   70-20.88W  5.67  32.232  307.1  363.9  360.9  -53.8

19   4/19/1994  109.0028 40-57.00N   70-20.94W  5.64  32.225  306.5  363.9  360.9  -54.4

20   4/19/1994  109.0051 40-57.06N   70-20.88W  5.61  32.229  306.3  363.9  360.9  -54.6

3055   5/ 1/1994  121.5124 41-28.80N   70-32.04W  9.03  31.319  390.6  364.0  361.4   29.3

3056   5/ 1/1994  121.5148 41-29.04N   70-33.06W  8.93  31.327  390.5  364.0  361.4   29.1

3057   5/ 1/1994  121.5171 41-29.22N   70-34.14W  8.88  31.346  389.9  364.0  361.4   28.5

3058   5/ 1/1994  121.5194 41-29.34N   70-34.68W  8.80  31.389  390.3  364.0  361.4   28.9

3059   5/ 1/1994  121.5292 41-30.12N   70-38.64W  9.40  31.179  399.9  364.0  361.3   38.7

3060   5/ 1/1994  121.5315 41-30.30N   70-39.84W  9.68  31.136  404.7  364.0  361.2   43.5

3061   5/ 1/1994  121.5338 41-30.72N   70-40.26W 10.04  31.001  411.9  364.0  361.1   50.8

3062   5/ 1/1994  121.5361 41-31.02N   70-40.26W  9.88  30.986  404.3  364.0  361.1   43.2

3063   5/ 1/1994  121.5384 41-31.38N   70-40.32W  9.60  31.060  400.0  364.0  361.2   38.8

3064   5/ 1/1994  121.5407 41-31.44N   70-40.32W  9.95  30.915  405.1  364.0  361.1   44.0

Lamont-Doherty Earth Observatory of Columbia University     Printed on 05/02/01

Source File = OMP_SFCR   LDEO Leg No:  9  Ship:  R/V Gyre & Columbus Iselin    Page 9

pCO2 of air calculated from the GlobalView CO2 Database VCO2 of dry air

assuming 100% relative humidity at the sea/air interface.

Seawater pCO2 is reported at Sea Surface Temperature.

Only the first 20 and last 10 records of each leg are printed.

Julian                         Sea Surface   Seawater Atmosphere Delta pCO2

Sta     Date       Date      Lat      Long       Temp    Sal    pCO2    VCO2  pCO2  sw-air

No.  MM/DD/YYYY           DD-MM.mm   DDD-MM.mm   Deg C   PSS    uatm    ppm   uatm   uatm

1   5/11/1993  131.4670 35-33.48N   75-21.90W 18.06          359.6  361.4  353.6    6.0

2   5/11/1993  131.4693 35-33.00N   75-22.20W 17.87          354.3  361.4  353.6    0.8

3   5/11/1993  131.4716 35-32.52N   75-22.50W 17.62          352.9  361.4  353.6   -0.7

4   5/11/1993  131.4739 35-32.04N   75-22.80W 16.96          351.0  361.4  353.6   -2.6

5   5/11/1993  131.4762 35-31.56N   75-23.16W 16.68          345.9  361.4  353.6   -7.7

6   5/11/1993  131.4785 35-31.08N   75-23.46W 16.70          340.6  361.4  353.6  -13.0

7   5/11/1993  131.4808 35-30.60N   75-23.76W 16.75          334.7  361.4  353.6  -18.9

8   5/11/1993  131.4831 35-30.24N   75-23.94W 16.77          331.6  361.4  353.6  -22.0

10   5/11/1993  131.4926 35-30.06N   75-24.12W 16.58          339.8  361.4  353.6  -13.8

11   5/11/1993  131.4949 35-30.00N   75-24.12W 16.38          346.9  361.4  353.6   -6.7

12   5/11/1993  131.4972 35-30.00N   75-24.12W 16.41          352.2  361.4  353.6   -1.4

13   5/11/1993  131.4995 35-30.00N   75-24.12W 16.43          355.8  361.4  353.6    2.2

14   5/11/1993  131.5018 35-30.00N   75-24.12W 16.46          359.0  361.4  353.6    5.4

15   5/11/1993  131.5041 35-30.00N   75-24.12W 16.51          360.2  361.4  353.6    6.6

16   5/11/1993  131.5064 35-30.00N   75-24.12W 16.46          361.0  361.4  353.6    7.4

17   5/11/1993  131.5087 35-30.00N   75-24.12W 16.48          360.7  361.4  353.6    7.1

19   5/11/1993  131.5182 35-30.00N   75-24.06W 16.48          357.9  361.4  353.6    4.4

20   5/11/1993  131.5205 35-30.00N   75-24.06W 16.48          360.7  361.4  353.6    7.1

21   5/11/1993  131.5229 35-30.06N   75-24.06W 16.52          364.1  361.4  353.6   10.5

22   5/11/1993  131.5252 35-30.06N   75-24.06W 16.46          367.5  361.4  353.6   14.0

1531   5/16/1993  136.3976 36-54.06N   75-52.38W 17.21          183.1  360.9  355.0   -172

1532   5/16/1993  136.3999 36-54.36N   75-52.92W 17.51          166.4  360.9  355.0   -189

1534   5/16/1993  136.4095 36-55.68N   75-55.20W 17.82          123.7  360.9  355.0   -231

1535   5/16/1993  136.4118 36-55.98N   75-55.74W 17.85          118.2  360.9  355.0   -237

1536   5/16/1993  136.4141 36-56.16N   75-56.16W 17.95          113.9  360.9  355.0   -241

1537   5/16/1993  136.4164 36-56.28N   75-56.52W 18.10          110.2  360.9  355.0   -245

1538   5/16/1993  136.4187 36-56.46N   75-57.12W 18.20          106.9  360.9  355.0   -248

1539   5/16/1993  136.4210 36-56.64N   75-57.78W 18.24          104.5  360.9  355.0   -250

1540   5/16/1993  136.4233 36-56.76N   75-58.44W 18.26          103.0  360.9  355.0   -252

1541   5/16/1993  136.4257 36-56.88N   75-59.04W 18.31          102.1  360.9  355.0   -253

3.  MEASUREMENTS OF pCO2 IN SURFACE WATERS

3-a)  The LDEO Underway System for Surface Water pCO2 Measurements:

The system for underway measurements of pCO2 in surface waters consists of a) a water-air equilibrator, b) a non-dispersive  infra-red CO2 gas analyzer and c) a data logging system.  The measurement system is schematically shown in Fig. 1, and is similar with the one described in Bates et al. (1998).  Each of these units and the data reduction procedures used will be described below.

Figure 2  -  The underway pCO2 system used for the measurements of pCO2 in surface waters during the Ocean Margins Program.

3-b)  Water-air Equilibrator:

The equilibrator has a total volume of about 30 liters and is equipped with a specially designed drain which maintains automatically the level of water in the equilibrator at a constant level at about half the height of the equilibrator leaving about 15 liters of headspace.  Seawater from the ship’s uncontaminated water line is continuously pumped into the equilibrator at a rate of about 10 liters/min, giving a mean residence time of water in the equilibrator of about 1.5 minutes. The headspace above the water serves as an equilibration chamber.  A carrier gas (commonly marine air) is drawn into the chamber by a diaphragm pump, and exchanges CO2 with a continuous flow of seawater sprayed into the chamber through a shower head.  Because of large gas-water contact areas created by fine water droplets as well as gas bubbles in the pool of water, CO2 equilibration between the carrier gas and seawater is achieved rapidly with a e-folding time of 2 to 3 minutes.  Under normal operating conditions, the carrier gas in the equilibration chamber is pumped into the infra-red gas analyzer at a rate of about 50 ml/min.  At this rate, the residence time of the carrier gas in the equilibration chamber is about 300 minutes, that is about 100 times as long as the equilibration time.  Therefore, the carrier gas in the head space is always in equilibrium with water. The over all response time of the equilibrator system has been estimated to be of an order of several minutes.  The large volume of water in the equilibrator is chosen in order to have a large thermal inertia of the equilibrator, so that the effects of room temperature changes on the equilibration temperature may be minimized.  The temperature of water in the equilibrator is monitored continuously using a Guildline platinum resistance thermometer (readable to 0.05 oC) and recorded on the data logging computer.  A calibrated mercury thermometer is also inserted in the equilibrator for testing the performance of the platinum thermometer.

At the gas intake end of the equilibrator, a flow indicator based on U-tube manometer is attached.  This gives a visual confirmation for the fact that marine air is taken into the equilibration chamber at a desired flow rate.  Since we operate the system with the equilibration chamber at the same pressure as the ambient room pressure, the total pressure, at which the gas was equilibrated, is measured using a precision electronic barometer (Setra Model 270, Acton, MA) outside the equilibrator.  This equilibration pressure is also logged on the computer.

The temperature and salinity of seawater at the in-situ conditions were measured using a SeaBird Model SBE-21 thermosalinograph aboard Oceanus, Endeavor, and Seward Johnson. The precision of the reported temperature data has been estimated to be about 0.005 oC.

3-c)  Infra-red CO2 Gas Analyzer:

The equilibrated gas was passed through a water trap (to collect aerosols and condensates), mass flow controller and a reverse flow naphion dryer (PermaPure flushed with pure nitrogen gas) to remove water vapor (to a level of –20oC), and was introduced into the IR sample cell at a rate of about 50 ml/min for CO2 determinations. A LI-COR infra-red gas analyzer (Model 6251, Lincoln, NB) was used. After about 3 minutes of purging period, the gas flow was stopped and readings were recorded on the computer. Although an electronic circuit was provided by the manufacturer in order to linearize the CO2 response, it exhibited a few inflexions that deviated from linearity by a few ppm.  Therefore, we chose not to use the outputs from the linearization circuit supplied by the manufacturer.  Instead, we used five standard gas mixtures (one pure nitrogen and four CO2-air mixtures) during the expeditions, and established response curves using the raw output from the analyzer.  The CO2 concentrations in the gas mixtures were calibrated using the SIO standards determined by C. D. Keeling’s group using the manometric method.  The concentrations of CO2 in the standard gas mixtures are summarized in Table 2.

Table 2 -  Concentrations of CO2 in the CO2-air gas mixtures using during the OMP Expeditions, 1993-1996.  The values are in ppm mole fraction of CO2 in dry air, and have a precision of about + 0.1 ppm.  Std. 1 is pure nitrogen gas and has a CO2 concentration of 0.00 ppm.

_____________________________________________________________________

Ship/Cruise	 	Dates			CO2 concentrations (ppm)

(LDEO #)						----------------------------------------

Std. 2	Std 3	Std 4	Std5

R/V Gyre &

Columbus Iselin (9)	05/11/93-05/16/93

R/V Oceanus (8)	04/18/94-05/01/94	157.29	346.74	855.52	471.60

R/V Oceanus (1)	02/01/96-02/16/96	236.29	364.25	105.20	493.72

R/V Endeavor (2)	03/01/96-03/21/96	233.84	366.52	109.95	495.18

R/V Oceanus (3)	05/06/96-05/17/96	236.29	364.25	105.20	493.72

R/V S. Johnson (4)	06/22/96-06/30/96	236.29	364.25	105.20	493.72

R/V S. Johnson (5)	07/11/96-07/13/96	236.29	364.25	105.20	493.72

R/V S. Johnson (6)	07/19/96-07/27/96	236.29	364.25	105.20	493.72

R/V Oceanus (7)	10/07/96-10/17/96	236.29	364.25	105.20	493.72

_______________________________________________________________________

During normal operations, each of the standard gas mixtures was passed through the analyzer for 70 to 90 seconds at a rate of about 60 ml/min.  This replaced the IR

analyzer cell completely with the new gas.  The flow was stopped for 5 seconds and then a millivolt reading from the analyzer was taken and recorded.  Samples of equilibrated air and marine air were pumped through the analyzer for 180 seconds (3 minutes) at a rate of about 50 ml/min to purge the previous sample in the IR cell.  The flow was stopped for 5 seconds and a reading for the analyzer output was recorded.  This procedure was intended to eliminate errors due to fluctuations of the dynamic pressure within the IR cell by irregular gas flow rates.  The slow flow rates used for samples were required for the removal of water vapor using the PermaPure membrane dryer.  Between two sets of calibration runs using the five standard gases, 6 to 20 samples were analyzed depending upon the stability of the IR analyzer.

3-d)  Data Logging System:

The following values were recorded on a laptop computer.  The sample locations were derived from a GPS positioning unit that is a part of our surface water pCO2 system.  The CO2 readings for samples were recorded once every 3 minutes (180 seconds), and those for the standard gas mixtures once every 1.5 minutes.

Date,

Time (GMT),

Latitude,

Longitude,

Sample ID (standard gas cylinder numbers, seawater CO2, atmospheric CO2)

Barometric pressure in the laboratory (to 0.1 mb)

IR cell temperature,

Gas flow rate in the IR cell (to 0.1 ml/min),

Temperature of equilibration (to 0.01 oC),

Analyzer output (millivolts to 0.1 mv)

CO2 concentration in dry gas sample (preliminary based on the last response curve), and

pCO2 (preliminary value based on the last response curve).

3-e)  Data Reduction Procedures:

The concentration of CO2 in the sample was computed in the following way based on the millivolt reading and time of the reading.  The millivolt reading taken for each of the five standard gases at the time of sample measurement was computed by linearly interpolating as a function of time using the readings taken before and after the respective standard gases were analyzed.  This yields millivolt reading for each of the five standard gases at the time when the sample was analyzed.  These five values were fit to a quadratic equation .  This serves as the response curve.  The CO2 concentration in the sample was computed using the response curve that was established at the time of each sample analysis.  The method described above yields atmospheric CO2 values that are consistent with those reported for the South Pole and the Cape Grim by the Climate Monitoring and Diagnostics Laboratory/NOAA in Boulder, CO.

The partial pressure of CO2 in seawater, (pCO2)sw, at the temperature of equilibration, Teq, in the unit of microatmospheres (atm) was computed using the concentration of CO2 in dried equilibrated air (VCO2)eq in the following expression:

(pCO2)sw @ Teq = (Vco2)eq  x (Pb – Pw), .... .........................[1]

(Vco2)eq 	=  the mole fraction concentration (ppm) of CO2 in the dried equilibrated 			      	    carrier gas;

Pb 		=  the barometric pressure (that is equal to the total pressure of 				    	    equilibration) in atmospheres; and

Pw	=  the equilibrium water vapor pressure in atmospheres at Teq (oC) and salinity.

The water vapor pressure was computed using the following formulation;

Pw (atm) = (1/760)x(1 – 5.368x10-4x Sal)

x EXP{[0.0039476 – (1/TK)]/1.8752x10-4}, ....... [2]

where Sal is salinity on the Practical Salinity Scale measured using the ship’s thermosalinograph, and TK is the temperature of equilibration in oK.

The (pCO2)sw at the in-situ temperature, was computed using a constant value of 0.0423 % per oC for the effect of temperature (Takahashi et al., 1993):

(pCO2)sw @ T in-situ  = (pCO2)sw @ Teq x EXP[0.0423 x (Tin-situ – Teq)]. …[3]

The value for Tin-situ is taken to be the seawater temperature measured by the ship’s thermosalinograph at the time of pCO2 measurements. Teq is generally warmer than

Tin-situ by 0.5 ~ 0.8 oC.  Hence the temperature correction is normally less than 3% of pCO2 values.

The over all precision of the reported pCO2)sw values has been estimated to be about +1.5 atm.

4.  MEASUREMENTS OF pCO2  IN THE ATMOSPHERE AND SEA-AIR pCO2   DIFFERENCE

4-a)  Measurements:

The air measurement system is shown schematically in Fig. 1. Uncontaminated marine air samples were collected about 10 m above the sea surface using a DEKORON tubing (1/4” i.d., Calco Inc., PA), a thin-wall aluminum tubing protected by plastic outside casing.  The intake was located at the middle of the foremast about 10 m above the sea surface.  A KNF Neuberger air pump that was located near the IR analyzer was used to pump air through the tubing and into the IR analyzer.  Even when air samples were not analyzed, the pump was on all the time to keep the air flowing through the sampling line.  For the analysis, the air sample was passed through a water trap and a drying column to remove water vapor (the same PermaPure column as used for the equilibrated gas) and introduced into the IR cell for CO2 analysis at a rate of about 50 ml/min.  After 3 minutes of purging the cell, the flow was stopped for 5 seconds and the IR millivolt output reading was recorded.

4-b)  Data Processing:

The partial pressure of CO2 in the air, (pCO2)air, was computed in the unit of microatmospheres (atm) in the same way as that for seawater using Eq. [4] below:

(pCO2)air  = (Vco2)air  x  (Pb – Pw), .... .........................[4]

(Vco2)air 	=  the mole fraction concentration (ppm) of CO2 in the dried air sample;

Pb 		=  the barometric pressure at sea surface in atmospheres; and

Pw	=  the equilibrium water vapor pressure in atmospheres  at T in-situ (oC)  and

salinity given by Eq. [2].

The precision of the atmospheric pCO2 values have been estimated to be about

+ 1 atm.

4-c)  Results:

The results of our measurements were used for internal quality control purposes only, and are not reported here.  Due to the small size of the ships involved in this program, we were unable to eliminate stack-gas contamination of our intake.  Furthermore, being down wind from the northeastern United States and the large industrial and vehicle CO2 emissions seems to have contributed to excessive local variations we could not eliminate.

4-d)  Sea-air pCO2 difference:

Since the atmospheric CO2 concentrations measured aboard the ships during the project are not representative values for the marine air over our study areas as discussed above, we have used the weekly zonal mean concentrations of atmospheric CO2 in marine boundary layer reported in the GLOBALVIEW-CO2 (2000).   The pCO2 in marine air has been computed using Eq. [4], in which the following were used:  (1) climatological mean barometric pressure from Atlas of Surface Marine data (1994), (2) the observed SST, (3) the observed salinity when available, or an estimated salinity of 35.0.  The sea-air pCO2 difference, delta pCO2 sw-air, reported in the data table has been computed by subtracting the atmospheric pCO2 thus computed from the seawater pCO2 obtained using Eq. [3].

5.  SALINITY MEASUREMENTS:

The salinity data reported here were obtained from the shipboard analytical system.  Each of the five ships has a slightly different system, maintained in five different ways.  Since we have not been able to verify the quality of these data, we  report them as they were  provided to us aboard the ship.

6.  REFERENCES CITED

Atlas of Surface Marine Data (1994). CD-ROM NODC-56, Ocean Climate Laboratory, NOAA, Washington, D. C..

Bates, N. R., Takahashi, T., Chipman, D. W. and Knapp, A. H.  (1998). Variability of pCO2 on diel to seasonal time scales in the Sargasso Sea. Jour. Geophys. Res., 103, 15567-15585.

Chipman, D.W. and T. Takahashi (1995).  Determination of Ocean/Atmosphere Carbon Dioxide Flux within OMP Survey Area.  Final Technical Report for Grant DE-FG02-92ER61451, Lamont-Doherty Observatory of Columbia University, 16 pp.

CO2 Group, Lamont-Doherty Earth Observatory. (1999) “pCO2 Equilibrator Users Manual”,  LDEO of Columbia University, Palisade, NY, pp.10.

GLOBALVIEW-CO2 (2000). Cooperative Atmospheric Data Integration Project - Carbon Dioxide. CD-ROM, NOAA CMDL, Boulder, Colorado [Also available on Internet via anonymous FTP to ftp.cmdl.noaa.gov, Path: ccg/co2/GLOBALVIEW],

Takahashi, T., Olafsson, J., Goddard, J., Chipman, D. W. and Sutherland, S. C., (1993).

Seasonal variation of CO2 and nutrients in the high-latitude surface oceans: A comparative study.  Global Biogeochemical Cycles, 7, 843-878.

APPENDIX I.

Email Letter of Acknowledgement for CDIAC submittal:

Subject: Re: OMP Data Revision & Methods

Date: Fri, 4 May 2001 11:22:02 -0400 (EDT)

From: Alexander Kozyr 1000 ms6335 40390 <ako@akosun.sdi.utk.edu>

To: suth@ldeo.columbia.edu

Dear Stew,

Thank you for the data. I received the revised omp_pco2.rev1.txt file for

Ocean

Margins Program data. It consists of 9 legs (total 22, 355 records). I am

planning to perform the CDIAC QA-QC procedure and put this file along with

the

methods information on CDIAC web site for public use.

Regards,

Alex.

*******************************************

Alex Kozyr

CDIAC Oceanographic Data Analyst

The University of Tennessee

Systems Development Institute

2360 Cherahala Boulevard

Knoxville, TN 37932 USA

Tel: (865)946-1480

Fax: (865)946-1492

Electronic address:  akozyr@utk.edu

Ocean CO2 WWW Page: http://cdiac.esd.ornl.gov/oceans/home.html

*********************************************