## Sheet2
Metadata form for discrete measurement
( * =mandatory field)
Please submit this form to Benjamin Pfeil (benjamin.pfeil@bjerknes.uib.no) |  |  |  | to be filled out by the scientist
To be filled ou by the data management
Investigator* | Name* | Fiz Fernández Pérez
| Organization* | CSIC
| Address* | Inst. Invest. Marinas, C/Eduardo Cabello, 6, 36201-VIGO SPAIN
| Phone* | 34986231930
| Email* | fiz.perez@iim.csic.es
Chief scientist if not PI | Name* | Pascale Lherminier
| Organization* | LPO Ifremer - BREST
| Address* | B.P.70, 29280 PLOUZANE, FRANCE
| Phone* | (+33) 2 98 22 48 80
| Email* | Pascale.Lherminier@ifremer.fr
Dataset_Info* | Dataset ID* | OVIDE2006
Submission Dates (will be completed by the data management)
Cruise_Info* | Experiment Name*
Cruise ID
Section (Leg)
| Geographical Coverage* | North Atlantic
| Westernmost Longitude: | -42.4
| Easternmost Longitude: | -9
| Northernmost Latitude: | 63
| Southernmost Latitude: | 38.4
| Temporal Coverage | 20060523
20060627
Ports of Call
| Vessel* | Maria S. Merian
35TH ??
France
Institut Francais de Recherche pour l'Exploitation de la Mer and IOE
Variables Info*
Variable | Variable Name* | Please include station cast and bottle number!
Description of Variable: (E.g., in dry air)
Method Description*
Total CO2 data | TCO2 analysis method
Standarization technique
Field replicate info
Poisoning info
Accuracy info
Method references
Alkalinty | Curve Fitting Method | Double single point (4.45;4.41) Open flask
| Type of Titration | potentiometric
| Description of other Titration | TALK was measured using an automatic potentiometric titrator Titrando 809 Metrohm, with a Metrohm 6.0233.100 combination glass electrode and a Pt-1000 probe to check the temperature.
| Cell type | Open
| CRM scale | Dickson, Batch 74 At=2305.3 Ct=2085, pHT25=7.901
| Sample volume | 195 ml
| Magnitude of blank correction | none (HCl is made with MilliQ water)
| Accuracy info | The STD of all the TALK determinations for 23 deep closed bottles was 0.8 umolkg-1.
| Method references | Perez, F.F. and F. Fraga. (1987). A precise and rapid analytical procedure for alkalinity determination. Mar. Chem., 21, 169-182
pCO2 data | Analysis | Equilibration system for surface water.
Underway
2 liters
Double probe. Thermosalinograph.
non
yes. Takahashi slope 0.042
xCO2, fCO2, SST
Synthetic Gas
380
Daily
Field replicate info
Storage method
| Accuracy info | 1 ppm
| Method references | (Publication(s) decribing method)
pH data | pH scale | SWS scale @25deg.C
| pH analysis method | Spectrophotometrically, this method consists on adding a dye solution to the seawater sample, so that the ratio between two absorbances at two different wavelengths is proportional to the sample pH.
| Calibration info | In order to check the accuracy of the pH measurements, samples of CO2 reference material (CRM, batches 55 and 54, distributed by A.G. Dickson from the Scripps Institution of Oceanography) were analysed during the cruise.
NaN
25.0ºC
25.0ºC
Lab pressure
| Accuracy info | Uncertainty of +/- 0.0014, mean and standard deviation of differences was 0.0016 +/- 0.0015 (n=32)
| Method references | Clayton, T.D. and R.H. Byrne (1993). Spectrophotometric seawater pH measurements: total hydrogen ion concentration scale concentration scale calibration of m-cresol purple and at-sea results. Deep-Sea Res. I, Vol. 40, 10, 2115-2129.
Data set references | (Publication(s) decribing this data set)
Citation
Data Set Link | URL*
Label*
Link Note: (Optional instructions or remarks)