## meta
cruise |  | 2004-05
ship |  | Tully
dates |  | February 18-24, 2004
Chief Scientist |  | Marie Robert
Reference: | Miller, L.A., M. Davelaar, and J. Linguanti, 2009. Line P Inorganic Carbon Data Set, Cruise 2004-05, February 2004. Institute of Ocean Sciences, Fisheries and Oceans Canada, Sidney, BC, Canada.
DIC and alkalinity collected in bottles with ground glass stoppers sealed with Apiezon M grease, elastic bands, and plastic clips; bottles were most likely 500 mL, but it is possible that some or all were 250 mL
Poisoned w/ 100 microlitres saturated HgCl2
Samples stored at 4 C in the dark and analyzed ashore
Alkalinity and TIC analyses were taken from the same glass bottle
For raw data and details on CTD and nutrient data, see original data archived at the Institute of Ocean Sciences, Sidney, BC, Canada
flags
2 = good samle
3 = suspect sample
4 = bad sample
6 = mean of duplicate samples
9 = missing sample
Total dissolved inorganic carbon
Coulometric titration
| Reference: |  | Dickson, A.G., Sabine, C.L. and Christian, J.R. (Eds.) 2007. Guide to best practices for ocean CO2 measurements. PICES Special Publication 3, 191 pp.
technique for standardization |  |  | CRM water
analysis temperature (C) |  |  | 20
Standard used:
Dickson CRM |  |  | 57
Certified value |  |  | 2005.98 +/- 0.55
correction formula
(known standard value/measured standard value) X analyzed sample value X 1.0002 (HgCl2 correction)
Notes: | 123 | Large difference between replicates, different from replicate niskin
| 156 | Large difference between replicates
Replicate Analyses (same niskin)
| A | B | Average |  | absolute
| umol/kg | umol/kg | umol/kg | difference | difference
25 | 2366.0601 | 2365.6131 | 2365.8366 | 0.44709 | 0.44709
72 | 2394.2255 | 2393.5195 | 2393.8725 | 0.70599 | 0.70599
99 | 2379.105 | 2379.6345 | 2379.3697 | -0.52949 | 0.52949
123 | 2348.8323 | 2347.5969 | 2348.2146 | 1.2354 | 1.2354
153 | 2385.945 | 2385.749 | 2385.847 | 0.19594 | 0.19594
154 | 2385.3582 | 2385.1902 | 2385.2742 | 0.168 | 0.168
155 | 2385.7485 | 2386.8188 | 2386.2836 | -1.0703 | 1.0703
156 | 2385.7464 | 2386.9478 | 2386.3471 | -1.2015 | 1.2015
187 | 2355.8707 | 2355.5205 | 2355.6956 | 0.35022 | 0.35022
average variability: |  |  |  | 0.033495 | 0.65599
standard deviation of variability: |  |  |  | 0.81187 | 0.41987
Replicate Samples (different niskins)
|  | Average | STDDEV. | difference | absolute
| umol/kg | umol/kg | umol/kg | umol/kg | difference
25 | 2365.8366
26 | 2365.1122
|  | 2365.4744 |  | -0.7244 | 0.7244
72 | 2393.8725
73 | 2394.6979
|  | 2394.2852 |  | 0.82538 | 0.82538
99 | 2379.3697
100 | 2379.1102
|  | 2379.24 |  | -0.25948 | 0.25948
123 | 2348.2146
124 | 2349.4703
|  | 2348.8425 |  | 1.2556 | 1.2556
152 | 2386.1109
153 | 2385.847
154 | 2385.2742
155 | 2386.2836
156 | 2386.3471
|  | 2385.9726 | 0.43578
187 | 2355.6956
188 | 2356.2868
|  | 2355.9912 |  | 0.59119 | 0.59119
average variability: |  |  |  | 0.33767 |  | 0.68198
standard deviation of variability: |  |  |  | 0.81077 |  | 0.34606
Precision estimate: |  |  | 0.68 | umol/kg
Total Alkalinity
Potentiometric titration
| Reference: |  | Dickson, A.G., Sabine, C.L. and Christian, J.R. (Eds.) 2007. Guide to best practices for ocean CO2 measurements. PICES Special Publication 3, 191 pp.
Cell type |  |  | Open
Endpoint determination |  |  | Gran plot
Standards used:
Dickson CRM |  |  | 57
certified value |  |  | 2230.33 +/- 0.66
IOS Standard |  |  | IOS13
calibrated value |  |  | 2280.8 +/- 1.1
Acid batch |  |  | 3
acid concentration |  |  | 0.09967
sample volume |  |  | 70-80 grams
correction formula
(known standard value/measured standard value) X analyzed sample value X 1.0002 (HgCl2 correction)
Notes: | 36 | Unstable analysis
| 31 | Unstable analysis
| 26 | Unstable analysis
| 70 | High relative to historical experience
| 116 | Suspect calibration
| 115 | Suspect calibration
| 114 | Suspect calibration
| 113 | Suspect calibration
| 125 | Suspect calibration
| 153 | Suspect calibration
| 207 | Suspect calibration
| 206 | Suspect calibration
| 205 | Suspect calibration
| 204 | Suspect calibration
| 203 | Suspect calibration
| 202 | Suspect calibration
| 201 | Suspect calibration
| 200 | Suspect calibration
| 199 | Suspect calibration
| 197 | Suspect calibration
| 186 | High relative to historical experience
| 185 | High relative to historical experience
Replicate Analyses
| A | B | Average | Difference | Absolute
| umol/kg | umol/kg | umol/kg | umol/kg | Difference
25 | 2379.4485 | 2379.9913 | 2379.7199 | -0.54279 | 0.54279
72 | 2407.8694 | 2409.2785 | 2408.574 | -1.4091 | 1.4091
99 | 2431.427 | 2429.2569 | 2431.427 |  |  | Suspect calibration
123 | 2446.4249 | 2448.0649 | 2448.0649 |  |  | Suspect calibration
153 | 2416.9455 | 2415.0269 | 2415.9862 | 1.9187 | 1.9187
154 | 2419.114 | 2419.3789 | 2419.3789 |  |  | Suspect calibration
155 | 2415.8763 | 2419.2288 | 2419.2288 |  |  | Suspect calibration
156 | 2418.8832 | 2418.0248 | 2418.8832 |  |  | Suspect calibration
187 | 2436.6828 | 2433.2131 | 2436.6828 |  |  | Suspect calibration
average variability: |  |  |  | -0.011089 | 1.2902
standard deviation of variability: |  |  |  | 1.7264 | 0.6956
Replicate Samples (different niskins)
|  | Average | STDDEV. | difference | absolute
| umol/kg | umol/kg | umol/kg | umol/kg | difference
25 | 2379.7199
26 | 2374.9002 |  |  |  |  | Unstable analysis
2377.3101
72 | 2408.574
73 | 2405.8689
|  | 2407.2215 |  | -2.7051 | 2.7051
99 | 2431.427
100 | 2429.2664
|  | 2430.3467 |  | -2.1605 | 2.1605
123 | 2448.0649
124 | 2446.767
|  | 2447.4159 |  | -1.2979 | 1.2979
152 | 2419.859
153 | 2415.9862
154 | 2419.3789
155 | 2419.2288
156 | 2418.8832
|  | 2418.6672 | 1.5392
187 | 2436.6828
188 | 2437.543
|  | 2437.1129 |  | 0.8602 | 0.8602
average variability: |  |  |  | -1.3258 |  | 1.7126
standard deviation of variability: |  |  |  | 1.5683 |  | 0.72702
Precision estimate: |  |  | 1.7 | umol/kg
Version control
2010-05-18 | Temperature and nutrient data added; raw data removed