## meta
cruise |  | 2004-10
ship |  | Tully
dates |  | June 2 - 16 2004
Chief Scientist |  | Marie Robert
Samples collected for the Line P timeseries and for a special project
Reference: |  | Miller, L.A., Davelaar, M., and Linguanti, J., 2008. Line P Inorganic Carbon Data Set, Cruise 2004-10, June 2004. Institute of Ocean Sciences, Fisheries and Oceans Canada, Sidney, BC, Canada.
All samples were collected in 500 ml bottles to which 100 microlitres of HgCl2 was added
Both TIC and Alkalinity were run from the same bottle
For raw data and details on CTD and nutrient data, see original data archived at the Institute of Ocean Sciences, Sidney, BC, Canada
flags
2 = good samle
3 = suspect sample
4 = bad sample
6 = mean of duplicate samples
9 = missing sample
Total dissolved inorganic carbon
technique for standardization |  |  | Na2CO3
sample volume |  |  | see raw data
Standards used:
IOS standard |  |  | IOS13
calibrated value |  |  | 2088.345
Dickson water |  |  | CRM57
calibrated value |  |  | 2005.98
correction formula
(known standard value/measured standard value) X analyzed sample value X 1.0002 (HgCl2 correction)
Notes: | 11&12 | Duplicate niskins gave different values
| 95 | Niskin leaked
| 364 | Large difference between replicates and from replicate niskins
Replicate Analyses (same niskin)
| A | B | Average | Difference | Absolute
| umol/kg | umol/kg |  |  | Difference
14 | 2362.2945 | 2362.9231 | 2362.6088 | 0.62857 | 0.62857
93 | 2381.9504 | 2381.4518 | 2381.7011 | -0.49854 | 0.49854
140 | 2378.7095 | 2379.7045 | 2379.207 | 0.99497 | 0.99497
181 | 2357.3804 | 2357.7644 | 2357.5724 | 0.38398 | 0.38398
249 | 2382.0441 | 2382.3488 | 2382.1965 | -0.3047 | 0.3047
360 | 2386.9201 | 2386.3938 | 2386.6569 | 0.52634 | 0.52634
361 | 2386.3133 | 2386.2025 | 2386.2579 | 0.11081 | 0.11081
362 | 2386.2586 | 2385.5822 | 2385.9204 | 0.67647 | 0.67647
363 | 2382.9229 | 2382.2305 | 2382.5767 | 0.69238 | 0.69238
364 | 2376.3733 | 2375.0162 | 2375.6948 | -1.3572 | 1.3572
average variability: |  |  |  | 0.18531 | 0.61739
standard deviation of variability: |  |  |  | 0.71482 | 0.35439
Replicate Samples (different niskins)
|  | Average | stdev | difference | absolute
| umol/kg | umol/kg | umol/kg | umol/kg | difference
11 | 2380.3543
12 | 2381.9209
|  | 2381.1376 |  | 1.5667 | 1.5667
14 | 2362.6088
15 | 2363.421
|  | 2363.0149 |  | 0.81219 | 0.81219
16 | 2347.5794
17 | 2347.218
|  | 2347.3987 |  | -0.36144 | 0.36144
93 | 2381.7011
94 | 2381.8938
|  | 2381.7974 |  | 0.19264 | 0.19264
140 | 2379.207
141 | 2378.6394
|  | 2378.9232 |  | -0.56762 | 0.56762
181 | 2357.5724
182 | 2356.6532
|  | 2357.1128 |  | -0.91922 | 0.91922
360 | 2386.6569
361 | 2386.2579
362 | 2385.9204
363 | 2382.5767
364 | 2375.6948 |  |  |  |  | Outgassing during sampling?
|  | 2383.4213 | 4.6145 |  |  | Q-tested out.
average variability: | [5 empty] | 0.73663
standard deviation of variability: | [5 empty] | 0.48852
Precision estimate: |  | 0.74 | umol/kg
Total Alkalinity
Type of titration |  |  | Open cell
Endpoint determination |  |  | Gran plot
Standards used:
Dickson CRM |  |  | 57
certified value |  |  | 2230.33
IOS standard |  |  | IOS13
calibrated value |  |  | 2280.33
Acid batch |  |  | 3
acid concentration |  |  | 0.09967
sample mass |  |  | 70-80 grams
correction formula
(known standard value/measured standard value) X analyzed sample value X 1.0002 (HgCl2 correction)
Notes: | 16&17 | Duplicate niskins gave different values
| 21 | Outlier
| 95 | Niskin leaked
| 137 | Unstable titration
| 181 | Large difference between replicates
| 360 | Large difference between replicates
Replicate Analyses
| A | B | Average | Difference | Absolute
| umol/kg | umol/kg | umol/kg | umol/kg | Difference
14 | 2380.433 | 2381.7453 | 2381.0891 | 1.3123 | 1.3123
93 | 2415.4299 | 2413.3344 | 2414.3821 | -2.0955 | 2.0955
140 | 2365.8463 | 2366.0796 | 2365.9629 | 0.23328 | 0.23328
181 | 2431.9097 | 2429.6867 | 2430.7982 | -2.223 | 2.223
249 | 2416.4786 | 2414.685 | 2415.5818 | -1.7936 | 1.7936
360 | 2428.1774 | 2425.8487 | 2427.0131 | -2.3287 | 2.3287
361 | 2429.58 | 2429.5005 | 2429.5402 | -0.079479 | 0.079479
362 | 2427.4361 | 2426.1174 | 2426.7768 | -1.3187 | 1.3187
363 | 2432.8717 | 2432.512 | 2432.6919 | -0.35964 | 0.35964
364 | 2425.2573 | 2425.4775 | 2425.3674 | 0.22015 | 0.22015
|  |  | average | -0.84328 | 1.1964
|  | standard deviation |  | 1.272 | 0.90417
Replicate Samples (different niskins)
|  | Average | stdev | difference | absolute
| umol/kg | umol/kg | umol/kg | umol/kg | difference
11 | 2399.6094
12 | 2398.866
|  | 2399.2377 |  | -0.74347 | 0.74347
14 | 2381.0891
15 | 2381.4014
|  | 2381.2453 |  | 0.31232 | 0.31232
16 | 2369.5199
17 | 2365.9163
|  | 2367.7181 |  | -3.6036 | 3.6036
93 | 2414.3821
94 | 2413.2654
|  | 2413.8238 |  | -1.1167 | 1.1167
140 | 2365.9629
141 | 2364.1225
|  | 2365.0427 |  | -1.8405 | 1.8405
181 | 2430.7982
182 | 2431.4967
|  | 2431.1475 |  | 0.6985 | 0.6985
360 | 2427.0131
361 | 2429.5402
362 | 2426.7768
363 | 2432.6919
364 | 2425.3674
|  | 2428.2779 | 2.8897
average variability: | [5 empty] | 1.6007
standard deviation of variability: | [5 empty] | 1.2365
Precision estimate: |  | 1.6 | umol/kg
Version control
2010-05-18 | Temperature, salinity, and nutrient data added