## Metadata
Cruise |  | 2004-20
Ship |  | CCGS John P. Tully
Dates |  | August 21 - September 2, 2004
Chief Scientist |  | Frank Whitney
Reference: |  | Miller, L.A., M. Davelaar, and J. Linguanti, 2009. Line P Inorganic Carbon Data Set, Cruise 2004-20, August 2004. Institute of Ocean Sciences, Fisheries and Oceans Canada, Sidney, BC, Canada.
Samples were most likely collected in 500 mL bottles (although they may have been in 250 mL bottles) to which 100 microlitres of HgCl2 was added.
Alkalinity and DIC samples were analyzed from the same bottle.
For raw data and details on CTD and nutrient data, see original data archived at the Institute of Ocean Sciences, Sidney, BC, Canada
flags
2 = good samle
3 = suspect sample
4 = bad sample
6 = mean of duplicate samples
9 = missing sample
Total dissolved inorganic carbon
Coulometric titration
| Reference: |  | DOE (1994) Handbook of methods for the analysis of the various parameters of the carbon dioxide system in sea water.Version 2, A. G. Dickson & C. Goyet, eds. ORNL/CDIAC-74
technique for standardization |  |  | CRM water
analysis temperature (C) |  |  | 20
Standards used:
Dickson CRM |  |  | 61
certified value |  |  | 1998.17 +/- 0.24
IOS standard |  |  | 13
calibrated value |  |  | 2088.40 +/- 0.41
Correction formula:
(known standard value/measured standard value) X analyzed sample value X 1.0002 (HgCl2 correction)
Notes: | 67 | Large difference from replicate niskin
| 68 | Large difference from replicate niskin
| 114 | Large difference between replicates
| 149 | Low compared to historical data
Replicate Analyses (same niskin)
| A | B | Average | Difference | Absolute
| umol/kg | umol/kg | umol/kg | umol/kg | Difference
13 | 2367.8312 | 2367.5608 | 2367.696 | 0.27037 | 0.27037
67 | 2281.3761 | 2280.7976 | 2281.0869 | 0.5785 | 0.5785
95 | 2229.9652 | 2229.7448 | 2229.855 | 0.22036 | 0.22036
114 | 2385.9294 | 2384.7161 | 2385.3227 | 1.2134 | 1.2134
145 | 2380.7341 | 2380.608 | 2380.671 | 0.12615 | 0.12615
206 | 2382.8563 | 2383.0765 | 2382.9664 | -0.22024 | 0.22024
207 | 2383.9868 | 2383.8954 | 2383.9411 | 0.091388 | 0.091388
208 | 2384.5841 | 2384.3707 | 2384.4774 | 0.2134 | 0.2134
209 | 2384.7218 | 2384.0883 | 2384.405 | 0.63358 | 0.63358
210 | 2384.4206 | 2384.7236 | 2384.5721 | -0.30302 | 0.30302
average variability: |  |  |  | 0.28239 | 0.38704
standard deviation of variability: |  |  |  | 0.44004 | 0.34029
Replicate Samples (different niskins)
|  | Average | STDDEV. | difference | absolute
| umol/kg | umol/kg | umol/kg | umol/kg | difference
13 | 2367.696
14 | 2367.8948
|  | 2367.7954 |  | 0.19875 | 0.19875
67 | 2281.0869
68 | 2279.1495
|  | 2280.1182 |  | -1.9373 | 1.9373
95 | 2229.855
96 | 2228.3683
|  | 2229.1117 |  | -1.4867 | 1.4867
114 | 2385.3227
115 | 2386.4511
|  | 2385.8869 |  | 1.1283 | 1.1283
206 | 2382.9664
207 | 2383.9411
208 | 2384.4774
209 | 2384.405
210 | 2384.5721
|  | 2384.0724 | 0.66424
average variability: |  |  |  | -0.52425 |  | 1.0831
standard deviation of variability: |  |  |  | 1.4349 |  | 0.68048
Precision estimate: |  | 1.1 | umol/kg
Total Alkalinity
Potentiometric titration
| Reference: |  | DOE (1994) Handbook of methods for the analysis of the various parameters of the carbon dioxide system in sea water.Version 2, A. G. Dickson & C. Goyet, eds. ORNL/CDIAC-74
Type of titration |  |  | Open cell
Endpoint determination |  |  | Gran plot
Standards used:
Dickson CRM |  |  | 61
certified value |  |  | 2202.04 +/- 1.23 |  | 2280.8
IOS standard |  |  | 13
calibrated value |  |  | 2280.8 +/- 1.1
Acid batch |  |  | 3
acid concentration |  |  | 0.09967
sample weight |  |  | 70-80 grams
correction formula:
(known standard value/measured standard value) X analyzed sample value X 1.0002 (HgCl2 correction)
Notes: | Many of the alkalinity data from this cruise appear to be biased high
| 13 | Large difference from replicate niskin
| 14 | Large difference from replicate niskin
| 130 | Poor calibration
| 124 | Poor calibration
| 125 | Poor calibration
| 126 | Poor calibration
| 208 | Large difference between replicates
| 209 | Poor calibration
| 210 | Poor calibration
Replicate Analyses (same niskin)
| A | B | Average | Difference | Absolute
| umol/kg | umol/kg | umol/kg | umol/kg | Difference
13 | 2382.7515 | 2381.7369 | 2382.2442 | 1.0147 | 1.0147
67 | 2318.6348 | 2320.3411 | 2319.4879 | -1.7062 | 1.7062
95 | 2283.1203 | 2283.8133 | 2283.4668 | -0.69304 | 0.69304
114 | 2427.1945 | 2423.9372 | 2425.5659 | 3.2573 | 3.2573
145 | 2433.5197 | 2436.0592 | 2434.7894 | -2.5394 | 2.5394
206 | 2421.3043 | 2421.1332 | 2421.2187 | 0.17102 | 0.17102
207 | 2421.5963 | 2418.9599 | 2420.2781 | 2.6364 | 2.6364
208 | 2417.069 | 2422.4824 | 2419.7757 |  |  | A: poor calibration; B: unstable analysis
209 | 2419.4198 | 2420.1308 | 2419.7753 | -0.71103 | 0.71103
210 | 2418.8336 | 2420.9946 | 2419.9141 | -2.1611 | 2.1611
average variability: |  |  |  | -0.081268 | 1.6545
standard deviation of variability: |  |  |  | 2.0487 | 1.0607
Replicate Samples (different niskins)
|  | Average | STDDEV. | difference | absolute
| umol/kg | umol/kg | umol/kg | umol/kg | difference
13 | 2382.2442
14 | 2378.7151
|  | 2380.4796 |  | -3.5291 | 3.5291
67 | 2319.4879
68 | 2319.9046
|  | 2319.6963 |  | 0.41668 | 0.41668
95 | 2283.4668
96 | 2286.3955
|  | 2284.9311 |  | 2.9287 | 2.9287
114 | 2425.5659
115 | 2426.673
|  | 2426.1194 |  | 1.1071 | 1.1071
206 | 2421.2187
207 | 2420.2781
208 | 2419.7757
209 | 2419.7753
210 | 2419.9141
|  | 2420.1924 | 0.60947
average variability: |  |  |  | 0.23083 |  | 1.7182
standard deviation of variability: |  |  |  | 2.7214 |  | 1.4179
Precision estimate: |  | 1.7 | umol/kg
Version control
2009-08-11 | Initial archiving
2010-05-18 | Temperature and nutrient data added; raw data removed