## meta
Cruise |  | 2007-01
Ship |  | CCGS John P. Tully
Dates |  | February 8-23, 2007
Chief Scientist |  | Marie Robert
Reference: |  | Miller, L.A., M. Davelaar, and J. Linguanti, 2009. Line P Inorganic Carbon Data Set, Cruise 2007-01, February 2007. Institute of Ocean Sciences, Fisheries and Oceans Canada, Sidney, BC, Canada.
All samples were collected in 500ml bottles, to which 100 microlitres of HgCl2 was added.
Alkalinity and DIC samples were analyzed from the same bottle.
For raw data and details on CTD and nutrient data, see original data archived at the Institute of Ocean Sciences, Sidney, BC, Canada
flags
2 = good samle
3 = suspect sample
4 = bad sample
6 = mean of duplicate samples
9 = missing sample
Total inorganic carbon
Coulometric titration
| Reference: |  | DOE (1994) Handbook of methods for the analysis of the various parameters of the carbon dioxide system in sea water.Version 2, A. G. Dickson & C. Goyet, eds. ORNL/CDIAC-74
technique for standardization |  |  | Na2CO3
analysis temperature (C) |  |  | 20
Standards used:
Dickson CRM |  |  | 73
certified value |  |  | 2057.30+/-0.45
IOS standard |  |  | 14
calibrated value |  |  | 2036.68 +/- 0.45
correction formula:
(known standard value/measured standard value) X analyzed sample value X 1.0002 (HgCl2 correction)
Notes: | Many data from stations P16 and P20, particularly from deep samples, are highly suspect and inconsistent with historical experience
| 160 | Bad calibration, low compared to historical data
| 161 | Misfire; Bad calibration
| 162 | Bad calibration
| 163 | Bad calibration, low compared to historical data
| 164 | Misfire; Bad calibration
| 165 | Bad calibration, low compared to historical data
| 170 | Niskin fired @ 600.8 dbar, likely closed @ 1500 m
| 176 | Niskin fired @ 151.4 dbar, likely closed @ 300 m
| 202 | Low compared to historical data; Spurious blank
| 203 | Large difference from replicate niskin
| 204 | Large difference from replicate niskin
| 206 | Unstable analysis, low compared to historical data
| 212 | Bottle leaked?
Replicate Analyses (same niskin)
| A | B | Average | Difference | Absolute
| umol/kg | umol/kg | umol/kg | umol/kg | Difference
49 | 2371.7791 | 2370.763 | 2371.2711 | -1.0161 | 1.0161
125 | 2385.0734 | 2384.5373 | 2384.8054 | -0.53609 | 0.53609
163 | 2234.7114 | 2333.1402 | 2234.7114 |  |  | Bad calibration
203 | 2372.3348 | 2354.5817 | 2372.3348 |  |  | unstable analyses
250 | 2369.7758 | 2369.155 | 2369.4654 | -0.62075 | 0.62075
386 | 2387.5478 | 2387.5196 | 2387.5337 | -0.028217 | 0.028217
387 | 2389.6812 | 2389.0604 | 2389.3708 | -0.62084 | 0.62084
388 | 2388.5519 | 2388.3826 | 2388.4672 | -0.16932 | 0.16932
389 | 2388.4543 | 2389.4849 | 2388.9696 | 1.0307 | 1.0307
390 | 2389.9495 | 2388.9618 | 2389.4557 | -0.98768 | 0.98768
average variability: |  |  |  | -0.36854 | 0.6262
standard deviation of variability: |  |  |  | 0.66238 | 0.38187
Replicate Samples (different niskins)
|  | Average | STDDEV. | difference | absolute
| umol/kg | umol/kg | umol/kg | umol/kg | difference
49 | 2371.2711
50 | 2371.4122
|  | 2371.3417 |  | 0.14116 | 0.14116
124 | 2384.7632
125 | 2384.8054
|  | 2384.7843 |  | 0.042188 | 0.042188
162 | 2229.1906
163 | 2234.7114
|  | 2231.951 |  |  |  | Bad calibration
203 | 2372.3348
204 | 2375.2257
|  | 2373.7802 |  | 2.8909 | 2.8909
386 | 2387.5337
387 | 2389.3708
388 | 2388.4672
389 | 2388.9696
390 | 2389.4557
|  | 2388.7594 | 0.78906
average variability: |  |  |  | 1.0247 |  | 0.96583
standard deviation of variability: |  |  |  | 1.6169 |  | 1.3254
Precision estimate: |  | 0.97 | umol/kg
Total Alkalinity
Potentiometric titration
| Reference: |  | DOE (1994) Handbook of methods for the analysis of the various parameters of the carbon dioxide system in sea water.Version 2, A. G. Dickson & C. Goyet, eds. ORNL/CDIAC-74
Cell type |  |  | Open
Endpoint determination |  |  | Modified Gran plot
Standards used:
Dickson CRM |  |  | 73
certified value |  |  | 2253.50+/-0.84
IOS standard |  |  | 14
calibrated value |  |  | 2268.8 +/-1.2
Acid batch |  |  | 6
acid concentration |  |  | 0.098069
sample weight |  |  | 70-80 grams
correction formula:
(known standard value/measured standard value) X analyzed sample value X 1.0002 (HgCl2 correction)
Notes: | Many data from stations P16 and P20, particularly from deep samples, are highly suspect and inconsistent with historical experience
| 130 | Low compared to historical data
| 160 | Bad calibration
| 161 | Misfire; Bad calibration
| 162 | Bad calibration
| 163 | Bad calibration, large difference between replicates
| 164 | Misfire; Bad calibration
| 165 | Bad calibration
| 166 | Suspect calibration
| 170 | Niskin fired @ 600.8 dbar, likely closed @ 1500 m
| 171 | Suspect calibration
| 172 | Suspect calibration
| 173 | Suspect calibration
| 176 | Niskin fired @ 151.4 dbar, likely closed @ 300 m
| 201 | Suspect calibration
| 202 | Low compared to historical data
| 204 | Suspect calibration
| 206 | Suspect calibration
| 207 | Suspect calibration
| 208 | Suspect calibration
| 209 | Suspect calibration
| 210 | Suspect calibration
| 211 | Suspect calibration
| 212 | Bottle leaked?; Suspect calibration
| 250 | Low compared to historical data
| 258 | Low compared to historical data
| 387 | Large difference betwen duplicates
Replicate Analyses (same niskin)
| A | B | Average | Difference | Absolute
| umol/kg | umol/kg | umol/kg | umol/kg | Difference
49 | 2361.8837 | 2360.9428 | 2361.4132 | -0.9409 | 0.9409
125 | 2388.8752 | 2390.8172 | 2389.8462 | 1.942 | 1.942
163 | 2431.9953 | 2437.1459 | 2434.5706 |  |  | Bad calibration, unstable electrode
203 | 2432.439 | 2432.3007 | 2432.3698 | -0.13832 | 0.13832
250 | 2414.584 | 2414.4438 | 2414.5139 | -0.14013 | 0.14013
386 | 2414.5553 | 2414.2155 | 2414.3854 | -0.3398 | 0.3398
387 | 2414.6169 | 2417.4968 | 2416.0568 | 2.8799 | 2.8799
388 | 2417.9848 | 2417.6745 | 2417.8296 | -0.31032 | 0.31032
389 | 2414.8827 | 2416.7736 | 2415.8281 | 1.8909 | 1.8909
390 | 2413.108 | 2413.5077 | 2413.3079 | 0.39971 | 0.39971
average variability: |  |  |  | 0.58255 | 0.99798
standard deviation of variability: |  |  |  | 1.3173 | 0.99825
Replicate Samples (different niskins)
|  | Average | STDDEV. | difference | absolute
| umol/kg | umol/kg | umol/kg | umol/kg | difference
49 | 2361.4132
50 | 2360.132
|  | 2360.7726 |  | -1.2812 | 1.2812
124 | 2391.0575
125 | 2389.8462
|  | 2390.4518 |  | -1.2112 | 1.2112
162 | 2430.3706
163 | 2434.5706
|  | 2432.4706 |  |  |  | Unstable electode
203 | 2432.3698
204 | 2422.7861
|  | 2427.578 |  |  |  | Poor calibrations
386 | 2414.3854
387 | 2416.0568
388 | 2417.8296
389 | 2415.8281
390 | 2413.3079
|  | 2415.4816 | 1.7242
average variability: |  |  |  | -1.2462 |  | 1.4055
standard deviation of variability: | [5 empty] | 0.27815
Precision estimate: |  | 1.4 | umol/kg
Version control
2009-01-30 | Initial archiving
2010-05-18 | Temperature and nutrient data added; raw data removed