## metadata
cruise |  | 2007-15
ship |  | Tully
dates |  | August 14-September 2 2007
Chief Scientist |  | Marie Robert
Reference: |  | Miller, L.A., Davelaar, M., and Linguanti, J., 2008. Line P Inorganic Carbon Data Set, Cruise 2007-15, August-Septmeber 2007. Institute of Ocean Sciences, Fisheries and Oceans Canada, Sidney, BC, Canada.
All samples were collected in 500 ml bottles to which 100 microlitres of HgCl2 was added
Both DICand Alkalinity were analyzed from the same bottle
For raw data and details on CTD and nutrient data, see original data archived at the Institute of Ocean Sciences, Sidney, BC, Canada
flags
2 = good samle
3 = suspect sample
4 = bad sample
6 = mean of duplicate samples
9 = missing sample
Total dissolved inorganic carbon
technique for standardization |  |  | Na2CO3
analysis temperature (C) |  |  | 20
Standards used:
Dickson CRM |  |  | 73
certified value |  |  | 2057.30+/-0.45
IOS standard |  |  | 14
calibrated value |  |  | 2036.68
correction formula
(known standard value/measured standard value) X analyzed sample value X 1.0002 (HgCl2 correction)
Notes: | 82 | Niskin misfire
| 416 | Large difference between replicates
Replicate Analyses (same niskin)
| A | B | C | Average | St. dev. | Difference | Absolute
| umol/kg | umol/kg | umol/kg | umol/kg | umol/kg | umol/kg | Difference
124 | 2357.3305 | 2356.7803 |  | 2357.0554 |  | 0.55022 | 0.55022
183 | 2372.1824 | 2371.7858 |  | 2371.9841 |  | 0.39667 | 0.39667
270 | 2370.1013 | 2370.611 |  | 2370.3561 |  | -0.50968 | 0.50968
329 | 2341.6183 | 2342.2834 |  | 2341.9508 |  | -0.66506 | 0.66506
412 | 2352.372 | 2351.0938 | 2351.8741 | 2351.78 | 0.64423
413 | 2353.131 | 2352.3775 | 2352.3304 | 2352.613 | 0.44923
414 | 2352.3495 | 2353.3984 | 2353.3141 | 2353.0206 | 0.58277
415 | 2354.2452 | 2352.7785 | 2353.4531 | 2353.4923 | 0.73409
416 | 2353.3891 | 2352.638 | 2354.9424 | 2353.6565 | 1.1752
average variability: | [5 empty] | -0.056964 |  | 0.63413
standard deviation of variability: | [5 empty] | 0.61892 |  | 0.22902
Replicate Samples (different niskins)
|  | Average | STDDEV. | difference | absolute
| umol/kg | umol/kg | umol/kg | umol/kg | difference
76 | 2377.5798
77 | 2376.8233
|  | 2377.2015 |  | -0.75653 | 0.75653
124 | 2357.0554
125 | 2356.169
|  | 2356.6122 |  | -0.88635 | 0.88635
182 | 2371.8756
183 | 2371.9841
|  | 2371.9299 |  | 0.10852 | 0.10852
270 | 2370.3561
271 | 2370.0918
|  | 2370.224 |  | -0.26433 | 0.26433
412 | 2351.78
413 | 2352.613
414 | 2353.0206
415 | 2353.4923
416 | 2353.6565
|  | 2352.9125 | 0.75394
average variability: |  |  |  | -0.44967 |  | 0.55393
standard deviation of variability: |  |  |  | 0.45854 |  | 0.34417
Precision estimate: |  | 0.63 | umol/kg
Total Alkalinity
Type of titration |  |  | Open cell
Endpoint determination |  |  | Gran plot
Standards used:
Dickson CRM |  |  | 73
certified value |  |  | 2253.50+/-0.84
IOS standard |  |  | 14
calibrated value |  |  | 2268.75
Acid batch |  |  | 6
acid concentration (mol/kg) |  |  | 0.098069
sample mass |  |  | 70-80 grams
correction formula
(known standard value/measured standard value) X analyzed sample value X 1.0002 (HgCl2 correction)
Notes: | 82 | Niskin misfire
| 183 | Large difference between replicates
| 271 | Poor titration curve
Replicate Analyses
| A | B | C | Average | Stdev | Difference | Absolute
| umol/kg | umol/kg | umol/kg | umol/kg | umol/kg | umol/kg | Difference
124 | 2430.0239 | 2430.6093 |  | 2430.3166 |  | -0.58543 | 0.58543
183 | 2426.0435 | 2427.607 |  | 2426.8253 |  | -1.5635 | 1.5635
270 | 2424.871 | 2425.6709 |  | 2425.271 |  | -0.79991 | 0.79991
329 | 2425.7023 | 2424.7598 |  | 2425.231 |  | 0.94251 | 0.94251
412 | 2421.6033 | 2422.9381 | 2422.4962 | 2422.3459 | 0.67999
413 | 2426.747 | 2425.8259 | 2425.7657 | 2426.1128 | 0.55
414 | 2423.3453 | 2421.8264 | 2421.7045 | 2422.2921 | 0.91419
415 | 2424.3186 | 2424.1619 | 2426.0329 | 2424.8378 | 1.0379
416 | 2424.0695 | 2423.4586 | 2422.338 | 2423.2887 | 0.87815
average variability: | [5 empty] | -0.50158 |  | 0.88351
standard deviation of variability: | [5 empty] | 1.0503 |  | 0.30397
Replicate Samples (different niskins)
|  | Average | STDDEV. | difference | absolute
| umol/kg | umol/kg | umol/kg | umol/kg | difference
76 | 2364.6105
77 | 2361.4202
|  | 2363.0153 |  | -3.1902 | 3.1902
124 | 2430.3166
125 | 2429.4595
|  | 2429.888 |  | -0.85712 | 0.85712
182 | 2427.884
183 | 2426.8253
|  | 2427.3546 |  | -1.0587 | 1.0587
270 | 2425.271
271 | 2420.5115 | [5 empty] | poor titration curve
2422.8913
412 | 2422.3459
413 | 2426.1128
414 | 2422.2921
415 | 2424.8378
416 | 2423.2887
|  | 2423.7755 | 1.6638
average variability: |  |  |  | -1.702 |  | 1.6925
standard deviation of variability: |  |  |  | 1.2928 |  | 1.0557
Precision estimate: |  | 1.7 | umol/kg
Version control
2010-05-18 | Temperature and nutrient data added