## VOS_New_Century2
Investigators | Name: | Shin-ichiro Nakaoka
| Organization: | National Institute for Environmental Studies
| Address: | 16-2 Onogawa, Tsukuba, Ibaraki, 305-8506, Japan
| Phone: | +81-29-850-2554
| Email: | nakaoka.shinichiro@nies.go.jp
Funding Info: | NIES, MOE, MEXT, DIAS
Submission data | Initial: | 20160112
Platform Type: | Ship
Vessel Name: | M/S New Century2
Cruise: | NC108E - NC121W
Geographical Coverage: North Pacific, North Atlantic
Ports of Call:
Tahara
Toyohashi
Benicia
Jacksonville
Long Beach
New Westminster
Newark
Portland
Vancouver
others
Bounds: | North | West | South | East
| 60 | 120 | 6 | -60
Temporal Coverage: Start Date |  | 2014-04-11 | End Date: | 2015-10-23
Variable Info:
Description of Variable
| Variable Name | unit | column
| yyyymmdd |  | 1
| hhmmss |  | 2
| utc |  | 3
| Lat | degree | 4
| Lon | degree | 5
| ShipSpeed | KT | 6
| TrueHeading | degree | 7
| SLP | hPa | 8
| Air xCO2 | uatm | 9
| Air fCO2 | uatm | 12
| Air pCO2 | uatm | 15
| EQTemp | DEG_C | 18
| SST | DEG_C | 19
| EQP(hPa) | hPa | 21
| xCO2_Eq | ppm | 22
| fCO2_Eq | uatm | 24
| fCO2_SST | uatm | 26
| xCO2_SST | ppm | 28
| pCO2_SST | uatm | 30
| delta fCO2 | uatm | 32
| delta xCO2 | ppm | 33
| delta pCO2 | uatm | 34
| Salinity |  | 35
Method Sampling and Equilibrator Design:
Description: Depth of Sea Water Intake: 7 (m)
Location of Sea Water Intake: bottom at stern
Equilibrator Type: Tandem Type Equilibrator
Equilibrator Volume: approx. 30L
Water Flow Rate: 20 L/min
Headspace Gas Flow Rate: 500 ml/min
Vented: Yes
Drying Method for CO2 in Water: Dehumidifier and Membrane Dryer
System Design:
CO2 Sensor: | Measurement Method: NDIR measurement of dry base xCO2 in seawater equilibrated air
Manufacturer: Kimoto Electric Co., Osaka, Japan.
Model: MOG-701 using LI-7000 CO2 Analyzer by LI-COR
Environmental Control:
Frequency: 10sec (except during calibration routines 90min*2/day)
Accuracy of CO2 Water: 0.1ppm
Accuracy of CO2 Air: 0.1ppm
Precision of CO2 Water: 0.01ppm
Precision of CO2 Air: 0.01ppm
CO2 Sensor Calibration: WMO traceable, frequency every 8 hours for air every 12 hrs. for sea
| Manufacturer of CO2 calibration gases: |  | Taiyo Nippon Sanso Corporation, Japan360,380,400,420ppm 8min each (32 min. total ) at
1:00, 7:00, 13:00 & 19:00 (4times/day) for air.ref, 0,270,330,390,450ppm 15min each (90 min. total ) at 1:00 & 13:00 (twice/day) for seawater
Method References: CO2 in Marine Air:
Measurement: yes, every 10 seconds
Location and Height: 30m above sea level
Sea Surface Temperature:
Location: 7m
Manufacturer: Sea-Bird Electronics. Inc.
Model: SBE38
Accuracy: ±0.001 degC
Resolution: 0.00025 degC
Typical Stability: 0.001 degC
Calibration:
Other comments:
Sea Surface Salinity:
Location: Equilibrator room
Manufacturer: Sea-Bird Electronics. Inc.
Model: SBE21 and SBE45
Accuracy: ±0.005
Resolution: 0.0002
Typical Stability: 0.003
Calibration: SBE21 Salinity is calibrated by sal bottle value which is measured by Guildline Portable Salinometer 8410A.
Other comments:
Equilibrator Temperature:
Location: Inlet of Equilibrator
Manufacturer:Sea-Bird Electronics. Inc.
Model: SBE38
Accuracy: ±0.001 degC
Resolution: 0.00025 degC
Typical Stability: 0.001 degC
Calibration: not necessary
Other comments:
Equilibrator Pressure:
Location: Ocean Observation Room
Manufacturer: COPAL electronics
Model: PG-200
Accuracy: 0.5hPa
Resolution: 0.1hPa
Calibration:
Other comments: differential pressure gauge between Equilibrator and room periodically checked with observation room pressure
Calibration is performed every cruise.
Atmospheric Pressure:
Location: Bridge above sea level (32m)
Manufacturer: COPAL electronics
Model: PG-200
Accuracy: 0.5 hPa
Resolution: 0.1 hPa
Calibration: Calibration is performed every 6 hours by JMA certified barometer.