## Sheet2
Metadata form for underway measurement systems
( * =mandatory field)
Please submit this form to Benjamin Pfeil (benjamin.pfeil@bjerknes.uib.no) |  |  |  |  | to be filled out by the scientist
To be filled ou by the data management
Investigator* | Name* |  | Are Olsen, Sara Jutterström & Truls Johannessen
| Organization* |  | Bjerknes Centre for Climate Research, Bergen, Norway
| Address* |  | Allegaten 55, 5007 Bergen
| Phone* |  | Olsen, +4755584322; Johannessen: +4755584327,
| Email* |  | are.olsen@uni.no, kallisti@chem.gu.se & truls@gfi.uib.no
Dataset_Info* | Dataset ID* |  | part of underway measurements on Nuka Arctica 2009 dataset. Total xx crossings (including one starting in 2008)
| Submission Dates (will be completed by the data management) | Initial Submission: (YYYYMMDD)
Revised Submission: (YYYYMMDD)
Cruise_Info* | Experiment Name* |  | CARBOOCEAN
| Cruise ID |  | 26NA20090902
Section (Leg)
| Geographical Coverage* | Geographical Region | North Sea, northern North Atlantic, Greenland west coast.
| Westernmost Longitude: | Enter decimal fractions of degrees: (+ = E, - = W) | -52.265
or Degrees, Minutes, Seconds: East West
| Easternmost Longitude: | Enter decimal fractions of degrees: (+ = E, - = W) | 10.814
or Degrees, Minutes, Seconds: East West
| Northernmost Latitude: | Enter decimal fractions of degrees: (+ = N, - = S) | 64.138
or Degrees, Minutes, Seconds: North South
| Southernmost Latitude: | Enter decimal fractions of degrees: (+ = N, - = S) | 57.569
or Degrees, Minutes, Seconds: North South
| Temporal Coverage | Start Date: (YYYYMMDD) | 20090902
|  | End Date: (YYYYMMDD) | 20090909
| Ports of Call |  | Aalborg (Denmark) to Reykjavik (Iceland) to Narsaq (Greenland) to Nuuk (Greenland) to Aasiat (Greenland)
| Vessel* | Vessel Name | R/V Nuka Arctica
|  | Vessel ID | 26NA
|  | Country | Denmark
|  | Vessel Owner | Royal Arctic Lines
|  | Variables Info* | intake and equilibrator temperatures, equilibrator pressure, xCO2 in dry air at equ temp, fCO2 at 100% humidity at SST, XCO2_atm_interp
Variable | Variable Name* |  | xCO2 equ temp
| Description of Variable: (E.g., in dry air) |  | Dry mole fraction in equilibrator headspace as reported by licor
| Variable Name* |  | fCO2_insitu
| Description of Variable: (E.g., in dry air) |  | fCO2 at 100% humidity at SST, determined from xCO2 according to Pierrot et al, 2009
| Variable Name* |  | Equ_temp
| Description of Variable: (E.g., in dry air) |  | Temperature in equilibrator
| Variable Name* |  | SST
| Description of Variable: (E.g., in dry air) |  | Intake temperature
| Variable Name* |  | Equ_pres
| Description of Variable: (E.g., in dry air) |  | equilibrator headspace pressure
| Variable Name* |  | XCO2_atm_interp
| Description of Variable: (E.g., in dry air) |  | 4 atmospheric samples are measured ~every hour. These have been linearly interpolated over the equilibrator samples.
Method Description* | Equilibrator Design | Equilibrator Type | two stage showerhead
|  | Equilibrator Volume (L) | approx 0.5 (vent equ) & 2.5 (main equ) l
|  | Water Flow Rate (L/min) | approx 2.5
|  | Headspace Gas Flow Rate (L/min) | 80
|  | Vented | yes
| Measurement Method |  | Infrared analysis of headspace in equilibrium with flowing seawater
| Manufacturer of Calibration Gas (E.g., Aire Liquide (France)) |  | NOAA/CMDL
| CO2 Sensors | CO2 Sensor | Infrared
|  | Manufacturer | LI-COR
|  | Model | 6262
Environmental Control: (Describe any additional environmental control.)
|  | Resolution | ±0.2
|  | Uncertainty | ±1
|  | CO2 Sensor Calibration: (For each calibration gas, document traceability to an internationally recognized scale, including date and place of last calibration. Include uncertainty of assigned value.) | Traceable to the WMO-X93 scale. From May 2008 we used standards from NOAA calibrated spring 2008 on the ship. One zero gas and three standards at approx 190 377 and 410 ppm
| Other Sensors | Manufacturer | Intake temperature sensor, Hart Scientific
|  | Model | Probe: 5610, thermometer:1521
|  | Resolution | 0.001
|  | Uncertainty | ±0.01
|  | Calibration: (For each sensor of pressure, temperature, and salinity, document traceability to an internationally recognized scale, including date and place of last calibration.) | Factory calibrated against a NIST tracable thermometer. Regular zero point calibrations and well as checks against equilibrator thermometer
|  | Manufacturer | Equilibrator temperature sensor, Hart Scientific
|  | Model | Probe: 5610, thermometer:1521
|  | Resolution | 0.001
|  | Uncertainty | ±0.01
|  | Calibration: (For each sensor of pressure, temperature, and salinity, document traceability to an internationally recognized scale, including date and place of last calibration.) | Factory calibrated against a NIST tracable thermometer. Regular zero point calibrations and well as checks against intake thermometer.
|  | Manufacturer | Equilibrator pressure, this is measured differentially using a Setra 239 sensor. The given equilibrator pressure is sum of this and the Licor cell pressure (recorded by 6262-03 Pressure Transducer)
|  | Model | Setra 239 & Licor 6262-30
|  | Resolution | 0.01 hPa
|  | Uncertainty | ±0.05 (Setra) & ±0.45 (Licor), gives total ±0.453 hPa
|  | Calibration: (For each sensor of pressure, temperature, and salinity, document traceability to an internationally recognized scale, including date and place of last calibration.) | Factory calibrated, traceable to NIST.
| Method References: (Publication(s) describing method) |  | Wanninkhof and Thoning, Marine Chemistry 44, 189-205, 1993
Data set references |  |  | Pierrot et al., Deep Sea Res. II, 56, 512-522 (2009)
Citation |  |  | Olsen et al., Biogeosciences, 5, 535-547, (2008) | Note that in 2005 instrument was in bow, all other years it was installed midships
Data Set Link | URL*
Label*
| Link Note: (Optional instructions or remarks) |  | Note that a constant salinity of 35 was used for calculating pH20 for the xCO2 to pCO2 conversion step in the fCO2 calculation.
Only data in North Sea and along west Greenland because of problems with water supply to instrument.