## Sheet1
No | Metadata element name | Your input | Help reference no.
1 | Submission Date |  | 1
2 | Accession no. of related data sets |  | 2
3 | Investigator-1 name | Simone R. Alin | 3.1
4 | Investigator-1 institution | NOAA Pacific Marine Environmental Laboratory | 3.2
5 | Investigator-1 address | 7600 Sand Point Way NE, Building 3, Seattle, WA 98115 | 3.3
6 | Investigator-1 phone | 206-526-6819 | 3.4
7 | Investigator-1 email | simone.r.alin@noaa.gov | 3.5
8 | Investigator-1 researcher ID | 1: 0000-0002-8283-1910, 2: J-6836-2017 | 3.6
9 | Investigator-1 ID type (ORCID, Researcher ID, etc.) | 1: ORCID; 2: Researcher ID | 3.7
10 | Investigator-2 name | Jan Newton | 3.1
11 | Investigator-2 institution | University of Washington Applied Physics Laboratory | 3.2
12 | Investigator-2 address | 1013 NE 40th Street, Box 355640, Seattle, WA 98105-6698 | 3.3
13 | Investigator-2 phone | 206-543-9152 | 3.4
14 | Investigator-2 email | janewton@uw.edu | 3.5
15 | Investigator-2 researcher ID |  | 3.6
16 | Investigator-2 ID type (ORCID, Researcher ID, etc.) |  | 3.7
17 | Investigator-3 name | Richard A. Feely | 3.1
18 | Investigator-3 institution | NOAA Pacific Marine Environmental Laboratory | 3.2
19 | Investigator-3 address | 7600 Sand Point Way NE, Building 3, Seattle, WA 98115 | 3.3
20 | Investigator-3 phone | 206-526-6214 | 3.4
21 | Investigator-3 email | Richard.A.Feely@noaa.gov | 3.5
22 | Investigator-3 researcher ID |  | 3.6
23 | Investigator-3 ID type (ORCID, Researcher ID, etc.) |  | 3.7
24 | Data submitter name | Julian Herndon | 4.1
25 | Data submitter institution | University of Washington Joint Institute for the Study of the Atmosphere and Ocean | 4.2
26 | Data submitter address | NOAA Pacific Marine Environmental Laboratory, 7600 Sand Point Way NE, Building 3, Seattle, WA 98115 | 4.3
27 | Data submitter phone | 206-526-6256 | 4.4
28 | Data submitter email | Julian.Herndon@noaa.gov | 4.5
29 | Data submitter researcher ID |  | 4.6
30 | Data submitter ID type (ORCID, Researcher ID, etc.) |  | 4.7
31 | Title | Dissolved inorganic carbon (DIC), total alkalinity (TA), temperature, salinity, oxygen, nutrient, and CTD data collected from discrete profile measurements during Puget Sound cruise CAB1045 (EXPOCODE 33CB20160707) on R/V Clifford A. Barnes from 2016-07-07 to 2016-07-25 (NCEI Accession 0206628) | 5
32 | Abstract | This NCEI Accession contains data collected from the Puget Sound cruise that took place from 2016-07-07 to 2016-07-25 aboard the R/V Clifford A. Barnes. Twenty seven time-series stations were occupied in the Salish Sea in Washington State marine waters. The cruise was designed to obtain a synoptic snapshot of key carbon, physical, and other biogeochemical parameters as they relate to ocean acidification (OA) in Washington's estuarine and coastal environments. At all sampling stations, CTD casts were conducted to measure temperature, conductivity, pressure, and oxygen concentrations using CTD and oxygen sensors. Discrete water samples were collected throughout the water column at all stations in Niskin bottles. Laboratory analyses were run to measure dissolved inorganic carbon (DIC), oxygen, and nutrient concentrations and total alkalinity. More information--including a map of stations occupied during this cruise (and other Salish cruises), full-resolution CTD downcast data for all stations sampled, chlorophyll and phaeopigment concentrations, and other sensor data--can be found at nvs.nanoos.org/CruiseSalish by exploring the Map, Data, and Plots tabs. This effort was conducted in support of the estuarine and coastal monitoring and research objectives of the Washington Ocean Acidification Center (WOAC) and conforms to climate-quality monitoring guidelines of the Global Ocean Acidification Observing Network (goa-on.org) and the U.S. National Oceanic and Atmospheric Administration's Ocean Acidification Program. The official R/V Clifford A. Barnes code for this cruise is CAB1045, with shiptime support from WOAC. | 6
33 | Purpose | The major objectives of the cruise were: 1) To characterize ocean acidification (OA) conditions in the Salish Sea and adjoining coastal waters; 2) To conduct inter-calibration measurements near other OA observing assets, including moorings, in the study area, allowing inter-calibration of these autonomous assets with high-quality, ship-based measurements; 3) To provide calibration data needed to develop and validate predictive models for aragonite saturation state, pH, and other important OA indicators in the Salish Sea and adjoining coastal waters, based on widely measured parameters such as salinity, temperature, and oxygen concentration; 4) To examine relationships between processes leading to OA and hypoxia in estuarine and coastal ecosystems; 5) To conduct biological measurements in conjunction with physical and chemical OA measurements; and 6) To provide scientific information on OA conditions and trends for resource management and decision support. | 7
34 | Start date | 07/07/2016 | 8.1
35 | End date | 07/25/2016. | 8.2
36 | Westbd longitude | -123.1337 | 9.1
37 | Eastbd longitude | -122.2989 | 9.2
38 | Northbd latitude | 48.3755 | 9.3
39 | Southbd latitude | 47.1669 | 9.4
40 | Spatial reference system | WGS 84 | 10
41 | Geographic names | Salish Sea, Puget Sound, Strait of Juan de Fuca, U.S. West Coast, California Current System, Washington | 11
42 | Location of organism collection |  | 12
43 | Funding agency name | WOAC, PMEL | 13.1
44 | Funding project title | Not applicable | 13.2
45 | Funding project ID (Grant no.) | Not applicable | 13.3
46 | Research projects | WOAC: The Washington Ocean Acidification Center, which was established by the Washington State Legislature PMEL-CO2: The U.S. National Oceanic and Atmospheric Administration's Pacific Marine Environmental Laboratory | 14
47 | Platform-1 name | R/V Clifford A. Barnes | 15.1
48 | Platform-1 ID | 33CB | 15.2
49 | Platform-1 type | USCGC (WYTL-65613); steel-hulled icebreaking small harbor tug | 15.3
50 | Platform-1 owner | U.S. National Science Foundation | 15.4
51 | Platform-1 country | U.S.A. | 15.5
52 | Platform-2 name |  | 15.1
53 | Platform-2 ID |  | 15.2
54 | Platform-2 type |  | 15.3
55 | Platform-2 owner |  | 15.4
56 | Platform-2 country |  | 15.5
57 | Platform-3 name |  | 15.1
58 | Platform-3 ID |  | 15.2
59 | Platform-3 type |  | 15.3
60 | Platform-3 owner |  | 15.4
61 | Platform-3 country |  | 15.5
62 | EXPOCODE | 33CB20160707 | 16
63 | Cruise ID | CAB1045 | 17
64 | Section | Puget Sound | 18
65 | Author list for citation | Simone R. Alin, Jan Newton, Richard A. Feely, Beth Curry, Dana Greeley, Julian Herndon, Morgan Ostendorf | 19
66 | References |  | 20
67 | Supplemental information | http://nvs.nanoos.org/CruiseSalish | 21
68 | DIC: Variable abbreviation in data files | DIC_UMOL_KG | 22.1
69 | DIC: Observation type | Discrete measurements from samples collected on CTD casts | 22.2
70 | DIC: In-situ observation / manipulation condition / response variable | In-situ observation | 22.3
71 | DIC: Manipulation method | Not applicable | 22.4
72 | DIC: Variable unit | micromoles per kilogram of seawater (umol/kg-SW) | 22.5
73 | DIC: Measured or calculated | Measured | 22.6
74 | DIC: Calculation method and parameters | Not applicable | 22.7
75 | DIC: Sampling instrument | Niskin bottle | 22.8
76 | DIC: Analyzing instrument | Two systems consisting of a coulometer (UIC, Inc.) coupled with a SOMMA (Single Operator Multiparameter Metabolic Analyzer) inlet system developed by K.M. Johnson (Johnson et al., 1985, 1987, 1993, 1999; Johnson,1992) of Brookhaven National Laboratory (BNL). | 22.9
77 | DIC: Detailed sampling and analyzing information | PLEASE NOTE: DIC may be referred to as TCO2, TCARBN, or C(sub)T in other data sets. All of these abbreviations refer to the total dissolved inorganic carbon concentration (i.e., the combined concentration of dissolved CO2, bicarbonate ion, and carbonate ion). Inorganic carbon samples were collected from Niskins after oxygen samples. A combined sample for dissolved inorganic carbon (DIC) and total alkalinity (TA) measurements was drawn into ~540 mL borosilicate glass flasks using silicone tubing according to procedures outlined in the Guide to Best Practices for Ocean CO2 Measurements (SOP 1, Dickson et al. 2007). Briefly, flasks were rinsed once and filled from the bottom with care not to entrain any bubbles, overflowing by at least one-half volume. The sample tube was pinched and withdrawn, creating a small headspace, and 0.2 mL of saturated mercuric chloride (HgCl2) solution was added as a preservative. Sample bottles were then sealed with glass stoppers lightly covered with Apiezon-L grease. Stoppers were held in place until analysis with a thick rubber band over the stopper attached to a plastic clamp around the neck of the sample flask. Sample bottles were inverted several times to ensure mixing of the HgCl2 throughout the sample. DIC samples were collected from variety of depths, with approximately 5% of samples drawn in duplicate (or occasionally triplicate). All samples were stored under cool, dark conditions until analysis. DIC concentrations were measured at PMEL on analytical systems consisting of a coulometer (UIC Inc.) coupled with a Single Operator Multiparameter Metabolic Analyzer (SOMMA). The SOMMA was developed to extract DIC from seawater by Ken Johnson and colleagues (Johnson et al. 1985, 1987, 1993, and 1999; Johnson 1992) of Brookhaven National Laboratory. Each coulometer was calibrated at the beginning of each analysis day, when a fresh coulometric cell was prepared, by injecting aliquots of pure CO2 (99.999%) by way of an eight-port valve (Wilke et al., 1993) outfitted with two calibrated sample loops of different sizes (~1 mL and ~2 mL). Roughly 20–25 samples were typically analyzed per coulometric cell. | 22.10
78 | DIC: Field replicate information | Duplicate samples were collected from approximately 5% of the Niskins sampled, as a check of our precision. These replicate samples were interspersed throughout the station analysis for quality assurance and integrity of the coulometer cell solutions. The average absolute difference from the mean of these replicates is 1.5 µmol/kg. No systematic differences between the replicates were observed. | 22.11
79 | DIC: Standardization technique description | Each coulometer was calibrated by injecting aliquots of pure CO2 (99.999%) by means of an 8-port valve (Wilke et al., 1993) outfitted with two calibrated sample loops of different sizes (~1 mL and ~2 mL. The instruments were each separately calibrated at the beginning of each cell with a minimum of two sets of these gas loop injections and then again at the end of each cell to ensure no drift during the life of the cell. | 22.12.1
80 | DIC: Frequency of standardization | 1) Gas loops were run at the beginning and end of each cell; 2) CRM’s supplied by Dr. A. Dickson of SIO, were measured near the beginning; and 3) Duplicate samples were typically run throughout the life of the cell solution. | 22.12.2
81 | DIC: CRM manufacturer | Dr. Andrew Dickson (Scripps Institution of Oceanography) | 22.12.3.1
82 | DIC: Batch number | Various | 22.12.3.2
83 | DIC: Poison used to kill the sample | Mercuric Chloride Solution (saturated HgCl2) | 22.13.1
84 | DIC: Poison volume | 0.2 mL | 22.13.2
85 | DIC Poisoning correction description | The DIC values were corrected for dilution by 0.2 mL of saturated HgCl2 used for sample preservation. The total water volume of the sample bottles was ~540 mL. The correction factor used for dilution was 1.00037. | 22.13.3
86 | DIC: Uncertainty | ±0.1% | 22.14
87 | DIC: Data quality flag description | DIC_FLAG_W, WOCE water sample quality codes are used: 2 = acceptable measurement, 3 = questionable measurement, 4 = bad measurement, 5 = not reported, 6 = mean of replicate measurements, 9 = sample not drawn for measurement from this Niskin bottle. These QC codes were initially assigned on the basis of the observed quality of laboratory analysis. These codes do not account for field sampling aberrations. Adjustments to quality codes were made after careful inspection of the data set after data processing. Where sample values were observed to be strong outliers in cross-plots with other variables, the quality codes have been updated from a 2 to a 3 or 4 after close inspection of the profile at that station, including other parameters. Those flagged 3 represent values that are questionable due to being out of expected ranges or having inverted profile values from what would normally be expected in this region. Those flagged 4 are either values that clearly represent a Niskin misfire at an unknown depth or were flagged 4 due to analytical problems. Measurements with quality codes of 4 have been expunged and replaced with quality codes of 5 prior to submission. | 22.15
88 | DIC: Method reference (citation) | Dickson, A.G., C.L. Sabine, and J.R. Christian (eds.). 2007. Guide to best practices for ocean CO2 measurements. PICES Special Publication 3, 191 pp. Johnson, K.M., A.E. King, and J. McN. Sieburth. 1985. Coulometric DIC analyses for marine studies: An introduction. Mar. Chem., 16, 61–82. Johnson, K.M., P.J. Williams, L. Brandstrom, and J. McN. Sieburth. 1987. Coulometric total carbon analysis for marine studies: Automation and calibration. Mar. Chem., 21, 117–133. Johnson, K.M. 1992. Operator’s manual: Single operator multiparameter metabolic analyzer (SOMMA) for total carbon dioxide (CT) with coulometric detection. Brookhaven National Laboratory, Brookhaven, N.Y., 70 pp. Johnson, K.M., K.D. Wills, D.B. Butler, W.K. Johnson, and C.S. Wong. 1993. Coulometric total carbon dioxide analysis for marine studies: Maximizing the performance of an automated continuous gas extraction system and coulometric detector. Mar. Chem., 44, 167–189. Johnson, K.M., Kortzinger, A.; Mintrop, L.; Duinker, J.C.; and Wallace, D.W.R. 1999. Coulometric total carbon dioxide analysis for marine studies: Measurement and internal consistency of underway surface TCO2 concentrations. Marine Chemistry 67(1):123-144. | 22.16
89 | DIC: Researcher Name | Dana Greeley, Julian Herndon, and Morgan Ostendorf; PIs: Simone Alin and Richard Feely | 22.17.1
90 | DIC: Researcher Institution | Pacific Marine Environmental Laboratory, National Oceanic and Atmospheric Administration | 22.17.2
91 | TA: Variable abbreviation in data files | TA_UMOL_KG | 23.1
92 | TA: Observation type | Discrete measurements from samples collected on CTD casts | 23.2
93 | TA: In-situ observation / manipulation condition / response variable | In-situ observation | 23.3
94 | TA: Manipulation method | Not applicable | 23.4
95 | TA: Variable unit | micromoles per kilogram of seawater (umol/kg-SW) | 23.5
96 | TA: Measured or calculated | Measured | 23.6
97 | TA: Calculation method and parameters | Not applicable | 23.7
98 | TA: Sampling instrument | Niskin bottle | 23.8
99 | TA: Analyzing instrument | Custom instrument, built by Dr. Andrew Dickson's laboratory at Scripps Oceanographic Institution. | 23.9
100 | TA: Type of titration | Two-stage, potentiometric, open-cell titration using coulometrically analyzed hydrochloric acid | 23.1
101 | TA: Cell type (open or closed) | Open | 23.11
102 | TA: Curve fitting method | Non-linear least squares | 23.12
103 | TA: Detailed sampling and analyzing information | Seawater samples for total alkalinity were drawn directly from Niskin bottles into 250-500mL borosilicate glass (Corning Pyrex/Schott Duran) bottles as described in SOP1 of “The Guide to Best Practices for Ocean CO2 Measurements” (Dickson A.G., Sabine L.S. and Christian J.R, Eds., 2007), using silicone tubing. The bottles were then sealed with glass stoppers lightly coated with Apiezon-L grease. The flasks were rinsed once and filled from the bottom with care not to entrain any bubbles, overflowing by at least one full volume. The sample tube was pinched off and withdrawn, creating a ~1% headspace and preserved with small vol. of a saturated mercuric chloride solution (0.12-0.24mL) and the final alkalinity concentration corrected for this addition. The samples were subsequently analyzed according to SOP3b of “The Guide to Best Practices for Ocean CO2 Measurements”, using an open cell titration system built by the Dickson Lab in 2016 at Scripps Institution of Oceanography, University of California San Diego. Sample and instrument temperature was controlled and sample size was measured gravimetrically. The instrument was controlled and alkalinity determined by software developed by the Dickson Lab. Instrument accuracy and precision was monitored at regular intervals using Certified Reference Materials (CRMs), consisting of filtered and UV irradiated seawater supplied by the Dickson Lab (SIO-UCSD). | 23.13
104 | TA: Field replicate information | Duplicate samples were collected from approximately 10% of the Niskins sampled as a check of our precision. | 23.14
105 | TA: Standardization technique description | Analytical accuracy was assessed by routine analysis of Certified Reference Materials (CRMs). CRMs were analyzed approximately every 10 to 24 samples. The average offset for samples run on our analytical systems is <2 µmol/kg. | 23.15.1
106 | TA: Frequency of standardization | All values were directly measured with reference to Certified Reference Material (Dickson, SIO) | 23.15.2
107 | TA: CRM manufacturer | Dr. Andrew Dickson (Scripps Institution of Oceanography) | 23.15.3.1
108 | TA: Batch Number | Various | 23.15.3.2
109 | TA: Poison used to kill the sample | Mercuric Chloride Solution | 23.16.1
110 | TA: Poison volume | 0.12-0.24 ml | 23.16.2
111 | TA: Poisoning correction description | The TA values were corrected for dilution by 0.12-0.24 ml of saturated HgCl2 used for sample preservation. | 23.16.3
112 | TA: Magnitude of blank correction | Not applicable | 23.17
113 | TA: Uncertainty | The precision of this method is better than 0.1% and accuracy is 0.1%. | 23.18
114 | TA: Data quality flag description | TA_FLAG_W, WOCE water sample quality codes are used: 2 = acceptable measurement, 3 = questionable measurement, 4 = bad measurement, 5 = not reported, 6 = mean of replicate measurements, 9 = sample not drawn for measurement from this Niskin bottle. These QC codes were initially assigned on the basis of the observed quality of laboratory analysis. These codes do not account for field sampling aberrations. Adjustments to quality codes were made after careful inspection of the data set after data processing. Where sample values were observed to be strong outliers in cross-plots with other variables, the quality codes have been updated from a 2 to a 3 or 4 after close inspection of the profile at that station, including other parameters. Those flagged 3 represent values that are questionable due to being out of expected ranges, having inverted profile values from what would normally be expected in this region, or being strong outliers in TA vs. S cross-plot and regression analyses. Those flagged 4 are either values that clearly represent a Niskin misfire at an unknown depth or were flagged 4 due to analytical problems. Measurements with quality codes of 4 have been expunged and replaced with quality codes of 5 prior to submission. | 23.19
115 | TA: Method reference (citation) | • Bates, R.G. Determination of pH. Theory and Practice. A Wiley-Interscience Publication, Second Edition. • Dickson A.G. (1981). An exact definition of total alkalinity, and a procedure for the estimation of alkalinity and total inorganic carbon from titration data. Deep-Sea Res. 28, 609-623. • Dickson A.G. (1992). The development of the alkalinity concept in marine chemistry. Marine chemistry 40:1-21-2, 49-63. • Dickson, A. G., Afghan, J. D. & Anderson, G. C. (2003). Reference materials for oceanic CO2 analysis: A method for the certification of total alkalinity. Marine Chemistry 80, 185–197 • Gran G. (1952). Determination of the equivalence point in potentiometric titrations. Part II. The analyst, 77, 661-671. • Wolf-Gladrow, D.A. et al. (2007). Total alkalinity: The explicit conservative expression and its application to biogeochemical process. | 23.2
116 | TA: Researcher Name | Morgan Ostendorf and Julian Herndon; PIs: Simone Alin and Richard Feely | 23.21.1
117 | TA: Researcher Institution | Pacific Marine Environmental Laboratory, National Oceanic and Atmospheric Administration | 23.21.2
118 | pH: Variable abbreviation in data files |  | 24.1
119 | pH: Observation type |  | 24.2
120 | pH: In-situ observation / manipulation condition / response variable |  | 24.3
121 | pH: Manipulation method |  | 24.4
122 | pH: Measured or calculated |  | 24.5
123 | pH: Calculation method and parameters |  | 24.6
124 | pH: Sampling instrument |  | 24.7
125 | pH: Analyzing instrument |  | 24.8
126 | pH: pH scale |  | 24.9
127 | pH: Temperature of measurement |  | 24.1
128 | pH: Detailed sampling and analyzing information |  | 24.11
129 | pH: Field replicate information |  | 24.12
130 | pH: Standardization technique description |  | 24.13.1
131 | pH: Frequency of standardization |  | 24.13.2
132 | pH: pH values of the standards |  | 24.13.3
133 | pH: Temperature of standardization |  | 24.13.4
134 | pH: Temperature correction method |  | 24.14
135 | pH: at what temperature was pH reported |  | 24.15
136 | pH: Uncertainty |  | 24.16
137 | pH: Data quality flag description |  | 24.17
138 | pH: Method reference (citation) |  | 24.18
139 | pH: Researcher Name |  | 24.19.1
140 | pH: Researcher Institution |  | 24.19.2
141 | pCO2A: Variable abbreviation in data files |  | 25.1
142 | pCO2A: Observation type |  | 25.2
143 | pCO2A: In-situ observation / manipulation condition / response variable |  | 25.3
144 | pCO2A: Manipulation method |  | 25.4
145 | pCO2A: Variable unit |  | 25.5
146 | pCO2A: Measured or calculated |  | 25.6
147 | pCO2A: Calculation method and parameters |  | 25.7
148 | pCO2A: Sampling instrument |  | 25.8
149 | pCO2A: Location of seawater intake |  | 25.9
150 | pCO2A: Depth of seawater intake |  | 25.1
151 | pCO2A: Analyzing instrument |  | 25.11
152 | pCO2A: Detailed sampling and analyzing information |  | 25.12
153 | pCO2A: Equilbrator type |  | 25.13.1
154 | pCO2A: Equilibrator volume (L) |  | 25.13.2
155 | pCO2A: Vented or not |  | 25.13.3
156 | pCO2A: Water flow rate (L/min) |  | 25.13.4
157 | pCO2A: Headspace gas flow rate (L/min) |  | 25.13.5
158 | pCO2A: How was temperature inside the equilibrator measured . |  | 25.13.6
159 | pCO2A: How was pressure inside the equilibrator measured. |  | 25.13.7
160 | pCO2A: Drying method for CO2 gas |  | 25.14
161 | pCO2A: Manufacturer of the gas detector |  | 25.15.1
162 | pCO2A: Model of the gas detector |  | 25.15.2
163 | pCO2A: Resolution of the gas detector |  | 25.15.3
164 | pCO2A: Uncertainty of the gas detector |  | 25.15.4
165 | pCO2A: Standardization technique description |  | 25.16.1
166 | pCO2A: Frequency of standardization |  | 25.16.2
167 | pCO2A: Manufacturer of standard gas |  | 25.16.3.1
168 | pCO2A: Concentrations of standard gas |  | 25.16.3.2
169 | pCO2A: Uncertainties of standard gas |  | 25.16.3.3
170 | pCO2A: Water vapor correction method |  | 25.17
171 | pCO2A: Temperature correction method |  | 25.18
172 | pCO2A: at what temperature was pCO2 reported |  | 25.19
173 | pCO2A: Uncertainty |  | 25.2
174 | pCO2A: Data quality flag description |  | 25.21
175 | pCO2A: Method reference (citation) |  | 25.22
176 | pCO2A: Researcher Name |  | 25.23.1
177 | pCO2A: Researcher Institution |  | 25.23.2
178 | pCO2D: Variable abbreviation in data files |  | 26.1
179 | pCO2D: Observation type |  | 26.2
180 | pCO2D: In-situ observation / manipulation condition / response variable |  | 26.3
181 | pCO2D: Manipulation method |  | 26.4
182 | pCO2D: Variable unit |  | 26.5
183 | pCO2D: Measured or calculated |  | 26.6
184 | pCO2D: Calculation method and parameters |  | 26.7
185 | pCO2D: Sampling instrument |  | 26.8
186 | pCO2D: Analyzing instrument |  | 26.9
187 | pCO2D: Storage method |  | 26.1
188 | pCO2D: Seawater volume (mL) |  | 26.11
189 | pCO2D: Headspace volume (mL) |  | 26.12
190 | pCO2D: Temperature of measurement |  | 26.13
191 | pCO2D: Detailed sampling and analyzing information |  | 26.14
192 | pCO2D: Field replicate information |  | 26.15
193 | pCO2D: Manufacturer of the gas detector |  | 26.16.1
194 | pCO2D: Model of the gas detector |  | 26.16.2
195 | pCO2D: Resolution of the gas detector |  | 26.16.3
196 | pCO2D: Uncertainty of the gas detector |  | 26.16.4
197 | pCO2D: Standardization technique description |  | 26.17.1
198 | pCO2D: Frequency of standardization |  | 26.17.2
199 | pCO2D: Temperature of standardization |  | 26.17.3
200 | pCO2D: Manufacturer of standard gas |  | 26.17.4.1
201 | pCO2D: Concentrations of standard gas |  | 26.17.4.2
202 | pCO2D: Uncertainties of standard gas |  | 26.17.4.3
203 | pCO2D: Water vapor correction method |  | 26.18
204 | pCO2D: Temperature correction method |  | 26.19
205 | pCO2D: at what temperature was pCO2 reported |  | 26.2
206 | pCO2D: Uncertainty |  | 26.21
207 | pCO2D: Data quality flag description |  | 26.22
208 | pCO2D: Method reference (citation) |  | 26.23
209 | pCO2D: Researcher Name |  | 26.24.1
210 | pCO2D: Researcher Institution |  | 26.24.2
211 | Var1: Variable abbreviation in data files | CTDPRS_DBAR | 27.1
212 | Var1: Full variable name | Hydrostatic pressure recorded from CTD at the depth where the sample is taken | 27.2
213 | Var1: Observation type | Water column profile | 27.4
214 | Var1: In-situ observation / manipulation condition / response variable | In-situ observation | 27.5
215 | Var1: Variable unit | dbars (=decibars) | 27.7
216 | Var1: Measured or calculated | Measured | 27.8
217 | Var1: Calculation method and parameters | Not applicable | 27.9
218 | Var1: Sampling instrument | Sea-Bird Scientific SBE 9plus CTD | 27.1
219 | Var1: Analyzing instrument |  | 27.11
220 | Var1: Duration (for settlement/colonization methods) |  | 27.12
221 | Var1: Detailed sampling and analyzing information | This file contains the up cast data collected using the CTD package and any additional sensors attached to a rosette cage deployed on a research vessel. The up cast data correspond to when the bottles on the rosette cage were fired and water samples were collected. All up casts during the cruise are contained in this file and are sorted by station. CTD data were processed using Sea-Bird's proprietary data processing software using the Data Conversion and Bottle Summary modules. Data Conversion converts raw data from the CTD to engineering units, storing the converted data in a .ros file. Bottle Summary reads the .ros file created by Data Conversion, derives dependent variables and writes a bottle data summary to a .btl file. | 27.13
222 | Var1: Field replicate information |  | 27.14
223 | Var1: Uncertainty | Pressure: initial accuracy = +/- 0.015% of full scale range; typical stability = 0.02% of full scale per year; master clock error contribution = Pressure 0.3 dbar (for 6800 meter depth-rated sensor). | 27.15
224 | Var1: Data quality flag description | No data flags were applied to CTD data | 27.16
225 | Var1: Method reference (citation) | Sea-Bird Scientific web site: http://www.seabird.com/sbe911plus-ctd | 27.17
226 | Var1: Biological subject |  | 27.18
227 | Var1: Species Identification code |  | 27.19
228 | Var1: Life stage of the biological subject |  | 27.20
229 | Var1: Researcher Name | Jan Newton | 27.21.1
230 | Var1: Researcher Institution | University of Washington Applied Physics Laboratory | 27.21.2
231 | Var2: Variable abbreviation in data files | CTDTMP_ITS90_DEG_C | 27.1
232 | Var2: Full variable name | CTD temperature, ITS-90 scale | 27.2
233 | Var2: Observation type | Water column profile | 27.4
234 | Var2: In-situ observation / manipulation condition / response variable | In-situ observation | 27.5
235 | Var2: Variable unit | degrees celsius, ITS-90 scale | 27.7
236 | Var2: Measured or calculated | Measured | 27.8
237 | Var2: Calculation method and parameters |  | 27.9
238 | Var2: Sampling instrument | Sea-Bird Scientific SBE 9plus CTD | 27.1
239 | Var2: Analyzing instrument |  | 27.11
240 | Var2: Duration (for settlement/colonization methods) |  | 27.12
241 | Var2: Detailed sampling and analyzing information | This file contains the up cast data collected using the CTD package and any additional sensors attached to a rosette cage deployed on a research vessel. The up cast data correspond to when the bottles on the rosette cage were fired and water samples were collected. All up casts during the cruise are contained in this file and are sorted by station. CTD data were processed using Sea-Bird's proprietary data processing software using the Data Conversion and Bottle Summary modules. Data Conversion converts raw data from the CTD to engineering units, storing the converted data in a .ros file. Bottle Summary reads the .ros file created by Data Conversion, derives dependent variables and writes a bottle data summary to a .btl file. | 27.13
242 | Var2: Field replicate information |  | 27.14
243 | Var2: Uncertainty | Temperature: initial accuracy = +/- 0.001 degrees Celsius; typical stability = 0.0002 degrees Celsius per month; master clock error contribution = 0.00016 degrees Celsius | 27.15
244 | Var2: Data quality flag description | CTDTMP_FLAG_W, WOCE CTDO data quality codes are used: 1 = not calibrated, 2 = acceptable measurement, 3 = questionable measurement, 4 = bad measurement, 5 = not reported, 6 = interpolated over a pressure interval larger than 2 dbar, 7 = despiked, 9 = not sampled. We note that during data processing with Sea Bird software, data alignment is improved to prevent spiking. All data quality codes contained in this data set were assigned after data processing and were given a value of 2 by default. Those flagged 3 represent values that are questionable due to being out of expected ranges or having inverted profile values from what would normally be expected in this region. Adjustments to quality codes were made after careful inspection of the data set after data processing. | 27.16
245 | Var2: Method reference (citation) | Sea-Bird Scientific web site: http://www.seabird.com/sbe911plus-ctd | 27.17
246 | Var2: Biological subject |  | 27.18
247 | Var2: Species Identification code |  | 27.19
248 | Var2: Life stage of the biological subject |  | 27.20
249 | Var2: Researcher Name | Jan Newton | 27.21.1
250 | Var2: Researcher Institution | University of Washington Applied Physics Laboratory | 27.21.2
251 | Var3: Variable abbreviation in data files | CTDSAL_PSS78 | 27.1
252 | Var3: Full variable name | CTD salinity | 27.2
253 | Var3: Observation type | Water column profile | 27.4
254 | Var3: In-situ observation / manipulation condition / response variable | In-situ observation | 27.5
255 | Var3: Variable unit | 1978 Practical Salinity Scale | 27.7
256 | Var3: Measured or calculated | Calculated from conductivity measurements. | 27.8
257 | Var3: Calculation method and parameters |  | 27.9
258 | Var3: Sampling instrument | Sea-Bird Scientific SBE 4 Conductivity Sensor | 27.1
259 | Var3: Analyzing instrument |  | 27.11
260 | Var3: Duration (for settlement/colonization methods) |  | 27.12
261 | Var3: Detailed sampling and analyzing information | This file contains the up cast data collected using the CTD package and any additional sensors attached to a rosette cage deployed on a research vessel. The up cast data correspond to when the bottles on the rosette cage were fired and water samples were collected. All up casts during the cruise are contained in this file and are sorted by station. CTD data were processed using Sea-Bird's proprietary data processing software using the Data Conversion and Bottle Summary modules. Data Conversion converts raw data from the CTD to engineering units, storing the converted data in a .ros file. Bottle Summary reads the .ros file created by Data Conversion, derives dependent variables and writes a bottle data summary to a .btl file. | 27.13
262 | Var3: Field replicate information |  | 27.14
263 | Var3: Uncertainty | Conductivity: initial accuracy = +/- 0.0003 S/m; typical stability = 0.0003 S/m per month; master clock error contribution = 0.00005 S/m | 27.15
264 | Var3: Data quality flag description | CTDSAL_FLAG_W, WOCE CTDO data quality codes are used: 1 = not calibrated, 2 = acceptable measurement, 3 = questionable measurement, 4 = bad measurement, 5 = not reported, 6 = interpolated over a pressure interval larger than 2 dbar, 7 = despiked, 9 = not sampled. We note that during data processing with Sea Bird software, data alignment is improved to prevent spiking. All data quality codes contained in this data set were assigned after data processing and were given a value of 2 by default. Those flagged 3 represent values that are questionable due to being out of expected ranges, having inverted profile values from what would normally be expected in this region, or being outliers on TA-S plots where TA values look as expected. Adjustments to quality codes were made after careful inspection of the data set after data processing. | 27.16
265 | Var3: Method reference (citation) | Sea-Bird Scientific web site: http://www.seabird.com/sbe911plus-ctd | 27.17
266 | Var3: Biological subject |  | 27.18
267 | Var3: Species Identification code |  | 27.19
268 | Var3: Life stage of the biological subject |  | 27.20
269 | Var3: Researcher Name | Jan Newton | 27.21.1
270 | Var3: Researcher Institution | University of Washington Applied Physics Laboratory | 27.21.2
271 | Var4: Variable abbreviation in data files | PHOSPHATE_UMOL_L | 27.1
272 | Var4: Full variable name | Concentration of phosphate (PO4--) measured from discrete bottles | 27.2
273 | Var4: Observation type | Discrete measurements from samples collected in Niskin bottles on CTD casts | 27.4
274 | Var4: In-situ observation / manipulation condition / response variable | In-situ observation | 27.5
275 | Var4: Variable unit | micromoles per liter of seawater (umol/L or uM) | 27.7
276 | Var4: Measured or calculated | Measured | 27.8
277 | Var4: Calculation method and parameters | To convert units from umol per L to umol per kg, we divided PHOSPHATE_UMOL_L by the value of sigma theta (potential density anomaly, kg per m3) calculated for laboratory conditions (i.e. using laboratory temperature [22 degrees C] and sample salinity) and multiplied by 1000 L per m3. The concentration is also provided in umol per kg units, under the column header PHOSPHATE_UMOL_KG. | 27.9
278 | Var4: Sampling instrument | Niskin bottle | 27.1
279 | Var4: Analyzing instrument | Seal Analytical AA3 | 27.11
280 | Var4: Duration (for settlement/colonization methods) |  | 27.12
281 | Var4: Detailed sampling and analyzing information | From the Niskin bottle, seawater was drawn into 60 mL HDPE sample bottles to rinse the bottle and cap twice. Plungers were removed from 60 mL syringes with Nalgene filters attached (surfactant-free cellulose, 25 mm, 0.45 micron pore size) and rinsed twice with seawater from the Niskin. The syringe was filled with sample water from the Niskin. The plunger was inserted, the syringe inverted, and the filter removed to remove the air bubble. With the filter re-attached, about 5 mL of of sample water was filtered into sample bottle to rinse and then discarded. 45-50 mL of sample was filtered into sample bottle, such that it was less than 2/3 full. The cap was secured and the bottle frozen upright in a -10 degree Celsius freezer until analyzed. Analyses and calibration followed the protocols of the WOCE Hydrographic Program using a Seal Analytical AA3 (UNESCO 1994). | 27.13
282 | Var4: Field replicate information | No replicate samples were collected or analyzed. | 27.14
283 | Var4: Uncertainty | Accreditation codes and detection limits: EPA 365.5_1.4_1997, NELAC Code WM920270, MDLs 0.014uM, 0.0004mg/L (from https://www.ocean.washington.edu/story/Marine+Chemistry+Laboratory). | 27.15
284 | Var4: Data quality flag description | NUTRIENTS_FLAG_W, WOCE water sample quality codes are used: 2 = acceptable measurement, 3 = questionable measurement, 4 = bad measurement, 5 = not reported, 6 = mean of replicate measurements, 9 = sample not drawn for measurement from this Niskin bottle. Laboratory quality assurance procedures were followed, as detailed in UNESCO (1994). These QC codes were assigned values of 2 by default initially. However, where sample measurements were observed to be outliers in cross-plots with other variables or in transect depth profiles, the quality codes have been updated from a 2 to a 3 or 4 after close inspection of the profile at that station, including other parameters. | 27.16
285 | Var4: Method reference (citation) | UNESCO (1994). Protocols for the joint global ocean flux study (JGOFS) core measurements. Vol. 29. | 27.17
286 | Var4: Biological subject |  | 27.18
287 | Var4: Species Identification code |  | 27.19
288 | Var4: Life stage of the biological subject |  | 27.20
289 | Var4: Researcher Name | Kathy Krogsland | 27.21.1
290 | Var4: Researcher Institution | University of Washington School of Oceanography | 27.21.2
291 | Var5: Variable abbreviation in data files | SILICATE_UMOL_L | 27.1
292 | Var5: Full variable name | Concentration of silicate (Si(OH)4, H4SiO4, SiO2, Sil) measured from discrete bottles | 27.2
293 | Var5: Observation type | Discrete measurements from samples collected in Niskin bottles on CTD casts | 27.4
294 | Var5: In-situ observation / manipulation condition / response variable | In-situ observation | 27.5
295 | Var5: Variable unit | micromoles per liter of seawater (umol/L or uM) | 27.7
296 | Var5: Measured or calculated | Measured | 27.8
297 | Var5: Calculation method and parameters | To convert units from umol per L to umol per kg, we divided SILICATE_UMOL_L by the value of sigma theta (potential density anomaly, kg per m3) calculated for laboratory conditions (i.e. using laboratory temperature [22 degrees C] and sample salinity) and multiplied by 1000 L per m3. The concentration is also provided in umol per kg units, under the column header SILICATE_UMOL_KG. | 27.9
298 | Var5: Sampling instrument | Niskin bottle | 27.1
299 | Var5: Analyzing instrument | Seal Analytical AA3 | 27.11
300 | Var5: Duration (for settlement/colonization methods) |  | 27.12
301 | Var5: Detailed sampling and analyzing information | From the Niskin bottle, seawater was drawn into 60 mL HDPE sample bottles to rinse the bottle and cap twice. Plungers were removed from 60 mL syringes with Nalgene filters attached (surfactant-free cellulose, 25 mm, 0.45 micron pore size) and rinsed twice with seawater from the Niskin. The syringe was filled with sample water from the Niskin. The plunger was inserted, the syringe inverted, and the filter removed to remove the air bubble. With the filter re-attached, about 5 mL of of sample water was filtered into sample bottle to rinse and then discarded. 45-50 mL of sample was filtered into sample bottle, such that it was less than 2/3 full. The cap was secured and the bottle frozen upright in a -10 degree Celsius freezer until analyzed. Analyses and calibration followed the protocols of the WOCE Hydrographic Program using a Seal Analytical AA3 (UNESCO 1994). | 27.13
302 | Var5: Field replicate information | No replicate samples were collected or analyzed. | 27.14
303 | Var5: Uncertainty | Accreditation codes and detection limits: EPA 366, NELAC Code WM920240, MDLs 0.23uM, 0.0063mg/L (from https://www.ocean.washington.edu/story/Marine+Chemistry+Laboratory). | 27.15
304 | Var5: Data quality flag description | NUTRIENTS_FLAG_W, WOCE water sample quality codes are used: 2 = acceptable measurement, 3 = questionable measurement, 4 = bad measurement, 5 = not reported, 6 = mean of replicate measurements, 9 = sample not drawn for measurement from this Niskin bottle. Laboratory quality assurance procedures were followed, as detailed in UNESCO (1994). These QC codes were assigned values of 2 by default initially. However, where sample measurements were observed to be outliers in cross-plots with other variables or in transect depth profiles, the quality codes have been updated from a 2 to a 3 or 4 after close inspection of the profile at that station, including other parameters. | 27.16
305 | Var5: Method reference (citation) | UNESCO (1994). Protocols for the joint global ocean flux study (JGOFS) core measurements. Vol. 29. | 27.17
306 | Var5: Biological subject |  | 27.18
307 | Var5: Species Identification code |  | 27.19
308 | Var5: Life stage of the biological subject |  | 27.20
309 | Var5: Researcher Name | Kathy Krogsland | 27.21.1
310 | Var5: Researcher Institution | University of Washington School of Oceanography | 27.21.2
311 | Var6: Variable abbreviation in data files | NITRATE_UMOL_L | 27.1
312 | Var6: Full variable name | Concentration of nitrate (NO3-) measured from discrete bottles | 27.2
313 | Var6: Observation type | Discrete measurements from samples collected in Niskin bottles on CTD casts | 27.4
314 | Var6: In-situ observation / manipulation condition / response variable | In-situ observation | 27.5
315 | Var6: Variable unit | micromoles per liter of seawater (umol/L or uM) | 27.7
316 | Var6: Measured or calculated | Measured | 27.8
317 | Var6: Calculation method and parameters | To convert units from umol per L to umol per kg, we divided NITRATE_UMOL_L by the value of sigma theta (potential density anomaly, kg per m3) calculated for laboratory conditions (i.e. using laboratory temperature [22 degrees C] and sample salinity) and multiplied by 1000 L per m3. The concentration is also provided in umol per kg units, under the column header NITRATE_UMOL_KG. | 27.9
318 | Var6: Sampling instrument | Niskin bottle | 27.1
319 | Var6: Analyzing instrument | Analyses and calibration follow the protocols of the WOCE Hydrographic Program using a Seal Analytical AA3. | 27.11
320 | Var6: Duration (for settlement/colonization methods) |  | 27.12
321 | Var6: Detailed sampling and analyzing information | From the Niskin bottle, seawater was drawn into 60 mL HDPE sample bottles to rinse the bottle and cap twice. Plungers were removed from 60 mL syringes with Nalgene filters attached (surfactant-free cellulose, 25 mm, 0.45 micron pore size) and rinsed twice with seawater from the Niskin. The syringe was filled with sample water from the Niskin. The plunger was inserted, the syringe inverted, and the filter removed to remove the air bubble. With the filter re-attached, about 5 mL of of sample water was filtered into sample bottle to rinse and then discarded. 45-50 mL of sample was filtered into sample bottle, such that it was less than 2/3 full. The cap was secured and the bottle frozen upright in a -10 degree Celsius freezer until analyzed. Analyses and calibration followed the protocols of the WOCE Hydrographic Program using a Seal Analytical AA3 (UNESCO 1994). | 27.13
322 | Var6: Field replicate information | No replicate samples were collected or analyzed. | 27.14
323 | Var6: Uncertainty | Accreditation codes and detection limits: EPA 353.4_2_1997, NELAC Code 10068209, MDLs 0.288uM, 0.0040mg/L (from https://www.ocean.washington.edu/story/Marine+Chemistry+Laboratory). | 27.15
324 | Var6: Data quality flag description | NUTRIENTS_FLAG_W, WOCE water sample quality codes are used: 2 = acceptable measurement, 3 = questionable measurement, 4 = bad measurement, 5 = not reported, 6 = mean of replicate measurements, 9 = sample not drawn for measurement from this Niskin bottle. Laboratory quality assurance procedures were followed, as detailed in UNESCO (1994). These QC codes were assigned values of 2 by default initially. However, where sample measurements were observed to be outliers in cross-plots with other variables or in transect depth profiles, the quality codes have been updated from a 2 to a 3 or 4 after close inspection of the profile at that station, including other parameters. | 27.16
325 | Var6: Method reference (citation) | UNESCO (1994). Protocols for the joint global ocean flux study (JGOFS) core measurements. Vol. 29. | 27.17
326 | Var6: Biological subject |  | 27.18
327 | Var6: Species Identification code |  | 27.19
328 | Var6: Life stage of the biological subject |  | 27.20
329 | Var6: Researcher Name | Kathy Krogsland | 27.21.1
330 | Var6: Researcher Institution | University of Washington School of Oceanography | 27.21.2
331 | Var7: Variable abbreviation in data files | NITRITE_UMOL_L | 27.1
332 | Var7: Full variable name | Concentration of nitrite (NO2-) measured from discrete bottles. | 27.2
333 | Var7: Observation type | Discrete measurements from samples collected in Niskin bottles on CTD casts | 27.4
334 | Var7: In-situ observation / manipulation condition / response variable | In-situ observation | 27.5
335 | Var7: Variable unit | micromoles per liter of seawater (umol/L or uM) | 27.7
336 | Var7: Measured or calculated | Measured | 27.8
337 | Var7: Calculation method and parameters | To convert units from umol per L to umol per kg, we divided NITRITE_UMOL_L by the value of sigma theta (potential density anomaly, kg per m3) calculated for laboratory conditions (i.e. using laboratory temperature [22 degrees C] and sample salinity) and multiplied by 1000 L per m3. The concentration is also provided in umol per kg units, under the column header NITRITE_UMOL_KG. | 27.9
338 | Var7: Sampling instrument | Niskin bottle | 27.1
339 | Var7: Analyzing instrument | Seal Analytical AA3 | 27.11
340 | Var7: Duration (for settlement/colonization methods) |  | 27.12
341 | Var7: Detailed sampling and analyzing information | From the Niskin bottle, seawater was drawn into 60 mL HDPE sample bottles to rinse the bottle and cap twice. Plungers were removed from 60 mL syringes with Nalgene filters attached (surfactant-free cellulose, 25 mm, 0.45 micron pore size) and rinsed twice with seawater from the Niskin. The syringe was filled with sample water from the Niskin. The plunger was inserted, the syringe inverted, and the filter removed to remove the air bubble. With the filter re-attached, about 5 mL of of sample water was filtered into sample bottle to rinse and then discarded. 45-50 mL of sample was filtered into sample bottle, such that it was less than 2/3 full. The cap was secured and the bottle frozen upright in a -10 degree Celsius freezer until analyzed. Analyses and calibration followed the protocols of the WOCE Hydrographic Program using a Seal Analytical AA3 (UNESCO 1994). | 27.13
342 | Var7: Field replicate information | No replicate samples were collected or analyzed. | 27.14
343 | Var7: Uncertainty | Accreditation codes and detection limits: EPA 353.4_2_1997, NELAC Code 10068209, MDLs 0.011uM, 0.0002mg/L (from https://www.ocean.washington.edu/story/Marine+Chemistry+Laboratory). | 27.15
344 | Var7: Data quality flag description | NUTRIENTS_FLAG_W, WOCE water sample quality codes are used: 2 = acceptable measurement, 3 = questionable measurement, 4 = bad measurement, 5 = not reported, 6 = mean of replicate measurements, 9 = sample not drawn for measurement from this Niskin bottle. Laboratory quality assurance procedures were followed, as detailed in UNESCO (1994). These QC codes were assigned values of 2 by default initially. However, where sample measurements were observed to be outliers in cross-plots with other variables or in transect depth profiles, the quality codes have been updated from a 2 to a 3 or 4 after close inspection of the profile at that station, including other parameters. | 27.16
345 | Var7: Method reference (citation) | UNESCO (1994). Protocols for the joint global ocean flux study (JGOFS) core measurements. Vol. 29. | 27.17
346 | Var7: Biological subject |  | 27.18
347 | Var7: Species Identification code |  | 27.19
348 | Var7: Life stage of the biological subject |  | 27.20
349 | Var7: Researcher Name | Kathy Krogsland | 27.21.1
350 | Var7: Researcher Institution | University of Washington School of Oceanography | 27.21.2
351 | Var8: Variable abbreviation in data files | AMMONIUM_UMOL_L | 27.1
352 | Var8: Full variable name | Concentration of ammonium (NH4+) measured from discrete bottles | 27.2
353 | Var8: Observation type | Discrete measurements from samples collected in Niskin bottles on CTD casts | 27.4
354 | Var8: In-situ observation / manipulation condition / response variable | In-situ observation | 27.5
355 | Var8: Variable unit | micromoles per liter of seawater (umol/L or uM) | 27.7
356 | Var8: Measured or calculated | Measured | 27.8
357 | Var8: Calculation method and parameters | To convert units from umol per L to umol per kg, we divided AMMONIUM_UMOL_L by the value of sigma theta (potential density anomaly, kg per m3) calculated for laboratory conditions (i.e. using laboratory temperature [22 degrees C] and sample salinity) and multiplied by 1000 L per m3. The concentration is also provided in umol per kg units, under the column header AMMONIUM_UMOL_KG. | 27.9
358 | Var8: Sampling instrument | Niskin bottle | 27.1
359 | Var8: Analyzing instrument | Seal Analytical AA3 | 27.11
360 | Var8: Duration (for settlement/colonization methods) |  | 27.12
361 | Var8: Detailed sampling and analyzing information | From the Niskin bottle, seawater was drawn into 60 mL HDPE sample bottles to rinse the bottle and cap twice. Plungers were removed from 60 mL syringes with Nalgene filters attached (surfactant-free cellulose, 25 mm, 0.45 micron pore size) and rinsed twice with seawater from the Niskin. The syringe was filled with sample water from the Niskin. The plunger was inserted, the syringe inverted, and the filter removed to remove the air bubble. With the filter re-attached, about 5 mL of of sample water was filtered into sample bottle to rinse and then discarded. 45-50 mL of sample was filtered into sample bottle, such that it was less than 2/3 full. The cap was secured and the bottle frozen upright in a -10 degree Celsius freezer until analyzed. Analyses and calibration followed the protocols of the WOCE Hydrographic Program using a Seal Analytical AA3 (UNESCO 1994). | 27.13
362 | Var8: Field replicate information | No replicate samples were collected or analyzed. | 27.14
363 | Var8: Uncertainty | Accreditation codes and detection limits: EPA 349, NELAC Code WM920220, MDLs 0.047uM, 0.0007mg/L (from https://www.ocean.washington.edu/story/Marine+Chemistry+Laboratory). | 27.15
364 | Var8: Data quality flag description | NUTRIENTS_FLAG_W, WOCE water sample quality codes are used: 2 = acceptable measurement, 3 = questionable measurement, 4 = bad measurement, 5 = not reported, 6 = mean of replicate measurements, 9 = sample not drawn for measurement from this Niskin bottle. Laboratory quality assurance procedures were followed, as detailed in UNESCO (1994). These QC codes were assigned values of 2 by default initially. However, where sample measurements were observed to be outliers in cross-plots with other variables or in transect depth profiles, the quality codes have been updated from a 2 to a 3 or 4 after close inspection of the profile at that station, including other parameters. | 27.16
365 | Var8: Method reference (citation) | UNESCO (1994). Protocols for the joint global ocean flux study (JGOFS) core measurements. Vol. 29. | 27.17
366 | Var8: Biological subject |  | 27.18
367 | Var8: Species Identification code |  | 27.19
368 | Var8: Life stage of the biological subject |  | 27.20
369 | Var8: Researcher Name | Kathy Krogsland | 27.21.1
370 | Var8: Researcher Institution | University of Washington School of Oceanography | 27.21.2
371 | Var9: Variable abbreviation in data files | CTD_OXY_mg_L | 27.1
372 | Var9: Full variable name | uncorrected oxygen concentration from CTD-O2 sensor | 27.2
373 | Var9: Observation type | Water column profile | 27.4
374 | Var9: In-situ observation / manipulation condition / response variable | In-situ observation | 27.5
375 | Var9: Variable unit | milligrams per liter (mg/L) | 27.7
376 | Var9: Measured or calculated | Measured | 27.8
377 | Var9: Calculation method and parameters | Not applicable | 27.9
378 | Var9: Sampling instrument | Sea-Bird Scientific SBE43 Dissolved Oxygen Sensor | 27.1
379 | Var9: Analyzing instrument |  | 27.11
380 | Var9: Duration (for settlement/colonization methods) |  | 27.12
381 | Var9: Detailed sampling and analyzing information | This file contains the upcast data collected using the CTD package and any additional sensors attached to a rosette cage deployed on a research vessel. The upcast data correspond to when the bottles on the rosette cage were fired and water samples were collected. All upcasts during the cruise are contained in this file and are sorted by station. CTD data were processed using Sea-Bird's proprietary data processing software using the Data Conversion and Bottle Summary modules. Data Conversion converts raw data from the CTD to engineering units, storing the converted data in a .ros file. Bottle Summary reads the .ros file created by Data Conversion, derives dependent variables and writes a bottle data summary to a .btl file. The CTDOXY_MG_L column contains CTD O2 data that have been processed post-cruise but NOT corrected to bottle oxygen values. Please see section CTDOXY_UMOL_KG_ADJ for more information about post-cruise processing of oxygen data. | 27.13
382 | Var9: Field replicate information |  | 27.14
383 | Var9: Uncertainty | Initial accuracy = +/- 2% of saturation; typical stability = 0.5% per 1000 hours of deployed time (clean membrane) | 27.15
384 | Var9: Data quality flag description | CTDOXY_FLAG_W, WOCE CTDO data quality codes are used: 1 = not calibrated, 2 = acceptable measurement, 3 = questionable measurement, 4 = bad measurement, 5 = not reported, 6 = interpolated over a pressure interval larger than 2 dbar, 7 = despiked, 9 = not sampled. We note that during data processing with Sea Bird software, data alignment is improved to prevent spiking. All data quality codes contained in this data set were assigned after data processing and were given a value of 2 by default. Adjustments to quality codes were made after careful inspection of the data set after data processing. Those flagged 3 represent values that are questionable due to being out of expected ranges, having inverted profile values from what would normally be expected in this region, or being strong outliers in the CTD vs. BOTTLE oxygen plot and regression analysis. Please see more information in the section for CTDOXY_UMOL_KG_ADJ about post-cruise processing of oxygen data, including the regression analysis. | 27.16
385 | Var9: Method reference (citation) | Sea-Bird Scientific web site: http://www.seabird.com/sbe43-dissolved-oxygen-sensor | 27.17
386 | Var9: Biological subject |  | 27.18
387 | Var9: Species Identification code |  | 27.19
388 | Var9: Life stage of the biological subject |  | 27.20
389 | Var9: Researcher Name | Jan Newton | 27.21.1
390 | Var9: Researcher Institution | University of Washington Applied Physics Laboratory | 27.21.2
391 | Var10: Variable abbreviation in data files | OXYGEN_MG_L_1, OXYGEN_MG_L_2, OXYGEN_MG_L_3 | 27.1
392 | Var10: Full variable name | oxygen concentration in discrete bottle samples | 27.2
393 | Var10: Observation type | Water column profile | 27.4
394 | Var10: In-situ observation / manipulation condition / response variable | In-situ observation | 27.5
395 | Var10: Variable unit | milligrams per liter (mg/L) | 27.7
396 | Var10: Measured or calculated | Measured | 27.8
397 | Var10: Calculation method and parameters | We followed the calculations of Carpenter (1965), as described by Codispoti: https://www.ioos.noaa.gov/wp-content/uploads/2016/04/codispoti1988_oxygenprotocol_a.pdf | 27.9
398 | Var10: Sampling instrument | Niskin bottle | 27.1
399 | Var10: Analyzing instrument | Brinkman Dosimat automated titrator | 27.11
400 | Var10: Duration (for settlement/colonization methods) |  | 27.12
401 | Var10: Detailed sampling and analyzing information | A tygon tube was attached to the Niskin bottle and flushed so no air remained. A 125-mL iodine flask was inverted over the upward-pointing tube and flushed, rinsing and reverting the bottle to allow it to fill, overflowing three times its volume. The tube was withdrawn without turbulence, maintaining an overfull bottle. A repipettor was used to dispense 1 mL of MgCl2 and 1 mL of NaOH-NaI with Azide added. The flask was capped without introducing a bubble, inverted and mixed thoroughly, about a dozen times. The bottle was allowed to settle, then remixed, and a bead of DI water added to the lid for an airtight seal. The analysis method is based upon the Carpenter (1965) whole flask titration of iodine, which is produced by an equivalent amount of dissolved oxygen. An automated titrator (Brinkman Dosimat) uses an amperometric end-point detection as described by Culberson and Huang (1987) and modified for IBM-PC computers by Knapp et al. (1990). The nominal 125-mL iodine flasks are used for sampling are pre-calibrated so their volumes are precisely known. Samples were titrated within a day or two of being collected, allowing the samples to come to room temperature where the titration occured. Discrete oxygen samples were used to validate sensor O2 observations on the CTD package. | 27.13
402 | Var10: Field replicate information | We collected and analyzed replicate samples from approximately 10% of the Niskins sampled. * The number at the end of the variable abbreviation refers to the replicate number. | 27.14
403 | Var10: Uncertainty | Precision of 1% calculated as average SD of triplicate analyses | 27.15
404 | Var10: Data quality flag description | OXYGEN_FLAG_W, WOCE water sample quality codes are used: 2 = acceptable measurement, 3 = questionable measurement, 4 = bad measurement, 5 = not reported, 6 = mean of replicate measurements, 9 = sample not drawn for measurement from this Niskin bottle. These QC codes were initially assigned on the basis of the observed quality of laboratory analysis. These codes do not account for field sampling aberrations. Adjustments to quality codes were made after careful inspection of the data set after data processing. Where sample values were observed to be strong outliers in cross-plots with other variables, the quality codes have been updated from a 2 to a 3 or 4 after close inspection of the profile at that station, including other parameters. Those flagged 3 represent values that are questionable due to being out of expected ranges, having inverted profile values from what would normally be expected in this region, or being strong outliers in the CTD vs. BOTTLE oxygen plot and regression analysis. Those flagged 4 are either values that clearly represent a Niskin misfire at an unknown depth or samples that had notes about analytical problems associated with them. Please see more information under CTDOXY_UMOL_KG_ADG on post-cruise processing of oxygen data. Measurements with quality codes of 4 have been expunged and replaced with quality codes of 5 prior to submission. | 27.16
405 | Var10: Method reference (citation) | Carpenter, J.H. 1965. The accuracy of the Winkler method for dissolved oxygen. Limnology and Oceanography 10: 135-140. Codispoti, L. 1988. One man's advice on the determination of dissolved oxygen in seawater. https://www.ioos.noaa.gov/wp-content/uploads/2016/04/codispoti1988_oxygenprotocol_a.pdf Culberson, G.H. and S. Huang. 1987. Automated Amperometric Oxygen titration. Deep-Sea Research 34: 875-880. Knapp, G.P., M.C. Stalcup, and R.J. Stanley. 1990. Automated oxygen titration and salinity determination. Report WHOI-90-35. Woods Hole Oceanographic Institution, Woods Hole, MA (https://darchive.mblwhoilibrary.org/bitstream/handle/1912/1020/WHOI-90-35.pdf?sequence=1). | 27.17
406 | Var10: Biological subject |  | 27.18
407 | Var10: Species Identification code |  | 27.19
408 | Var10: Life stage of the biological subject |  | 27.20
409 | Var10: Researcher Name | Jan Newton | 27.21.1
410 | Var10: Researcher Institution | University of Washington Applied Physics Laboratory | 27.21.2
411 | Var11: Variable abbreviation in data files | CTDOXY_UMOL_KG_ADJ | 27.1
412 | Var11: Full variable name | Dissolved oxygen concentration measured by CTD sensors and adjusted for an offset from bottle oxygen values. Units converted to umol/kg. | 27.2
413 | Var11: Observation type | Water column profile | 27.4
414 | Var11: In-situ observation / manipulation condition / response variable | In-situ observation | 27.5
415 | Var11: Variable unit | micromoles per kilogram of seawater (umol/kg-SW) | 27.7
416 | Var11: Measured or calculated | Calculated from bottle and SBE 43 sensor dissolved oxygen measurements. | 27.8
417 | Var11: Calculation method and parameters | Units for both bottle and CTD oxygen concentration measurements were first converted to micromoles per kilogram. Average values for bottle oxygen measurements were used, where replicates were taken. Then CTD oxygen concentrations were adjusted on the basis of their offset from Winkler titration oxygen measurements from discrete bottle samples. The correction was done by way of a linear regression after outliers were excluded (all outliers were flagged as below). All methods for doing these adjustments were described in greater detail in Alin et al. Earth System Data Science, 2018. | 27.9
418 | Var11: Sampling instrument | SBE 43 sensor details described under Var9 above. | 27.1
419 | Var11: Analyzing instrument | Winkler bottle oxygen details described under Var10 above. | 27.11
420 | Var11: Duration (for settlement/colonization methods) |  | 27.12
421 | Var11: Detailed sampling and analyzing information | Described in sections above on CTDOXY_MG_L and OXYGEN_MG_L_#. | 27.13
422 | Var11: Field replicate information | Described in sections above on CTDOXY_MG_L and OXYGEN_MG_L_#. | 27.14
423 | Var11: Uncertainty |  | 27.15
424 | Var11: Data quality flag description | NOTE: Oxygen flags were not generally assigned based on factors present at the time of analysis, although in some cases, notes were taken on problems encountered at the time of analysis (e.g., bubbles in titrator or running out of reagent) and these are among the samples flagged with 3s or 4s. Rather oxygen data were QC'ed during the course of adjusting the slope and intercept of CTD oxygen data to the bottle data by way of a linear regression. As such, the QC flags have a slightly different meaning in this context. We applied a QC flag of 3, denoting questionable values, strictly on the basis that the CTD-bottle oxygen data pair was an outlier in the regression. In many cases the data may be fine and simply reflect the strong stratification in surface conditions in Puget Sound. In other cases, one value or the other may not be good. For those oxygen data flagged 4 (bad values), the bottle oxygen data were recognized to be bad, for reasons that may include bubbles or reagent issues or perhaps a Niskin closing at the wrong depth. The 4s were identified on the basis of being samples from subsurface waters (>25 m depth) with concentrations that appeared to be from a substantially different depth within a given profile (whether the value was substantially too low or too high). All other samples were presumed to be of QC level 2, although future data analyses may determine additional values to be questionable. | 27.16
425 | Var11: Method reference (citation) | Alin, S.R., J.A. Newton, …., 2018. A decade-long biogeochemical cruise time-series from the northern California Current System and southern Salish Sea, North America, from 2008 to 2017. Earth System Data Science, doi: XXXXXXXX. | 27.17
426 | Var11: Biological subject |  | 27.18
427 | Var11: Species Identification code |  | 27.19
428 | Var11: Life stage of the biological subject |  | 27.20
429 | Var11: Researcher Name | Simone Alin | 27.21.1
430 | Var11: Researcher Institution | NOAA Pacific Marine Environmental Laboratory | 27.21.2
431 | Var12: Variable abbreviation in data files | SIGMATHETA_KG_M3 | 27.1
432 | Var12: Full variable name | Potential density anomaly, also known as sigma theta, referenced to 0 db pressure | 27.2
433 | Var12: Observation type | Water column profile | 27.4
434 | Var12: In-situ observation / manipulation condition / response variable | In-situ observation | 27.5
435 | Var12: Variable unit | kilograms per meter cubed (kg/m3) | 27.7
436 | Var12: Measured or calculated | Calculated | 27.8
437 | Var12: Calculation method and parameters | Calculated within Sea-Bird Scientific's SeaSAVE or SBE Data Processing software using TEOS-10 equations for cruises after 2013 and EOS-80 equations prior to 2013 (per web site: http://www.seabird.com/software/sbe-data-processing). | 27.9
438 | Var12: Sampling instrument |  | 27.1
439 | Var12: Analyzing instrument |  | 27.11
440 | Var12: Duration (for settlement/colonization methods) |  | 27.12
441 | Var12: Detailed sampling and analyzing information |  | 27.13
442 | Var12: Field replicate information |  | 27.14
443 | Var12: Uncertainty |  | 27.15
444 | Var12: Data quality flag description |  | 27.16
445 | Var12: Method reference (citation) | http://www.oc.nps.edu/nom/day1/parta.html, http://www.seabird.com/software/sbe-data-processing | 27.17
446 | Var12: Biological subject |  | 27.18
447 | Var12: Species Identification code |  | 27.19
448 | Var12: Life stage of the biological subject |  | 27.20
449 | Var12: Researcher Name | Jan Newton | 27.21.1
450 | Var12: Researcher Institution | University of Washington Applied Physics Laboratory | 27.21.2
451 | Var13: Variable abbreviation in data files | LONGITUDE_DEC | 28.1
452 | Var13: Full variable name | Longitude in decimal degrees East (negative for Western Hemisphere) | 28.2
453 | Var14: Variable abbreviation in data files | LATITUDE_DEC | 28.1
454 | Var14: Full variable name | Latitude in decimal degrees North (negative for Southern Hemisphere) | 28.2
455 | Var15: Variable abbreviation in data files | STATION_NO | 28.1
456 | Var15: Full variable name | Station number, corresponds to the numerical value after the P in PRISM Station numbers found at http://nvs.nanoos.org/CruiseSalish | 28.2
457 | Var16: Variable abbreviation in data files | NISKIN_NO | 28.1
458 | Var16: Full variable name | Niskin bottle number. The sequence of trip depths starts with deepest bottle trip = 1. | 28.2
459 | Var17: Variable abbreviation in data files | DATE_UTC | 28.1
460 | Var17: Full variable name | Date (mm/dd/yyyy) in Coordinated Universal Time (UTC) | 28.2
461 | Var18: Variable abbreviation in data files | TIME_UTC | 28.1
462 | Var18: Full variable name | Time (HH:mm:ss) in Coordinated Universal Time (UTC) | 28.2
463 | Var19: Variable abbreviation in data files | DATE_LOCAL | 28.1
464 | Var19: Full variable name | Date (mm/dd/yyyy) in Local Time | 28.2
465 | Var20: Variable abbreviation in data files | TIME_LOCAL | 28.1
466 | Var20: Full variable name | Time (HH:mm:ss) in Local Time | 28.2
467 | Investigator-4 name |  | 3.1
468 | Investigator-4 institution |  | 3.2
469 | Investigator-4 address |  | 3.3
470 | Investigator-4 phone |  | 3.4
471 | Investigator-4 email |  | 3.5
472 | Investigator-4 researcher ID |  | 3.6
473 | Investigator-4 ID type (ORCID, Researcher ID, etc.) |  | 3.7
474 | Investigator-5 name |  | 3.1
475 | Investigator-5 institution |  | 3.2
476 | Investigator-5 address |  | 3.3
477 | Investigator-5 phone |  | 3.4
478 | Investigator-5 email |  | 3.5
479 | Investigator-5 researcher ID |  | 3.6
480 | Investigator-5 ID type (ORCID, Researcher ID, etc.) |  | 3.7