## Sheet2
Metadata form for underway measurement systems
( * =mandatory field)
to be filled out by the scientist
To be filled ou by the data management
Investigator* | Name* |  | Nicholas R Bates
| Organization* |  | Bermuda Institute of Ocean Sciences (BIOS)
| Address* |  | 17 Biological Lane
Ferry Reach, St. Georges
| Phone* |  | 1-441-297-1880
| Email* |  | nick.bates@bios.edu
Dataset_Info* | Dataset ID*
Funding Info
| Submission Dates | Initial Submission: (YYYYMMDD)
Revised Submission: (YYYYMMDD)
Cruise_Info* | Experiment Name* |  | AE1913
| Cruise ID (Expocode) |  | 33H420190616
| Section (Leg) |  | Not applicable
| Geographical Coverage* | Geographical Region | NA06 (North Atlantic Ocean)
| Westernmost Longitude: | Enter decimal fractions of degrees: (+ = E, - = W)
or Degrees, Minutes, Seconds: East West
| Easternmost Longitude: | Enter decimal fractions of degrees: (+ = E, - = W)
or Degrees, Minutes, Seconds: East West
| Northernmost Latitude: | Enter decimal fractions of degrees: (+ = N, - = S)
or Degrees, Minutes, Seconds: North South
| Southernmost Latitude: | Enter decimal fractions of degrees: (+ = N, - = S)
or Degrees, Minutes, Seconds: North South
| Temporal Coverage | Start Date: (YYYYMMDD) | 20190616
|  | End Date: (YYYYMMDD) | 20190627
| Ports of Call |  | Bermuda to Bermuda
| Platform Type (e.g. Ship) |  | Ship
| Survey Type (e.g. Research cruise) |  | Research Cruise
| Vessel* | Vessel Name | R/V Atlantic Explorer
|  | Vessel ID | 33H4
|  | Country | US
|  | Vessel Owner | Bermuda Institute of Ocean Sciences (BIOS)
Variable | Variable Name* |  | xCO2_EQU_ppm
| Description of Variable (e.g. in dry air) |  | Mole fraction of CO2 in the equilibrator headspace (dry) at equilibrator temperature (ppm)
| Unit |  | ppm
Variable | Variable Name* |  | xCO2_ATM_ppm
| Description of Variable (e.g. in dry air) |  | Mole fraction of CO2 measured in dry outside air (ppm)
| Unit |  | ppm
Variable | Variable Name* |  | PRES_EQU_hPa
| Description of Variable (e.g. in dry air) |  | Barometric pressure in the equilibrator headspace (hPa)
| Unit |  | hPa
Variable | Variable Name* |  | PRES_ATM@SSP_hPa
| Description of Variable (e.g. in dry air) |  | Barometric pressure measured outside, corrected to sea level (hPa)
| Unit |  | hPa
Variable | Variable Name* |  | TEMP_EQU_C = SST for this cruise (see note in comments)
| Description of Variable (e.g. in dry air) |  | Water temperature in equilibrator (°C)
| Unit |  | Degree C
Variable | Variable Name* |  | SST_C
| Description of Variable (e.g. in dry air) |  | Sea surface temperature (°C)
| Unit |  | Degree C
Variable | Variable Name* |  | SAL_permil
| Description of Variable (e.g. in dry air) |  | Sea surface salinity on Practical Salinity Scale (o/oo)
| Unit |  | ppt
Variable | Variable Name* |  | DY2019
| Description of Variable (e.g. in dry air) |  | Decimal Year 2019
| Unit |  | 2019.XXXX
Variable | Variable Name* |  | ETOPO2
| Description of Variable (e.g. in dry air) |  | O2 Concentration in μM,
| Unit |  | μM
| Total variables in the Data Set |  | 9
Method Description* | Equilibrator Design | Equilibrator Type | GO Oceanics Equilibrator
|  | Equilibrator Volume (L) | 1.4 L total volume; 0.805 seawater colume and 0.595 L headspace
|  | Intake Location | Bow of ship; ~1.5 m depth
|  | Water Flow Rate (L/min) | 1.5-2.5 L/min
|  | Headspace Gas Flow Rate (L/min) | 70 - 150 ml/min
|  | Vented (Yes, No) | Primary equilibrator is vented through a secondary equilibrator.
|  | Equilibration Comments | The equilibrator has no thermal jacket
|  | Drying Method | Gas stream passes through a thermoelectric condenser (~5 °C) and then through a Perma Pure (Nafion) dryer before reaching the analyzer (90% dry)
| Measurement Method |  | Seawater equilbration, IR CO2 measurements and cailbration with CO2-in-air standards
| Manufacturer of Calibration Gas (E.g., Aire Liquide (France)) |  | NOAA CMDL
| CO2 Sensors | CO2 Sensor | IR
|  | Manufacturer | Licor
|  | Model | LI7000
|  | Measured CO2 Values | Zero gas plus 3 standards: 248.89 ppm; 379.56 ppm; 470.54 ppm
|  | Measurement Frequency | ~10 per hour
|  | Uncertainty (Accuracy/Precision) | ~0.5 µatm
|  | CO2 Sensor Calibration: (For each sensor of pressure, temperature, and salinity, document traceability to an internationally recognized scale, including date and place of the last calibration) | The analyzer is calibrated every 5 hours with primary standards that are directly traceable to the WMO X2007 scale. The zero gas is ultra-high purity N2
|  | Number Non-Zero Gas Standards | 3
|  | Calibration Gases | CO2-in-air; 248.89 ppm; 379.56 ppm; 470.54 ppm
|  | Comments | Not applicable
| Other Sensors | Manufacturer | Seabird
|  | Model | SBE38
|  | Resolution | Temperature Resolution: 0.0001 °C
|  | Uncertainty (Accuracy/Precision) | Temperature Accuracy: ± 0.002 °C
|  | Calibration: (For each sensor of pressure, temperature, and salinity, document traceability to an internationally recognized scale, including date and place of last calibration.) | Traceable to SeaBird calibration for pressure, temperature and salinity (Feb 2020)
|  | Comments | At seawater intake ~1.5m below sea level [Variable 6]
| Other Sensors | Manufacturer | Seabird TSG
|  | Model | SBE45
|  | Resolution | Conductivity resolution: 0.00001 S/m Temperature Resolution: 0.0001 °C
|  | Uncertainty (Accuracy/Precision) | Conductivity Accuracy: ± 0.0003 S/m Temperature Accuracy: ± 0.002 °C
|  | Calibration: (For each sensor of temperature, and salinity, document traceability to an internationally recognized scale, including date and place of last calibration.) | Traceable to SeaBird calibration for pressure, temperature and salinity (Feb 2020)
|  | Comments | sensor is located beside the pCO2 unit.
| Other Sensors | Manufacturer | Aanderaa Oxygen Optode
|  | Model | 4831
|  | Resolution | 0.1 µmole/kg
|  | Uncertainty (Accuracy/Precision) | 2 µmole/kg
|  | Calibration: (For each sensor of pressure, temperature, and salinity, document traceability to an internationally recognized scale, including date and place of last calibration.) | Factory calibration, Resolution is taken as Precision
|  | Comments | in a separate flow cell next to CO2 equilibator [9th Variable]
| Other Sensors | Manufacturer | Hart Thermometer
|  | Model | 1523
|  | Resolution | 0.015
|  | Uncertainty (Accuracy/Precision) | 0.001; Calibrated to seabird sensors with inaccuracy of 0.001°C
|  | Calibration: (For each sensor of pressure, temperature, and salinity, document traceability to an internationally recognized scale, including date and place of last calibration.) | Factory calibration, Resolution is taken as Precision
|  | Comments | Inserted into equilibrator ~5 cm below water level
| Other Sensors | Manufacturer | Setra Pressure sensor
|  | Model | 270
|  | Resolution | 0.15 hPa
|  | Uncertainty (Accuracy/Precision) | 0.015 hPa
|  | Calibration: (For each sensor of pressure, temperature, and salinity, document traceability to an internationally recognized scale, including date and place of last calibration.) | Factory calibration, Resolution is taken as Precision
|  | Comments | attached to primary equilibrator headspace [3rd Variable]
| Other Sensors | Manufacturer | Vaisala
|  | Model | PTB210 Digital Barometer
|  | Resolution | ± 0.05 hPa
|  | Uncertainty (Accuracy/Precision) | ± 0.60 hPa
|  | Calibration: (For each sensor of pressure, temperature, and salinity, document traceability to an internationally recognized scale, including date and place of last calibration.) | sensor is factory calibrated and adjusted to sea level pressure. [4th variable]
|  | Comments | sensor located above bridge, ~20m above sea level.
|  | Comments | Bates, N.R., 2020. pCO2 measurements from the R/V Atlantic Explorer cruise
| Method References: (Publication(s) describing method) |  | GO Oceanics System Manual
| Additional information |  | SST_C was used in place of TEMP_EQU_C for these calculations. Difference between these two variables is small (0.05 C).
| Suggested QC flag from Data Provider |  | A through D (SOCAT Flags); WOCE quality flags also
Data set references | (Publication(s) describing data set) |  | Not applicable
Citation | How to cite this data |  | Bates, N.R., 2020. pCO2 measurements from the R/V Atlantic Explorer cruise AE1913
Data Set Link | URL*
| Label* |  | AE1913
| Link Note: (Optional instructions or remarks) |  | Not applicable