## metadata
Instructions: Please try not to change the order of Rows No. 1 through No. 211, as the information will be read by a computer computer program later on. Starting from No. 212, please first append the additional variable sections, then the non-measured variable sections, then the additional principal investigator sections (if there are more than three PIs), and then the platform sections (if there are more than 3 platforms). Please do not use special characters.
No | Metadata element name | Your input | Help reference no.
1 | Submission Date |  | 1
2 | Accession no. of related data sets |  | 2
3 | Investigator-1 name | Simone R. Alin | 3.1
4 | Investigator-1 institution | NOAA Pacific Marine Environmental Laboratory (NOAA/PMEL) | 3.2
5 | Investigator-1 address | 7600 Sand Point Way NE, Building 3, Seattle, WA 98115 | 3.3
6 | Investigator-1 phone | 206-526-6819 | 3.4
7 | Investigator-1 email | simone.r.alin@noaa.gov | 3.5
8 | Investigator-1 researcher ID | 1: 0000-0002-8283-1910, 2: J-6836-2017 | 3.6
9 | Investigator-1 ID type (ORCID, Researcher ID, etc.) | 1: ORCID; 2: Researcher ID | 3.7
10 | Investigator-2 name | Richard A. Feely | 3.1
11 | Investigator-2 institution | NOAA Pacific Marine Environmental Laboratory (NOAA/PMEL) | 3.2
12 | Investigator-2 address | 7600 Sand Point Way NE, Building 3, Seattle, WA 98115 | 3.3
13 | Investigator-2 phone | 206-526-6214 | 3.4
14 | Investigator-2 email | Richard.A.Feely@noaa.gov | 3.5
15 | Investigator-2 researcher ID |  | 3.6
16 | Investigator-2 ID type (ORCID, Researcher ID, etc.) |  | 3.7
17 | Investigator-3 name |  | 3.1
18 | Investigator-3 institution |  | 3.2
19 | Investigator-3 address |  | 3.3
20 | Investigator-3 phone |  | 3.4
21 | Investigator-3 email |  | 3.5
22 | Investigator-3 researcher ID |  | 3.6
23 | Investigator-3 ID type (ORCID, Researcher ID, etc.) |  | 3.7
24 | Data submitter name | Andrew Collins | 4.1
25 | Data submitter institution | NOAA Pacific Marine Environmental Laboratory (NOAA/PMEL) | 4.2
26 | Data submitter address | 7600 Sand Point Way NE, Building 3, Seattle, WA 98115 | 4.3
27 | Data submitter phone | 206-526-6208 | 4.4
28 | Data submitter email | andrew.collins@noaa.gov | 4.5
29 | Data submitter researcher ID |  | 4.6
30 | Data submitter ID type (ORCID, Researcher ID, etc.) |  | 4.7
31 | Title | Fugacity of carbon dioxide (fCO2), temperature, salinity and other variables collected from surface underway observations using shower head equilibrator, carbon dioxide gas detector and other instruments from the R/V Thomas G. Thompson cruise TN374 (EXPOCODE 325020191211) in the South Atlantic Ocean from 2019-12-11 to 2020-01-04 (NCEI Accession 0XXXXXX). | 5
32 | Abstract | Surface ocean measurements of fCO2, salinity, and sea surface temperature were collected underway during cruise number TN374 by R/V Thomas G. Thompson from Walvis Bay, Namibia to Cape Town, South Africa. These measurements were collected with support from NOAA's Climate Program Office (CPO). | 6
33 | Purpose | The major objectives of the project were to continue a time series documenting the distribution of surface and atmospheric fCO2, salinity, temperature, and other parameters in the Atlantic Ocean. | 7
34 | Start date | 2019-12-11 | 8.1
35 | End date | 2020-01-04 | 8.2
36 | Westbd longitude | 0.217° E | 9.1
37 | Eastbd longitude | 13.853° E | 9.2
38 | Northbd latitude | 20.133° S | 9.3
39 | Southbd latitude | 32.479° S | 9.4
40 | Geographic names | South Atlantic Ocean | 11
41 | Funding agency name | NOAA Climate Program Office Ocean Observing and Monitoring Division (CPO/OOMD) | 13.1
42 | Funding project title | Surface water pCO2 measurements from ships | 13.2
43 | Funding project ID (Grant no.) |  | 13.3
44 | Research projects |  | 14
45 | Platform-1 name | R/V Thomas G. Thompson | 15.1
46 | Platform-1 ID | 3250 | 15.2
47 | Platform-1 type | Global Class, T-AGOR-23 | 15.3
48 | Platform-1 owner | U.S. Navy Ofﬁce of Naval Research | 15.4
49 | Platform-1 country | U.S.A. | 15.5
50 | Platform-2 name |  | 15.1
51 | Platform-2 ID |  | 15.2
52 | Platform-2 type |  | 15.3
53 | Platform-2 owner |  | 15.4
54 | Platform-2 country |  | 15.5
55 | Platform-3 name |  | 15.1
56 | Platform-3 ID |  | 15.2
57 | Platform-3 type |  | 15.3
58 | Platform-3 owner |  | 15.4
59 | Platform-3 country |  | 15.5
60 | EXPOCODE | 325020191211 | 16
61 | Cruise ID | TN374 | 17
62 | Section |  | 18
63 | Author list for citation | Alin, S.R; Collins, A.U; Feely, R.A; Cosca, C.E. | 19
64 | References | Pierrot, D., C. Neill, K. Sullivan, R. Castle, R. Wanninkhof, H. Lüger, T. Johannessen, A. Olsen, R.A. Feely, and C.E. Cosca (2009): Recommendations for autonomous underway pCO2 measuring systems and data-reduction routines. Deep-Sea Res. II, 56(8–10), 512–522, doi: 10.1016/j.dsr2.2008.12.005. Feely, R.A., R. Wanninkhof, H.B. Milburn, C.E. Cosca, M. Stapp, and P.P. Murphy, A new automated underway system for making high precision pCO2 measurements onboard research ships, Analytica Chim. Acta, 377, 185-191, 1998. Wanninkhof and Thoning, Measurement of fugacity of Carbon Dioxide in surface water and air using continuous sampling methods, Marine Chemistry, 44, 189-205, 1993. | 20
65 | Supplemental information | http://www.pmel.noaa.gov/co2/ | 21
66 | DIC: Variable abbreviation in data files |  | 22.1
67 | DIC: Variable unit |  | 22.5
68 | DIC: Observation type |  | 22.2
69 | DIC: Measured or calculated |  | 22.6
70 | DIC: Calculation method and parameters |  | 22.7
71 | DIC: Sampling instrument |  | 22.8
72 | DIC: Analyzing instrument |  | 22.9
73 | DIC: Detailed sampling and analyzing information |  | 22.10
74 | DIC: Field replicate information |  | 22.11
75 | DIC: Standardization technique description |  | 22.12.1
76 | DIC: Frequency of standardization |  | 22.12.2
77 | DIC: CRM manufacturer |  | 22.12.3.1
78 | DIC: Batch number |  | 22.12.3.2
79 | DIC: Poison used to kill the sample |  | 22.13.1
80 | DIC: Poison volume |  | 22.13.2
81 | DIC Poisoning correction description |  | 22.13.3
82 | DIC: Uncertainty |  | 22.14
83 | DIC: Data quality flag description |  | 22.15
84 | DIC: Method reference (citation) |  | 22.16
85 | DIC: Researcher Name |  | 22.17.1
86 | DIC: Researcher Institution |  | 22.17.2
87 | TA: Variable abbreviation in data files |  | 23.1
88 | TA: Variable unit |  | 23.5
89 | TA: Observation type |  | 23.2
90 | TA: Measured or calculated |  | 23.6
91 | TA: Calculation method and parameters |  | 23.7
92 | TA: Sampling instrument |  | 23.8
93 | TA: Analyzing instrument |  | 23.9
94 | TA: Type of titration |  | 23.1
95 | TA: Cell type (open or closed) |  | 23.11
96 | TA: Curve fitting method |  | 23.12
97 | TA: Detailed sampling and analyzing information |  | 23.13
98 | TA: Field replicate information |  | 23.14
99 | TA: Standardization technique description |  | 23.15.1
100 | TA: Frequency of standardization |  | 23.15.2
101 | TA: CRM manufacturer |  | 23.15.3.1
102 | TA: Batch Number |  | 23.15.3.2
103 | TA: Poison used to kill the sample |  | 23.16.1
104 | TA: Poison volume |  | 23.16.2
105 | TA: Poisoning correction description |  | 23.16.3
106 | TA: Magnitude of blank correction |  | 23.17
107 | TA: Uncertainty |  | 23.18
108 | TA: Data quality flag description |  | 23.19
109 | TA: Method reference (citation) |  | 23.2
110 | TA: Researcher Name |  | 23.21.1
111 | TA: Researcher Institution |  | 23.21.2
112 | pH: Variable abbreviation in data files |  | 24.1
113 | pH: pH scale |  | 24.9
114 | pH: Observation type |  | 24.2
115 | pH: Measured or calculated |  | 24.5
116 | pH: Calculation method and parameters |  | 24.6
117 | pH: Sampling instrument |  | 24.7
118 | pH: Analyzing instrument |  | 24.8
119 | pH: Temperature of measurement |  | 24.1
120 | pH: Detailed sampling and analyzing information |  | 24.11
121 | pH: Field replicate information |  | 24.12
122 | pH: Standardization technique description |  | 24.13.1
123 | pH: Frequency of standardization |  | 24.13.2
124 | pH: pH values of the standards |  | 24.13.3
125 | pH: Temperature of standardization |  | 24.13.4
126 | pH: Temperature correction method |  | 24.14
127 | pH: at what temperature was pH reported |  | 24.15
128 | pH: Uncertainty |  | 24.16
129 | pH: Data quality flag description |  | 24.17
130 | pH: Method reference (citation) |  | 24.18
131 | pH: Researcher Name |  | 24.19.1
132 | pH: Researcher Institution |  | 24.19.2
133 | pCO2A: Variable abbreviation in data files | fCO2_SW@SST_uatm, dfCO2_uatm | 25.1
134 | pCO2A: Variable unit | uatm | 25.5
135 | pCO2A: Observation type | Surface underway | 25.2
136 | pCO2A: Measured or calculated | Measured | 25.6
137 | pCO2A: Calculation method and parameters | Fugacity of CO2 is obtained by correcting the partial pressure of CO2 (pCO2) for non-ideality of the gas with respect to molecular interactions between CO2 and other gases in air. See Pierrot et al. for details on how the correction is made. | 25.7
138 | pCO2A: Sampling instrument | Seawater pump | 25.8
139 | pCO2A: Location of seawater intake | Bow | 25.9
140 | pCO2A: Depth of seawater intake | 5 meters | 25.1
141 | pCO2A: Analyzing instrument | General Oceanics 8050. PMEL system ID: C12/15034/157 | 25.11
142 | pCO2A: Detailed sampling and analyzing information | The sampling and analyzing methods of the Neill/General Oceanics Underway pCO2 systems are described in detail in: Pierrot, D., C. Neill, K. Sullivan, R. Castle, R. Wanninkhof, H. Lüger, T. Johannessen, A. Olsen, R.A. Feely, and C.E. Cosca (2009): Recommendations for autonomous underway pCO2 measuring systems and data-reduction routines. Deep-Sea Res. II, 56(8–10), 512–522, doi: 10.1016/j.dsr2.2008.12.005. | 25.12
143 | pCO2A: Equilbrator type | Shower head | 25.13.1
144 | pCO2A: Equilibrator volume (L) | ~0.5 L | 25.13.2
145 | pCO2A: Vented or not | Vented | 25.13.3
146 | pCO2A: Water flow rate (L/min) | 3 L/min | 25.13.4
147 | pCO2A: Headspace gas flow rate (L/min) | ~0.8 L/m | 25.13.5
148 | pCO2A: How was temperature inside the equilibrator measured . | Hart Scientific model 1523 digital thermometer, serial number A71212, with an NIST traceable model 5610 thermistor probe, serial number B2C0403. Accurate to ± 0.01°C. | 25.13.6
149 | pCO2A: How was pressure inside the equilibrator measured. | Setra 239 differential pressure transducer, accurate to ± 0.15 hPa. The equilibrator was passively vented to a secondary equilibrator, and the Licor sample output was vented to the laboratory when CO2 measurements were made, thus equilibrator headspace pressure was assumed to be laboratory pressure. | 25.13.7
150 | pCO2A: Drying method for CO2 gas | From Pierrot et al.: Sample air is dried in a condenser that is cooled to 4-5 oC by a Peltier thermoelectric device. This partially dried air flushes a chamber that is vented and remains at ambient pressure. The dried air inside the chamber is used as the counter flow in the Nafion® tubing. A vacuum pump pulls the dried air from the chamber first through a fixed restrictor and then through the Nafion® tubes, thus creating an absolute pressure and corresponding partial pressure gradient for water vapor across the membrane. When atmospheric air is measured, some of the partially dried air (80-100 ml/min) is pushed through a Nafion® tube, the analyzer and out a vent instead of flushing the chamber. The headspace gas, when being measured, is circulated in a closed loop through the analyzer at a rate similar to that of the atmospheric air (80-100 ml/min). It is dried first in the condenser, then in a Nafion® tube prior to entering the analyzer and being returned to the equilibrator. Typically, the water mole fraction (xH2O) in the dried gas is about 2 parts per thousand (ppt), which corresponds to a dew point temperature of about -20 °C. The liquid water condensed out of the sample air streams is removed by peristaltic pumps into the vent equilibrator at intervals determined by the user. | 25.14
151 | pCO2A: Manufacturer of the gas detector | Licor, Inc | 25.15.1
152 | pCO2A: Model of the gas detector | Licor 7000, IRG4-0583 | 25.15.2
153 | pCO2A: Resolution of the gas detector | 0.2 µatm | 25.15.3
154 | pCO2A: Uncertainty of the gas detector | 0.3 µatm for equilibrator measurements, 0.2 µatm for atmospheric measurements | 25.15.4
155 | pCO2A: Standardization technique description | The system runs a full cycle in approximately six hours. The cycle starts with four standard gases composed of a known quantity of CO2 in air, a gas composed of 100% ultra-high purity nitrogen, then measures six atmopheric samples followed by 60 surface water samples. The gas detector runs a zero and span routine twice daily, using the nitrogen and highest CO2 gas standard, respectively. | 25.16.1
156 | pCO2A: Frequency of standardization | Every three hours | 25.16.2
157 | pCO2A: Manufacturer of standard gas | Standard gases are supplied by NOAA’s Earth System Research Laboratory, Global Monitoring Division, in Boulder, CO, and are directly traceable to the WMO scale. | 25.16.3.1
158 | pCO2A: Concentrations of standard gas | LL122869 = 304.26 ppm CO2, LL122858 = 493.83 ppm CO2, LL122359 = 639.36 ppm CO2, LL63969 = 872.6 ppm CO2 | 25.16.3.2
159 | pCO2A: Uncertainties of standard gas | 0.01 ppm | 25.16.3.3
160 | pCO2A: Water vapor correction method | Details of the data reduction are described in Pierrot, et.al. (2009). | 25.17
161 | pCO2A: Temperature correction method | Details of the data reduction are described in Pierrot, et.al. (2009). | 25.18
162 | pCO2A: at what temperature was pCO2 reported | In situ sea surface temperature | 25.19
163 | pCO2A: Uncertainty | ± 0.01°C | 25.2
164 | pCO2A: Data quality flag description | WOCE quality control flags are used: 2 = good value, 3 = questionable value, 4 = bad value | 25.21
165 | pCO2A: Method reference (citation) | Pierrot, D.; Neill, C.; Sullivan, K.; Castle, R.; Wanninkhof, R.; Luger, H.; Johannessen, T.; Olsen, A.; Feely, R.A.; and Cosca, C.E. (2009). Recommendations for autonomous underway pCO2 measuring systems and data-reduction routines. Deep-Sea Res., II, v. 56, pp. 512-522. | 25.22
166 | pCO2A: Researcher Name | Collins, A.U. | 25.23.1
167 | pCO2A: Researcher Institution | Pacific Marine Environmental Laboratory, National Oceanic and Atmospheric Administration | 25.23.2
168 | pCO2D: Variable abbreviation in data files |  | 26.1
169 | pCO2D: Variable unit |  | 26.5
170 | pCO2D: Observation type |  | 26.2
171 | pCO2D: Measured or calculated |  | 26.6
172 | pCO2D: Calculation method and parameters |  | 26.7
173 | pCO2D: Sampling instrument |  | 26.8
174 | pCO2D: Analyzing instrument |  | 26.9
175 | pCO2D: Storage method |  | 26.1
176 | pCO2D: Seawater volume (mL) |  | 26.11
177 | pCO2D: Headspace volume (mL) |  | 26.12
178 | pCO2D: Temperature of measurement |  | 26.13
179 | pCO2D: Detailed sampling and analyzing information |  | 26.14
180 | pCO2D: Field replicate information |  | 26.15
181 | pCO2D: Manufacturer of the gas detector |  | 26.16.1
182 | pCO2D: Model of the gas detector |  | 26.16.2
183 | pCO2D: Resolution of the gas detector |  | 26.16.3
184 | pCO2D: Uncertainty of the gas detector |  | 26.16.4
185 | pCO2D: Standardization technique description |  | 26.17.1
186 | pCO2D: Frequency of standardization |  | 26.17.2
187 | pCO2D: Temperature of standardization |  | 26.17.3
188 | pCO2D: Manufacturer of standard gas |  | 26.17.4.1
189 | pCO2D: Concentrations of standard gas |  | 26.17.4.2
190 | pCO2D: Uncertainties of standard gas |  | 26.17.4.3
191 | pCO2D: Water vapor correction method |  | 26.18
192 | pCO2D: Temperature correction method |  | 26.19
193 | pCO2D: at what temperature was pCO2 reported |  | 26.2
194 | pCO2D: Uncertainty |  | 26.21
195 | pCO2D: Data quality flag description |  | 26.22
196 | pCO2D: Method reference (citation) |  | 26.23
197 | pCO2D: Researcher Name |  | 26.24.1
198 | pCO2D: Researcher Institution |  | 26.24.2
199 | Var1: Variable abbreviation in data files | SST_C | 27.1
201 | Var1: Full variable name | Sea Surface Temperature | 27.2
200 | Var1: Variable unit | Degrees Celsius | 27.7
202 | Var1: Observation type | Surface Underway | 27.4
203 | Var1: Sampling instrument | In-situ observation | 27.1
204 | Var1: Analyzing instrument | Seabird Electronics 45, maintained and calibrated yearly by ship personnel | 27.11
205 | Var1: Detailed sampling and analyzing information |  | 27.13
206 | Var1: Field replicate information |  | 27.14
207 | Var1: Uncertainty | 0.0025°C | 27.15
208 | Var1: Data quality flag description |  | 27.16
209 | Var1: Method reference (citation) |  | 27.17
210 | Var1: Researcher Name |  | 27.21.1
211 | Var1: Researcher Institution |  | 27.21.2
212 | Var2: Variable abbreviation in data files | SAL_PSU | 27.1
214 | Var2: Full variable name | Sea Surface Salinity | 27.2
213 | Var2: Variable unit | PSU | 27.7
215 | Var2: Observation type | Surface Underway | 27.4
216 | Var2: Sampling instrument | Seabird Electronics 45, maintained and calibrated yearly by ship personnel | 27.1
217 | Var2: Analyzing instrument |  | 27.11
218 | Var2: Detailed sampling and analyzing information |  | 27.13
219 | Var2: Field replicate information |  | 27.14
220 | Var2: Uncertainty | 0.005 PSU | 27.15
221 | Var2: Data quality flag description |  | 27.16
222 | Var2: Method reference (citation) |  | 27.17
223 | Var2: Researcher Name |  | 27.21.1
224 | Var2: Researcher Institution |  | 27.21.2
225 | VarN: Variable abbreviation in data files |  | 28.1
226 | VarN: Full variable name |  | 28.2