## metadata
Instructions: Please try not to change the order of Rows No. 1 through No. 211; as the information will be read by a computer computer program later on. Starting from No. 212; please first append the additional variable sections; then the non-measured variable sections; then the additional principal investigator sections (if there are more than three PIs); and then the platform sections (if there are more than 3 platforms). Please do not use special characters.
No | Metadata element name | Your input | Help reference no.
1 | Submission Date | 2021-11-15 | 1
2 | Accession no. of related data sets |  | 2
3 | Investigator-1 name | Eleanor Simpson | 3.1
4 | Investigator-1 institution | Simon Fraser University | 3.2
5 | Investigator-1 address | 8888 University Dr Burnaby BC V5A 1S6 Canada | 3.3
6 | Investigator-1 phone |  | 3.4
7 | Investigator-1 email | esimpson@sfu.ca | 3.5
8 | Investigator-1 researcher ID | 0000-0003-3477-391X | 3.6
9 | Investigator-1 ID type (ORCID; Researcher ID; etc.) | ORCID | 3.7
10 | Investigator-2 name | Debby Ianson | 3.1
11 | Investigator-2 institution | Institute of Ocean Sciences | 3.2
12 | Investigator-2 address | 9860 West Saanich Road; P.O. Box 6000; Sidney; BC; V8L 4B2 Canada | 3.3
13 | Investigator-2 phone | 250-363-6517 | 3.4
14 | Investigator-2 email | debby.Ianson@dfo-mpo.gc.ca | 3.5
15 | Investigator-2 researcher ID | 0000-0001-8317-5196 | 3.6
16 | Investigator-2 ID type (ORCID; Researcher ID; etc.) | ORCID | 3.7
17 | Investigator-3 name | Karen Elizabeth Kohfeld | 3.1
18 | Investigator-3 institution | Simon Fraser University | 3.2
19 | Investigator-3 address | 8888 University Dr, Burnaby, BC V5A 1S6 Canada | 3.3
20 | Investigator-3 phone |  | 3.4
21 | Investigator-3 email | kohfeld@sfu.ca | 3.5
22 | Investigator-3 researcher ID | 0000-0001-7241-1624 | 3.6
23 | Investigator-3 ID type (ORCID; Researcher ID; etc.) | ORCID | 3.7
24 | Data submitter name | Eleanor Simpson | 4.1
25 | Data submitter institution | Simon Fraser University | 4.2
26 | Data submitter address | 8888 University Dr, Burnaby, BC V5A 1S6 Canada | 4.3
27 | Data submitter phone |  | 4.4
28 | Data submitter email | esimpson@sfu.ca | 4.5
29 | Data submitter researcher ID | 0000-0003-3477-391X | 4.6
30 | Data submitter ID type (ORCID; Researcher ID; etc.) | ORCID | 4.7
31 | Title | Using Endmember Models to Estimate Seasonal Carbonate Chemistry and Acidification Sensitivity in Temperate Estuaries | 5
32 | Abstract | These data were collecte from the Salish Sea British Columbia. Specifically Baynes Sound and Okeover Inlet mostly via small skiffs and by wading into shallow water and hand deploying Niskins between 2015-2018. Deeper ship collected data are also included; collected from the CCGS Vector. These data are used in "Using Endmember Models to Estimate Seasonal Carbonate Chemistry and Acidification Sensitivity in Temperate Estuaries" published in Geophysical Reseach Letters. Discrete total alkalinity (TA); dissolved inorganic carbon (DIC); dissolved oxygen; salinity; and nutrient samples were taken from 5 L Niskin bottles and analysed at the Institute of Ocean Sciences; Sidney; Canada. CTD profiles were recorded with each cast. A total of 555 DIC and TA pairs were sampled with a 20% replication rate; and the pooled standard deviations (of difference between replicate pairs) were calculated to be 2.1 umol/kg and 3.9 umol/kg respectively. | 6
33 | Purpose | Nearshore carbonate system sampling | 7
34 | Start date | 2015-11-19 | 8.1
35 | End date | 2018-03-28 | 8.2
36 | Westbd longitude | -124.77 | 9.1
37 | Eastbd longitude | -124.683 | 9.2
38 | Northbd latitude | 50.03 | 9.3
39 | Southbd latitude | 49.457 | 9.4
40 | Geographic names | Strait of Geogia/Okoever Inlet/ Baynes Sound | 11
41 | Funding agency name | Marine Environmental Observation Prediction and Response Network | 13.1
42 | Funding project title | Ocean Acidification in Canadian Coastal Communities: Project 2.9 an Integrated Coastal Acidification Program | 13.2
43 | Funding project ID (Grant no.) |  | 13.3
44 | Research projects |  | 14
45 | Platform-1 name | CCGS Vector | 15.1
46 | Platform-1 ID | CGBW 328079 | 15.2
47 | Platform-1 type | Mid Shore Science Vessel | 15.3
48 | Platform-1 owner | Canadian Coast Guard | 15.4
49 | Platform-1 country | Canada | 15.5
50 | Platform-2 name |  | 15.1
51 | Platform-2 ID |  | 15.2
52 | Platform-2 type |  | 15.3
53 | Platform-2 owner |  | 15.4
54 | Platform-2 country |  | 15.5
55 | Platform-3 name |  | 15.1
56 | Platform-3 ID |  | 15.2
57 | Platform-3 type |  | 15.3
58 | Platform-3 owner |  | 15.4
59 | Platform-3 country |  | 15.5
60 | EXPOCODE | 18VT20160424; 18VT20160615; 18VT20160619; 18VT20160924; 18VT20170412 | 16
61 | Cruise ID |  | 17
62 | Section |  | 18
63 | Author list for citation | Eleanor Simpson, Debby Ianson, Karen Elizabeth Kohfeld, Yves Perreault, Andre Comeau, Keith Reid, Marty Davelaar, Danielle Caleb, Kenny Scozzafava, Mark Belton, Tamara Fraser, Paul Covert, Aimee McGowan, Carolyn Prentice, Stephen Chastain, Sergey Tsynkevych, Michelle Vandermoor, Tyler Carlson, Ben Hudson, Tereza Jarnikova, Elise Olson, Amelia Hesketh, Evie Morin | 19
64 | References |  | 20
65 | Supplemental information |  | 21
66 | DIC: Variable abbreviation in data files | DIC | 22.1
67 | DIC: Variable unit | umol/kg | 22.5
68 | DIC: Observation type | profile | 22.2
69 | DIC: Measured or calculated | measured | 22.6
70 | DIC: Calculation method and parameters |  | 22.7
71 | DIC: Sampling instrument | Niskin bottle 5L | 22.8
72 | DIC: Analyzing instrument | VINDTA along with a 5011 or 5017 Coulometer | 22.9
73 | DIC: Detailed sampling and analyzing information | Seawater samples were collected from standard depths in 500 mL borosilicate glass reagent bottles. 5 mL of water was removed to allow room for thermal expansion and the sample was preserved within 30 minutes of collection with 0.1 mL of a mercuric chloride saturated solution; then sealed with Apiezon M grease and the ground glass stoppers secured in place with electrical tape. The samples were stored at room temperature and moved to cold storage on-shore before on-shore laboratory analysis. The samples were analysed for DIC using a VINTA sample handling system in conjunction with a coulometer (UIC Inc.) to quantify total CO2 purged from the acidified sample. Measurements of a Certified reference material seawater (CRMs; Scripps Oceanographic Institution) were used for calibrating DIC with daily duplicate CRM measurements. | 22.10
74 | DIC: Field replicate information | 20% | 22.11
75 | DIC: Standardization technique description | Referenced to duplicate measurements of a CRM before each daily batch of samples | 22.12.1
76 | DIC: Frequency of standardization | Daily | 22.12.2
77 | DIC: CRM manufacturer | Andrew Dickson; Scripps Oceanographic Institute | 22.12.3.1
78 | DIC: Batch number | 152161 | 22.12.3.2
79 | DIC: How were the samples preserved (HgCl2; or others) | Mercuric chloride saturated solution | 22.13.1
80 | DIC: Concentration and amount of the preservative added | 100 uL per 500 ml sample bottle = 0.02% | 22.13.2
81 | DIC: Preservative correction description | 1.0002 for 500ml samples; 1.0004 for 250ml samples | 22.13.3
82 | DIC: Uncertainty | 2.1 | 22.14
83 | DIC: Data quality flag description | WOCE QC flags 1 = Sample drawn from bottle but analysis not recieved; 2 = QC Performed: Acceptable Measurement; 3 = QC Performed: Questionable Measurement; 4 = QC Performed: Bad Measurement; 5 = QC Performed: Not Reported; 6 = Mean of replicate measurements; 7 = Manual chromatographic peak measurement; 8 = Irregular digital chromatographic peak integration; 9 = Not sampled | 22.15
84 | DIC: Method reference (citation) | Dickson; A.G.; Sabine; C.L. and Christian; J.R. (Eds.) 2007. Guide to Best Practices for Ocean CO2 Measurements. PICES Special Publication 3; 191 pp.; https://cdiac.ess-dive.lbl.gov/ftp/oceans/Handbook_2007/Guide_all_in_one.pdf; Chapter 4; SOP 2 | 22.16
85 | DIC: Researcher Name | Marty Davelaar; Danielle Caleb | 22.17.1
86 | DIC: Researcher Institution | Institute of Ocean Sciences | 22.17.2
87 | TA: Variable abbreviation in data files | TA | 23.1
88 | TA: Variable unit | umol/kg | 23.5
89 | TA: Observation type | profile | 23.2
90 | TA: Measured or calculated | measured | 23.6
91 | TA: Calculation method and parameters | Concentration (umol / kg) = concentration (umoles/litre) / density (10 C;S) | 23.7
92 | TA: Sampling instrument | Niskin bottle; 5 L | 23.8
93 | TA: Analyzing instrument | In-house automated sampler with Metrohm Dosimat 665 and LabView TM software | 23.9
94 | TA: Type of titration | Potentiometric multi point titration | 23.1
95 | TA: Cell type (open or closed) | Open | 23.11
96 | TA: Curve fitting method | Gran point | 23.12
97 | TA: Detailed sampling and analyzing information | Seawater samples were collected from standard depths in 500 mL borosilicate glass reagent bottles. 5 mL of water was removed to allow room for thermal expansion and the sample was preserved within 30 minutes of collection with 0.1 mL of a mercuric chloride saturated solution; then sealed with Apiezon M grease and the ground glass stoppers secured in place with electrical tape. The samples were stored at room temperature and moved to cold stoage on-shore until on-shore laboratory analysis. TA in the sample was determined using an open cell automated potentiometric titration with a Metrohm Dosimat 665 dosing unit controlled by LabView TM software. The multi-point titration; using 0.1N HCl titrant containing 35 g of sodium chloride per litre of acid; was performed in a temperature controlled flask held at 25 C with Gran endpoint determination. Measurements of a Certified reference material seawater (CRMs; Scripps Oceanographic Institution) were used for calibrating TA using daily duplicate CRM measurements. TA measurements were made from the same bottle sample as DIC after DIC had been measured. | 23.13
98 | TA: Field replicate information | 20% | 23.14
99 | TA: Standardization technique description | Referenced to duplicate measurements of a CRM before each daily batch of samples | 23.15.1
100 | TA: Frequency of standardization | Daily | 23.15.2
101 | TA: CRM manufacturer | Andrew Dickson; Scripps Oceanographic Institute | 23.15.3.1
102 | TA: Batch Number | 152161 | 23.15.3.2
103 | TA: How were the samples preserved (HgCl2; or others) | Mercuric chloride saturated solution | 23.16.1
104 | TA: Concentration and amount of the preservative added | 100 uL per 500 ml sample bottle = 0.02% | 23.16.2
105 | TA: Preservative correction description | 1.0002 for 500ml samples; 1.0004 for 250ml samples | 23.16.3
106 | TA: Magnitude of blank correction |  | 23.17
107 | TA: Uncertainty | +/- 3.9 | 23.18
108 | TA: Data quality flag description | WOCE QC flags 1 = Sample drawn from bottle but analysis not recieved; 2 = QC Performed: Acceptable Measurement; 3 = QC Performed: Questionable Measurement; 4 = QC Performed: Bad Measurement; 5 = QC Performed: Not Reported; 6 = Mean of replicate measurements; 7 = Manual chromatographic peak measurement; 8 = Irregular digital chromatographic peak integration; 9 = Not sampled | 23.19
109 | TA: Method reference (citation) | Dickson; A.G.; Sabine; C.L. and Christian; J.R. (Eds.) 2007. Guide to Best Practices for Ocean CO2 Measurements. PICES Special Publication 3; 191 pp.; https://cdiac.ess-dive.lbl.gov/ftp/oceans/Handbook_2007/Guide_all_in_one.pdf; Chapter 4; SOP 3b | 23.2
110 | TA: Researcher Name | Marty Davelaar; Danielle Caleb | 23.21.1
111 | TA: Researcher Institution | Institute of Ocean Sciences | 23.21.2
112 | pH: Variable abbreviation in data files |  | 24.1
113 | pH: pH scale |  | 24.9
114 | pH: Observation type |  | 24.2
115 | pH: Measured or calculated |  | 24.5
116 | pH: Calculation method and parameters |  | 24.6
117 | pH: Sampling instrument |  | 24.7
118 | pH: Analyzing instrument |  | 24.8
119 | pH: Temperature of measurement |  | 24.1
120 | pH: Detailed sampling and analyzing information |  | 24.11
121 | pH: Field replicate information |  | 24.12
122 | pH: Standardization technique description |  | 24.13.1
123 | pH: Frequency of standardization |  | 24.13.2
124 | pH: pH values of the standards |  | 24.13.3
125 | pH: Temperature of standardization |  | 24.13.4
126 | pH: Temperature correction method |  | 24.14
127 | pH: at what temperature was pH reported |  | 24.15
128 | pH: Uncertainty |  | 24.16
129 | pH: Data quality flag description |  | 24.17
130 | pH: Method reference (citation) |  | 24.18
131 | pH: Researcher Name |  | 24.19.1
132 | pH: Researcher Institution |  | 24.19.2
133 | pCO2A: Variable abbreviation in data files |  | 25.1
134 | pCO2A: Variable unit |  | 25.5
135 | pCO2A: Observation type |  | 25.2
136 | pCO2A: Measured or calculated |  | 25.6
137 | pCO2A: Calculation method and parameters |  | 25.7
138 | pCO2A: Sampling instrument |  | 25.8
139 | pCO2A: Location of seawater intake |  | 25.9
140 | pCO2A: Depth of seawater intake |  | 25.1
141 | pCO2A: Analyzing instrument |  | 25.11
142 | pCO2A: Detailed sampling and analyzing information |  | 25.12
143 | pCO2A: Equilbrator type |  | 25.13.1
144 | pCO2A: Equilibrator volume (L) |  | 25.13.2
145 | pCO2A: Vented or not |  | 25.13.3
146 | pCO2A: Water flow rate (L/min) |  | 25.13.4
147 | pCO2A: Headspace gas flow rate (L/min) |  | 25.13.5
148 | pCO2A: How was temperature inside the equilibrator measured . |  | 25.13.6
149 | pCO2A: How was pressure inside the equilibrator measured. |  | 25.13.7
150 | pCO2A: Drying method for CO2 gas |  | 25.14
151 | pCO2A: Manufacturer of the gas detector |  | 25.15.1
152 | pCO2A: Model of the gas detector |  | 25.15.2
153 | pCO2A: Resolution of the gas detector |  | 25.15.3
154 | pCO2A: Uncertainty of the gas detector |  | 25.15.4
155 | pCO2A: Standardization technique description |  | 25.16.1
156 | pCO2A: Frequency of standardization |  | 25.16.2
157 | pCO2A: Manufacturer of standard gas |  | 25.16.3.1
158 | pCO2A: Concentrations of standard gas |  | 25.16.3.2
159 | pCO2A: Uncertainties of standard gas |  | 25.16.3.3
160 | pCO2A: Water vapor correction method |  | 25.17
161 | pCO2A: Temperature correction method |  | 25.18
162 | pCO2A: at what temperature was pCO2 reported |  | 25.19
163 | pCO2A: Uncertainty |  | 25.2
164 | pCO2A: Data quality flag description |  | 25.21
165 | pCO2A: Method reference (citation) |  | 25.22
166 | pCO2A: Researcher Name |  | 25.23.1
167 | pCO2A: Researcher Institution |  | 25.23.2
168 | pCO2D: Variable abbreviation in data files |  | 26.1
169 | pCO2D: Variable unit |  | 26.5
170 | pCO2D: Observation type |  | 26.2
171 | pCO2D: Measured or calculated |  | 26.6
172 | pCO2D: Calculation method and parameters |  | 26.7
173 | pCO2D: Sampling instrument |  | 26.8
174 | pCO2D: Analyzing instrument |  | 26.9
175 | pCO2D: Storage method |  | 26.1
176 | pCO2D: Seawater volume (mL) |  | 26.11
177 | pCO2D: Headspace volume (mL) |  | 26.12
178 | pCO2D: Temperature of measurement |  | 26.13
179 | pCO2D: Detailed sampling and analyzing information |  | 26.14
180 | pCO2D: Field replicate information |  | 26.15
181 | pCO2D: Manufacturer of the gas detector |  | 26.16.1
182 | pCO2D: Model of the gas detector |  | 26.16.2
183 | pCO2D: Resolution of the gas detector |  | 26.16.3
184 | pCO2D: Uncertainty of the gas detector |  | 26.16.4
185 | pCO2D: Standardization technique description |  | 26.17.1
186 | pCO2D: Frequency of standardization |  | 26.17.2
187 | pCO2D: Temperature of standardization |  | 26.17.3
188 | pCO2D: Manufacturer of standard gas |  | 26.17.4.1
189 | pCO2D: Concentrations of standard gas |  | 26.17.4.2
190 | pCO2D: Uncertainties of standard gas |  | 26.17.4.3
191 | pCO2D: Water vapor correction method |  | 26.18
192 | pCO2D: Temperature correction method |  | 26.19
193 | pCO2D: at what temperature was pCO2 reported |  | 26.2
194 | pCO2D: Uncertainty |  | 26.21
195 | pCO2D: Data quality flag description |  | 26.22
196 | pCO2D: Method reference (citation) |  | 26.23
197 | pCO2D: Researcher Name |  | 26.24.1
198 | pCO2D: Researcher Institution |  | 26.24.2
199 | Var1: Variable abbreviation in data files | CTDPRS | 27.1
201 | Var1: Full variable name | Pressure | 27.2
200 | Var1: Variable unit | dbar | 27.7
202 | Var1: Observation type | Profile | 27.4
203 | Var1: Sampling instrument | Castaway-CTD Sontek | 27.1
204 | Var1: Analyzing instrument |  | 27.11
205 | Var1: Detailed sampling and analyzing information |  | 27.13
206 | Var1: Field replicate information |  | 27.14
207 | Var1: Uncertainty |  | 27.15
208 | Var1: Data quality flag description |  | 27.16
209 | Var1: Method reference (citation) |  | 27.17
210 | Var1: Researcher Name | Eleanor Simpson | 27.21.1
211 | Var1: Researcher Institution | Simon Fraser University | 27.21.2
212 | Var2: Variable abbreviation in data files | CTDTMP | 27.1
214 | Var2: Full variable name | CTD Temperature | 27.2
213 | Var2: Variable unit | Degrees C | 27.7
215 | Var2: Observation type | Profile | 27.4
216 | Var2: Sampling instrument | Castaway-CTD Sontek | 27.1
217 | Var2: Analyzing instrument |  | 27.11
218 | Var2: Detailed sampling and analyzing information |  | 27.13
219 | Var2: Field replicate information |  | 27.14
220 | Var2: Uncertainty |  | 27.15
221 | Var2: Data quality flag description |  | 27.16
222 | Var2: Method reference (citation) |  | 27.17
223 | Var2: Researcher Name | Eleanor Simpson | 27.21.1
224 | Var2: Researcher Institution | Simon Fraser University | 27.21.2
225 | Var3: Variable abbreviation in data files | DRAWTMP | 28.1
226 | Var3: Full variable name | Draw Temperature | 28.2
| Var3: Variable unit | Degrees C
| Var3: Observation type | Profile
| Var3: Sampling instrument | Castaway-CTD Sontek
Var3: Analyzing instrument
Var3: Detailed sampling and analyzing information
Var3: Field replicate information
Var3: Uncertainty
Var3: Data quality flag description
Var3: Method reference (citation)
| Var3: Researcher Name | Eleanor Simpson
| Var3: Researcher Institution | Simon Fraser University
| Var4: Variable abbreviation in data files | CTDSAL | 28.1
| Var4: Full variable name | CTD Salinity | 28.2
| Var4: Variable unit | PSS78
| Var4: Observation type | Profile
| Var4: Sampling instrument | Castaway-CTD Sontek
Var4: Analyzing instrument
Var4: Detailed sampling and analyzing information
Var4: Field replicate information
Var4: Uncertainty
| Var4: Data quality flag description | WOCE QC flags 1 = Sample drawn from bottle but analysis not recieved; 2 = QC Performed: Acceptable Measurement; 3 = QC Performed: Questionable Measurement; 4 = QC Performed: Bad Measurement; 5 = QC Performed: Not Reported; 6 = Mean of replicate measurements; 7 = Manual chromatographic peak measurement; 8 = Irregular digital chromatographic peak integration; 9 = Not sampled
Var4: Method reference (citation)
| Var4: Researcher Name | Eleanor Simpson
| Var4: Researcher Institution | Simon Fraser University
| Var5: Variable abbreviation in data files | SALINITY | 28.1
| Var5: Full variable name | Bottle Salinity | 28.2
| Var5: Variable unit | PSS78
| Var5: Observation type | Profile
| Var5: Sampling instrument | Niskin bottle; 5 L
| Var5: Analyzing instrument | Guildline 8400B Salinometer (S/N 68572)
| Var5: Detailed sampling and analyzing information | Salinity samples were collected in 200 mL type ll glass bottles with disposable plastic inserts and screw caps supplied by Ocean Scientific International Limited. They were analyzed in a temperature-controlled lab on a Guildline 8400B Salinometer (S/N 68572) standardized with IAPSO standard seawater.
| Var5: Field replicate information | 15%
Var5: Uncertainty
| Var5: Data quality flag description | WOCE QC flags 1 = Sample drawn from bottle but analysis not recieved; 2 = QC Performed: Acceptable Measurement; 3 = QC Performed: Questionable Measurement; 4 = QC Performed: Bad Measurement; 5 = QC Performed: Not Reported; 6 = Mean of replicate measurements; 7 = Manual chromatographic peak measurement; 8 = Irregular digital chromatographic peak integration; 9 = Not sampled
Var5: Method reference (citation)
| Var5: Researcher Name | Kenny Scozzafava
| Var5: Researcher Institution | Institute of Ocean Sciences
| Var6: Variable abbreviation in data files | OXYGEN | 28.1
| Var6: Full variable name | Dissolved Oxygen | 28.2
| Var6: Variable unit | umol/kg
| Var6: Observation type | Profile
| Var6: Sampling instrument | Niskin bottle; 5 L
| Var6: Analyzing instrument | Metrohm Dosimat model 665 for titrations; Dosimat model 865 for dispensing standards and a PC950 Colorimeter controlled by AutoOxy software V3.4
| Var6: Detailed sampling and analyzing information | Oxygen samples were analyzed at sea using an automated Winkler titration system with modifications based on Carpenter (1965) and adhering to WOCE protocols
| Var6: Field replicate information | 15%
Var6: Uncertainty
| Var6: Data quality flag description | WOCE QC flags 1 = Sample drawn from bottle but analysis not recieved; 2 = QC Performed: Acceptable Measurement; 3 = QC Performed: Questionable Measurement; 4 = QC Performed: Bad Measurement; 5 = QC Performed: Not Reported; 6 = Mean of replicate measurements; 7 = Manual chromatographic peak measurement; 8 = Irregular digital chromatographic peak integration; 9 = Not sampled
| Var6: Method reference (citation) | Carpenter; J.H. 1965. The Chesapeake Bay Institute Technique for the Winkler Dissolved Oxygen Method. Limmnol. & Oceanogr.; 10: 141-143 Culberson; C.H. 1991. Dissolved oxygen. WOCE Hydrographic Programme Operations and Methods (July 1991). 15pp.)
| Var6: Researcher Name | Kenny Scozzafava
| Var6: Researcher Institution | Institute of Ocean Sciences
| Var7: Variable abbreviation in data files | NITRATE_NITRITE
| Var7: Full variable name | Nitrate plus Nitrite
| Var7: Variable unit | umol/kg
| Var7: Observation type | Profile
| Var7: Sampling instrument | Niskin bottle; 5 L
| Var7: Analyzing instrument | Astoria analyzer
| Var7: Detailed sampling and analyzing information | Nutrient samples were collected in plastic tubes and quick frozen in aluminum blocks stored in a -20C freezer. All analysis was performed on frozen samples.
| Var7: Field replicate information | 100%
Var7: Uncertainty
| Var7: Data quality flag description | WOCE QC flags 1 = Sample drawn from bottle but analysis not recieved; 2 = QC Performed: Acceptable Measurement; 3 = QC Performed: Questionable Measurement; 4 = QC Performed: Bad Measurement; 5 = QC Performed: Not Reported; 6 = Mean of replicate measurements; 7 = Manual chromatographic peak measurement; 8 = Irregular digital chromatographic peak integration; 9 = Not sampled
| Var7: Method reference (citation) | Barwell-Clarke; J. and Whitney; F. 1996. Institute of Ocean Sciences Nutrient Methods and Analysis. Canadian Technical Report of Hydrography and Ocean Sciences; No. 182; 43 pp.
| Var7: Researcher Name | Mark Belton; Tamara Fraser
| Var7: Researcher Institution | Institute of Ocean Sciences
| Var8: Variable abbreviation in data files | SILICATE
| Var8: Full variable name | Silicic acid
| Var8: Variable unit | umol/kg
| Var8: Observation type | Profile
| Var8: Sampling instrument | Niskin bottle; 5 L
| Var8: Analyzing instrument | Astoria analyzer
| Var8: Detailed sampling and analyzing information | Nutrient samples were collected in plastic tubes and quick frozen in aluminum blocks stored in a -20C freezer. All analysis was performed on frozen samples
| Var8: Field replicate information | 100
Var8: Uncertainty
| Var8: Data quality flag description | WOCE QC flags 1 = Sample drawn from bottle but analysis not recieved; 2 = QC Performed: Acceptable Measurement; 3 = QC Performed: Questionable Measurement; 4 = QC Performed: Bad Measurement; 5 = QC Performed: Not Reported; 6 = Mean of replicate measurements; 7 = Manual chromatographic peak measurement; 8 = Irregular digital chromatographic peak integration; 9 = Not sampled
| Var8: Method reference (citation) | Barwell-Clarke; J. and Whitney; F. 1996. Institute of Ocean Sciences Nutrient Methods and Analysis. Canadian Technical Report of Hydrography and Ocean Sciences; No. 182; 43 pp.
| Var8: Researcher Name | Mark Belton; Tamara Fraser
| Var8: Researcher Institution | Institute of Ocean Sciences
| Var9: Variable abbreviation in data files | PHOSPHATE
| Var9: Full variable name | Phosphate
| Var9: Variable unit | umol/kg
| Var9: Observation type | Profile
| Var9: Sampling instrument | Niskin bottle; 5 L
| Var9: Analyzing instrument | Astoria analyzer
| Var9: Detailed sampling and analyzing information | Nutrient samples were collected in plastic tubes and quick frozen in aluminum blocks stored in a -20C freezer. All analysis was performed on frozen samples
| Var9: Field replicate information | 100
Var9: Uncertainty
| Var9: Data quality flag description | WOCE QC flags 1 = Sample drawn from bottle but analysis not recieved; 2 = QC Performed: Acceptable Measurement; 3 = QC Performed: Questionable Measurement; 4 = QC Performed: Bad Measurement; 5 = QC Performed: Not Reported; 6 = Mean of replicate measurements; 7 = Manual chromatographic peak measurement; 8 = Irregular digital chromatographic peak integration; 9 = Not sampled
| Var9: Method reference (citation) | Barwell-Clarke; J. and Whitney; F. 1996. Institute of Ocean Sciences Nutrient Methods and Analysis. Canadian Technical Report of Hydrography and Ocean Sciences; No. 182; 43 pp.
| Var9: Researcher Name | Mark Belton; Tamara Fraser
| Var9: Researcher Institution | Institute of Ocean Sciences