## metadata
Instructions: Please do not change the order of Rows No. 1 through No. 240. Please do not use special characters. Text highlighted in red indicates information needed to conduct quality control of submitted data, please try to fill in as much as possible for the number of variables relevant for the submitted data sets. Note that all rows in bold contain a drop-down menu, please follow the instructions provided and choose one of the options.
Number | Metadata element name | Your input | Help reference number
1 | Submission Date | Jan 13, 2021 | 1
2 | Accession no. of related data sets on the 14.3.1 data platform or any other data base |  | 2
3 | URL of metadata set |  | 3
4 | URL of associated data set |  | 4
5 | DOI of dataset (if applicable) |  | 5
6 | Investigator-1 name | Doug Vandemark | 6.1
7 | Investigator-1 institution | Ocean Process Analysis Laboratory, University of New Hampshire | 6.2
8 | Investigator-1 institution ID (OceanExpert) |  | 6.3.
9 | Investigator-1 address | 8 College Road, Durham NH 03824 | 6.4
10 | Investigator-1 phone | 603-862-0195 | 6.5
11 | Investigator-1 email | doug.vandemark@unh.edu | 6.6
12 | Investigator-1 researcher ID |  | 6.7
13 | Investigator-1 ID type (OceanExpert, ORCID, ResearcherID, etc.) |  | 6.8
14 | Investigator-2 name | Joe Salisbury | 6.1
15 | Investigator-2 institution | Ocean Process Analysis Laboratory, University of New Hampshire | 6.2
16 | Investigator-2 institution ID (OceanExpert) |  | 6.3.
17 | Investigator-2 address | 8 College Road, Durham NH 03824 | 6.4
18 | Investigator-2 phone | 603-862-0849 | 6.5
19 | Investigator-2 email | joe.salisbury@unh.edu | 6.6
20 | Investigator-2 researcher ID |  | 6.7
21 | Investigator-2 ID type (OceanExpert, ORCID, ResearcherID, etc.) |  | 6.8
22 | Investigator-3 name | Christopher W Hunt | 6.1
23 | Investigator-3 institution | Ocean Process Analysis Laboratory, University of New Hampshire | 6.2
24 | Investigator-2 institution ID (OceanExpert) |  | 6.3.
25 | Investigator-3 address | 8 College Road, Durham NH 03824 | 6.4
26 | Investigator-3 phone | 603-862-1348 | 6.5
27 | Investigator-3 email | chunt@unh.edu | 6.6
28 | Investigator-3 researcher ID | orcid.org/0000-0001-8061-4560 | 6.7
29 | Investigator-3 ID type (OceanExpert, ORCID, ResearcherID, etc.) | ORCID | 6.8
30 | Data submitter name | Christopher W Hunt | 7.1
31 | Data submitter institution | Ocean Process Analysis Laboratory, University of New Hampshire | 7.2
32 | Data submitter - institution ID (OceanExpert) |  | 7.3
33 | Data submitter address | 8 College Road, Durham NH 03824 | 7.4
34 | Data submitter phone | 603-862-1348 | 7.5
35 | Data submitter email | chunt@unh.edu | 7.6
36 | Data submitter researcher ID | orcid.org/0000-0001-8061-4560 | 7.7
37 | Data submitter ID type (OceanExpert, ORCID, ResearcherID, etc.) | ORCID | 7.8
38 | Name of sampling site or title of related research project | Gulf of Maine Long-term Monitoring | 8
39 | Short description including purpose of observation | Seasonal cross-shore transect in the southern Gulf of Maine to document seasonal and interannual coastal carbon system changes. | 9
40 | Method(s) applied |  | 10
41 | First day of measurement included in data file (YYYY-MM-DD or YYYY-MM-DDTHH:MM:SS) | 2021-04-28 | 11.1
42 | Last day of measurement included in data file (YYYY-MM-DD or YYYY-MM-DDTHH:MM:SS) | 2021-04-28 | 11.2
43 | Site specific measurement longitude |  | 12.1
44 | Site specific measurement latitude |  | 12.2
45 | Transect measurement longitude easternmost |  | 12.3
46 | Transect measurement longitude westernmost |  | 12.4
47 | Transect measurement latitude northernmost |  | 12.5
48 | Transect measurement latitude southernmost |  | 12.6
49 | Funding agency name |  | 13.1
50 | Funding project title |  | 13.2
51 | Funding project ID (Grant number) |  | 13.3
52 | Platform name | UNH R/V Gulf Challenger | 14.1
53 | Platform category | Repeat Hydrography (vessel) | 14.2
54 | Platform ID |  | 14.3
55 | Platform ID type |  | 14.4
56 | Platform-1 owner | University of New Hampshire | 14.5
57 | Platform-1 country | USA | 14.6
58 | EXPOCODE | 33GC20210428 | 15.1
59 | Cruise ID |  | 15.2
60 | Cruise ID type |  | 15.3
61 | Author list for citation | Vandemark, Douglas; Salisbury, Joseph; Hunt, Christopher W. | 16
62 | References |  | 17
63 | Supplemental information |  | 18
64 | Depth: Variable abbreviation in data files |  | 19.1
65 | Depth: Variable unit |  | 19.2
66 | DIC: Variable abbreviation in data files |  | 20.1
67 | DIC: Observation type |  | 20.2
68 | DIC: Variable unit |  | 20.3
69 | DIC: Collection method (e.g. bottle sampling) |  | 20.4
70 | DIC: Analyzing instrument |  | 20.5
71 | DIC: Analyzing information with citation |  | 20.6
72 | DIC: Quality control |  | 20.7
73 | DIC: Abbreviation of data quality flag scheme |  | 20.8
74 | DIC: Data quality scheme (name of scheme) |  | 20.9
75 | DIC: Uncertainty |  | 20.1
76 | DIC: Field replicate information |  | 20.11
77 | DIC: Calibration method |  | 20.12
78 | DIC: Frequency of calibration |  | 20.13
79 | DIC: CRM manufacturer |  | 20.14
80 | DIC: Batch number(s) |  | 20.15
81 | DIC: Poison used to kill the sample |  | 20.16
82 | DIC: Poison volume |  | 20.17
83 | DIC: Poisoning correction description |  | 20.18
84 | DIC: Method reference (citation) |  | 20.19
85 | DIC: Changes to Method or SOP |  | 20.2
86 | TA: Variable abbreviation in data files |  | 21.1
87 | TA: Observation type |  | 21.2
88 | TA: Variable unit |  | 21.3
89 | TA: Collection method (e.g. bottle sampling) |  | 21.4
90 | TA: Measured or calculated |  | 21.5
91 | TA: Calculation method and parameters |  | 21.6
92 | TA: Analyzing instrument |  | 21.7
93 | TA: Analyzing information with citation (SOP etc) |  | 21.8
94 | TA: Quality control |  | 21.9
95 | TA: Abbreviation of data quality flag scheme |  | 21.1
96 | TA: Data quality flag scheme |  | 21.11
97 | TA: Uncertainty |  | 21.12
98 | TA: Type of titration |  | 21.13
99 | TA: Cell type (open or closed) |  | 21.14
100 | TA: Curve fitting method |  | 21.15
101 | TA: Field replicate information |  | 21.16
102 | TA: Calibration method |  | 21.17
103 | TA: Frequency of calibration |  | 21.18
104 | TA: CRM manufacturer |  | 21.19
105 | TA: Batch Number(s) |  | 21.2
106 | TA: Poison used to kill the sample |  | 21.21
107 | TA: Poison volume |  | 21.22
108 | TA: Poisoning correction description |  | 21.23
109 | TA: Magnitude of blank correction |  | 21.24
110 | TA: Method reference (citation) |  | 21.25
111 | TA: Changes to Method or SOP |  | 21.26
112 | pH: Variable abbreviation in data files |  | 22.1
113 | pH: Observation type |  | 22.2
114 | pH: Collection method (e.g. bottle sampling) |  | 22.3
115 | pH: Analyzing instrument |  | 22.4
116 | pH: Analyzing information with citation (SOP etc) |  | 22.5
117 | pH: pH scale |  | 22.6
118 | pH: Quality control |  | 22.7
119 | pH: Abbreviation of data quality flag scheme |  | 22.8
120 | pH: Data quality flag scheme |  | 22.9
121 | pH: Uncertainty |  | 22.1
122 | pH: Temperature of measurement |  | 22.11
123 | pH: Field replicate information |  | 22.12
124 | pH: Calibration method |  | 22.13
125 | pH: Frequency of calibration |  | 22.14
126 | pH:Type of dye and manufacturer information |  | 22.15
127 | pH: pH values of the standards |  | 22.16
128 | pH: Temperature of calibration |  | 22.17
129 | pH: Temperature correction method |  | 22.18
130 | pH: At what temperature was pH reported |  | 22.19
131 | pH: Method reference (citation) |  | 22.2
132 | pH: Changes to Method or SOP |  | 22.21
SOCAT | xCO2: Variable abbreviation in data files | xCO2_w | SOCAT
134 | pCO2: Observation type |  | SOCAT
SOCAT | xCO2: Variable unit | umol/mol | SOCAT
133 | pCO2: Variable abbreviation in data files |  | 23.1
134 | pCO2: Observation type |  | 23.2
135 | pCO2: Variable unit |  | 23.3
136 | pCO2: Collection method (e.g. bottle sampling) |  | 23.4
137 | pCO2: Location of seawater intake |  | 23.5
138 | pCO2: Depth of seawater intake |  | 23.6
139 | pCO2: Analyzing instrument |  | 23.7
140 | pCO2: Analyzing information with citation (SOP etc) |  | 23.8
141 | pCO2: Quality control |  | 23.9
142 | pCO2: Abbreviation of data quality flag scheme |  | 23.1
143 | pCO2: Data quality flag scheme |  | 23.11
144 | pCO2: Uncertainty |  | 23.12
145 | pCO2: Equilbrator type |  | 23.13
146 | pCO2: Equilibrator volume (L) |  | 23.14
147 | pCO2: Equilibrator vented or not |  | 23.15
148 | pCO2: Equilibrator water flow rate (L min-1) |  | 23.16
149 | pCO2: Equilibrator headspace gas flow rate (L min-1) |  | 23.17
150 | pCO2: How was temperature inside the equilibrator measured |  | 23.18
151 | pCO2: How was pressure inside the equilibrator measured |  | 23.19
152 | pCO2: Drying method for CO2 gas |  | 23.2
153 | pCO2: Manufacturer of the gas detector |  | 23.21
154 | pCO2: Model of the gas detector |  | 23.22
155 | pCO2: Resolution of the gas detector |  | 23.23
156 | pCO2: Uncertainty of the gas detector |  | 23.24
157 | pCO2: Calibration method |  | 23.25
158 | pCO2: Frequency of calibration |  | 23.26
159 | pCO2: Manufacturer of standard gas |  | 23.27
160 | pCO2: Concentrations of standard gas |  | 23.28
161 | pCO2: Uncertainties of standard gas |  | 23.29
162 | pCO2: Water vapor correction method |  | 23.3
163 | pCO2: Temperature correction method |  | 23.31
164 | pCO2: At what temperature was pCO2 reported |  | 23.32
165 | pCO2: Method reference (citation) |  | 23.33
166 | pCO2: Changes to Method or SOP |  | 23.34
167 | fCO2: Variable abbreviation in data files | fCO2_w | 24.1
168 | fCO2/pCO2/xCO2: Observation type | underway | 24.2
169 | fCO2: Variable unit | μatm | 24.3
170 | fCO2/pCO2/xCO2: Collection method (e.g. with pump) | water collection with pump | 24.4
171 | fCO2/pCO2/xCO2: Location of seawater intake |  | 24.5
172 | fCO2/pCO2/xCO2: Depth of seawater intake | 0.5 m | 24.6
173 | fCO2/pCO2/xCO2: Analyzing instrument | Li-cor LI840 | 24.7
174 | fCO2/pCO2/xCO2: Analyzing information with citation (SOP etc) |  | 24.8
175 | fCO2/pCO2/xCO2: Quality control |  | 24.9
176 | fCO2/pCO2/xCO2: Abbreviation of data quality flag scheme |  | 24.1
177 | fCO2/pCO2/xCO2: Data quality flag scheme |  | 24.11
178 | fCO2/pCO2/xCO2: Uncertainty |  | 24.12
179 | fCO2/pCO2/xCO2: Equilbrator type | Three-chamber fast-rate equilibrator similar to that of Wanninkhof and Thoning (1993) | 24.13
180 | fCO2/pCO2/xCO2: Equilibrator volume (L) |  | 24.14
181 | fCO2/pCO2/xCO2: Equilibrator vented or not | Vented | 24.15
182 | fCO2/pCO2/xCO2: Equilibrator water flow rate (L min-1) | 1.5 | 24.16
183 | fCO2/pCO2/xCO2: Equilibrator headspace gas flow rate (L min-1) | 0.1 | 24.17
184 | fCO2/pCO2/xCO2: How was temperature inside the equilibrator measured (i.e. which sensor)? | not measured | 24.18
SOCAT | fCO2/pCO2/xCO2: Uncertainty of temperature measured inside the equlibrator |  | SOCAT
SOCAT | fCO2/pCO2/xCO2: Calibration method and frequency for temperature sensor inside the equlibrator |  | SOCAT
185 | fCO2/pCO2/xCO2: How was pressure inside the equilibrator measured (i.e. which sensor)? | not measured | 24.19
SOCAT | fCO2/pCO2/xCO2: How was the total measurement pressure determined? |  | SOCAT
SOCAT | fCO2/pCO2/xCO2: Uncertainty of total measurement pressure, and how was this calculated? |  | SOCAT
SOCAT | fCO2/pCO2/xCO2: Calibration method and frequency for pressure sensor(s) |  | SOCAT
186 | fCO2/pCO2/xCO2: Drying method for CO2 gas | Nafion selectively permeable membrane drying loop (Perma Pure, Toms River NJ) | 24.2
187 | fCO2/pCO2/xCO2: Manufacturer of the gas detector | Li-Cor Biosciences Inc. | 24.21
188 | fCO2/pCO2/xCO2: Model of the gas detector | LI-840 | 24.22
189 | fCO2/pCO2/xCO2: Resolution of the gas detector |  | 24.23
190 | fCO2/pCO2/xCO2: Uncertainty of the gas detector |  | 24.24
191 | fCO2/pCO2/xCO2: Calibration method | daily zero and span calibration | 23.25
192 | fCO2/pCO2/xCO2: Frequency of calibration | daily | 23.26
193 | fCO2/pCO2/xCO2: Manufacturer of standard gas | Airgas (UHP Nitrogen), Praxair (span gas) | 23.27
SOCAT | fCO2/pCO2/xCO2: Traceability of standard gases to WMO standards | yes | SOCAT
194 | fCO2/pCO2/xCO2: Concentrations of standard gas | 824.9 | 23.28
195 | fCO2/pCO2/xCO2: Uncertainties of standard gas |  | 23.29
196 | fCO2/pCO2/xCO2: Water vapor correction method |  | 23.3
SOCAT | fCO2/pCO2/xCO2: Method to calculate pCO2 from xCO2 (reference) |  | SOCAT
SOCAT | fCO2/pCO2/xCO2: Method to calculate fCO2 from pCO2 (reference) | DOE (2007) Guide to Best Practices for Ocean CO2 Measurements, A.G. Dickson, C.L. Sabine and J.R. Christian, eds. PICES Special Publication, 191 pp. | SOCAT
197 | fCO2/pCO2/xCO2: Temperature correction method (from measurement temperature in the equilibrator to SST) | Corrections of the data for water vapor pressure and sea surface temperature and conversion from pCO2 to the fugacity of carbon dioxide (fCO2) were carried out according to the DOE handbook (2007). | 23.31
198 | fCO2.pCO2/xCO2: At what temperature was fCO2 reported? |  | 23.32
199 | fCO2/pCO2/xCO2: Method reference (citation) |  | 23.33
200 | fCO2/pCO2/xCO2: Changes to Method or SOP |  | 23.34
201 | Temperature: Variable abbreviation in data files | Water_temp | 25.1
202 | Temperature: Observation type | underway | 25.2
203 | Temperature: Variable unit | Celsius | 25.3
204 | Temperature: Collection method (e.g. bottle sampling) | water collection with pump | 25.4
205 | Temperature: Analyzing instrument | SBE45 | 25.5
206 | Temperature: Analyzing information with citation (SOP etc) |  | 25.6
207 | Temperature: Quality control |  | 25.7
208 | Temperature: Abbreviation of data quality flag scheme |  | 25.8
209 | Temperature: Data quality flag scheme |  | 25.9
210 | Temperature: Uncertainty |  | 25.1
211 | Temperature: Field replicate information |  | 25.11
212 | Temperature: Method reference (citation) |  | 25.12
213 | Temperature: Changes to Method or SOP |  | 25.13
214 | Salinity: Variable abbreviation in data files | salinity | 26.1
215 | Salinity: Observation type | underway | 26.2
216 | Salinity: Variable unit | PSU | 26.3
217 | Salinity: Collection method (e.g. bottle sampling) | water collection with pump | 26.4
218 | Salinity: Analyzing instrument | SBE45 | 26.5
219 | Salinity: Analyzing information with citation (SOP etc) |  | 26.6
220 | Salinity: Quality control |  | 26.7
221 | Salinity: Abbreviation of data quality flag scheme |  | 26.8
222 | Salinity: Data quality flag scheme |  | 26.9
223 | Salinity: Uncertainty |  | 26.1
224 | Salinity: Field replicate information |  | 26.11
225 | Salinity: Method reference (citation) |  | 26.12
226 | Salinity: Changes to Method or SOP |  | 26.13
227 | Var1: Variable abbreviation in data files | pressure_atm | 27.1
228 | Var1: Full variable name | Atmospheric Pressure | 27.2
229 | Var1: Observation type | underway | 27.3
230 | Var1: Variable unit | hPa | 27.4
231 | Var1: Collection method (e.g. bottle sampling) |  | 27.5
232 | Var1: Analyzing instrument | Vaisala Pressure Sensor | 27.6
233 | Var1: Analyzing information with citation (SOP etc) |  | 27.7
234 | Var1: Quality control |  | 27.8
235 | Var1: Abbreviation of data quality flag scheme |  | 27.9
236 | Var1: Data quality flag scheme |  | 27.1
237 | Var1: Uncertainty |  | 27.11
238 | Var1: Field replicate information |  | 27.12
239 | Var1: Method reference (citation) |  | 27.13
240 | Var1: Changes to Method or SOP |  | 27.14

## Sheet2
ID type | Platform category | Platform/cruise ID | depth | Observation type | DIC/TA Variable unit | DIC Instruments | TA | pH | Frequency of calibration | CRM manufacturer | Poison | Poison volume | Country | Data quality schemes | Data quality flags
OceanExpert | Fixed Ocean Time Series | ICES | cm | underway | mol kg-1 | Marianda Company VINDTA 3C system | Cell Type | pH scale | every 3 hours | Dickson CRM | HgCl2 | 0.02% volume of original sample | Afghanistan | ODV | 0
ORCID | Mooring | IMO | m | profile | mmol kg-1 | Marianda Company VINDTA 3D system | Open | total scale | every 6 hours |  |  | 0.05% volume of original sample | Albania | GTSPP | 1
ResearcherID | Coastal Monitoring Site | WMO |  | time series | µmol kg-1 | Marianda Company AIRICA system | Closed | seawater scale | every 10 samples |  |  | 0.1% volume of original sample | Algeria | ARGO | 2
| Repeat Hydrography (vessel) |  |  | fixed coastal station |  | Apollo SciTech Inc. DIC Analyser AS-C3 |  | NBS scale | every 20 samples |  |  |  | Angola | SEADATANET | 3
| Ship-based time series (vessel) |  |  |  |  | Nihon ANS Co. | Curve fitting method | free scale |  |  |  |  | Argentina | ESEAS | 4
| Argo float |  |  | Collection Method |  | SOMMA coupled to coulometer | curve fitting with least square optimisation | [5 empty] | Australia | WOD | 5
| Glider |  |  | water collection with a water sampler (e.g. Niskin) |  |  | modified gran approach | [5 empty] | Austria | WODSTATION | 6
| Voluntary Observing Ship |  |  | water collection with bucket | [8 empty] | Azerbaijan | WOCECTD | 7
|  |  |  | water collection with pump | [8 empty] | Bahamas | WOCEBOTTLE | 8
[6 empty] | TA Instruments | [6 empty] | Bangladesh | WOCESAMPLE | 9
No | [5 empty] | Apollo SciTech Alkalinity Titrator AS-ALK2 | [6 empty] | Barbados | WOCE | blank
Yes | [5 empty] | Marianda Company VINDTA 3S system | pCO2 | Temperature |  |  |  |  | Belgium | QARTOD | ˂
|  |  |  | Field replicate info |  | Contros HydroFIA TA | Variable unit | Variable Unit |  |  |  |  | Belize | BODC | ˃
|  |  |  | 1 |  | Total alkalinity titration system | μatm | Celsius |  |  |  |  | Benin | PANGAEA | *
Measured |  |  |  | 2 |  |  | ppt | Fahrenheit |  |  |  |  | Brazil | SMHI | \
Calculated |  |  |  | 3 | [8 empty] | Bulgaria | OceanSITES | ¦
|  |  |  | 4 |  | pH Instruments | Equilibrator | [5 empty] | Cabo Verde | IODE | ?
|  |  |  | 5 |  | seaFET Ocean pH sensor (Satlantic/Sea-Bird Scientific) | Vented | Salinity |  |  |  |  | Cameroon |  | #
|  |  |  | 6 |  | seapHox Ocean pH sensor (Satlantic/Sea-Bird Scientific) | Not vented | PSU |  |  |  |  | Canada |  | A
[6 empty] | Deep SeaFET (Sea-Bird) |  | PPT |  |  |  |  | Chile |  | B
[6 empty] | Durafet III pH electrode | [6 empty] | China |  | C
[6 empty] | Sunburst iSAMI pH sensor | [6 empty] | Colombia |  | D
[6 empty] | Sunburst SAMI pH sensor | [6 empty] | Comoros |  | E
[6 empty] | Sunburst AFT pH | [6 empty] | Congo |  | G
[6 empty] | spectrophotometer | [6 empty] | Cook Islands |  | H
[13 empty] | Costa Rica |  | I
[13 empty] | Côte d'Ivoire |  | K
[13 empty] | Croatia |  | L
[6 empty] | pCO2/fCO2 Instruments | [6 empty] | Cuba |  | M
[6 empty] | Contros-Kongsberg HydroC CO2 FT | [6 empty] | Cyprus |  | N
[6 empty] | Moored Autonomous pCO2 monitoring System (MAPCO2™) | [6 empty] | Czechia |  | O
[6 empty] | Battelle Seaology pCO2 monitoring System (LiCor NDIR based) | [6 empty] | Democratic People's Republic of Korea |  | P
[6 empty] | Pro-OCEANUS Systems: CO2-Pro™ | [6 empty] | Congo (Democratic Republic) |  | Q
[6 empty] | Pro-OCEANUS Systems: CO2-Pro CV™ | [6 empty] | Denmark |  | R
[6 empty] | Pro-OCEANUS Systems: CO2-PRO AtmosphereTM | [6 empty] | Djibouti |  | S
[6 empty] | Pro-OCEANUS Systems: Mini CO2TM | [6 empty] | Dominica |  | T
[6 empty] | General Oceanics GO pCO2 system | [6 empty] | Dominican Republic |  | U
[6 empty] | Apollo Scitech inc. pCO2 system (AS-P2) | [6 empty] | Ecuador |  | W
[6 empty] | Sunburst Sensors SAMI-CO2 | [6 empty] | Egypt |  | X
[6 empty] | Sunburst Sensors Superco2 system | [6 empty] | El Salvador
[6 empty] | Sunburst Sensors AFT-CO2 | [6 empty] | Equatorial Guinea
[6 empty] | Kimoto Air-Marine CO2 Automatic Monitoring System | [6 empty] | Eritrea
[6 empty] | Kimoto Portable carbon dioxide analyzer | [6 empty] | Estonia
[6 empty] | CONTROS HydroC CO2 Sensor | [6 empty] | Ethiopia
[6 empty] | SubCtech OceanPack System | [6 empty] | Fiji
[6 empty] | Picarro CO2 System | [6 empty] | Finland
[6 empty] | Marianda Company SUNDANS system | [6 empty] | France
[6 empty] | Turner Designs C-sense™ in situ pCO2 Sensor | [6 empty] | Gabon
[6 empty] | Pro-OCEANUS CO2-Pro | [6 empty] | Gambia
[6 empty] | VeGAS pCO2 | [6 empty] | Georgia
[6 empty] | flask equilibrator coupled to GC or NDIR | [6 empty] | Germany
Ghana
Greece
Grenada
[6 empty] | Temperature Instruments | [6 empty] | Guatemala
[6 empty] | Seabird sensors | [6 empty] | Guinea
[6 empty] | YSI sensors | [6 empty] | Guinea Bissau
[6 empty] | Fluke Hart | [6 empty] | Guyana
Haiti
Honduras
[6 empty] | Salinity Instruments | [6 empty] | Iceland
[6 empty] | Seabird sensors | [6 empty] | India
[6 empty] | YSI sensors | [6 empty] | Indonesia
[6 empty] | other | [6 empty] | Iran (Islamic Republic of)
Iraq
Ireland
Israel
Italy
Jamaica
Japan
Jordan
Kazakhstan
Kenya
Kiribati
Kuwait
Lebanon
Libya
Madagascar
Malaysia
Maldives
Malta
Mauritania
Mauritius
Mexico
Monaco
Montenegro
Morocco
Mozambique
Myanmar
Namibia
Nauru
Netherlands
New Zealand
Nicaragua
Nigeria
Niue
Norway
Oman
Pakistan
Palau
Panama
Papua New Guinea
Peru
Philippines
Poland
Portugal
Qatar
Republic of Korea
Romania
Russian Federation
Saint Kitts and Nevis
Saint Lucia
Saint Vincent and the Grenadines
Samoa
Saudi Arabia
Senegal
Serbia
Seychelles
Sierra Leone
Singapore
Slovenia
Solomon Islands
Somalia
South Africa
Spain
Sri Lanka
Sudan
Suriname
Sweden
Switzerland
Syrian Arab Republic
Thailand
Timor-Leste
Togo
Tonga
Trinidad & Tobago
Tunisia
Turkey
Turkmenistan
Tuvalu
Ukraine
United Arab Emirates
United Kingdom of Great Britain & Northern Ireland
United Republic of Tanzania
United States of America
Uruguay
Vanuatu
Venezuela (Bolivarian Republic of)
Viet Nam
Yemen