## Metadata
Metadata form for underway measurement systems
( * =mandatory field)
to be filled out by the scientist
To be filled ou by the data management
Investigator* | Name* |  | Mohamed Ahmed1, Brent Else1, Tim Papakyriakou2
| Organization* |  | 1- University of Calgary 2- University of Manitoba
| Address* |  | 1- Geography Dept., University of Calgary 2500 University Drive NW, Calgary T2N 1N4, AB, Canada
2- Center for Earth Observation Science, Department of Environment & Geography University of Manitoba, Winnipeg R3T 2N2, MB, Canada.
| Phone* |  | 14036293882 (Ahmed's cell phone )
| Email* |  | mohamed.ahmed3@ucalgary.ca
Dataset_Info* | Dataset ID*
Funding Info
| Submission Dates | Initial Submission: (YYYYMMDD)
Revised Submission: (YYYYMMDD)
Cruise_Info* | Experiment Name* |  | Surface water pCO2 measuerements in Hudson Bay during the spring and early-summer seasons
| Cruise ID (Expocode) |  | 18DL20180525
Section (Leg)
| Geographical Coverage* | Geographical Region | Hudson Bay
| Westernmost Longitude: | Enter decimal fractions of degrees: (+ = E, - = W)
or Degrees, Minutes, Seconds: East West
| Easternmost Longitude: | Enter decimal fractions of degrees: (+ = E, - = W)
or Degrees, Minutes, Seconds: East West
| Northernmost Latitude: | Enter decimal fractions of degrees: (+ = N, - = S)
or Degrees, Minutes, Seconds: North South
| Southernmost Latitude: | Enter decimal fractions of degrees: (+ = N, - = S)
or Degrees, Minutes, Seconds: North South
| Temporal Coverage | Start Date: (YYYYMMDD) | 20180531
|  | End Date: (YYYYMMDD) | 20180713
Ports of Call
| Platform Type (e.g. Ship) |  | Ship
| Survey Type (e.g. Research cruise) |  | Research cruise
| Vessel* | Vessel Name | CCGS Amundsen
|  | Vessel ID | 18DL
|  | Country | Canada
|  | Vessel Owner | Canadian Coast Guard
Variables | Variable Name1* |  | xCO2_EQU
| Description of Variable (e.g. in dry air) |  | CO2 molar fraction
| Unit |  | micromol per mol (or ppm)
| Variable Name2* |  | xH2O_EQU
| Description of Variable (e.g. in dry air) |  | H2O molar fraction
| Unit |  | millimol per mol (or ppt)
| Variable Name3* |  | TEMP_LICOR
| Description of Variable (e.g. in dry air) |  | temperature of gas analyzer
| Unit |  | degrees celcius
| Variable Name4* |  | PRES_LICOR
| Description of Variable (e.g. in dry air) |  | ambient pressure, which is given by the LICOR pressure transducer when the measurement is made in stop-flow mode and vented to the air
| Unit |  | hPa
| Variable Name5* |  | PRES_EQU
| Description of Variable (e.g. in dry air) |  | differential pressure (the pressure difference between the equilibrator and the ambient air)
| Unit |  | hPa
| Variable Name6* |  | TEMP_EQU
| Description of Variable (e.g. in dry air) |  | temperature of water inside equilibrator
| Unit |  | degrees celcius
| Variable Name7* |  | SSS
| Description of Variable (e.g. in dry air) |  | sea surface salinity
| Unit |  | practical salinity units
| Variable Name8* |  | SST_uncorr
| Description of Variable (e.g. in dry air) |  | sea surface temperature as measured by the CTD in the GO 8050
| Unit |  | degrees celcius
| Variable Name9* |  | SST_corr
| Description of Variable (e.g. in dry air) |  | sea surface temperature after correction due to water warming from the seawater intake line (see equilibration comments)
| Unit |  | degrees celcius
| Variable Name10* |  | pCO2_SW
| Description of Variable (e.g. in dry air) |  | partial pressure of CO2
| Unit |  | micro-atmosphere
| Variable Name11* |  | fCO2_SW
| Description of Variable (e.g. in dry air) |  | fugacity of CO2
| Unit |  | micro-atmosphere
| Total variables in the Data Set |  | 10
| Comments on data QC |  | We processed our data as follwoing: 1) replace xCO2_EQU, pCO2_SW, and fCO2_SW values with NaN's if the measured xCO2_EQU values are higher than 10000 ppm or lower than 0 ppm; 2) replace xCO2_EQU, pCO2_SW, TEMP_EQU and fCO2_SW values with NaN's if the measured water flow was lower than 1.5 L/min; 3) replace xCO2_EQU, pCO2_SW, and fCO2_SW values with NaN's if the measured PRES_LICOR was higher than 1100 hPa or lower than 900 hPa; 4) replace xCO2_EQU, pCO2_SW, and fCO2_SW values with NaN's if the measured conductivity was lower or equal to 0 mS/cm; 5) replace xCO2_EQU, pCO2_SW, SST and fCO2_SW values with NaN's if the measured temperature in the equilibrator was higher than 20 degree celisus or lower than -5 degree celisus.
Method Description* | Equilibrator Design | Equilibrator Type | shower-type equilibrator
Equilibrator Volume (L)
|  | Intake Location | engine room of CCGS Amundsen
|  | Water Flow Rate (L/min) | 2.4-2.8 L/min
|  | Headspace Gas Flow Rate (L/min) | ~100 ml/min
|  | Vented (Yes, No) | Yes
|  | Equilibration Comments | Temperature inside the equilibarator measured with a very accurate (±0.01 °C) and stable Hart digital thermometer with a thermistor probe. However, we applied a temperature correction to account for warming from the seawater intake line to the GO 8050 equilibrator. The temperature correction was done with a regression analysis between the equilibrator water temperature and it's coincident seawater measurements made by the ship's CTD-rosette. The computed SST values from this linear relationship are the temperatures at which our pCO2 values are reported. Details about this regression, and the statistics of it are included in the second tab of this spreadsheet.
|  | Drying Method | The heaspace gas from the equilibrator goes through a condensor, then Naphion drying tubes, then to the CO2 analyzer
| Measurement Method |  | This automated underway system operates by directing the seawater flow from a high-volume inlet (located approximately at 7 m beneath the water surface) through a shower-type equilibrator system. The gas in the headspace of the equilibrator is cycled in a closed loop through a LI-COR LI-7000 CO2/H2O gas analyzer at a rate of 80-100 ml min-1 to measure CO2 and H2O mole fraction. See Pierrot et al. [2009] for more details about the measurement method
| Manufacturer of Calibration Gas (E.g., Aire Liquide (France)) |  | Praxair (Canada)
| CO2 Sensors | CO2 Sensor | non-dispersive Infrared gas analyzer
|  | Manufacturer | LICOR
|  | Model | LI-7000
|  | Measured CO2 Values | CO2 molar fraction
|  | Measurement Frequency | ~1-2 min
|  | Uncertainty (Accuracy/Precision) | the precision of the measurements is ± 1 ppm (see Pierrot et al. 2009) the accuracy of the instrument is nominal ± 1% (see Pierrot et al. 2009)
|  | CO2 Sensor Calibration: (For each sensor of pressure, temperature, and salinity, document traceability to an internationally recognized scale, including date and place of the last calibration) | CO2 sensor was calibrated by the manufacturer prior deployment
|  | Number Non-Zero Gas Standards | 2
|  | Calibration Gases | zero CO2 gas (ultra-pure N2 gas from Praxair), and three span gases (at concentrations of 295.8, 448.6, and 551.7 ppm from Praxair)
|  | Comments | Calibration was done twice a day
| Other Sensors | Manufacturer | temperature of gas analyzer (Betatherm)
|  | Model | 100K6MBD1 temperature sensor
|  | Resolution | sensor was logged to save measurements every minute
|  | Uncertainty (Accuracy/Precision) | accuracy better than 0.05 deg C for temp. sensor of gas analyzer
|  | Calibration: (For each sensor of pressure, temperature, and salinity, document traceability to an internationally recognized scale, including date and place of last calibration.) | Sensor was calibrated by the manufacturer prior deployement
|  | Manufacturer | pressure of gas analyzer (TE connectivity)
|  | Model | 13A-015A pressure sensor
|  | Resolution | sensor was logged to save measurements every minute
|  | Uncertainty (Accuracy/Precision) | accuracy of 0.1% for pressure sensor
|  | Calibration: (For each sensor of pressure, temperature, and salinity, document traceability to an internationally recognized scale, including date and place of last calibration.) | Sensor was calibrated by the manufacturer prior deployement
|  | Manufacturer | pressure of equilibrator (Setra)
|  | Model | 239 setra pressure transducer
|  | Resolution | sensor was logged to save measurements every minute
|  | Uncertainty (Accuracy/Precision) | accuracy of 0.027 hPa for the Setra pressure transducer
|  | Calibration: (For each sensor of pressure, temperature, and salinity, document traceability to an internationally recognized scale, including date and place of last calibration.) | Sensor was calibrated by the manufacturer prior deployement
|  | Manufacturer | salinity (Idronaut)
|  | Model | Idronaut Ocean Seven model 315
|  | Resolution | sensor was logged to save measureements every minute
|  | Uncertainty (Accuracy/Precision) | accuracy of 0.003 mS/cm in conductivity measurement
|  | Calibration: (For each sensor of pressure, temperature, and salinity, document traceability to an internationally recognized scale, including date and place of last calibration.) | Sensor was calibrated by the manufacturer prior deployement
|  | Manufacturer | temperature (Idronaut)
|  | Model | Idronaut Ocean Seven model 315
|  | Resolution | sensor was logged to save measurements every minute
|  | Uncertainty (Accuracy/Precision) | accuracy of 0.002 deg C for water temperature
|  | Calibration: (For each sensor of pressure, temperature, and salinity, document traceability to an internationally recognized scale, including date and place of last calibration.) | Sensor was calibrated by the manufacturer prior deployement
Comments
Method References: (Publication(s) describing method)
| Additional information |  | see Pierrot et al. [2009] for more details on GO 8050 underway system see Weiss and Price [1980] for water vapor correction method see Takahashi et al. [1993] for temperature correction method
Suggested QC flag from Data Provider
Data set references | (Publication(s) describing data set) |  | Ahmed et al. (in review). Widespread surface water pCO2 undersaturation during ice melt season in an Arctic continental shelf sea (Hudson Bay) , Elementa
Citation | How to cite this data |  | Ahmed, M. M. M., Else, B. G. T., and Papakyriako, T. (2020). Surface water pCO2 measuerements in Hudson Bay during the spring and early-summer seasons
Data Set Link | URL*
| Label* |  | pCO2, Hudson Bay, carbon cycle, Arctic shelves, spring, early-summer
Link Note: (Optional instructions or remarks)

## Linear regression 2018
Cruise_Number | Cast_Number | Station_ID | Latitude_dec_degree | Longitude_dec_degree | CTD_time | CTD_temp_degC | pCO2_time | Equ_temp_degC | Depth_m
2018001 | 2 | 02 (354) | 60.9729 | -64.7737 | 2018-05-31 22:03 | -1.18 | 737211.9181 | 0.21 | 7
2018001 | 3 | 03 (352) | 61.1501 | -64.8197 | 2018-06-01 01:01 | -1.191 | 737212.0493 | 0.37 | 7
2018001 | 9 | 09 (FB03) | 63.7288 | -79.9282 | 2018-06-03 14:57 | -1.31 | 737214.6236 | -0.48 | 7
2018001 | 10 | 09 (FB03) | 63.7203 | -79.9221 | 2018-06-03 20:27 | -1.402 | 737214.8465 | -0.46 | 7
2018001 | 11 | 10 | 63.4458 | -79.4414 | 2018-06-04 02:10 | -1.308 | 737215.0903 | -0.54 | 7
2018001 | 14 | 12 | 63.3958 | -81.2255 | 2018-06-05 07:52 | -1.113 | 737216.3285 | -0.19 | 7
2018001 | 15 | 13 | 63.2643 | -81.6694 | 2018-06-05 10:07 | -1.066 | 737216.4215 | -0.12 | 7
2018001 | 16 | 14 | 63.1964 | -81.8544 | 2018-06-05 11:36 | -1.635 | 737216.4896 | -0.64 | 7
2018001 | 17 | 15 | 63.1939 | -81.9189 | 2018-06-05 14:48 | -1.56 | 737216.6174 | -0.62 | 7
2018001 | 18 | 15 | 63.1752 | -81.8497 | 2018-06-05 17:45 | -1.469 | 737216.7389 | -0.42 | 7
2018001 | 19 | 16 | 62.2796 | -85.906 | 2018-06-06 16:32 | -1.456 | 737217.6896 | -0.38 | 7
2018001 | 20 | 16 | 62.2893 | -85.8579 | 2018-06-06 21:33 | -1.532 | 737217.8972 | -0.16 | 7
2018001 | 21 | 17 | 63.1845 | -90.0344 | 2018-06-07 21:57 | -0.637 | 737218.9146 | 0.2 | 7
2018001 | 22 | 18 | 63.7138 | -88.417 | 2018-06-08 08:39 | -1.147 | 737219.359 | -0.2 | 7
2018001 | 23 | 18 | 63.7334 | -88.4367 | 2018-06-08 13:38 | -0.743 | 737219.5667 | 0.1 | 7
2018001 | 24 | 19 | 61.848 | -92.1103 | 2018-06-09 12:39 | -0.378 | 737220.5278 | 0.52 | 7
2018001 | 25 | 19 | 61.8468 | -92.1325 | 2018-06-09 15:32 | -0.569 | 737220.6472 | 0.47 | 7
2018001 | 26 | 20 | 61.3757 | -90.942 | 2018-06-10 02:38 | 0.051 | 737221.1104 | 1.05 | 7
2018001 | 27 | 21 | 60.9113 | -89.3586 | 2018-06-10 13:48 | -1.322 | 737221.575 | -0.36 | 7
2018001 | 28 | 21 | 60.9109 | -89.3296 | 2018-06-10 17:45 | -1.3 | 737221.7396 | -0.29 | 7
2018001 | 29 | 22 | 60.4233 | -94.0022 | 2018-06-11 13:10 | 0.278 | 737222.5479 | 2.22 | 7 | Linear regression
2018001 | 30 | 22 | 60.4212 | -94.0034 | 2018-06-11 14:40 | 0.41 | 737222.6181 | 2.11 | 7
2018001 | 31 | 23 (M6) | 60.923 | -91.7818 | 2018-06-12 03:26 | 0.146 | 737223.1438 | 1.14 | 7 | Regression Statistics
2018001 | 32 | 24 | 61.6966 | -87.7641 | 2018-06-12 18:36 | -1.244 | 737223.7743 | -0.37 | 7 | Multiple R | 0.97934
2018001 | 33 | 24 | 61.7108 | -87.7888 | 2018-06-12 22:48 | -1.109 | 737223.9507 | -0.2 | 7 | R Square | 0.95911
2018001 | 34 | 25 | 62.0219 | -87.0088 | 2018-06-13 07:02 | -1.346 | 737224.2937 | -0.34 | 7 | Adjusted R Square | 0.9583
2018001 | 35 | 25 | 62.0038 | -86.9815 | 2018-06-13 13:25 | -1.304 | 737224.5597 | -0.33 | 7 | Standard Error | 0.33203
2018001 | 36 | 26 | 62.2037 | -88.3776 | 2018-06-14 02:00 | 0.968 | 737225.0826 | 2.11 | 7 | Observations | 53
2018001 | 37 | 27 | 62.5833 | -90.9229 | 2018-06-14 12:13 | 0.548 | 737225.5007 | 1.67 | 7
2018001 | 38 | 28 | 62.4145 | -89.8323 | 2018-06-15 01:24 | 1.078 | 737226.0569 | 2.83 | 7 | ANOVA
2018001 | 39 | 29 | 61.7697 | -84.308 | 2018-06-16 13:09 | -1.543 | 737227.5486 | -0.46 | 7 |  | df | SS | MS | F | Significance F
2018001 | 40 | 31 | 57.5002 | -91.7971 | 2018-06-18 18:24 | 0.688 | 737229.7667 | 2.07 | 7 | Regression | 1 | 131.8648 | 131.8648 | 1196.1024 | 4.4903e-37
2018001 | 41 | 32 | 56.9842 | -88.1172 | 2018-06-19 16:47 | -1.542 | 737230.6993 | -0.08 | 7 | Residual | 51 | 5.6225 | 0.11025
2018001 | 42 | 32 | 56.9809 | -88.1458 | 2018-06-19 19:32 | -1.437 | 737230.8146 | 0.1 | 7 | Total | 52 | 137.4873
2018001 | 43 | 34 | 56.5062 | -86.8942 | 2018-06-20 22:24 | -0.755 | 737231.9326 | 0.55 | 7
2018001 | 44 | 34 | 56.5002 | -86.8675 | 2018-06-21 01:14 | -0.948 | 737232.0507 | 0.55 | 7 |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
2018001 | 46 | 36 | 57.774 | -86.0311 | 2018-06-22 15:24 | -1.606 | 737233.6424 | 0.08 | 7 | Intercept | 1.2559 | 0.046781 | 26.8456 | 9.4101e-32 | 1.1619 | 1.3498 | 1.1619 | 1.3498
2018001 | 47 | 36 | 57.775 | -86.0257 | 2018-06-22 18:02 | -1.577 | 737233.7521 | 0.06 | 7 | X Variable 1 | 1.0566 | 0.030551 | 34.5847 | 4.4903e-37 | 0.99525 | 1.1179 | 0.99525 | 1.1179
2018001 | 49 | 38 | 58.7224 | -86.3045 | 2018-06-23 16:06 | -1.516 | 737234.6708 | 0.19 | 7
2018001 | 50 | 38 | 58.7306 | -86.3014 | 2018-06-23 19:21 | -1.516 | 737234.8069 | -0.22 | 7
2018001 | 52 | 40 | 58.2327 | -88.5633 | 2018-06-24 16:21 | -1.564 | 737235.6819 | -0.42 | 7
2018001 | 53 | 40 | 58.2401 | -88.5826 | 2018-06-24 18:52 | -1.519 | 737235.7847 | -0.1 | 7
2018001 | 54 | 41 | 58.0194 | -89.7805 | 2018-06-25 04:22 | -1.1 | 737236.1819 | 0.59 | 7
2018001 | 55 | 15 | 63.1911 | -81.9636 | 2018-06-27 12:33 | 0.112 | 737238.5222 | 1.24 | 7
2018001 | 56 | 44 | 59.9751 | -91.9502 | 2018-06-28 17:16 | 1.821 | 737239.7194 | 2.9 | 7
2018001 | 57 | 44 | 59.9753 | -91.9502 | 2018-06-28 19:04 | 1.389 | 737239.7937 | 2.53 | 7
2018001 | 58 | 45 | 57.2207 | -91.9563 | 2018-06-30 13:55 | 4.053 | 737241.5799 | 5.91 | 7
2018001 | 59 | 45 | 57.2969 | -92.0631 | 2018-06-30 20:59 | 2.898 | 737241.8736 | 4.49 | 7
2018001 | 60 | W-Transect Stn1 | 57.3988 | -92.073 | 2018-07-01 11:30 | 4.318 | 737242.4792 | 5.31 | 7
2018001 | 61 | W-Transect Stn2 | 57.3959 | -91.9761 | 2018-07-01 12:33 | 1.743 | 737242.5222 | 3.6 | 7
2018001 | 62 | W-Transect Stn3 | 57.3938 | -91.8671 | 2018-07-01 13:20 | 1.052 | 737242.5549 | 3.09 | 7
2018001 | 63 | 46 | 57.5021 | -91.8162 | 2018-07-01 14:37 | 2.465 | 737242.6097 | 3.4 | 7
2018001 | 64 | 46 | 57.4939 | -91.8172 | 2018-07-01 17:44 | 1.867 | 737242.7396 | 3.2 | 7