## metadata
Instructions: Please do not change the order of Rows No. 1 through No. 240. Please do not use special characters. Text highlighted in red indicates information needed to conduct quality control of submitted data, please try to fill in as much as possible for the number of variables relevant for the submitted data sets. Note that all rows in bold contain a drop-down menu, please follow the instructions provided and choose one of the options.
Number | Metadata element name | Your input | Help reference number
1 | Submission Date | 11.01.2024 | 1
2 | Accession no. of related data sets on the 14.3.1 data platform or any other data base |  | 2
3 | URL of metadata set |  | 3
4 | URL of associated data set |  | 4
5 | DOI of dataset (if applicable) |  | 5
6 | Investigator-1 name | Léa Olivier | 6.1
7 | Investigator-1 institution | Alfred Wegener Institute, Germany | 6.2
8 | Investigator-1 institution ID (OceanExpert) |  | 6.3.
9 | Investigator-1 address | Am Handelshafen 12, 27570 Bremerhaven, Germany | 6.4
10 | Investigator-1 phone |  | 6.5
11 | Investigator-1 email | lea.olivier@awi.de | 6.6
12 | Investigator-1 researcher ID | 0000-0001-9014-0979 | 6.7
13 | Investigator-1 ID type (OceanExpert, ORCID, ResearcherID, etc.) | ORCID | 6.8
14 | Investigator-2 name | Peter Landschützer | 6.1
15 | Investigator-2 institution | Max Plank Institute, Germany | 6.2
16 | Investigator-2 institution ID (OceanExpert) |  | 6.3.
17 | Investigator-2 address | Bundesstrase 53, 20146 Hamburg, Germany | 6.4
18 | Investigator-2 phone |  | 6.5
19 | Investigator-2 email | peter.landschutzer@vliz.be | 6.6
20 | Investigator-2 researcher ID | 0000-0002-7398-3293 | 6.7
21 | Investigator-2 ID type (OceanExpert, ORCID, ResearcherID, etc.) | ORCID | 6.8
22 | Investigator-3 name | Toste Tanhua | 6.1
23 | Investigator-3 institution | Geomar, Germany | 6.2
24 | Investigator-2 institution ID (OceanExpert) |  | 6.3.
25 | Investigator-3 address | Wischhofstr. 1-3, 24148 Kiel | 6.4
26 | Investigator-3 phone |  | 6.5
27 | Investigator-3 email | ttanhua@geomar.de | 6.6
28 | Investigator-3 researcher ID | 0000-0002-0313-2557 | 6.7
29 | Investigator-3 ID type (OceanExpert, ORCID, ResearcherID, etc.) | ORCID | 6.8
30 | Data submitter name | Léa Olivier | 7.1
31 | Data submitter institution | Alfred Wegener Institute, Germany | 7.2
32 | Data submitter - institution ID (OceanExpert) |  | 7.3
33 | Data submitter address | Am Handelshafen 12, 27570 Bremerhaven, Germany | 7.4
34 | Data submitter phone |  | 7.5
35 | Data submitter email | lea.olivier@awi.de | 7.6
36 | Data submitter researcher ID | 0000-0001-9014-0979 | 7.7
37 | Data submitter ID type (OceanExpert, ORCID, ResearcherID, etc.) | ORCID | 7.8
38 | Name of sampling site or title of related research project | Malizia Ocean Challenge | 8
39 | Short description including purpose of observation | Data collected on the race sailing vessel Malizia-Sea Explorer during the leg 3 of the Ocean Race in the southern ocean, from Cape Town to Itajai. The system was turned off during drake passage. We observed high variability of the pCO2 in the pacific sector, that at first looked curious but is linked to small scale intense fronts. | 9
40 | Method(s) applied | Flat membrane system used, and the method applied to the data is the same as the one applied for the Vendée Globe 2020 dataset, described in Landschützer et al., 2023. The method for membrane systems is also in Arruda et al., 2019. http://www.subctech.com/Datasheets/Datasheets/Flyer_OceanPack_Family.pdf. MK2 controlled OP with Sea&Sun customized CTD48. Flowmeters (gas and water), differential pressure. Optimized for 24VDC. External GPS and ControlBox. Applicable for the intergration of meteo-station and telemetry (data output). | 10
41 | First day of measurement included in data file (YYYY-MM-DD or YYYY-MM-DDTHH:MM:SS) | 2023-02-26 | 11.1
42 | Last day of measurement included in data file (YYYY-MM-DD or YYYY-MM-DDTHH:MM:SS) | 2023-04-02 | 11.2
43 | Site specific measurement longitude |  | 12.1
44 | Site specific measurement latitude |  | 12.2
45 | Transect measurement longitude easternmost | -180 | 12.3
46 | Transect measurement longitude westernmost | 180 | 12.4
47 | Transect measurement latitude northernmost | -26.3 | 12.5
48 | Transect measurement latitude southernmost | -56.5 | 12.6
49 | Funding agency name |  | 13.1
50 | Funding project title |  | 13.2
51 | Funding project ID (Grant number) |  | 13.3
52 | Platform name | Sea Explorer (Malizia III) | 14.1
53 | Platform category | Voluntary Observing Ship | 14.2
54 | Platform ID | MMSI 228131430 | 14.3
55 | Platform ID type |  | 14.4
56 | Platform-1 owner | Boris Herrmann Racing GmbH | 14.5
57 | Platform-1 country | Germany | 14.6
58 | EXPOCODE | 069920230226 | 15.1
59 | Cruise ID | The Ocean Race Leg 3 | 15.2
60 | Cruise ID type |  | 15.3
61 | Author list for citation | Olivier, Léa; Landschützer, Peter; Tanhua, Toste | 16
62 | References |  | 17
63 | Supplemental information |  | 18
64 | Depth: Variable abbreviation in data files | No depth variable, the measurment is done undeway at 2m depth | 19.1
65 | Depth: Variable unit | m | 19.2
66 | DIC: Variable abbreviation in data files |  | 20.1
67 | DIC: Observation type |  | 20.2
68 | DIC: Variable unit |  | 20.3
69 | DIC: Collection method (e.g. bottle sampling) |  | 20.4
70 | DIC: Analyzing instrument |  | 20.5
71 | DIC: Analyzing information with citation |  | 20.6
72 | DIC: Quality control |  | 20.7
73 | DIC: Abbreviation of data quality flag scheme |  | 20.8
74 | DIC: Data quality scheme (name of scheme) |  | 20.9
75 | DIC: Uncertainty |  | 20.1
76 | DIC: Field replicate information |  | 20.11
77 | DIC: Calibration method |  | 20.12
78 | DIC: Frequency of calibration |  | 20.13
79 | DIC: CRM manufacturer |  | 20.14
80 | DIC: Batch number(s) |  | 20.15
81 | DIC: Poison used to kill the sample |  | 20.16
82 | DIC: Poison volume |  | 20.17
83 | DIC: Poisoning correction description |  | 20.18
84 | DIC: Method reference (citation) |  | 20.19
85 | DIC: Changes to Method or SOP |  | 20.2
86 | TA: Variable abbreviation in data files |  | 21.1
87 | TA: Observation type |  | 21.2
88 | TA: Variable unit |  | 21.3
89 | TA: Collection method (e.g. bottle sampling) |  | 21.4
90 | TA: Measured or calculated |  | 21.5
91 | TA: Calculation method and parameters |  | 21.6
92 | TA: Analyzing instrument |  | 21.7
93 | TA: Analyzing information with citation (SOP etc) |  | 21.8
94 | TA: Quality control |  | 21.9
95 | TA: Abbreviation of data quality flag scheme |  | 21.1
96 | TA: Data quality flag scheme |  | 21.11
97 | TA: Uncertainty |  | 21.12
98 | TA: Type of titration |  | 21.13
99 | TA: Cell type (open or closed) |  | 21.14
100 | TA: Curve fitting method |  | 21.15
101 | TA: Field replicate information |  | 21.16
102 | TA: Calibration method |  | 21.17
103 | TA: Frequency of calibration |  | 21.18
104 | TA: CRM manufacturer |  | 21.19
105 | TA: Batch Number(s) |  | 21.2
106 | TA: Poison used to kill the sample |  | 21.21
107 | TA: Poison volume |  | 21.22
108 | TA: Poisoning correction description |  | 21.23
109 | TA: Magnitude of blank correction |  | 21.24
110 | TA: Method reference (citation) |  | 21.25
111 | TA: Changes to Method or SOP |  | 21.26
112 | pH: Variable abbreviation in data files |  | 22.1
113 | pH: Observation type |  | 22.2
114 | pH: Collection method (e.g. bottle sampling) |  | 22.3
115 | pH: Analyzing instrument |  | 22.4
116 | pH: Analyzing information with citation (SOP etc) |  | 22.5
117 | pH: pH scale |  | 22.6
118 | pH: Quality control |  | 22.7
119 | pH: Abbreviation of data quality flag scheme |  | 22.8
120 | pH: Data quality flag scheme |  | 22.9
121 | pH: Uncertainty |  | 22.1
122 | pH: Temperature of measurement |  | 22.11
123 | pH: Field replicate information |  | 22.12
124 | pH: Calibration method |  | 22.13
125 | pH: Frequency of calibration |  | 22.14
126 | pH:Type of dye and manufacturer information |  | 22.15
127 | pH: pH values of the standards |  | 22.16
128 | pH: Temperature of calibration |  | 22.17
129 | pH: Temperature correction method |  | 22.18
130 | pH: At what temperature was pH reported |  | 22.19
131 | pH: Method reference (citation) |  | 22.2
132 | pH: Changes to Method or SOP |  | 22.21
SOCAT | xCO2: Variable abbreviation in data files | xCO2_sw | SOCAT
134 | pCO2: Observation type |  | SOCAT
SOCAT | xCO2: Variable unit | ppm | SOCAT
133 | pCO2: Variable abbreviation in data files | pCO2_sw | 23.1
134 | pCO2: Observation type |  | 23.2
135 | pCO2: Variable unit | μatm | 23.3
136 | pCO2: Collection method (e.g. bottle sampling) |  | 23.4
137 | pCO2: Location of seawater intake |  | 23.5
138 | pCO2: Depth of seawater intake |  | 23.6
139 | pCO2: Analyzing instrument |  | 23.7
140 | pCO2: Analyzing information with citation (SOP etc) |  | 23.8
141 | pCO2: Quality control |  | 23.9
142 | pCO2: Abbreviation of data quality flag scheme |  | 23.1
143 | pCO2: Data quality flag scheme |  | 23.11
144 | pCO2: Uncertainty |  | 23.12
145 | pCO2: Equilbrator type |  | 23.13
146 | pCO2: Equilibrator volume (L) |  | 23.14
147 | pCO2: Equilibrator vented or not |  | 23.15
148 | pCO2: Equilibrator water flow rate (L min-1) |  | 23.16
149 | pCO2: Equilibrator headspace gas flow rate (L min-1) |  | 23.17
150 | pCO2: How was temperature inside the equilibrator measured |  | 23.18
151 | pCO2: How was pressure inside the equilibrator measured |  | 23.19
152 | pCO2: Drying method for CO2 gas |  | 23.2
153 | pCO2: Manufacturer of the gas detector |  | 23.21
154 | pCO2: Model of the gas detector |  | 23.22
155 | pCO2: Resolution of the gas detector |  | 23.23
156 | pCO2: Uncertainty of the gas detector |  | 23.24
157 | pCO2: Calibration method |  | 23.25
158 | pCO2: Frequency of calibration |  | 23.26
159 | pCO2: Manufacturer of standard gas |  | 23.27
160 | pCO2: Concentrations of standard gas |  | 23.28
161 | pCO2: Uncertainties of standard gas |  | 23.29
162 | pCO2: Water vapor correction method |  | 23.3
163 | pCO2: Temperature correction method |  | 23.31
164 | pCO2: At what temperature was pCO2 reported |  | 23.32
165 | pCO2: Method reference (citation) |  | 23.33
166 | pCO2: Changes to Method or SOP |  | 23.34
167 | fCO2: Variable abbreviation in data files | fCO2_sw | 24.1
168 | fCO2/pCO2/xCO2: Observation type | underway | 24.2
169 | fCO2: Variable unit | μatm | 24.3
170 | fCO2/pCO2/xCO2: Collection method (e.g. with pump) | water collection with pump | 24.4
171 | fCO2/pCO2/xCO2: Location of seawater intake | Water enters through keel - System intake in main body. Distance to membrane < 0.5 meter. | 24.5
172 | fCO2/pCO2/xCO2: Depth of seawater intake | max 2m | 24.6
173 | fCO2/pCO2/xCO2: Analyzing instrument | SubCtech OceanPack System | 24.7
174 | fCO2/pCO2/xCO2: Analyzing information with citation (SOP etc) | NDI Serial: 22121500, manufactured in 2022/11 | 24.8
175 | fCO2/pCO2/xCO2: Quality control |  | 24.9
176 | fCO2/pCO2/xCO2: Abbreviation of data quality flag scheme |  | 24.1
177 | fCO2/pCO2/xCO2: Data quality flag scheme |  | 24.11
178 | fCO2/pCO2/xCO2: Uncertainty |  | 24.12
179 | fCO2/pCO2/xCO2: Equilbrator type | Flat Membrane (PDMS) | 24.13
180 | fCO2/pCO2/xCO2: Equilibrator volume (L) | 1885 mm2 | 24.14
181 | fCO2/pCO2/xCO2: Equilibrator vented or not | Not vented | 24.15
182 | fCO2/pCO2/xCO2: Equilibrator water flow rate (L min-1) | 7 | 24.16
183 | fCO2/pCO2/xCO2: Equilibrator headspace gas flow rate (L min-1) | 0.5 | 24.17
184 | fCO2/pCO2/xCO2: How was temperature inside the equilibrator measured (i.e. which sensor)? | Sea&Sun customized CTD48 | 24.18
SOCAT | fCO2/pCO2/xCO2: Uncertainty of temperature measured inside the equlibrator | 0.002 | SOCAT
SOCAT | fCO2/pCO2/xCO2: Calibration method and frequency for temperature sensor inside the equlibrator | Temperature last calibrated on 03.11.2022, by Sea and Sun Technology, Arndtstrasse 9, D-24610 Trappenkamp | SOCAT
185 | fCO2/pCO2/xCO2: How was pressure inside the equilibrator measured (i.e. which sensor)? | Pressure cell of the licor and a differential pressure sensor between the membrane and the LICOR | 24.19
SOCAT | fCO2/pCO2/xCO2: How was the total measurement pressure determined? | By correcting the pressure measured by the licor cell with the differencial pressure measured | SOCAT
SOCAT | fCO2/pCO2/xCO2: Uncertainty of total measurement pressure, and how was this calculated? |  | SOCAT
SOCAT | fCO2/pCO2/xCO2: Calibration method and frequency for pressure sensor(s) | Pressure: Licor Cell pressure factory calibrated by Licor (18.10.2022, Siemensstraße 25, 61352 Bad Homburg vor der Höhe, Germany) Pressure at membrane: Calculated via Honeywell HSCMRRN001PD2A3 differential pressure sensor in hPa (11.2022, Kiel, accuracy/range= 0,25%/±1psi); | SOCAT
186 | fCO2/pCO2/xCO2: Drying method for CO2 gas | None, measured in wet air | 24.2
187 | fCO2/pCO2/xCO2: Manufacturer of the gas detector | LICOR | 24.21
188 | fCO2/pCO2/xCO2: Model of the gas detector | LI850. Serial: HGA-06568 | 24.22
189 | fCO2/pCO2/xCO2: Resolution of the gas detector | better than 1% of reading | 24.23
190 | fCO2/pCO2/xCO2: Uncertainty of the gas detector | better than 1% of reading, zero drift <0.15 ppm/°C, span drift<0.03 %/°C | 24.24
191 | fCO2/pCO2/xCO2: Calibration method | Autocalibration with Zero (Soda lime) and known gas standard once a day; After autocalibration first 30 minutes of seawater measurements are not considered to allow full equilibrium | 23.25
192 | fCO2/pCO2/xCO2: Frequency of calibration | Every day | 23.26
193 | fCO2/pCO2/xCO2: Manufacturer of standard gas | Calibrated with two Standards: Air Liquide (France), calibrated at CNRS (Brest, LOT No 9378105 and LOT No 9378106) | 23.27
SOCAT | fCO2/pCO2/xCO2: Traceability of standard gases to WMO standards | ID: 077-AC-017 | SOCAT
194 | fCO2/pCO2/xCO2: Concentrations of standard gas | 512.26 ppm | 23.28
195 | fCO2/pCO2/xCO2: Uncertainties of standard gas |  | 23.29
196 | fCO2/pCO2/xCO2: Water vapor correction method | None, measured in wet air | 23.3
SOCAT | fCO2/pCO2/xCO2: Method to calculate pCO2 from xCO2 (reference) | Following the DOE handbook, pCO2 calculation following T correction of Takahashi et al 1993; (where T_membrane is considered T_in-situ since distance membrane to inlet is <0.5m) | SOCAT
SOCAT | fCO2/pCO2/xCO2: Method to calculate fCO2 from pCO2 (reference) | Following the DOE handbook | SOCAT
197 | fCO2/pCO2/xCO2: Temperature correction method (from measurement temperature in the equilibrator to SST) | We assume that the temperature measured before the membrane is the SST. The membrane is located less than 0.5m from the water intake, and the water flow is high (7l/min). | 23.31
198 | fCO2.pCO2/xCO2: At what temperature was fCO2 reported? |  | 23.32
199 | fCO2/pCO2/xCO2: Method reference (citation) | Takahashi et al 1993 and DOE handbook | 23.33
200 | fCO2/pCO2/xCO2: Changes to Method or SOP |  | 23.34
201 | Temperature: Variable abbreviation in data files | SST | 25.1
202 | Temperature: Observation type | underway | 25.2
203 | Temperature: Variable unit | Celsius | 25.3
204 | Temperature: Collection method (e.g. bottle sampling) | water collection with pump | 25.4
205 | Temperature: Analyzing instrument | Sea & Sun CTD48 | 25.5
206 | Temperature: Analyzing information with citation (SOP etc) |  | 25.6
207 | Temperature: Quality control |  | 25.7
208 | Temperature: Abbreviation of data quality flag scheme |  | 25.8
209 | Temperature: Data quality flag scheme |  | 25.9
210 | Temperature: Uncertainty |  | 25.1
211 | Temperature: Field replicate information |  | 25.11
212 | Temperature: Method reference (citation) |  | 25.12
213 | Temperature: Changes to Method or SOP |  | 25.13
214 | Salinity: Variable abbreviation in data files | SSS | 26.1
215 | Salinity: Observation type | underway | 26.2
216 | Salinity: Variable unit | PSU | 26.3
217 | Salinity: Collection method (e.g. bottle sampling) | water collection with pump | 26.4
218 | Salinity: Analyzing instrument | Sea & Sun CTD48 | 26.5
219 | Salinity: Analyzing information with citation (SOP etc) |  | 26.6
220 | Salinity: Quality control |  | 26.7
221 | Salinity: Abbreviation of data quality flag scheme |  | 26.8
222 | Salinity: Data quality flag scheme |  | 26.9
223 | Salinity: Uncertainty |  | 26.1
224 | Salinity: Field replicate information |  | 26.11
225 | Salinity: Method reference (citation) |  | 26.12
226 | Salinity: Changes to Method or SOP |  | 26.13
227 | Var1: Variable abbreviation in data files |  | 27.1
228 | Var1: Full variable name |  | 27.2
229 | Var1: Observation type |  | 27.3
230 | Var1: Variable unit |  | 27.4
231 | Var1: Collection method (e.g. bottle sampling) |  | 27.5
232 | Var1: Analyzing instrument |  | 27.6
233 | Var1: Analyzing information with citation (SOP etc) |  | 27.7
234 | Var1: Quality control |  | 27.8
235 | Var1: Abbreviation of data quality flag scheme |  | 27.9
236 | Var1: Data quality flag scheme |  | 27.1
237 | Var1: Uncertainty |  | 27.11
238 | Var1: Field replicate information |  | 27.12
239 | Var1: Method reference (citation) |  | 27.13
240 | Var1: Changes to Method or SOP |  | 27.14

## Sheet2
ID type | Platform category | Platform/cruise ID | depth | Observation type | DIC/TA Variable unit | DIC Instruments | TA | pH | Frequency of calibration | CRM manufacturer | Poison | Poison volume | Country | Data quality schemes | Data quality flags
OceanExpert | Fixed Ocean Time Series | ICES | cm | underway | mol kg-1 | Marianda Company VINDTA 3C system | Cell Type | pH scale | every 3 hours | Dickson CRM | HgCl2 | 0.02% volume of original sample | Afghanistan | ODV | 0
ORCID | Mooring | IMO | m | profile | mmol kg-1 | Marianda Company VINDTA 3D system | Open | total scale | every 6 hours |  |  | 0.05% volume of original sample | Albania | GTSPP | 1
ResearcherID | Coastal Monitoring Site | WMO |  | time series | µmol kg-1 | Marianda Company AIRICA system | Closed | seawater scale | every 10 samples |  |  | 0.1% volume of original sample | Algeria | ARGO | 2
| Repeat Hydrography (vessel) |  |  | fixed coastal station |  | Apollo SciTech Inc. DIC Analyser AS-C3 |  | NBS scale | every 20 samples |  |  |  | Angola | SEADATANET | 3
| Ship-based time series (vessel) |  |  |  |  | Nihon ANS Co. | Curve fitting method | free scale |  |  |  |  | Argentina | ESEAS | 4
| Argo float |  |  | Collection Method |  | SOMMA coupled to coulometer | curve fitting with least square optimisation | [5 empty] | Australia | WOD | 5
| Glider |  |  | water collection with a water sampler (e.g. Niskin) |  |  | modified gran approach | [5 empty] | Austria | WODSTATION | 6
| Voluntary Observing Ship |  |  | water collection with bucket | [8 empty] | Azerbaijan | WOCECTD | 7
|  |  |  | water collection with pump | [8 empty] | Bahamas | WOCEBOTTLE | 8
[6 empty] | TA Instruments | [6 empty] | Bangladesh | WOCESAMPLE | 9
No | [5 empty] | Apollo SciTech Alkalinity Titrator AS-ALK2 | [6 empty] | Barbados | WOCE | blank
Yes | [5 empty] | Marianda Company VINDTA 3S system | pCO2 | Temperature |  |  |  |  | Belgium | QARTOD | ˂
|  |  |  | Field replicate info |  | Contros HydroFIA TA | Variable unit | Variable Unit |  |  |  |  | Belize | BODC | ˃
|  |  |  | 1 |  | Total alkalinity titration system | μatm | Celsius |  |  |  |  | Benin | PANGAEA | *
Measured |  |  |  | 2 |  |  | ppt | Fahrenheit |  |  |  |  | Brazil | SMHI | \
Calculated |  |  |  | 3 | [8 empty] | Bulgaria | OceanSITES | ¦
|  |  |  | 4 |  | pH Instruments | Equilibrator | [5 empty] | Cabo Verde | IODE | ?
|  |  |  | 5 |  | seaFET Ocean pH sensor (Satlantic/Sea-Bird Scientific) | Vented | Salinity |  |  |  |  | Cameroon |  | #
|  |  |  | 6 |  | seapHox Ocean pH sensor (Satlantic/Sea-Bird Scientific) | Not vented | PSU |  |  |  |  | Canada |  | A
[6 empty] | Deep SeaFET (Sea-Bird) |  | PPT |  |  |  |  | Chile |  | B
[6 empty] | Durafet III pH electrode | [6 empty] | China |  | C
[6 empty] | Sunburst iSAMI pH sensor | [6 empty] | Colombia |  | D
[6 empty] | Sunburst SAMI pH sensor | [6 empty] | Comoros |  | E
[6 empty] | Sunburst AFT pH | [6 empty] | Congo |  | G
[6 empty] | spectrophotometer | [6 empty] | Cook Islands |  | H
[13 empty] | Costa Rica |  | I
[13 empty] | Côte d'Ivoire |  | K
[13 empty] | Croatia |  | L
[6 empty] | pCO2/fCO2 Instruments | [6 empty] | Cuba |  | M
[6 empty] | Contros-Kongsberg HydroC CO2 FT | [6 empty] | Cyprus |  | N
[6 empty] | Moored Autonomous pCO2 monitoring System (MAPCO2™) | [6 empty] | Czechia |  | O
[6 empty] | Battelle Seaology pCO2 monitoring System (LiCor NDIR based) | [6 empty] | Democratic People's Republic of Korea |  | P
[6 empty] | Pro-OCEANUS Systems: CO2-Pro™ | [6 empty] | Congo (Democratic Republic) |  | Q
[6 empty] | Pro-OCEANUS Systems: CO2-Pro CV™ | [6 empty] | Denmark |  | R
[6 empty] | Pro-OCEANUS Systems: CO2-PRO AtmosphereTM | [6 empty] | Djibouti |  | S
[6 empty] | Pro-OCEANUS Systems: Mini CO2TM | [6 empty] | Dominica |  | T
[6 empty] | General Oceanics GO pCO2 system | [6 empty] | Dominican Republic |  | U
[6 empty] | Apollo Scitech inc. pCO2 system (AS-P2) | [6 empty] | Ecuador |  | W
[6 empty] | Sunburst Sensors SAMI-CO2 | [6 empty] | Egypt |  | X
[6 empty] | Sunburst Sensors Superco2 system | [6 empty] | El Salvador
[6 empty] | Sunburst Sensors AFT-CO2 | [6 empty] | Equatorial Guinea
[6 empty] | Kimoto Air-Marine CO2 Automatic Monitoring System | [6 empty] | Eritrea
[6 empty] | Kimoto Portable carbon dioxide analyzer | [6 empty] | Estonia
[6 empty] | CONTROS HydroC CO2 Sensor | [6 empty] | Ethiopia
[6 empty] | SubCtech OceanPack System | [6 empty] | Fiji
[6 empty] | Picarro CO2 System | [6 empty] | Finland
[6 empty] | Marianda Company SUNDANS system | [6 empty] | France
[6 empty] | Turner Designs C-sense™ in situ pCO2 Sensor | [6 empty] | Gabon
[6 empty] | Pro-OCEANUS CO2-Pro | [6 empty] | Gambia
[6 empty] | VeGAS pCO2 | [6 empty] | Georgia
[6 empty] | flask equilibrator coupled to GC or NDIR | [6 empty] | Germany
Ghana
Greece
Grenada
[6 empty] | Temperature Instruments | [6 empty] | Guatemala
[6 empty] | Seabird sensors | [6 empty] | Guinea
[6 empty] | YSI sensors | [6 empty] | Guinea Bissau
[6 empty] | Fluke Hart | [6 empty] | Guyana
Haiti
Honduras
[6 empty] | Salinity Instruments | [6 empty] | Iceland
[6 empty] | Seabird sensors | [6 empty] | India
[6 empty] | YSI sensors | [6 empty] | Indonesia
[6 empty] | other | [6 empty] | Iran (Islamic Republic of)
Iraq
Ireland
Israel
Italy
Jamaica
Japan
Jordan
Kazakhstan
Kenya
Kiribati
Kuwait
Lebanon
Libya
Madagascar
Malaysia
Maldives
Malta
Mauritania
Mauritius
Mexico
Monaco
Montenegro
Morocco
Mozambique
Myanmar
Namibia
Nauru
Netherlands
New Zealand
Nicaragua
Nigeria
Niue
Norway
Oman
Pakistan
Palau
Panama
Papua New Guinea
Peru
Philippines
Poland
Portugal
Qatar
Republic of Korea
Romania
Russian Federation
Saint Kitts and Nevis
Saint Lucia
Saint Vincent and the Grenadines
Samoa
Saudi Arabia
Senegal
Serbia
Seychelles
Sierra Leone
Singapore
Slovenia
Solomon Islands
Somalia
South Africa
Spain
Sri Lanka
Sudan
Suriname
Sweden
Switzerland
Syrian Arab Republic
Thailand
Timor-Leste
Togo
Tonga
Trinidad & Tobago
Tunisia
Turkey
Turkmenistan
Tuvalu
Ukraine
United Arab Emirates
United Kingdom of Great Britain & Northern Ireland
United Republic of Tanzania
United States of America
Uruguay
Vanuatu
Venezuela (Bolivarian Republic of)
Viet Nam
Yemen