## OA metadata elements
A metadata content standard for ocean carbon and acidification data (Version 2.0, February 13, 2023)
Section | Sections marked with * can be repeated as necessary. For physiological response studies, the bounding box info is for the location of the organism collection. For comments please contact Liqing.Jiang@noaa.gov |  |  |  | Ref. No | Brief Descriptions
1 | Data Submitter | Name | Gary Maillet |  | 1.01 | Full name of the principal investigator (Firstname Middlename Lastname).
|  | Institution | Fisheries and Oceans Canada, Northwest Atlantic Fisheries Centre |  | 1.02 | Affiliated institution of the principal investigator (e.g., Woods Hole Oceanographic Institution).
|  | Road address | 80 East White Hills Road |  | 1.03 | Address of the affiliated institution of the principal investigator.
|  | City | St. John's |  | 1.04 | Name of the City, e.g., Seattle
|  | State or province | NL |  | 1.05 | State or Province, e.g., Washington
|  | Zip code | A1C 5X1 |  | 1.06 | Zip code, e.g., 98115
|  | Country | Canada |  | 1.07 | Name of the country, e.g., U.S.A.
|  | Phone | 709-330-7735 |  | 1.08 | Phone number of the principal investigator (xxx xxx xxx).
|  | Email | gary.maillet@dfo-mpo.gc.ca |  | 1.09 | Email address of the principal investigator.
|  | Researcher ID | 0009-0007-1493-5084 |  | 1.1 | Identification number of the researcher
|  | ID type (ORCID, Researcher ID, etc.) | ORCID |  | 1.11 | Type of the researcher identification
2 | Investigators* | Name | Frederic Cyr |  | 2.01 | Full name of the principal investigator (Firstname Middlename Lastname).
|  | Institution | Fisheries and Oceans Canada, Northwest Atlantic Fisheries Centre |  | 2.02 | Affiliated institution of the principal investigator (e.g., Woods Hole Oceanographic Institution).
|  | Road address | 80 East White Hills Road |  | 2.03 | Address of the affiliated institution of the principal investigator.
|  | City | St. John's |  | 2.04 | Name of the City, e.g., Seattle
|  | State or province | NL |  | 2.05 | State or Province, e.g., Washington
|  | Zip code | A1C 5X1 |  | 2.06 | Zip code, e.g., 98115
|  | Country | Canada |  | 2.07 | Name of the country, e.g., U.S.A.
|  | Phone | 709-330-3917 |  | 2.08 | Phone number of the principal investigator (xxx xxx xxx).
|  | Email | federic.cyr@dfo-mpo.gc.ca |  | 2.09 | Email address of the principal investigator.
|  | Researcher ID | 0000-0002-1581-7502 |  | 2.1 | Identification number of the researcher
|  | ID type (ORCID, Researcher ID, etc.) | ORCID |  | 2.11 | Type of the researcher identification
|  | Role | Physical Oceanographer |  | 2.12 | The role of the investigator
2 | Investigators* | Name | David Belanger |  | 2.01 | Full name of the principal investigator (Firstname Middlename Lastname).
|  | Institution | Fisheries and Oceans Canada |  | 2.02 | Affiliated institution of the principal investigator (e.g., Woods Hole Oceanographic Institution).
|  | Road address | 80 East White Hills Road |  | 2.03 | Address of the affiliated institution of the principal investigator.
|  | City | St. John's |  | 2.04 | Name of the City, e.g., Seattle
|  | State or province | NL |  | 2.05 | State or Province, e.g., Washington
|  | Zip code | A1C 5X1 |  | 2.06 | Zip code, e.g., 98115
|  | Country | Canada |  | 2.07 | Name of the country, e.g., U.S.A.
|  | Phone | 709-682-9659 |  | 2.08 | Phone number of the principal investigator (xxx xxx xxx).
|  | Email | david.belanger@dfo-mpo.gc.ca |  | 2.09 | Email address of the principal investigator.
|  | Researcher ID |  |  | 2.1 | Identification number of the researcher
|  | ID type (ORCID, Researcher ID, etc.) |  |  | 2.11 | Type of the researcher identification
|  | Role | Biological Oceanographer |  | 2.12 | The role of the investigator
2 | Investigators* | Name | Stephen Snook |  | 2.01 | Full name of the principal investigator (Firstname Middlename Lastname).
|  | Institution | Fisheries and Oceans Canada |  | 2.02 | Affiliated institution of the principal investigator (e.g., Woods Hole Oceanographic Institution).
|  | Road address | 80 East White Hills Road |  | 2.03 | Address of the affiliated institution of the principal investigator.
|  | City | St. John's |  | 2.04 | Name of the City, e.g., Seattle
|  | State or province | NL |  | 2.05 | State or Province, e.g., Washington
|  | Zip code | A1C 5X1 |  | 2.06 | Zip code, e.g., 98115
|  | Country | Canada |  | 2.07 | Name of the country, e.g., U.S.A.
|  | Phone | 709-697-1268 |  | 2.08 | Phone number of the principal investigator (xxx xxx xxx).
|  | Email | stephen.snook@dfo-mpo.gc.ca |  | 2.09 | Email address of the principal investigator.
|  | Researcher ID |  |  | 2.1 | Identification number of the researcher
|  | ID type (ORCID, Researcher ID, etc.) |  |  | 2.11 | Type of the researcher identification
|  | Role | Physical Scientist |  | 2.12 | The role of the investigator
3 | Author list for citation purposes |  | Belanger, David, Cyr, Frederic, Fudge, Alexandria, Maillet, Gary, Snook, Stephen |  | 3 | Author list in the format of Lastname1, Firstname1 Middlename1; Lastname2, Firstname2 Middlename2; ...
4 | Dataset identifiers | EXPOCODE* | 18NE20220701 |  | 4.1 | Expedition code consists of the four digit ICES Platform code, and the date of the first day of the cruise in the format of YYYYMMDD.
|  | Cruise ID* | 12558 |  | 4.2 | Cruise identification
|  | Digital object identifier (if available)* |  |  | 4.3 | It is recommended to get a DOI only after the data is published in a long-term archive. However, if your dataset has a DOI already that you want to honor, please list them here.
5 | Dataset title |  | Dissolved inorganic carbon, total alkalinity, pH, temperature, salinity, dissolved oxygen, macronutrients, particulate organic carbon and nitrogen, collected from vertical profiles and discrete samples observations using CTD-Niskin rosette system from CCGS Alfred Needler during summer 2022 oceanographic survey from July 1 to July 2, 2022. |  | 5 | A brief descriptive sentence that summarizes the content of a data set. . Here is one example: "Dissolved inorganic carbon, total alkalinity, pH, temperature, salinity and other variables collected from profile and discrete sample observations using CTD, Niskin bottle, and other instruments from R/V Wecoma in the U.S. West Coast California Current System during the 2011 West Coast Ocean Acidification Cruise (WCOA2011) from 2011-08-12 to 2011-08-30"
6 | Dataset description |  | This dataset includes discrete sample and profile data collected during the RV Atlantis Fisheries and Oceans Canada (DFO) Atlantic Zone Monitoring Program (AZMP) cruise (EXPOCODE 18NE20220701) in the North Atlantic Ocean and Labrador Sea from 2022-07-01 to 2022-07-02. These data include water temperature, salinity, dissolved oxygen, nutrients, dissolved inorganic carbon (DIC), total alkalinity (TA), pH, and other parameters. Oceanographic sampling of physical, biological, and chemical parameters is performed annually along selected fixed sections as part of the AZMP. The sampling consists at a minimum of a vertical profile of the entire water column (temperature; salinity; dissolved oxygen); rosette bottle casts at selected depths (nutrients; DIC and TA; and other biological parameters) as well as plankton net tows. The AZMP was implemented in 1998 with the aim of increasing DFO's capacity to understand, describe, and forecast the state of the marine ecosystem and to quantify the changes in the ocean physical, chemical, and biological properties. Ocean acidification is an emerging priority for DFO under the Aquatic Climate Change Adaption Services Program (ACCASP) and is developing the knowledge-base necessary to support the development of adaptation tools and strategies and investing in science to better understand the specific consequences of a changing climate. Specifically, the effects of ocean acidification on ecosystems in the Northwest Atlantic and large aquatic basin risk assessments consider ocean acidification at the basin and sub-basin scale are being investigated. |  | 6 | The abstract of a dataset is a brief summary that provides an overview of the dataset's content, purpose, and scope. It is used to provide context and background information to users who are interested in using the dataset. An abstract may include information such as the dataset's source, how the data was collected or generated, the variables or attributes included in the dataset, and any limitations or restrictions on the use of the data. It may also include information on how the data can be accessed or used.
7 | Types of study* |  | CTD Profile |  | 7 | There are several types of study designs that can be used to collect and measure oceanographic variables, or investigate the physiological responses of marine organisms to ocean acidification. Examples: surface underway, CTD profile, timeseries, laboratory experiment, mesocosm, field experiment, natural analogues, etc.
8 | Treatment type (special use only) |  |  |  | 8 | This element is only applicable if the above element is one of the physiological response studies. This element is designed to indicate whether a physiological response dataset is out of an ocean acidification (OA) or ocean alkalinity enhancement (OAE) study.
9 | Model name (special use only)* |  |  |  | 9 | [For model output dataset only] Name of the regional or global model, e.g., GFDL-ESM4.1.
10 | Temporal coverage | Start date (YYYY-MM-DD) | 2022-07-01 |  | 10.1 | Start date of the first measurement in the format of YYYY-MM-DD (e.g., 2001-02-25).
|  | End date (YYYY-MM-DD) | 2022-07-02 |  | 10.2 | End date of the last measurement in the format of YYYY-MM-DD (e.g., 2002-05-16).
11 | Bounding box information | Westernmost longitude | -52.933 |  | 11.1 | Westernmost longitude of the sampling (decimal degrees, negative for Western Hemisphere longitude).
|  | Easternmost longitude | -43 |  | 11.2 | Easternmost longitude of the sampling (decimal degrees, negative for Western Hemisphere longitude)
|  | Northernmost latitude | 55.067 |  | 11.3 | Northernmost latitude of the sampling (decimal degrees, negative for Southern Hemisphere latitude)
|  | Southernmost latitude | 42.082 |  | 11.4 | Southernmost latitude of the sampling (decimal degrees, negative for Southern Hemisphere latitude)
12 | Sea names* |  | Northwest Atlantic Ocean and Labrador Sea |  | 12 | Names of the seas where the data collection takes place, e.g., Gulf of Mexico, Baltic Sea, etc.
13 | Location where biological subject was collected (special use only)* |  |  |  | 13 | Location where the organisms were collected, e.g., Puget Sound.
14 | Location where the experiment was carried out (special use only)* |  |  |  | 14 | Descriptive words about where the experiment was carried out, e.g., Puget Sound.
16 | Platform info* | Platform type | Research Oceangraphic Vessel |  | 16.1 | Controlled vocabularies for the types of the platform (e.g., research vessel, Saildrone, glider, argo, research vessel, fish vessel, oil tanker, mooring, etc)
|  | Platform name | CCGS Alfred Needler |  |  | Name of the observing platform, e.g., RV Ronald Brown, Saildrone#0132, Mooring_First_Landing, etc.
|  | Platform ID | 18NE |  | 16.2 | ICES platform code (e.g., 33RO, optional).
|  | Platform owner | Government of Canada- Fisheries and Oceans Canada |  | 16.3 | Institution that owns the platform.
|  | Platform country | Canada |  | 16.4 | Country to which the platform belongs.
17 | Research project* |  | Atlantic Zone Monitoring Program (AZMP) |  | 17 | Project, which the data collection is part of. For example, West Coast Ocean Acidification (WCOA) Project.
18 | Funding info* | Name of the funder | Government of Canada- Fisheries and Oceans Canada |  | 18.1 | Funding agency name that supported the data collection, e.g., NOAA Ocean Acidification Program. Use controlled vocabulary
|  | Funder country | Canada
|  | Project title | Aquatic Climate Change and Adaptation Services Program (ACCASP) |  | 18.2 | Title of the grant or project
|  | Project identification | Ocean Acidification |  | 18.3 | Identification of the grant or project
|  | Project start date | 2014 |  | 18.4 | Start date of the research project
|  | Project end date | Ongoing |  | 18.5 | End date of the research project
19 | Supplemental information |  |  |  | 19 | Additional information that cannot be accommodated in other metadata fields pertaining to this dataset.
20 | Publications describing this dataset* |  | https://essd.copernicus.org/articles/15/4127/2023/essd-15-4127-2023.pdf |  | 20 | References of peer-reviewed publications that describe this dataset. It is recommended to use https://www.citationmachine.net/ to generate such references.
21 | Other datasets collected from this expedition* |  | https://catalogue.cioosatlantic.ca/en/dataset/ca-cioos_e4ac21ff-414c-40e0-a943-21f664c92e7e |  | 21 | Other datasets that are collected from the same expedition, including all biological, chemical, and physical measurements.
22 | Observed properties* (a generic section that can be repeated as many times as needed. Note: 1. This section is for observed properties, e.g., temperature, dissolved oxygen, nitrate, etc. only. Information such as longitude, latitude, depth, QC flags, etc., are important information for the data files, but should not be listed in this section. 2. Carbon system parameters, e.g., DIC, TA, pH, fCO2, have their own dedicated sections. 3. There are two sections for fCO2, one for autonomous fCO2 measurements and the other for discrete bottle based fCO2 measurements) | Variable abbreviation in data files | CTDTEMP_ITS90 |  | 22.01 | Column header name of the variable in the data files, e.g., T, DO, etc.
|  | Full variable name | Temperature |  | 22.02 | Long name of the measured variable, e.g., Temperature, Dissolved Oxygen, etc
|  | Variable unit | °C |  | 22.03 | Units of the variable, e.g., oC, μmol/kg.
|  | Observation type | Profile |  | 22.04 | How the variable was observed, e.g., surface underway, profile, time series, model output, etc. For experimental data, this could be: laboratory experiment, pelagic mesocosm, benthic mesocosm, natural perturbation site studies, natural analogues, etc.
|  | Discrete or continuous | Discrete |  | 22.05 | Whether the reported results are based on discrete-bottled measurements or continuous sensor measurements
|  | In-situ or manipulated | In-situ |  | 22.06 | Whether the variable reported is from an in-situ observation, or from a manipulated experiment.
|  | Manipulation method (special use only) | not applicable |  | 22.07 | How the seawater chemsitry is manipulated (e.g., bubbling CO2, solid alkalinization, etc.)
|  | Measured or calculated | Measured |  | 22.08 | Whether the variable is measured in-situ, or calculated from other variables.
|  | Calculation method and parameters (special use only) | not applicable |  | 22.09 | Information about how the variable was calculated, e.g., using a Matlab version of the CO2SYS with the dissociation constants of Lueker et al., 2000 for carbonic acid, etc.
|  | Sampling instrument | Temperature sensors interfaced to a SeaBird Scientific 9plus CTD-Rosette system operating at 24 Hz |  | 22.1 | Instrument that is used to collect water samples, or deploy sensors, etc. For example, a Niskin bottle, pump, CTD, etc is a sampling instrument.
|  | Sampling method | Measurement collected during upcast at discrete depth level |  | 22.11 | Additional information describing how the sample was collected.
|  | Analyzing instrument | SeaBird SBE 3plus dual-temperature sensors |  | 22.12 | Instrument that is used to analyze the water samples collected with the 'sampling instrument', or the sensors that are mounted on the 'sampling instrument' to measure the water body continuously. For example, a coulometer, winkler titrator, spectrophotometer, pH meter, thermosalinograph, oxygen sensor, YSI Multiparameter Meter, etc is an analyzing instrument. We encourage you to document as much details (such as the make, model, resolution, precisions, etc) of the instrument as you can here.
|  | Analyzing method | Analyzing method |  | 22.13 | Additional information describing how the sample was analyzed.
|  | Calibration info | Periodic calibration at Sea-Bird Scientific facility in Bellevue, WA, USA |  | 22.14 | Information about how the sensor was calibrated.
|  | Field replicate information | Primary and secondary temperature sensors installed on CTD-rosette |  | 22.15 | Repetition of sample collection and measurement, e.g., triplicate samples.
|  | QC steps taken | Primary T value is compared to secondary T sensor to ensure comparability in measurements |  | 22.16 | Describe what QC steps have been taken to improve the quality of the data
|  | Uncertainty | accuracy rated to ± 0.001 °C |  | 22.17 | Uncertainty of the results (e.g., 1%, 2 μmol/kg), or a description of the uncertainties involved in this method.
|  | Weather or climate quality | climate quality data |  | 22.18
|  | QC flag scheme | 0 = Interpolated or calculated data 1 = Not evaluated/quality unknown 2 = Acceptable 3 = Questionable 4 = Known bad 6 = Mean of replicates 9 = Missing value |  | 22.19 | Describe what the quality control flags stand for, e.g., 2 = good value, 3 = questionable value, 4 = bad value.
|  | Biological subject | not applicable |  | 22.2 | For biological variables, please state the taxonomy (a specific species genus or a community), upon which the variable is studied. For example, if you study the growth rate of a certain type of Salmon. The "variable/parameter" is growth rate, and "Biological subject" is that specific type of salmon. You could group/capture organismal data in three forms: taxonomic, functional, and phylogenetic.
|  | Species Identification code (if available) | not applicable |  | 22.21 | It is recommended to use the species reference databases from the Integrated Taxonomic Information System (ITIS, http://www.itis.gov/), World Register of Marine Species (WoRMS, http://marinespecies.org/), Catalogue of Life (COL, https://www.catalogueoflife.org/), or Paleobiology Database (PBDB, https://paleobiodb.org/classic/classificationForm).
|  | Taxonomic code system used | not applicable |  | 22.22 | The type of the taxonomic system used, e.g., IT IS, WoRMS, COL, PBDB, etc.
|  | Life stage | not applicable |  | 22.23 | Organisms often go through several distinct stages during their development. This can be any stages like egg, embryo, larva, juvenile, and adult.
|  | Other detailed information | Other detailed information |  | 22.24 | Other details about the sampling and analyzing procedures.
|  | Method reference (citation) | https://www.seabird.com/profiling/sbe-911plus-ctd/family?productCategoryId=54627473769 |  | 22.25 | Citation for the method.
|  | Researcher who measured this variable | Stephen Snook, Fisheries and Oceans Canada, Northwest Atlantic Fisheries Centre |  | 22.26 | The name of the PI, whose research team measured or derived this parameter.
[5 empty] | 22.27 | The institution of the PI, whose research team measured or derived this parameter.
22 | Observed properties* (a generic section that can be repeated as many times as needed. Note: 1. This section is for observed properties, e.g., temperature, dissolved oxygen, nitrate, etc. only. Information such as longitude, latitude, depth, QC flags, etc., are important information for the data files, but should not be listed in this section. 2. Carbon system parameters, e.g., DIC, TA, pH, fCO2, have their own dedicated sections. 3. There are two sections for fCO2, one for autonomous fCO2 measurements and the other for discrete bottle based fCO2 measurements) | Variable abbreviation in data files | CTDSAL_PSS78 |  | 22.01 | Column header name of the variable in the data files, e.g., T, DO, etc.
|  | Full variable name | Salinity |  | 22.02 | Long name of the measured variable, e.g., Temperature, Dissolved Oxygen, etc
|  | Variable unit | psu |  | 22.03 | Units of the variable, e.g., oC, μmol/kg.
|  | Observation type | Profile |  | 22.04 | How the variable was observed, e.g., surface underway, profile, time series, model output, etc. For experimental data, this could be: laboratory experiment, pelagic mesocosm, benthic mesocosm, natural perturbation site studies, natural analogues, etc.
|  | Discrete or continuous | Discrete |  | 22.05 | Whether the reported results are based on discrete-bottled measurements or continuous sensor measurements
|  | In-situ or manipulated | In-situ |  | 22.06 | Whether the variable reported is from an in-situ observation, or from a manipulated experiment.
|  | Manipulation method (special use only) | not applicable |  | 22.07 | How the seawater chemsitry is manipulated (e.g., bubbling CO2, solid alkalinization, etc.)
|  | Measured or calculated | Measured |  | 22.08 | Whether the variable is measured in-situ, or calculated from other variables.
|  | Calculation method and parameters (special use only) | not applicable |  | 22.09 | Information about how the variable was calculated, e.g., using a Matlab version of the CO2SYS with the dissociation constants of Lueker et al., 2000 for carbonic acid, etc.
|  | Sampling instrument | Dual conductivity sensors interfaced to a SeaBird Scientific 9plus CTD-Rosette system operating at 24 Hz |  | 22.1 | Instrument that is used to collect water samples, or deploy sensors, etc. For example, a Niskin bottle, pump, CTD, etc is a sampling instrument.
|  | Sampling method | Measurement collected during upcast at discrete depth level |  | 22.11 | Additional information describing how the sample was collected.
|  | Analyzing instrument | SeaBird SBE 4C dual-conductivity sensors |  | 22.12 | Instrument that is used to analyze the water samples collected with the 'sampling instrument', or the sensors that are mounted on the 'sampling instrument' to measure the water body continuously. For example, a coulometer, winkler titrator, spectrophotometer, pH meter, thermosalinograph, oxygen sensor, YSI Multiparameter Meter, etc is an analyzing instrument. We encourage you to document as much details (such as the make, model, resolution, precisions, etc) of the instrument as you can here.
|  | Analyzing method | Analyzing method |  | 22.13 | Additional information describing how the sample was analyzed.
|  | Calibration info | Periodic calibration at Sea-Bird Scientific facility in Bellevue, WA, USA |  | 22.14 | Information about how the sensor was calibrated.
|  | Field replicate information | Primary and secondary conductivity sensors installed on CTD-rosette |  | 22.15 | Repetition of sample collection and measurement, e.g., triplicate samples.
|  | QC steps taken | standard deviation calculated from dual conductivity sensors |  | 22.16 | Describe what QC steps have been taken to improve the quality of the data
|  | Uncertainty | Intial accuracy = 0.0003 S/m (Siemens per metre) |  | 22.17 | Uncertainty of the results (e.g., 1%, 2 μmol/kg), or a description of the uncertainties involved in this method.
|  | Weather or climate quality | climate quality data |  | 22.18
|  | QC flag scheme | 0 = Interpolated or calculated data 1 = Not evaluated/quality unknown 2 = Acceptable 3 = Questionable 4 = Known bad 6 = Mean of replicates 9 = Missing value |  | 22.19 | Describe what the quality control flags stand for, e.g., 2 = good value, 3 = questionable value, 4 = bad value.
|  | Biological subject | not applicable |  | 22.2 | For biological variables, please state the taxonomy (a specific species genus or a community), upon which the variable is studied. For example, if you study the growth rate of a certain type of Salmon. The "variable/parameter" is growth rate, and "Biological subject" is that specific type of salmon. You could group/capture organismal data in three forms: taxonomic, functional, and phylogenetic.
|  | Species Identification code (if available) | not applicable |  | 22.21 | It is recommended to use the species reference databases from the Integrated Taxonomic Information System (ITIS, http://www.itis.gov/), World Register of Marine Species (WoRMS, http://marinespecies.org/), Catalogue of Life (COL, https://www.catalogueoflife.org/), or Paleobiology Database (PBDB, https://paleobiodb.org/classic/classificationForm).
|  | Taxonomic code system used | not applicable |  | 22.22 | The type of the taxonomic system used, e.g., IT IS, WoRMS, COL, PBDB, etc.
|  | Life stage | not applicable |  | 22.23 | Organisms often go through several distinct stages during their development. This can be any stages like egg, embryo, larva, juvenile, and adult.
|  | Other detailed information | Other detailed information |  | 22.24 | Other details about the sampling and analyzing procedures.
|  | Method reference (citation) | https://www.seabird.com/sbe-4-conductivity-sensor/product?id=60762467707 |  | 22.25 | Citation for the method.
|  | Researcher who measured this variable | Stephen Snook, Fisheries and Oceans Canada, Northwest Atlantic Fisheries Centre |  | 22.26 | The name of the PI, whose research team measured or derived this parameter.
[5 empty] | 22.27 | The institution of the PI, whose research team measured or derived this parameter.
22 | Observed properties* (a generic section that can be repeated as many times as needed. Note: 1. This section is for observed properties, e.g., temperature, dissolved oxygen, nitrate, etc. only. Information such as longitude, latitude, depth, QC flags, etc., are important information for the data files, but should not be listed in this section. 2. Carbon system parameters, e.g., DIC, TA, pH, fCO2, have their own dedicated sections. 3. There are two sections for fCO2, one for autonomous fCO2 measurements and the other for discrete bottle based fCO2 measurements) | Variable abbreviation in data files | CTDPRES |  | 22.01 | Column header name of the variable in the data files, e.g., T, DO, etc.
|  | Full variable name | Pressure |  | 22.02 | Long name of the measured variable, e.g., Temperature, Dissolved Oxygen, etc
|  | Variable unit | dbar |  | 22.03 | Units of the variable, e.g., oC, μmol/kg.
|  | Observation type | Profile |  | 22.04 | How the variable was observed, e.g., surface underway, profile, time series, model output, etc. For experimental data, this could be: laboratory experiment, pelagic mesocosm, benthic mesocosm, natural perturbation site studies, natural analogues, etc.
|  | Discrete or continuous | Discrete |  | 22.05 | Whether the reported results are based on discrete-bottled measurements or continuous sensor measurements
|  | In-situ or manipulated | In-situ |  | 22.06 | Whether the variable reported is from an in-situ observation, or from a manipulated experiment.
|  | Manipulation method (special use only) | not applicable |  | 22.07 | How the seawater chemsitry is manipulated (e.g., bubbling CO2, solid alkalinization, etc.)
|  | Measured or calculated | Measured |  | 22.08 | Whether the variable is measured in-situ, or calculated from other variables.
|  | Calculation method and parameters (special use only) | not applicable |  | 22.09 | Information about how the variable was calculated, e.g., using a Matlab version of the CO2SYS with the dissociation constants of Lueker et al., 2000 for carbonic acid, etc.
|  | Sampling instrument | 10,000 psia Digiquartz pressure sensor interfaced to a SeaBird Scientific 9plus CTD-Rosette system operating at 24 Hz |  | 22.1 | Instrument that is used to collect water samples, or deploy sensors, etc. For example, a Niskin bottle, pump, CTD, etc is a sampling instrument.
|  | Sampling method | Measurement collected during upcast at discrete depth level |  | 22.11 | Additional information describing how the sample was collected.
|  | Analyzing instrument | 10,000 psia Digiquartz Pressure Sensor |  | 22.12 | Instrument that is used to analyze the water samples collected with the 'sampling instrument', or the sensors that are mounted on the 'sampling instrument' to measure the water body continuously. For example, a coulometer, winkler titrator, spectrophotometer, pH meter, thermosalinograph, oxygen sensor, YSI Multiparameter Meter, etc is an analyzing instrument. We encourage you to document as much details (such as the make, model, resolution, precisions, etc) of the instrument as you can here.
|  | Analyzing method | Analyzing method |  | 22.13 | Additional information describing how the sample was analyzed.
|  | Calibration info | Periodic calibration at Sea-Bird Scientific facility in Bellevue, WA, USA |  | 22.14 | Information about how the sensor was calibrated.
|  | Field replicate information | Only primary pressure sensor installed on CTD-rosette |  | 22.15 | Repetition of sample collection and measurement, e.g., triplicate samples.
|  | QC steps taken | standard deviation calculated from pressure sensor at discrete depths |  | 22.16 | Describe what QC steps have been taken to improve the quality of the data
|  | Uncertainty | initial accuracy = 0.015% of full scale range |  | 22.17 | Uncertainty of the results (e.g., 1%, 2 μmol/kg), or a description of the uncertainties involved in this method.
|  | Weather or climate quality | climate quality data |  | 22.18
|  | QC flag scheme |  |  | 22.19 | Describe what the quality control flags stand for, e.g., 2 = good value, 3 = questionable value, 4 = bad value.
|  | Biological subject | not applicable |  | 22.2 | For biological variables, please state the taxonomy (a specific species genus or a community), upon which the variable is studied. For example, if you study the growth rate of a certain type of Salmon. The "variable/parameter" is growth rate, and "Biological subject" is that specific type of salmon. You could group/capture organismal data in three forms: taxonomic, functional, and phylogenetic.
|  | Species Identification code (if available) | not applicable |  | 22.21 | It is recommended to use the species reference databases from the Integrated Taxonomic Information System (ITIS, http://www.itis.gov/), World Register of Marine Species (WoRMS, http://marinespecies.org/), Catalogue of Life (COL, https://www.catalogueoflife.org/), or Paleobiology Database (PBDB, https://paleobiodb.org/classic/classificationForm).
|  | Taxonomic code system used | not applicable |  | 22.22 | The type of the taxonomic system used, e.g., IT IS, WoRMS, COL, PBDB, etc.
|  | Life stage | not applicable |  | 22.23 | Organisms often go through several distinct stages during their development. This can be any stages like egg, embryo, larva, juvenile, and adult.
|  | Other detailed information | Other detailed information |  | 22.24 | Other details about the sampling and analyzing procedures.
|  | Method reference (citation) | https://www.seabird.com/sbe-911plus-ctd/product?id=60761421595 |  | 22.25 | Citation for the method.
|  | Researcher who measured this variable | Stephen Snook, Fisheries and Oceans Canada, Northwest Atlantic Fisheries Centre |  | 22.26 | The name of the PI, whose research team measured or derived this parameter.
[5 empty] | 22.27 | The institution of the PI, whose research team measured or derived this parameter.
22 | Observed properties* (a generic section that can be repeated as many times as needed. Note: 1. This section is for observed properties, e.g., temperature, dissolved oxygen, nitrate, etc. only. Information such as longitude, latitude, depth, QC flags, etc., are important information for the data files, but should not be listed in this section. 2. Carbon system parameters, e.g., DIC, TA, pH, fCO2, have their own dedicated sections. 3. There are two sections for fCO2, one for autonomous fCO2 measurements and the other for discrete bottle based fCO2 measurements) | Variable abbreviation in data files | CTDOXY |  | 22.01 | Column header name of the variable in the data files, e.g., T, DO, etc.
|  | Full variable name | Dissolved Oxygen |  | 22.02 | Long name of the measured variable, e.g., Temperature, Dissolved Oxygen, etc
|  | Variable unit | μmol/kg |  | 22.03 | Units of the variable, e.g., oC, μmol/kg.
|  | Observation type | Profile |  | 22.04 | How the variable was observed, e.g., surface underway, profile, time series, model output, etc. For experimental data, this could be: laboratory experiment, pelagic mesocosm, benthic mesocosm, natural perturbation site studies, natural analogues, etc.
|  | Discrete or continuous | Discrete |  | 22.05 | Whether the reported results are based on discrete-bottled measurements or continuous sensor measurements
|  | In-situ or manipulated | In-situ |  | 22.06 | Whether the variable reported is from an in-situ observation, or from a manipulated experiment.
|  | Manipulation method (special use only) | not applicable |  | 22.07 | How the seawater chemsitry is manipulated (e.g., bubbling CO2, solid alkalinization, etc.)
|  | Measured or calculated | Measured |  | 22.08 | Whether the variable is measured in-situ, or calculated from other variables.
|  | Calculation method and parameters (special use only) | not applicable |  | 22.09 | Information about how the variable was calculated, e.g., using a Matlab version of the CO2SYS with the dissociation constants of Lueker et al., 2000 for carbonic acid, etc.
|  | Sampling instrument | Dual SBE 43 dissolved oxygen sensors interfaced to a SeaBird Scientific 9plus CTD-Rosette system operating at 24 Hz |  | 22.1 | Instrument that is used to collect water samples, or deploy sensors, etc. For example, a Niskin bottle, pump, CTD, etc is a sampling instrument.
|  | Sampling method | Measurement collected during upcast at discrete depth level |  | 22.11 | Additional information describing how the sample was collected.
|  | Analyzing instrument | SeaBird SBE 43 dual-DO sensors |  | 22.12 | Instrument that is used to analyze the water samples collected with the 'sampling instrument', or the sensors that are mounted on the 'sampling instrument' to measure the water body continuously. For example, a coulometer, winkler titrator, spectrophotometer, pH meter, thermosalinograph, oxygen sensor, YSI Multiparameter Meter, etc is an analyzing instrument. We encourage you to document as much details (such as the make, model, resolution, precisions, etc) of the instrument as you can here.
|  | Analyzing method | Analyzing method |  | 22.13 | Additional information describing how the sample was analyzed.
|  | Calibration info | Periodic calibration at Sea-Bird Scientific facility in Bellevue, WA, USA |  | 22.14 | Information about how the sensor was calibrated.
|  | Field replicate information | Primary and secondary DO sensors installed on CTD-rosette |  | 22.15 | Repetition of sample collection and measurement, e.g., triplicate samples.
|  | QC steps taken | standard deviation calculated from dual dissolved oxygen sensors |  | 22.16 | Describe what QC steps have been taken to improve the quality of the data
|  | Uncertainty | standard deviation calculated from dual SBE 43 DO sensors and Winkler titrations; intial accuracy of ± 2 % of saturation & typical stability of 0.5 % |  | 22.17 | Uncertainty of the results (e.g., 1%, 2 μmol/kg), or a description of the uncertainties involved in this method.
|  | Weather or climate quality | climate quality data |  | 22.18
|  | QC flag scheme | 0 = Interpolated or calculated data 1 = Not evaluated/quality unknown 2 = Acceptable 3 = Questionable 4 = Known bad 6 = Mean of replicates 9 = Missing value |  | 22.19 | Describe what the quality control flags stand for, e.g., 2 = good value, 3 = questionable value, 4 = bad value.
|  | Biological subject | not applicable |  | 22.2 | For biological variables, please state the taxonomy (a specific species genus or a community), upon which the variable is studied. For example, if you study the growth rate of a certain type of Salmon. The "variable/parameter" is growth rate, and "Biological subject" is that specific type of salmon. You could group/capture organismal data in three forms: taxonomic, functional, and phylogenetic.
|  | Species Identification code (if available) | not applicable |  | 22.21 | It is recommended to use the species reference databases from the Integrated Taxonomic Information System (ITIS, http://www.itis.gov/), World Register of Marine Species (WoRMS, http://marinespecies.org/), Catalogue of Life (COL, https://www.catalogueoflife.org/), or Paleobiology Database (PBDB, https://paleobiodb.org/classic/classificationForm).
|  | Taxonomic code system used | not applicable |  | 22.22 | The type of the taxonomic system used, e.g., IT IS, WoRMS, COL, PBDB, etc.
|  | Life stage | not applicable |  | 22.23 | Organisms often go through several distinct stages during their development. This can be any stages like egg, embryo, larva, juvenile, and adult.
|  | Other detailed information | https://publications.gc.ca/collections/collection_2007/dfo-mpo/Fs97-18-223-2002E.pdf |  | 22.24 | Other details about the sampling and analyzing procedures.
|  | Method reference (citation) | https://www.seabird.com/sbe-43-dissolved-oxygen-sensor/product?id=60762467728 |  | 22.25 | Citation for the method.
|  | Researcher who measured this variable | Stephen Snook, Fisheries and Oceans Canada, Northwest Atlantic Fisheries Centre |  | 22.26 | The name of the PI, whose research team measured or derived this parameter.
[5 empty] | 22.27 | The institution of the PI, whose research team measured or derived this parameter.
22 | Observed properties* (a generic section that can be repeated as many times as needed. Note: 1. This section is for observed properties, e.g., temperature, dissolved oxygen, nitrate, etc. only. Information such as longitude, latitude, depth, QC flags, etc., are important information for the data files, but should not be listed in this section. 2. Carbon system parameters, e.g., DIC, TA, pH, fCO2, have their own dedicated sections. 3. There are two sections for fCO2, one for autonomous fCO2 measurements and the other for discrete bottle based fCO2 measurements) | Variable abbreviation in data files | CTD_pH_NBS |  | 22.01 | Column header name of the variable in the data files, e.g., T, DO, etc.
|  | Full variable name | pH |  | 22.02 | Long name of the measured variable, e.g., Temperature, Dissolved Oxygen, etc
|  | Variable unit | NBS Scale |  | 22.03 | Units of the variable, e.g., oC, μmol/kg.
|  | Observation type | Profile |  | 22.04 | How the variable was observed, e.g., surface underway, profile, time series, model output, etc. For experimental data, this could be: laboratory experiment, pelagic mesocosm, benthic mesocosm, natural perturbation site studies, natural analogues, etc.
|  | Discrete or continuous | Discrete |  | 22.05 | Whether the reported results are based on discrete-bottled measurements or continuous sensor measurements
|  | In-situ or manipulated | In-situ |  | 22.06 | Whether the variable reported is from an in-situ observation, or from a manipulated experiment.
|  | Manipulation method (special use only) | not applicable |  | 22.07 | How the seawater chemsitry is manipulated (e.g., bubbling CO2, solid alkalinization, etc.)
|  | Measured or calculated | Measured |  | 22.08 | Whether the variable is measured in-situ, or calculated from other variables.
|  | Calculation method and parameters (special use only) | not applicable |  | 22.09 | Information about how the variable was calculated, e.g., using a Matlab version of the CO2SYS with the dissociation constants of Lueker et al., 2000 for carbonic acid, etc.
|  | Sampling instrument | SBE 18 pH sensor interfaced to a SeaBird Scientific 9plus CTD-Rosette system operating at 24 Hz |  | 22.1 | Instrument that is used to collect water samples, or deploy sensors, etc. For example, a Niskin bottle, pump, CTD, etc is a sampling instrument.
|  | Sampling method | Measurement collected during upcast at discrete depth level |  | 22.11 | Additional information describing how the sample was collected.
|  | Analyzing instrument | SeaBird SBE-18 pH sensor |  | 22.12 | Instrument that is used to analyze the water samples collected with the 'sampling instrument', or the sensors that are mounted on the 'sampling instrument' to measure the water body continuously. For example, a coulometer, winkler titrator, spectrophotometer, pH meter, thermosalinograph, oxygen sensor, YSI Multiparameter Meter, etc is an analyzing instrument. We encourage you to document as much details (such as the make, model, resolution, precisions, etc) of the instrument as you can here.
|  | Analyzing method | Analyzing method |  | 22.13 | Additional information describing how the sample was analyzed.
|  | Calibration info | pH sensor calibrated annually following Seabird recommended methods - (https://www.seabird.com/ph-sensors/sbe-18-ph-sensor/family-downloads?productCategoryId=54627869929) |  | 22.14 | Information about how the sensor was calibrated.
|  | Field replicate information | Only primary pH sensor installed on CTD-rosette and removed when profiling > 1200m. |  | 22.15 | Repetition of sample collection and measurement, e.g., triplicate samples.
|  | QC steps taken | in-situ pH derived from TA/DIC measurements are compared with CTD-sensor values to detect potential suspect/bad data |  | 22.16 | Describe what QC steps have been taken to improve the quality of the data
|  | Uncertainty | initial accuracy = ± 0.1 pH units (NBS scale) |  | 22.17 | Uncertainty of the results (e.g., 1%, 2 μmol/kg), or a description of the uncertainties involved in this method.
|  | Weather or climate quality | climate quality data |  | 22.18
|  | QC flag scheme | 0 = Interpolated or calculated data 1 = Not evaluated/quality unknown 2 = Acceptable 3 = Questionable 4 = Known bad 6 = Mean of replicates 9 = Missing value |  | 22.19 | Describe what the quality control flags stand for, e.g., 2 = good value, 3 = questionable value, 4 = bad value.
|  | Biological subject | not applicable |  | 22.2 | For biological variables, please state the taxonomy (a specific species genus or a community), upon which the variable is studied. For example, if you study the growth rate of a certain type of Salmon. The "variable/parameter" is growth rate, and "Biological subject" is that specific type of salmon. You could group/capture organismal data in three forms: taxonomic, functional, and phylogenetic.
|  | Species Identification code (if available) | not applicable |  | 22.21 | It is recommended to use the species reference databases from the Integrated Taxonomic Information System (ITIS, http://www.itis.gov/), World Register of Marine Species (WoRMS, http://marinespecies.org/), Catalogue of Life (COL, https://www.catalogueoflife.org/), or Paleobiology Database (PBDB, https://paleobiodb.org/classic/classificationForm).
|  | Taxonomic code system used | not applicable |  | 22.22 | The type of the taxonomic system used, e.g., IT IS, WoRMS, COL, PBDB, etc.
|  | Life stage | not applicable |  | 22.23 | Organisms often go through several distinct stages during their development. This can be any stages like egg, embryo, larva, juvenile, and adult.
|  | Other detailed information | Other detailed information |  | 22.24 | Other details about the sampling and analyzing procedures.
|  | Method reference (citation) | https://www.seabird.com/ph-sensors/sbe-18-ph-sensor/family?productCategoryId=54627869929 |  | 22.25 | Citation for the method.
|  | Researcher who measured this variable | Stephen Snook, Fisheries and Oceans Canada, Northwest Atlantic Fisheries Centre |  | 22.26 | The name of the PI, whose research team measured or derived this parameter.
[5 empty] | 22.27 | The institution of the PI, whose research team measured or derived this parameter.
22 | Observed properties* (a generic section that can be repeated as many times as needed. Note: 1. This section is for observed properties, e.g., temperature, dissolved oxygen, nitrate, etc. only. Information such as longitude, latitude, depth, QC flags, etc., are important information for the data files, but should not be listed in this section. 2. Carbon system parameters, e.g., DIC, TA, pH, fCO2, have their own dedicated sections. 3. There are two sections for fCO2, one for autonomous fCO2 measurements and the other for discrete bottle based fCO2 measurements) | Variable abbreviation in data files | SILICATE |  | 22.01 | Column header name of the variable in the data files, e.g., T, DO, etc.
|  | Full variable name | Silicate |  | 22.02 | Long name of the measured variable, e.g., Temperature, Dissolved Oxygen, etc
|  | Variable unit | μmol/kg |  | 22.03 | Units of the variable, e.g., oC, μmol/kg.
|  | Observation type | Profile |  | 22.04 | How the variable was observed, e.g., surface underway, profile, time series, model output, etc. For experimental data, this could be: laboratory experiment, pelagic mesocosm, benthic mesocosm, natural perturbation site studies, natural analogues, etc.
|  | Discrete or continuous | Discrete |  | 22.05 | Whether the reported results are based on discrete-bottled measurements or continuous sensor measurements
|  | In-situ or manipulated | In-situ |  | 22.06 | Whether the variable reported is from an in-situ observation, or from a manipulated experiment.
|  | Manipulation method (special use only) | not applicable |  | 22.07 | How the seawater chemsitry is manipulated (e.g., bubbling CO2, solid alkalinization, etc.)
|  | Measured or calculated | Measured |  | 22.08 | Whether the variable is measured in-situ, or calculated from other variables.
|  | Calculation method and parameters (special use only) | not applicable |  | 22.09 | Information about how the variable was calculated, e.g., using a Matlab version of the CO2SYS with the dissociation constants of Lueker et al., 2000 for carbonic acid, etc.
|  | Sampling instrument | Ocean Test Equipment 5L Niskin Bottle |  | 22.1 | Instrument that is used to collect water samples, or deploy sensors, etc. For example, a Niskin bottle, pump, CTD, etc is a sampling instrument.
|  | Sampling method | Seawater sample drawn from Niskin using Tygon tubing to 4L polycarbonate bottle or directly to 50mL polyethylene vials |  | 22.11 | Additional information describing how the sample was collected.
|  | Analyzing instrument | Seal Analytical AAIII Autoanalyzer using Seal Analytical method No. G-177-96 Rev. 12 (Multitest MT 19). |  | 22.12 | Instrument that is used to analyze the water samples collected with the 'sampling instrument', or the sensors that are mounted on the 'sampling instrument' to measure the water body continuously. For example, a coulometer, winkler titrator, spectrophotometer, pH meter, thermosalinograph, oxygen sensor, YSI Multiparameter Meter, etc is an analyzing instrument. We encourage you to document as much details (such as the make, model, resolution, precisions, etc) of the instrument as you can here.
|  | Analyzing method | Allowed to thaw to room temperature and analyzed within 6 hours |  | 22.13 | Additional information describing how the sample was analyzed.
|  | Calibration info | Use of internal reference standards combined with certified reference material |  | 22.14 | Information about how the sensor was calibrated.
|  | Field replicate information | duplicate seawater samples collected |  | 22.15 | Repetition of sample collection and measurement, e.g., triplicate samples.
|  | QC steps taken | Compare profile measured values and evaluate internal calibration standards to certified reference material (RMNS from Kanso Co., Japan. RMinfo@kanso.co.jp) |  | 22.16 | Describe what QC steps have been taken to improve the quality of the data
|  | Uncertainty | Assessed by computing the coefficient of variation between sample duplicates |  | 22.17 | Uncertainty of the results (e.g., 1%, 2 μmol/kg), or a description of the uncertainties involved in this method.
|  | Weather or climate quality | climate quality data |  | 22.18
|  | QC flag scheme | 0 = Interpolated or calculated data 1 = Not evaluated/quality unknown 2 = Acceptable 3 = Questionable 4 = Known bad 6 = Mean of replicates 9 = Missing value |  | 22.19 | Describe what the quality control flags stand for, e.g., 2 = good value, 3 = questionable value, 4 = bad value.
|  | Biological subject | not applicable |  | 22.2 | For biological variables, please state the taxonomy (a specific species genus or a community), upon which the variable is studied. For example, if you study the growth rate of a certain type of Salmon. The "variable/parameter" is growth rate, and "Biological subject" is that specific type of salmon. You could group/capture organismal data in three forms: taxonomic, functional, and phylogenetic.
|  | Species Identification code (if available) | not applicable |  | 22.21 | It is recommended to use the species reference databases from the Integrated Taxonomic Information System (ITIS, http://www.itis.gov/), World Register of Marine Species (WoRMS, http://marinespecies.org/), Catalogue of Life (COL, https://www.catalogueoflife.org/), or Paleobiology Database (PBDB, https://paleobiodb.org/classic/classificationForm).
|  | Taxonomic code system used | not applicable |  | 22.22 | The type of the taxonomic system used, e.g., IT IS, WoRMS, COL, PBDB, etc.
|  | Life stage | not applicable |  | 22.23 | Organisms often go through several distinct stages during their development. This can be any stages like egg, embryo, larva, juvenile, and adult.
|  | Other detailed information | Seawater samples were collected at standard depths and stored in 50 mL Falcon tubes and frozen at -20 degrees Celsius within 30 minutes of collection. Seawater samples were maintained frozen and allowed to thaw to room temperature and analyzed within 6 hours. |  | 22.24 | Other details about the sampling and analyzing procedures.
|  | Method reference (citation) | https://www.seal-analytical.com/Methods/AutoAnalyzerMethods/AutoAnalyzerMulti-testMethods/tabid/80/language/en-US/Default.aspx |  | 22.25 | Citation for the method.
|  | Researcher who measured this variable | Gary L. Maillet, Fisheries and Oceans Canada, Northwest Atlantic Fisheries Centre |  | 22.26 | The name of the PI, whose research team measured or derived this parameter.
[5 empty] | 22.27 | The institution of the PI, whose research team measured or derived this parameter.
22 | Observed properties* (a generic section that can be repeated as many times as needed. Note: 1. This section is for observed properties, e.g., temperature, dissolved oxygen, nitrate, etc. only. Information such as longitude, latitude, depth, QC flags, etc., are important information for the data files, but should not be listed in this section. 2. Carbon system parameters, e.g., DIC, TA, pH, fCO2, have their own dedicated sections. 3. There are two sections for fCO2, one for autonomous fCO2 measurements and the other for discrete bottle based fCO2 measurements) | Variable abbreviation in data files | NITRATE_and_NITRITE |  | 22.01 | Column header name of the variable in the data files, e.g., T, DO, etc.
|  | Full variable name | Nitrate-Nitrite |  | 22.02 | Long name of the measured variable, e.g., Temperature, Dissolved Oxygen, etc
|  | Variable unit | μmol/kg |  | 22.03 | Units of the variable, e.g., oC, μmol/kg.
|  | Observation type | Profile |  | 22.04 | How the variable was observed, e.g., surface underway, profile, time series, model output, etc. For experimental data, this could be: laboratory experiment, pelagic mesocosm, benthic mesocosm, natural perturbation site studies, natural analogues, etc.
|  | Discrete or continuous | Discrete |  | 22.05 | Whether the reported results are based on discrete-bottled measurements or continuous sensor measurements
|  | In-situ or manipulated | In-situ |  | 22.06 | Whether the variable reported is from an in-situ observation, or from a manipulated experiment.
|  | Manipulation method (special use only) | not applicable |  | 22.07 | How the seawater chemsitry is manipulated (e.g., bubbling CO2, solid alkalinization, etc.)
|  | Measured or calculated | Measured |  | 22.08 | Whether the variable is measured in-situ, or calculated from other variables.
|  | Calculation method and parameters (special use only) | not applicable |  | 22.09 | Information about how the variable was calculated, e.g., using a Matlab version of the CO2SYS with the dissociation constants of Lueker et al., 2000 for carbonic acid, etc.
|  | Sampling instrument | Ocean Test Equipment 5L Niskin Bottle |  | 22.1 | Instrument that is used to collect water samples, or deploy sensors, etc. For example, a Niskin bottle, pump, CTD, etc is a sampling instrument.
|  | Sampling method | Seawater sample drawn from Niskin using Tygon tubing to 4L polycarbonate bottle or directly to 50mL polyethylene vials |  | 22.11 | Additional information describing how the sample was collected.
|  | Analyzing instrument | Seal Analytical AAIII Autoanalyzer using Seal Analytical method No. G-172-96 Rev. 18 (Multitest MT 19). |  | 22.12 | Instrument that is used to analyze the water samples collected with the 'sampling instrument', or the sensors that are mounted on the 'sampling instrument' to measure the water body continuously. For example, a coulometer, winkler titrator, spectrophotometer, pH meter, thermosalinograph, oxygen sensor, YSI Multiparameter Meter, etc is an analyzing instrument. We encourage you to document as much details (such as the make, model, resolution, precisions, etc) of the instrument as you can here.
|  | Analyzing method | sample allowed to thaw to room temperature and analyzed within 6 hours |  | 22.13 | Additional information describing how the sample was analyzed.
|  | Calibration info | Use of internal reference standards combined with certified reference material |  | 22.14 | Information about how the sensor was calibrated.
|  | Field replicate information | duplicate seawater samples collected |  | 22.15 | Repetition of sample collection and measurement, e.g., triplicate samples.
|  | QC steps taken | Compare profile measured values and evaluate internal calibration standards to certified reference material (RMNS from Kanso Co., Japan. RMinfo@kanso.co.jp) |  | 22.16 | Describe what QC steps have been taken to improve the quality of the data
|  | Uncertainty | Assessed by computing the coefficient of variation between sample duplicates |  | 22.17 | Uncertainty of the results (e.g., 1%, 2 μmol/kg), or a description of the uncertainties involved in this method.
|  | Weather or climate quality | climate quality data |  | 22.18
|  | QC flag scheme | 0 = Interpolated or calculated data 1 = Not evaluated/quality unknown 2 = Acceptable 3 = Questionable 4 = Known bad 6 = Mean of replicates 9 = Missing value |  | 22.19 | Describe what the quality control flags stand for, e.g., 2 = good value, 3 = questionable value, 4 = bad value.
|  | Biological subject | not applicable |  | 22.2 | For biological variables, please state the taxonomy (a specific species genus or a community), upon which the variable is studied. For example, if you study the growth rate of a certain type of Salmon. The "variable/parameter" is growth rate, and "Biological subject" is that specific type of salmon. You could group/capture organismal data in three forms: taxonomic, functional, and phylogenetic.
|  | Species Identification code (if available) | not applicable |  | 22.21 | It is recommended to use the species reference databases from the Integrated Taxonomic Information System (ITIS, http://www.itis.gov/), World Register of Marine Species (WoRMS, http://marinespecies.org/), Catalogue of Life (COL, https://www.catalogueoflife.org/), or Paleobiology Database (PBDB, https://paleobiodb.org/classic/classificationForm).
|  | Taxonomic code system used | not applicable |  | 22.22 | The type of the taxonomic system used, e.g., IT IS, WoRMS, COL, PBDB, etc.
|  | Life stage | not applicable |  | 22.23 | Organisms often go through several distinct stages during their development. This can be any stages like egg, embryo, larva, juvenile, and adult.
|  | Other detailed information | Seawater samples were collected at standard depths and stored in 50 mL Falcon tubes and frozen at -20 degrees Celsius within 30 minutes of collection. Seawater samples were maintained frozen until analysis using Seal Analytical method No. G-172-96 Rev. 18 (Multitest MT 19). |  | 22.24 | Other details about the sampling and analyzing procedures.
|  | Method reference (citation) | https://www.seal-analytical.com/Methods/AutoAnalyzerMethods/AutoAnalyzerMulti-testMethods/tabid/80/language/en-US/Default.aspx |  | 22.25 | Citation for the method.
|  | Researcher who measured this variable | Gary L. Maillet, Fisheries and Oceans Canada, Northwest Atlantic Fisheries Centre |  | 22.26 | The name of the PI, whose research team measured or derived this parameter.
[5 empty] | 22.27 | The institution of the PI, whose research team measured or derived this parameter.
22 | Observed properties* (a generic section that can be repeated as many times as needed. Note: 1. This section is for observed properties, e.g., temperature, dissolved oxygen, nitrate, etc. only. Information such as longitude, latitude, depth, QC flags, etc., are important information for the data files, but should not be listed in this section. 2. Carbon system parameters, e.g., DIC, TA, pH, fCO2, have their own dedicated sections. 3. There are two sections for fCO2, one for autonomous fCO2 measurements and the other for discrete bottle based fCO2 measurements) | Variable abbreviation in data files | PHOSPHATE |  | 22.01 | Column header name of the variable in the data files, e.g., T, DO, etc.
|  | Full variable name | Phosphate |  | 22.02 | Long name of the measured variable, e.g., Temperature, Dissolved Oxygen, etc
|  | Variable unit | μmol/kg |  | 22.03 | Units of the variable, e.g., oC, μmol/kg.
|  | Observation type | Profile |  | 22.04 | How the variable was observed, e.g., surface underway, profile, time series, model output, etc. For experimental data, this could be: laboratory experiment, pelagic mesocosm, benthic mesocosm, natural perturbation site studies, natural analogues, etc.
|  | Discrete or continuous | Discrete |  | 22.05 | Whether the reported results are based on discrete-bottled measurements or continuous sensor measurements
|  | In-situ or manipulated | In-situ |  | 22.06 | Whether the variable reported is from an in-situ observation, or from a manipulated experiment.
|  | Manipulation method (special use only) | not applicable |  | 22.07 | How the seawater chemsitry is manipulated (e.g., bubbling CO2, solid alkalinization, etc.)
|  | Measured or calculated | Measured |  | 22.08 | Whether the variable is measured in-situ, or calculated from other variables.
|  | Calculation method and parameters (special use only) | not applicable |  | 22.09 | Information about how the variable was calculated, e.g., using a Matlab version of the CO2SYS with the dissociation constants of Lueker et al., 2000 for carbonic acid, etc.
|  | Sampling instrument | Ocean Test Equipment 5L Niskin Bottle |  | 22.1 | Instrument that is used to collect water samples, or deploy sensors, etc. For example, a Niskin bottle, pump, CTD, etc is a sampling instrument.
|  | Sampling method | Seawater sample drawn from Niskin using Tygon tubing to 4L polycarbonate bottle or directly to 50mL polyethylene vials |  | 22.11 | Additional information describing how the sample was collected.
|  | Analyzing instrument | Seal Analytical AAIII Autoanalyzer using Seal Analytical method No. G-297-96 Rev. 18 (Multitest MT 19). |  | 22.12 | Instrument that is used to analyze the water samples collected with the 'sampling instrument', or the sensors that are mounted on the 'sampling instrument' to measure the water body continuously. For example, a coulometer, winkler titrator, spectrophotometer, pH meter, thermosalinograph, oxygen sensor, YSI Multiparameter Meter, etc is an analyzing instrument. We encourage you to document as much details (such as the make, model, resolution, precisions, etc) of the instrument as you can here.
|  | Analyzing method | sample allowed to thaw to room temperature and analyzed within 6 hours |  | 22.13 | Additional information describing how the sample was analyzed.
|  | Calibration info | Use of internal reference standards combined with certified reference material |  | 22.14 | Information about how the sensor was calibrated.
|  | Field replicate information | duplicate seawater samples collected |  | 22.15 | Repetition of sample collection and measurement, e.g., triplicate samples.
|  | QC steps taken | Compare profile measured values and evaluate internal calibration standards to certified reference material (RMNS from Kanso Co., Japan. RMinfo@kanso.co.jp) |  | 22.16 | Describe what QC steps have been taken to improve the quality of the data
|  | Uncertainty | Assessed by computing the coefficient of variation between sample duplicates |  | 22.17 | Uncertainty of the results (e.g., 1%, 2 μmol/kg), or a description of the uncertainties involved in this method.
|  | Weather or climate quality | climate quality data |  | 22.18
|  | QC flag scheme | 0 = Interpolated or calculated data 1 = Not evaluated/quality unknown 2 = Acceptable 3 = Questionable 4 = Known bad 6 = Mean of replicates 9 = Missing value |  | 22.19 | Describe what the quality control flags stand for, e.g., 2 = good value, 3 = questionable value, 4 = bad value.
|  | Biological subject | not applicable |  | 22.2 | For biological variables, please state the taxonomy (a specific species genus or a community), upon which the variable is studied. For example, if you study the growth rate of a certain type of Salmon. The "variable/parameter" is growth rate, and "Biological subject" is that specific type of salmon. You could group/capture organismal data in three forms: taxonomic, functional, and phylogenetic.
|  | Species Identification code (if available) | not applicable |  | 22.21 | It is recommended to use the species reference databases from the Integrated Taxonomic Information System (ITIS, http://www.itis.gov/), World Register of Marine Species (WoRMS, http://marinespecies.org/), Catalogue of Life (COL, https://www.catalogueoflife.org/), or Paleobiology Database (PBDB, https://paleobiodb.org/classic/classificationForm).
|  | Taxonomic code system used | not applicable |  | 22.22 | The type of the taxonomic system used, e.g., IT IS, WoRMS, COL, PBDB, etc.
|  | Life stage | not applicable |  | 22.23 | Organisms often go through several distinct stages during their development. This can be any stages like egg, embryo, larva, juvenile, and adult.
|  | Other detailed information | Seawater samples were collected at standard depths and stored in 50 mL Falcon tubes and frozen at -20 degrees Celsius within 30 minutes of collection. Seawater samples were maintained frozen until analysis using Seal Analytical method No. G-297-96 Rev. 18 (Multitest MT 19). |  | 22.24 | Other details about the sampling and analyzing procedures.
|  | Method reference (citation) | https://www.seal-analytical.com/Methods/AutoAnalyzerMethods/AutoAnalyzerMulti-testMethods/tabid/80/language/en-US/Default.aspx |  | 22.25 | Citation for the method.
|  | Researcher who measured this variable | Gary L. Maillet, Fisheries and Oceans Canada, Northwest Atlantic Fisheries Centre |  | 22.26 | The name of the PI, whose research team measured or derived this parameter.
[5 empty] | 22.27 | The institution of the PI, whose research team measured or derived this parameter.
22 | Observed properties* (a generic section that can be repeated as many times as needed. Note: 1. This section is for observed properties, e.g., temperature, dissolved oxygen, nitrate, etc. only. Information such as longitude, latitude, depth, QC flags, etc., are important information for the data files, but should not be listed in this section. 2. Carbon system parameters, e.g., DIC, TA, pH, fCO2, have their own dedicated sections. 3. There are two sections for fCO2, one for autonomous fCO2 measurements and the other for discrete bottle based fCO2 measurements) | Variable abbreviation in data files | AMMONIA |  | 22.01 | Column header name of the variable in the data files, e.g., T, DO, etc.
|  | Full variable name | Ammonia |  | 22.02 | Long name of the measured variable, e.g., Temperature, Dissolved Oxygen, etc
|  | Variable unit | μmol/kg |  | 22.03 | Units of the variable, e.g., oC, μmol/kg.
|  | Observation type | Profile |  | 22.04 | How the variable was observed, e.g., surface underway, profile, time series, model output, etc. For experimental data, this could be: laboratory experiment, pelagic mesocosm, benthic mesocosm, natural perturbation site studies, natural analogues, etc.
|  | Discrete or continuous | Discrete |  | 22.05 | Whether the reported results are based on discrete-bottled measurements or continuous sensor measurements
|  | In-situ or manipulated | In-situ |  | 22.06 | Whether the variable reported is from an in-situ observation, or from a manipulated experiment.
|  | Manipulation method (special use only) | not applicable |  | 22.07 | How the seawater chemsitry is manipulated (e.g., bubbling CO2, solid alkalinization, etc.)
|  | Measured or calculated | Measured |  | 22.08 | Whether the variable is measured in-situ, or calculated from other variables.
|  | Calculation method and parameters (special use only) | not applicable |  | 22.09 | Information about how the variable was calculated, e.g., using a Matlab version of the CO2SYS with the dissociation constants of Lueker et al., 2000 for carbonic acid, etc.
|  | Sampling instrument | Ocean Test Equipment 5L Niskin Bottle |  | 22.1 | Instrument that is used to collect water samples, or deploy sensors, etc. For example, a Niskin bottle, pump, CTD, etc is a sampling instrument.
|  | Sampling method | Seawater sample drawn from Niskin using Tygon tubing to 4L polycarbonate bottle or directly to 50mL polyethylene vials |  | 22.11 | Additional information describing how the sample was collected.
|  | Analyzing instrument | Seal Analytical AAIII Autoanalyzer interfaced with JASCO Fluorescence detector (FP-4025) using Seal Analytical method No. G-327-05 Rev. 7 (Multitest MT 19). |  | 22.12 | Instrument that is used to analyze the water samples collected with the 'sampling instrument', or the sensors that are mounted on the 'sampling instrument' to measure the water body continuously. For example, a coulometer, winkler titrator, spectrophotometer, pH meter, thermosalinograph, oxygen sensor, YSI Multiparameter Meter, etc is an analyzing instrument. We encourage you to document as much details (such as the make, model, resolution, precisions, etc) of the instrument as you can here.
|  | Analyzing method | sample allowed to thaw to room temperature and analyzed within 6 hours |  | 22.13 | Additional information describing how the sample was analyzed.
|  | Calibration info | Use of internal reference standards only |  | 22.14 | Information about how the sensor was calibrated.
|  | Field replicate information | duplicate seawater samples collected |  | 22.15 | Repetition of sample collection and measurement, e.g., triplicate samples.
|  | QC steps taken | Compare duplicate profile measured values for consistency |  | 22.16 | Describe what QC steps have been taken to improve the quality of the data
|  | Uncertainty | Assessed by computing the coefficient of variation between sample duplicates |  | 22.17 | Uncertainty of the results (e.g., 1%, 2 μmol/kg), or a description of the uncertainties involved in this method.
|  | Weather or climate quality | climate quality data |  | 22.18
|  | QC flag scheme | 0 = Interpolated or calculated data 1 = Not evaluated/quality unknown 2 = Acceptable 3 = Questionable 4 = Known bad 6 = Mean of replicates 9 = Missing value |  | 22.19 | Describe what the quality control flags stand for, e.g., 2 = good value, 3 = questionable value, 4 = bad value.
|  | Biological subject | not applicable |  | 22.2 | For biological variables, please state the taxonomy (a specific species genus or a community), upon which the variable is studied. For example, if you study the growth rate of a certain type of Salmon. The "variable/parameter" is growth rate, and "Biological subject" is that specific type of salmon. You could group/capture organismal data in three forms: taxonomic, functional, and phylogenetic.
|  | Species Identification code (if available) | not applicable |  | 22.21 | It is recommended to use the species reference databases from the Integrated Taxonomic Information System (ITIS, http://www.itis.gov/), World Register of Marine Species (WoRMS, http://marinespecies.org/), Catalogue of Life (COL, https://www.catalogueoflife.org/), or Paleobiology Database (PBDB, https://paleobiodb.org/classic/classificationForm).
|  | Taxonomic code system used | not applicable |  | 22.22 | The type of the taxonomic system used, e.g., IT IS, WoRMS, COL, PBDB, etc.
|  | Life stage | not applicable |  | 22.23 | Organisms often go through several distinct stages during their development. This can be any stages like egg, embryo, larva, juvenile, and adult.
|  | Other detailed information | Seawater samples were collected at standard depths and stored in 50 mL Falcon tubes and frozen at -20 degrees Celsius within 30 minutes of collection. Seawater samples were maintained frozen until analysis using Seal Analytical method No. G-327-05 Rev. 7 (Multitest MT 19). |  | 22.24 | Other details about the sampling and analyzing procedures.
|  | Method reference (citation) | https://www.seal-analytical.com/Methods/AutoAnalyzerMethods/AutoAnalyzerMulti-testMethods/tabid/80/language/en-US/Default.aspx |  | 22.25 | Citation for the method.
|  | Researcher who measured this variable | Gary L. Maillet, Fisheries and Oceans Canada, Northwest Atlantic Fisheries Centre |  | 22.26 | The name of the PI, whose research team measured or derived this parameter.
[5 empty] | 22.27 | The institution of the PI, whose research team measured or derived this parameter.
22 | Observed properties* (a generic section that can be repeated as many times as needed. Note: 1. This section is for observed properties, e.g., temperature, dissolved oxygen, nitrate, etc. only. Information such as longitude, latitude, depth, QC flags, etc., are important information for the data files, but should not be listed in this section. 2. Carbon system parameters, e.g., DIC, TA, pH, fCO2, have their own dedicated sections. 3. There are two sections for fCO2, one for autonomous fCO2 measurements and the other for discrete bottle based fCO2 measurements) | Variable abbreviation in data files | PAR |  | 22.01 | Column header name of the variable in the data files, e.g., T, DO, etc.
|  | Full variable name | Photosynthetic Active Radiation |  | 22.02 | Long name of the measured variable, e.g., Temperature, Dissolved Oxygen, etc
|  | Variable unit | µmol/s/m2 |  | 22.03 | Units of the variable, e.g., oC, μmol/kg.
|  | Observation type | Profile |  | 22.04 | How the variable was observed, e.g., surface underway, profile, time series, model output, etc. For experimental data, this could be: laboratory experiment, pelagic mesocosm, benthic mesocosm, natural perturbation site studies, natural analogues, etc.
|  | Discrete or continuous | Discrete |  | 22.05 | Whether the reported results are based on discrete-bottled measurements or continuous sensor measurements
|  | In-situ or manipulated | In-situ |  | 22.06 | Whether the variable reported is from an in-situ observation, or from a manipulated experiment.
|  | Manipulation method (special use only) | not applicable |  | 22.07 | How the seawater chemsitry is manipulated (e.g., bubbling CO2, solid alkalinization, etc.)
|  | Measured or calculated | Measured |  | 22.08 | Whether the variable is measured in-situ, or calculated from other variables.
|  | Calculation method and parameters (special use only) | not applicable |  | 22.09 | Information about how the variable was calculated, e.g., using a Matlab version of the CO2SYS with the dissociation constants of Lueker et al., 2000 for carbonic acid, etc.
|  | Sampling instrument | Satlantic irradiance PAR sensor (ASY-PAR-00034) interfaced to a SeaBird Scientific 9plus CTD-Rosette system operating at 24 Hz |  | 22.1 | Instrument that is used to collect water samples, or deploy sensors, etc. For example, a Niskin bottle, pump, CTD, etc is a sampling instrument.
|  | Sampling method | Measurement collected during upcast at discrete depth level |  | 22.11 | Additional information describing how the sample was collected.
|  | Analyzing instrument | Satlantic PAR sensor ASY-PAR-00034 |  | 22.12 | Instrument that is used to analyze the water samples collected with the 'sampling instrument', or the sensors that are mounted on the 'sampling instrument' to measure the water body continuously. For example, a coulometer, winkler titrator, spectrophotometer, pH meter, thermosalinograph, oxygen sensor, YSI Multiparameter Meter, etc is an analyzing instrument. We encourage you to document as much details (such as the make, model, resolution, precisions, etc) of the instrument as you can here.
|  | Analyzing method |  |  | 22.13 | Additional information describing how the sample was analyzed.
|  | Calibration info | Periodic calibration at Sea-Bird Scientific facility in Bellevue, WA, USA |  | 22.14 | Information about how the sensor was calibrated.
|  | Field replicate information | not applicable |  | 22.15 | Repetition of sample collection and measurement, e.g., triplicate samples.
|  | QC steps taken | Evaluate depth profile of measurements |  | 22.16 | Describe what QC steps have been taken to improve the quality of the data
|  | Uncertainty | Assessed by computing the standard deviation of PAR measurements at discrete depth level; influence of ship-shadow not corrected |  | 22.17 | Uncertainty of the results (e.g., 1%, 2 μmol/kg), or a description of the uncertainties involved in this method.
|  | Weather or climate quality | climate quality data |  | 22.18
|  | QC flag scheme |  |  | 22.19 | Describe what the quality control flags stand for, e.g., 2 = good value, 3 = questionable value, 4 = bad value.
|  | Biological subject | not applicable |  | 22.2 | For biological variables, please state the taxonomy (a specific species genus or a community), upon which the variable is studied. For example, if you study the growth rate of a certain type of Salmon. The "variable/parameter" is growth rate, and "Biological subject" is that specific type of salmon. You could group/capture organismal data in three forms: taxonomic, functional, and phylogenetic.
|  | Species Identification code (if available) | not applicable |  | 22.21 | It is recommended to use the species reference databases from the Integrated Taxonomic Information System (ITIS, http://www.itis.gov/), World Register of Marine Species (WoRMS, http://marinespecies.org/), Catalogue of Life (COL, https://www.catalogueoflife.org/), or Paleobiology Database (PBDB, https://paleobiodb.org/classic/classificationForm).
|  | Taxonomic code system used | not applicable |  | 22.22 | The type of the taxonomic system used, e.g., IT IS, WoRMS, COL, PBDB, etc.
|  | Life stage | not applicable |  | 22.23 | Organisms often go through several distinct stages during their development. This can be any stages like egg, embryo, larva, juvenile, and adult.
|  | Other detailed information | not applicable |  | 22.24 | Other details about the sampling and analyzing procedures.
|  | Method reference (citation) | https://www.seabird.com/photosynthetically-active-radiation-par-sensor/product-downloads?id=60762467732 |  | 22.25 | Citation for the method.
|  | Researcher who measured this variable | Stephen Snook, Fisheries and Oceans Canada, Northwest Atlantic Fisheries Centre |  | 22.26 | The name of the PI, whose research team measured or derived this parameter.
[5 empty] | 22.27 | The institution of the PI, whose research team measured or derived this parameter.
22 | Observed properties* (a generic section that can be repeated as many times as needed. Note: 1. This section is for observed properties, e.g., temperature, dissolved oxygen, nitrate, etc. only. Information such as longitude, latitude, depth, QC flags, etc., are important information for the data files, but should not be listed in this section. 2. Carbon system parameters, e.g., DIC, TA, pH, fCO2, have their own dedicated sections. 3. There are two sections for fCO2, one for autonomous fCO2 measurements and the other for discrete bottle based fCO2 measurements) | Variable abbreviation in data files | CHL_a_discrete |  | 22.01 | Column header name of the variable in the data files, e.g., T, DO, etc.
|  | Full variable name | Chlorophyll-a concentration |  | 22.02 | Long name of the measured variable, e.g., Temperature, Dissolved Oxygen, etc
|  | Variable unit | ug/L |  | 22.03 | Units of the variable, e.g., oC, μmol/kg.
|  | Observation type | Profile |  | 22.04 | How the variable was observed, e.g., surface underway, profile, time series, model output, etc. For experimental data, this could be: laboratory experiment, pelagic mesocosm, benthic mesocosm, natural perturbation site studies, natural analogues, etc.
|  | Discrete or continuous | Discrete |  | 22.05 | Whether the reported results are based on discrete-bottled measurements or continuous sensor measurements
|  | In-situ or manipulated | In-situ |  | 22.06 | Whether the variable reported is from an in-situ observation, or from a manipulated experiment.
|  | Manipulation method (special use only) | not applicable |  | 22.07 | How the seawater chemsitry is manipulated (e.g., bubbling CO2, solid alkalinization, etc.)
|  | Measured or calculated | Measured |  | 22.08 | Whether the variable is measured in-situ, or calculated from other variables.
|  | Calculation method and parameters (special use only) | not applicable |  | 22.09 | Information about how the variable was calculated, e.g., using a Matlab version of the CO2SYS with the dissociation constants of Lueker et al., 2000 for carbonic acid, etc.
|  | Sampling instrument | Ocean Test Equipment 5L Niskin Bottle for discrete collection of seawater samples |  | 22.1 | Instrument that is used to collect water samples, or deploy sensors, etc. For example, a Niskin bottle, pump, CTD, etc is a sampling instrument.
|  | Sampling method | Seawater sample drawn from Niskin using Tygon tubing to 4L polycarbonate bottle and seawater aliquot vacuum-filtered onto GF/F filter and placed into ice-cold 90 % acetone and stored at -20 °C until analysis |  | 22.11 | Additional information describing how the sample was collected.
|  | Analyzing instrument | Turner Designs 10AU Fluorometer |  | 22.12 | Instrument that is used to analyze the water samples collected with the 'sampling instrument', or the sensors that are mounted on the 'sampling instrument' to measure the water body continuously. For example, a coulometer, winkler titrator, spectrophotometer, pH meter, thermosalinograph, oxygen sensor, YSI Multiparameter Meter, etc is an analyzing instrument. We encourage you to document as much details (such as the make, model, resolution, precisions, etc) of the instrument as you can here.
|  | Analyzing method | Fluorometric analysis of chlorophyll a in the presence of chlorophyll b and pheopigments (Welschmeyer 1994) |  | 22.13 | Additional information describing how the sample was analyzed.
|  | Calibration info | Annual fluorometer calibration at Fisheries and Oceans Canada, Northwest Atlantic Fisheries Centre facility, St. John's, NL, Canada using C6144 (Sigma) chlorophyll-a standard with 90 % acetone solvent. |  | 22.14 | Information about how the sensor was calibrated.
|  | Field replicate information | Duplicate seawater samples vacuum filtered at discrete depths to 100m |  | 22.15 | Repetition of sample collection and measurement, e.g., triplicate samples.
|  | QC steps taken | Compare duplicate profile measured values for consistency with in-situ chlorophyll-a fluorescence |  | 22.16 | Describe what QC steps have been taken to improve the quality of the data
|  | Uncertainty | Assessed by computing the coefficient of variation between sample duplicates along with comparison to chlorophyll a fluorescence sensor data. |  | 22.17 | Uncertainty of the results (e.g., 1%, 2 μmol/kg), or a description of the uncertainties involved in this method.
|  | Weather or climate quality | climate quality data |  | 22.18
|  | QC flag scheme |  |  | 22.19 | Describe what the quality control flags stand for, e.g., 2 = good value, 3 = questionable value, 4 = bad value.
|  | Biological subject | not applicable |  | 22.2 | For biological variables, please state the taxonomy (a specific species genus or a community), upon which the variable is studied. For example, if you study the growth rate of a certain type of Salmon. The "variable/parameter" is growth rate, and "Biological subject" is that specific type of salmon. You could group/capture organismal data in three forms: taxonomic, functional, and phylogenetic.
|  | Species Identification code (if available) | not applicable |  | 22.21 | It is recommended to use the species reference databases from the Integrated Taxonomic Information System (ITIS, http://www.itis.gov/), World Register of Marine Species (WoRMS, http://marinespecies.org/), Catalogue of Life (COL, https://www.catalogueoflife.org/), or Paleobiology Database (PBDB, https://paleobiodb.org/classic/classificationForm).
|  | Taxonomic code system used | not applicable |  | 22.22 | The type of the taxonomic system used, e.g., IT IS, WoRMS, COL, PBDB, etc.
|  | Life stage | not applicable |  | 22.23 | Organisms often go through several distinct stages during their development. This can be any stages like egg, embryo, larva, juvenile, and adult.
|  | Other detailed information | Samples maintained at -20 °C were allowed to warm for 1 hour prior to measurement with Turner Designs 10AU Fluorometer |  | 22.24 | Other details about the sampling and analyzing procedures.
|  | Method reference (citation) | https://doi.org/10.4319/lo.1994.39.8.1985 |  | 22.25 | Citation for the method.
|  | Researcher who measured this variable | Gary Maillet, Fisheries and Oceans Canada, Northwest Atlantic Fisheries Centre |  | 22.26 | The name of the PI, whose research team measured or derived this parameter.
[5 empty] | 22.27 | The institution of the PI, whose research team measured or derived this parameter.
22 | Observed properties* (a generic section that can be repeated as many times as needed. Note: 1. This section is for observed properties, e.g., temperature, dissolved oxygen, nitrate, etc. only. Information such as longitude, latitude, depth, QC flags, etc., are important information for the data files, but should not be listed in this section. 2. Carbon system parameters, e.g., DIC, TA, pH, fCO2, have their own dedicated sections. 3. There are two sections for fCO2, one for autonomous fCO2 measurements and the other for discrete bottle based fCO2 measurements) | Variable abbreviation in data files | POC |  | 22.01 | Column header name of the variable in the data files, e.g., T, DO, etc.
|  | Full variable name | Particulate Organic Carbon |  | 22.02 | Long name of the measured variable, e.g., Temperature, Dissolved Oxygen, etc
|  | Variable unit | ug/L |  | 22.03 | Units of the variable, e.g., oC, μmol/kg.
|  | Observation type | Profile |  | 22.04 | How the variable was observed, e.g., surface underway, profile, time series, model output, etc. For experimental data, this could be: laboratory experiment, pelagic mesocosm, benthic mesocosm, natural perturbation site studies, natural analogues, etc.
|  | Discrete or continuous | Discrete |  | 22.05 | Whether the reported results are based on discrete-bottled measurements or continuous sensor measurements
|  | In-situ or manipulated | In-situ |  | 22.06 | Whether the variable reported is from an in-situ observation, or from a manipulated experiment.
|  | Manipulation method (special use only) | not applicable |  | 22.07 | How the seawater chemsitry is manipulated (e.g., bubbling CO2, solid alkalinization, etc.)
|  | Measured or calculated | Measured |  | 22.08 | Whether the variable is measured in-situ, or calculated from other variables.
|  | Calculation method and parameters (special use only) | not applicable |  | 22.09 | Information about how the variable was calculated, e.g., using a Matlab version of the CO2SYS with the dissociation constants of Lueker et al., 2000 for carbonic acid, etc.
|  | Sampling instrument | Ocean Test Equipment 5L Niskin Bottle for discrete collection of seawater samples |  | 22.1 | Instrument that is used to collect water samples, or deploy sensors, etc. For example, a Niskin bottle, pump, CTD, etc is a sampling instrument.
|  | Sampling method | Seawater sample drawn from Niskin using Tygon tubing to 4L polycarbonate bottle; seawater aliquot (~ 530 mL) vacuum-filtered onto GF/F filter (pre-combusted at 475 °C for 4 hours) under low vacuum pressure using a filter manifold system. GF/F filter stored at -20 °C until analysis on pre-combusted aluminum foil lined inside a clean Petri dish. |  | 22.11 | Additional information describing how the sample was collected.
|  | Analyzing instrument | Exeter Analytical Inc. CE440 CHNS Elemental Analyzer |  | 22.12 | Instrument that is used to analyze the water samples collected with the 'sampling instrument', or the sensors that are mounted on the 'sampling instrument' to measure the water body continuously. For example, a coulometer, winkler titrator, spectrophotometer, pH meter, thermosalinograph, oxygen sensor, YSI Multiparameter Meter, etc is an analyzing instrument. We encourage you to document as much details (such as the make, model, resolution, precisions, etc) of the instrument as you can here.
|  | Analyzing method | High temperature combustion of GF/F filter at 975 °C |  | 22.13 | Additional information describing how the sample was analyzed.
|  | Calibration info | Use of acetanilide standard (with known quanity of C/N/H) for daily calibration of instrument during processing of samples |  | 22.14 | Information about how the sensor was calibrated.
|  | Field replicate information | Duplicate measurements obtained at discrete depths. |  | 22.15 | Repetition of sample collection and measurement, e.g., triplicate samples.
|  | QC steps taken | Evaluate carbon depth profile with chlorophyll-a measurements |  | 22.16 | Describe what QC steps have been taken to improve the quality of the data
|  | Uncertainty | Assessed by computing the coefficient of variation between sample duplicates. |  | 22.17 | Uncertainty of the results (e.g., 1%, 2 μmol/kg), or a description of the uncertainties involved in this method.
|  | Weather or climate quality | climate quality data |  | 22.18
|  | QC flag scheme |  |  | 22.19 | Describe what the quality control flags stand for, e.g., 2 = good value, 3 = questionable value, 4 = bad value.
|  | Biological subject | not applicable |  | 22.2 | For biological variables, please state the taxonomy (a specific species genus or a community), upon which the variable is studied. For example, if you study the growth rate of a certain type of Salmon. The "variable/parameter" is growth rate, and "Biological subject" is that specific type of salmon. You could group/capture organismal data in three forms: taxonomic, functional, and phylogenetic.
|  | Species Identification code (if available) | not applicable |  | 22.21 | It is recommended to use the species reference databases from the Integrated Taxonomic Information System (ITIS, http://www.itis.gov/), World Register of Marine Species (WoRMS, http://marinespecies.org/), Catalogue of Life (COL, https://www.catalogueoflife.org/), or Paleobiology Database (PBDB, https://paleobiodb.org/classic/classificationForm).
|  | Taxonomic code system used | not applicable |  | 22.22 | The type of the taxonomic system used, e.g., IT IS, WoRMS, COL, PBDB, etc.
|  | Life stage | not applicable |  | 22.23 | Organisms often go through several distinct stages during their development. This can be any stages like egg, embryo, larva, juvenile, and adult.
|  | Other detailed information | https://dspace.uni.lodz.pl/xmlui/handle/11089/15416 |  | 22.24 | Other details about the sampling and analyzing procedures.
|  | Method reference (citation) | https://www.eai1.com/ce440.html |  | 22.25 | Citation for the method.
|  | Researcher who measured this variable | Gary Maillet, Fisheries and Oceans Canada, Northwest Atlantic Fisheries Centre |  | 22.26 | The name of the PI, whose research team measured or derived this parameter.
[5 empty] | 22.27 | The institution of the PI, whose research team measured or derived this parameter.
22 | Observed properties* (a generic section that can be repeated as many times as needed. Note: 1. This section is for observed properties, e.g., temperature, dissolved oxygen, nitrate, etc. only. Information such as longitude, latitude, depth, QC flags, etc., are important information for the data files, but should not be listed in this section. 2. Carbon system parameters, e.g., DIC, TA, pH, fCO2, have their own dedicated sections. 3. There are two sections for fCO2, one for autonomous fCO2 measurements and the other for discrete bottle based fCO2 measurements) | Variable abbreviation in data files | PON |  | 22.01 | Column header name of the variable in the data files, e.g., T, DO, etc.
|  | Full variable name | Particulate Organic Nitrogen |  | 22.02 | Long name of the measured variable, e.g., Temperature, Dissolved Oxygen, etc
|  | Variable unit | ug/L |  | 22.03 | Units of the variable, e.g., oC, μmol/kg.
|  | Observation type | Profile |  | 22.04 | How the variable was observed, e.g., surface underway, profile, time series, model output, etc. For experimental data, this could be: laboratory experiment, pelagic mesocosm, benthic mesocosm, natural perturbation site studies, natural analogues, etc.
|  | Discrete or continuous | Discrete |  | 22.05 | Whether the reported results are based on discrete-bottled measurements or continuous sensor measurements
|  | In-situ or manipulated | In-situ |  | 22.06 | Whether the variable reported is from an in-situ observation, or from a manipulated experiment.
|  | Manipulation method (special use only) | not applicable |  | 22.07 | How the seawater chemsitry is manipulated (e.g., bubbling CO2, solid alkalinization, etc.)
|  | Measured or calculated | Measured |  | 22.08 | Whether the variable is measured in-situ, or calculated from other variables.
|  | Calculation method and parameters (special use only) | not applicable |  | 22.09 | Information about how the variable was calculated, e.g., using a Matlab version of the CO2SYS with the dissociation constants of Lueker et al., 2000 for carbonic acid, etc.
|  | Sampling instrument | Ocean Test Equipment 5L Niskin Bottle for discrete collection of seawater samples |  | 22.1 | Instrument that is used to collect water samples, or deploy sensors, etc. For example, a Niskin bottle, pump, CTD, etc is a sampling instrument.
|  | Sampling method | Seawater sample drawn from Niskin using Tygon tubing to 4L polycarbonate bottle; seawater aliquot (~ 530 mL) vacuum-filtered onto GF/F filter (pre-combusted at 475 °C for 4 hours) under low vacuum pressure using a filter manifold system. GF/F filter stored at -20 °C until analysis on pre-combusted aluminum foil lined inside a clean Petri dish. |  | 22.11 | Additional information describing how the sample was collected.
|  | Analyzing instrument | Exeter Analytical Inc. CE440 CHNS Elemental Analyzer |  | 22.12 | Instrument that is used to analyze the water samples collected with the 'sampling instrument', or the sensors that are mounted on the 'sampling instrument' to measure the water body continuously. For example, a coulometer, winkler titrator, spectrophotometer, pH meter, thermosalinograph, oxygen sensor, YSI Multiparameter Meter, etc is an analyzing instrument. We encourage you to document as much details (such as the make, model, resolution, precisions, etc) of the instrument as you can here.
|  | Analyzing method | High temperature combustion of GF/F filter at 975 degrees Celsius |  | 22.13 | Additional information describing how the sample was analyzed.
|  | Calibration info | Use of acetanilide standard for daily calibration of instrument during processing of samples |  | 22.14 | Information about how the sensor was calibrated.
|  | Field replicate information | Duplicate measurements obtained at discrete depths. |  | 22.15 | Repetition of sample collection and measurement, e.g., triplicate samples.
|  | QC steps taken | Evaluate nitrogen depth profile with chlorophyll-a measurements |  | 22.16 | Describe what QC steps have been taken to improve the quality of the data
|  | Uncertainty | Assessed by computing the coefficient of variation between sample duplicates. |  | 22.17 | Uncertainty of the results (e.g., 1%, 2 μmol/kg), or a description of the uncertainties involved in this method.
|  | Weather or climate quality | climate quality data |  | 22.18
|  | QC flag scheme |  |  | 22.19 | Describe what the quality control flags stand for, e.g., 2 = good value, 3 = questionable value, 4 = bad value.
|  | Biological subject | not applicable |  | 22.2 | For biological variables, please state the taxonomy (a specific species genus or a community), upon which the variable is studied. For example, if you study the growth rate of a certain type of Salmon. The "variable/parameter" is growth rate, and "Biological subject" is that specific type of salmon. You could group/capture organismal data in three forms: taxonomic, functional, and phylogenetic.
|  | Species Identification code (if available) | not applicable |  | 22.21 | It is recommended to use the species reference databases from the Integrated Taxonomic Information System (ITIS, http://www.itis.gov/), World Register of Marine Species (WoRMS, http://marinespecies.org/), Catalogue of Life (COL, https://www.catalogueoflife.org/), or Paleobiology Database (PBDB, https://paleobiodb.org/classic/classificationForm).
|  | Taxonomic code system used | not applicable |  | 22.22 | The type of the taxonomic system used, e.g., IT IS, WoRMS, COL, PBDB, etc.
|  | Life stage | not applicable |  | 22.23 | Organisms often go through several distinct stages during their development. This can be any stages like egg, embryo, larva, juvenile, and adult.
|  | Other detailed information | https://dspace.uni.lodz.pl/xmlui/handle/11089/15416 |  | 22.24 | Other details about the sampling and analyzing procedures.
|  | Method reference (citation) | https://www.eai1.com/ce440.html |  | 22.25 | Citation for the method.
|  | Researcher who measured this variable | Gary Maillet, Fisheries and Oceans Canada, Northwest Atlantic Fisheries Centre |  | 22.26 | The name of the PI, whose research team measured or derived this parameter.
[5 empty] | 22.27 | The institution of the PI, whose research team measured or derived this parameter.
23 | Dissolved Inorganic Carbon (DIC) | Variable abbreviation in data files | DIC |  | 23.01 | Column header name of the variable in the data files, e.g., DIC, TCO2, etc.
|  | Variable unit | µmol/Kg |  | 23.02 | Units of the variable (e.g., μmol/kg).
|  | Observation type | profile |  | 23.03 | How the variable is observed, e.g., surface underway, profile, time series, model output, etc. For experimental data, this could be: laboratory experiment, pelagic mesocosm, benthic mesocosm, benthic FOCE type studies, natural perturbation site studies, natural gradient studies, etc
|  | Discrete or continuous | discrete |  | 23.04 | Whether the reported results are based on discrete-bottled measurements or continuous sensor measurements
|  | In-situ or manipulated | in-situ |  | 23.05 | Whether the variable reported is from an in-situ observation, or from a manipulated experiment.
|  | Manipulation method (special use only) | not applicable |  | 23.06 | How the seawater chemsitry is manipulated (e.g., bubbling CO2, solid alkalinization, etc.)
|  | Measured or calculated | measured |  | 23.07 | Whether the variable is measured directly, or calculated from other variables. For example, pH can be calculated from DIC and TA.
|  | Calculation method and parameters (special use only) | not applicable |  | 23.08 | Information about how the variable was calculated, e.g., using a Matlab version of the CO2SYS with the dissociation constants of Lueker et al., 2000 for carbonic acid, etc.
|  | Sampling instrument | Ocean Test Equipment 5L Niskin Bottle for discrete collection of seawater samples. |  | 23.09 | Instrument that is used to collect water samples, or deploy sensors, etc. For example, a Niskin bottle, pump, CTD, etc is a sampling instrument.
|  | Sampling method | A flexible drawing tube was used to connect to the Niskin bottle spigot and placed into the bottom of the 500mL glass bottle (class A borosilicate glass) and thoroughly rinsed and allowed to overflow by one full volume before filling the bottle using a tapered ground glass stopper to create a gas-tight seal. |  | 23.1 | Additional information describing how the sample was collected.
|  | Analyzing instrument | VINDTA 3D DIC Analyzer (manufactured by MARIANDA by Dr. L. Mintrop in Kiel; Germany) and interfaced to UIC 5014 Coulometer (see https://www.marianda.com/) |  | 23.11 | Instrument that is used to analyze the water samples collected with the 'sampling instrument', or the sensors that are mounted on the 'sampling instrument' to measure the water body continuously. For example, a coulometer, winkler titrator, spectrophotometer, pH meter, thermosalinograph, oxygen sensor, YSI Multiparameter Meter, etc is an analyzing instrument. We encourage you to document as much details (such as the make, model, resolution, precisions, etc) of the instrument as you can here.
|  | Analyzing method | SOP 2: Determination of total dissolved inorganic carbon in sea water from Dickson et al., 2007 (Guide to Best Practices for Ocean CO2 Measurements). |  | 23.12 | Additional information describing how the sample was analyzed.
|  | Calibration information | Use of internal standards to determine precision and CRMs for accuracy. |  | 23.13 | Description of the procedure.
|  |  | Daily |  | 23.14 | How frequent was the calibration carried out, e.g., every 6 hours, etc.
|  |  | CRM manufacturer: Dickson Lab, Scripps Institution of Oceanography, UCSD co2crms@ucsd.edu, batch # 188 |  | 23.15 | Manufacture of the Certified Reference Material, e.g., Andrew Dickson's lab at Scripps Institute of Oceanography.
[5 empty] | 23.16 | Batch number of the CRMs that are used to calibrate the instrument.
|  | How were the samples preserved | Mercuric chloride |  | 23.17 | As described, e.g., Mercury Chloride.
|  |  | 200 µL per 500 mL sample |  | 23.18 | How much is added to each sample to kill the microbes. For example, 20 μL Mercury Chloride is added to 500 mL samples.
|  |  | Correction Factor of 1.0004 applied to CRM-corrected data |  | 23.19 | Please specify whether the reported variables were corrected for usage, and if so, how they were corrected.
|  | Field replicate information | Samples were processed once and duplicate measurements were collected every 8-10 samples to verify precision. |  | 23.2 | Repetition of sample collection and measurement, e.g., triplicate samples.
|  | QC steps taken | Internal standards and CRMs are measured daily in order to calculate a 'CRM correction factor' for each day of sample processing. This is calculated by determining the standard difference between the measured DIC and the certified DIC of each CRM bottle. The CRM correction value is then applied to the samples' DIC, accounting for the instrument's daily drift or offset. Average CRM correction factor during processing was |  | 23.21 | Describe what QC steps have been taken to improve the quality of the data
|  | Uncertainty | Assessed by computing the average standard deviation (SD) of duplicate water samples (average SD = 0.75; n = 3) and CRM (average difference = ± 2.53, n = 1) |  | 23.22 | Uncertainty of the results (e.g., 1%, 2 μmol/kg), or a description of the uncertainties involved in this method.
|  | Weather or climate quality | climate quality data |  | 23.23 | Whether the measurement accuracy is of weather or climate quality.
|  | QC flag scheme | 0 = Interpolated or calculated data 1 = Not evaluated/quality unknown 2 = Acceptable 3 = Questionable 4 = Known bad 6 = Mean of replicates 9 = Missing value |  | 23.24 | Describe what the quality control flags stand for, e.g., 2 = good value, 3 = questionable value, 4 = bad value.
|  | Other detailed information | Seawater samples were collected at standard depths during CTD rosette upcast. A 5 mL aliquot of seawater was removed from each 500 mL bottle to allow for thermal expansion while minimizing headspace. Each sample was preserved within 30 minutes of collection with 200 µL of saturated mercuric chloride solution. Apiezon M grease was applied to the ground glass stoppers to ensure an tight seal. Stoppers are held in place with rubber band and hose clamp closures and the sample was gently inverted a few times to disperse the mercuric chloride solution thoroughly. Samples were held at 20 °C in the dark until analysis. Samples were placed in a 25 °C water bath for at least 2 hours before sample analysis. |  | 23.25 | Detailed description of the sampling and analyzing procedures.
|  | Method reference (citation) | Dickson, A.G., Sabine, C.L., and Christian, J.R. (Eds.) 2007. Guide to Best Practices for Ocean CO2 Measurements. PICES Special Publication 3, 191 pp.; https://www.ncei.noaa.gov/access/ocean-carbon-acidification-data-system/oceans/Handbook_2007.html |  | 23.26 | Citation for the dissolved inorganic carbon method.
|  | Researcher who measured this variable | Gary Maillet |  | 23.27 | The name of the PI, whose research team measured or derived this parameter.
|  |  | Fisheries and Oceans Canada |  | 23.28 | The institution of the PI, whose research team measured or derived this parameter.
24 | Total Alkalinity (TA) | Variable abbreviation in data files | TA |  | 24.01 | Column header name of the variable in the data files, e.g., TA, Alk, etc.
|  | Variable unit | µmol/Kg |  | 24.02 | Units of the variable (e.g., μmol/kg).
|  | Observation type | profile |  | 24.03 | How the variable is observed, e.g., surface underway, profile, time series, model output, etc. For experimental data, this could be: laboratory experiment, pelagic mesocosm, benthic mesocosm, benthic FOCE type studies, natural perturbation site studies, natural gradient studies, etc
|  | Discrete or continuous | discrete |  | 24.04 | Whether the reported results are based on discrete-bottled measurements or continuous sensor measurements
|  | In-situ or manipulated | in-situ |  | 24.05 | Whether the variable reported is from an in-situ observation, or from a manipulated experiment.
|  | Manipulation method (special use only) | not applicable |  | 24.06 | How the seawater chemsitry is manipulated (e.g., bubbling CO2, solid alkalinization, etc.)
|  | Measured or calculated | measured |  | 24.07 | Whether the variable is measured in-situ, or calculated from other variables.
|  | Calculation method and parameters (special use only) | not applicable |  | 24.08 | Information about how the variable was calculated, e.g., using a Matlab version of the CO2SYS with the dissociation constants of Lueker et al., 2000 for carbonic acid, etc.
|  | Sampling instrument | Ocean Test Equipment 5L Niskin Bottle for discrete collection of seawater samples. |  | 24.09 | Instrument that is used to collect water samples, or deploy sensors, etc. For example, a Niskin bottle, pump, CTD, etc is a sampling instrument.
|  | Sampling method | A flexible drawing tube was used to connect to the Niskin bottle spigot and placed into the bottom of the 500mL glass bottle (class A borosilicate glass) and thoroughly rinsed and allowed to overflow by one full volume before filling the bottle using a tapered ground glass stopper to create a gas-tight seal. |  | 24.1 | Additional information describing how the sample was collected.
|  | Analyzing instrument | VINDTA 3S TA Analyzer (manufactured by MARIANDA by Dr. L. Mintrop; Kiel; Germany) see https://www.marianda.com/ |  | 24.11 | Instrument that is used to analyze the water samples collected with the 'sampling instrument', or the sensors that are mounted on the 'sampling instrument' to measure the water body continuously. For example, a coulometer, winkler titrator, spectrophotometer, pH meter, thermosalinograph, oxygen sensor, YSI Multiparameter Meter, etc is an analyzing instrument. We encourage you to document as much details (such as the make, model, resolution, precisions, etc) of the instrument as you can here.
|  | Analyzing method | SOP 3b: Determination of total alkalinity in sea water using an open-cell titration from Dickson et al., 2007 (Guide to Best Practices for Ocean CO2 Measurements). |  | 24.12 | Additional information describing how the sample was analyzed.
|  | Calibration information | Use of internal standards to determine precision and CRMs for accuracy. |  | 24.13 | Description of the procedure.
|  |  | Daily |  | 24.14 | How frequent was the calibration carried out, e.g., every 6 hours, etc.
|  |  | CRM manufacturer: Dickson Lab, Scripps Institution of Oceanography, UCSD co2crms@ucsd.edu, batch # 188 |  | 24.15 | Manufacture of the Certified Reference Material, e.g., Andrew Dickson's lab at Scripps Institute of Oceanography.
[5 empty] | 24.16 | The batch number of the CRMs that are used to calibrate the instrument.
|  | How were the samples preserved | Mercuric chloride |  | 24.17 | As described, e.g., Mercury Chloride.
|  |  | 200 µL per 500 mL sample |  | 24.18 | How much is added to each sample to kill the microbes. For example, 20 μL Mercury Chloride is added to 500 mL samples.
|  |  | Correction Factor of 1.0004 applied to CRM-corrected data |  | 24.19 | Please specify whether the reported variables were corrected for usage, and if so, how they were corrected.
|  | Type of titration | Differential potentiometry using a reference electrode (Metrohm double junction electrode with 0.7 mol/L NaCl bridge electrolyte (outer compartment) and 3 mol/L KCl reference electrolyte (inner compartment)) and a glass electrode (ORION ROSS) measured against a grounded auxillary electrode. |  | 24.2 | Type of the titration used to determine alkalinity.
|  | Cell type (open or closed) | Open cell with multi-point potentiometric titration with initial aliquot of HCl to acidify sample. |  | 24.21 | Whether the titration cell is open or closed.
|  | Curve fitting method | Modifed GRAN plot used as input parameters for non-linear curve fitting on titration data and sample parameters (sample weight; acid density; acid concentration) and density calculated from salinity. |  | 24.22 | Curve fitting method used to determine the alkalinity.
|  | Magnitude of blank correction | TA was not corrected for blank |  | 24.23 | Please specify whether the reported variables were corrected for blank, and if so, how they were corrected.
|  | Field replicate information | Samples were processed once and duplicate measurements were collected every 8-10 samples to verify precision. |  | 24.24 | Repetition of sample collection and measurement, e.g., triplicate samples.
|  | QC steps taken | Internal standards and CRMs are measured daily in order to calculate a 'CRM correction factor' for each day of sample processing. This is calculated by determining the standard difference between the measured TA and the certified TA of each CRM bottle. The CRM correction value is then applied to the samples' TA, accounting for the instrument's daily drift or offset. Average CRM correction factor during processing was |  | 24.25 | Describe what QC steps have been taken to improve the quality of the data
|  | Uncertainty | Assessed by computing the average standard deviation (SD) of duplicate water samples (average SD = 1.44; n = 2) and CRM (average differrence = ± 0.5, n = 1) |  | 24.26 | Uncertainty of the results (e.g., 1%, 2 μmol/kg), or a description of the uncertainties involved in this method.
|  | Weather or climate quality | climate quality data |  | 24.27
|  | QC flag scheme | 0 = Interpolated or calculated data 1 = Not evaluated/quality unknown 2 = Acceptable 3 = Questionable 4 = Known bad 6 = Mean of replicates 9 = Missing value |  | 24.28 | Describe what the quality control flags stand for, e.g., 2 = good value, 3 = questionable value, 4 = bad value.
|  | Other detailed information | Seawater samples were collected at standard depths during CTD rosette upcast and 5 mL seawater from each 500 mL bottle removed to allow for thermal expansion of seawater and preserved within 30 minutes of collection with 200 µL saturated solution of mercuric chloride; bottles were sealed with Apiezon M grease and ground glass stoppers were held in place with rubber band and banding clip and held in storage until transfer back to shore based facility for processing. All laboratory analyses were conducted at 25 degrees Celsius. |  | 24.29 | Detailed description of the sampling and analyzing procedures.
|  | Method reference (citation) | Dickson, A.G., Sabine, C.L., and Christian, J.R. (Eds.) 2007. Guide to Best Practices for Ocean CO2 Measurements. PICES Special Publication 3, 191 pp.; https://www.ncei.noaa.gov/access/ocean-carbon-acidification-data-system/oceans/Handbook_2007.html |  | 24.3 | Citation for the alkalinity method.
|  | Researcher who measured this variable | Gary Maillet |  | 24.31 | The name of the PI, whose research team measured or derived this parameter.
|  |  | Fisheries and Oceans Canada |  | 24.32 | The institution of the PI, whose research team measured or derived this parameter.
25 | pH | Variable abbreviation in data files | pH_Total |  | 25.01 | Column header name of the variable in the data files, e.g., pH
|  | pH scale | Total Scale |  | 25.02 | The pH scale for the reported pH results, e.g., total scale, seawater scale, NBS scale, etc.
|  | Observation type | Profile |  | 25.03 | How the variable is observed, e.g., surface underway, profile, time series, model output, etc. For experimental data, this could be: laboratory experiment, pelagic mesocosm, benthic mesocosm, benthic FOCE type studies, natural perturbation site studies, natural gradient studies, etc
|  | Discrete or continuous | Discrete |  | 25.04 | Whether the reported results are based on discrete-bottled measurements or continuous sensor measurements
|  | In-situ or manipulated | not applicable |  | 25.05 | Whether the variable reported is from an in-situ observation, or from a manipulated experiment.
|  | Manipulation method (special use only) | not applicable |  | 25.06 | How the seawater chemsitry is manipulated (e.g., bubbling CO2, solid alkalinization, etc.)
|  | Measured or calculated | Calculated |  | 25.07 | Whether the variable is measured in-situ, or calculated from other variables
|  | Calculation method and parameters (special use only) | CO2Calc v4.0.9 (https://www.usgs.gov/software/co2calc) |  | 25.08 | Information about how the variable was calculated, e.g., using a Matlab version of the CO2SYS with the dissociation constants of Lueker et al., 2000 for carbonic acid, etc.
|  | Sampling instrument | not applicable |  | 25.09 | Instrument that is used to collect water samples, or deploy sensors, etc. For example, a Niskin bottle, pump, CTD, etc is a sampling instrument.
|  | Sampling method | not applicable |  | 25.1 | Additional information describing how the sample was collected.
|  | Analyzing instrument | not applicable |  | 25.11 | Instrument that is used to analyze the water samples collected with the 'sampling instrument', or the sensors that are mounted on the 'sampling instrument' to measure the water body continuously. For example, a coulometer, winkler titrator, spectrophotometer, pH meter, thermosalinograph, oxygen sensor, YSI Multiparameter Meter, etc is an analyzing instrument. We encourage you to document as much details (such as the make, model, resolution, precisions, etc) of the instrument as you can here.
|  | Analyzing method | not applicable |  | 25.12 | Additional information describing how the sample was analyzed.
|  | Calibration information | not applicable |  | 25.13 | Description of the pH calibration procedures.
|  |  | not applicable |  | 25.14 | How frequent was the calibration carried out, e.g., every 6 hours, etc.
|  |  | not applicable |  | 25.15
|  |  | not applicable |  | 25.16 | pH values of the standards, e.g., 4.0, 7.0, 10.0.
|  |  | not applicable |  | 25.17 | Temperature at which the calibration was done.
|  | Temperature of pH measurement | not applicable |  | 25.18 | Temperature at which the samples were measured.
|  | At what temperature was pH reported | In-situ |  | 25.19 | The input could be a constant temperature value, or something like, in-situ temperature, temperature of analysis, etc.
|  | Temperature correction method (delete) | not applicable |  | 25.2 | How the temperature effect was corrected.
|  | Field replicate information | not applicable |  | 25.21 | Repetition of sample collection and measurement, e.g., triplicate samples.
|  | QC steps taken | If either TA or TIC measurements were flagged as suspect or bad, a standard range check was applied to the calculated pH value to determine level of data flag |  | 25.22 | Describe what QC steps have been taken to improve the quality of the data
|  | Uncertainty | Based on calculated values of pH using standard deviation from duplicate determinations of measured TA and DIC |  | 25.23 | Uncertainty of the results (e.g., 1%, 0.02 pH, etc), or a description of the uncertainties involved in this method.
|  | Weather or climate quality | climate quality data |  | 25.24
|  | QC flag scheme | 0 = Interpolated or calculated data 1 = Not evaluated/quality unknown 2 = Acceptable 3 = Questionable 4 = Known bad 6 = Mean of replicates 9 = Missing value |  | 25.25 | Describe what the quality control flags stand for, e.g., 2 = good value, 3 = questionable value, 4 = bad value.
|  | Other detailed information | not applicable |  | 25.26 | Detailed description of the sampling and analyzing procedures, including calibration procedures, model number of the instrument, etc.
|  | Method reference (citation) | https://pubs.usgs.gov/of/2010/1280/ |  | 25.27 | Citation for the pH method.
|  | Researcher who measured this variable | Gary Maillet |  | 25.28 | The name of the PI, whose research team measured or derived this parameter.
|  |  | Fisheries and Oceans Canada |  | 25.29 | The institution of the PI, whose research team measured or derived this parameter.
26 | pCO2/fCO2 (autonomous) (For calculated pCO2/fCO2, please use this section, instead of the one below for discrete measurements) | Variable abbreviation in data files | pCO2 |  | 26.01 | Column header name of the variable in the data files, e.g., pCO2, etc.
|  | Variable unit | µatm |  | 26.02 | Units of the variable, e.g., μatm.
|  | Observation type | Profile |  | 26.03 | How the variable is observed, e.g., surface underway, profile, time series, model output, etc. For experimental data, this could be: laboratory experiment, pelagic mesocosm, benthic mesocosm, benthic FOCE type studies, natural perturbation site studies, natural gradient studies, etc
|  | In-situ or manipulated | not applicable |  | 26.04 | Whether the variable reported is from an in-situ observation, or from a manipulated experiment.
|  | Manipulation method (special use only) | not applicable |  | 26.05 | How the seawater chemsitry is manipulated (e.g., bubbling CO2, solid alkalinization, etc.)
|  | Measured or calculated | calculated |  | 26.06 | Whether the variable is measured in-situ, or calculated from other variables
|  | Calculation method and parameters (special use only) | CO2Calc v4.0.9 (https://www.usgs.gov/software/co2calc) |  | 26.07 | Information about how the variable was calculated, e.g., using a Matlab version of the CO2SYS with the dissociation constants of Lueker et al., 2000 for carbonic acid, etc.
|  | Sampling instrument | not applicable |  | 26.08 | Instrument that is used to collect water samples, or deploy sensors, etc. For example, a Niskin bottle, pump, CTD, etc is a sampling instrument.
|  | Sampling method | not applicable |  | 26.09 | Additional information describing how the sample was collected.
|  | Analyzing method | not applicable |  | 26.1 | Additional information describing how the sample was analyzed.
|  | Equilibrator information | Equilbrator type |  | 26.11 | Type of the equilibrator for the CO2 measurement.
|  |  | Equilibrator volume (L) |  | 26.12 | The total volume of the CO2 equilibrator.
|  |  | Vented or not |  | 26.13 | Is the equilibrator vented or not?
|  |  | Water flow rate (L/min) |  | 26.14 | Flow rate of the flow through seawater.
|  |  | Headspace gas flow rate (L/min) |  | 26.15 | Flow rate of the gas from the equilibrator to the CO2 analyzer.
|  |  | How was temperature inside the equilibrator measured . |  | 26.16 | Please specify whether temperatrure inside the equilibrator is measured or not. If so, please describe how the temperature was measured.
|  |  | How was pressure inside the equilibrator measured. |  | 26.17 | Please specify whether pressure inside the equilibrator is measured or not. If so, please describe how the pressure was measured.
|  | Gas detector information | Manufacturer |  | 26.18 | Manufacturer of the CO2 sensor.
|  |  | Model |  | 26.19 | Model number of the CO2 sensor.
|  |  | Resolution |  | 26.2 | Resolutin of the CO2 sensor.
|  |  | Uncertainty |  | 26.21 | Uncertainity of the CO2 sensor.
|  | Calibration information | Calibration technique description |  | 26.22 | Please describe the calibration procedure.
|  |  | Frequency of Calibration |  | 26.23 | How frequent was the calibration carried out, e.g., every 6 hours, etc.
|  |  | Standard gas information | Manufacturer of standard gas | 26.24 | Manufacturer of the CO2 standard gas.
|  |  |  | Concentrations of standard gas | 26.25 | Concentrations of the CO2 standard gases that are used to calibrate the CO2 sensor, e.g., 200, 350, 510ppm.
|  |  |  | Uncertainties of standard gas | 26.26 | Uncertainties of the CO2 standard gas, e.g., 0.5%.
|  | Location of seawater intake | not applicable |  | 26.27 | Whereabout of the seawater intake
|  | Depth of seawater intake | not applicable |  | 26.28 | Water depth of the seawater intake
|  | Drying method for CO2 gas | not applicable |  | 26.29 | The method used to dry the gas coming out of CO2 equilibrator, before it is pumped into the CO2 sensor.
|  | Water vapor correction method | not applicable |  | 26.3 | How the water vapor pressure inside the equilibrator was determined
|  | Temperature correction method | not applicable |  | 26.31 | How the temperature effect was corrected.
|  | at what temperature was pCO2 reported | In-situ |  | 26.32 | The input could be a constant temperature value, or something like, in-situ temperature, temperature of analysis, etc.
|  | QC steps taken | If either TA or TIC measurements were flagged as suspect or bad, a standard range check was applied to the calculated pCO2 value to determine level of data flag |  | 26.33 | Describe what QC steps have been taken to improve the quality of the data
|  | Uncertainty | Based on calculated values of pCO2 using standard deviation from duplicate determinations of measured TA and DIC. |  | 26.34 | Uncertainty of the results (e.g., 1%, 2 μmol/kg), or a description of the uncertainties involved in this method.
|  | Weather or climate quality | climate quality data |  | 26.35
|  | QC flag scheme | 0 = Interpolated or calculated data 1 = Not evaluated/quality unknown 2 = Acceptable 3 = Questionable 4 = Known bad 6 = Mean of replicates 9 = Missing value |  | 26.36 | Describe what the quality control flags stand for, e.g., 2 = good value, 3 = questionable value, 4 = bad value.
|  | Other detailed information |  |  | 26.37 | Detailed description of the sampling and analyzing procedures, including calibration procedures, model number of the instrument, etc.
|  | Method reference (citation) | https://pubs.usgs.gov/of/2010/1280/ |  | 26.38 | Citation for the pCO2 method.
|  | Researcher who measured this variable | Gary Maillet |  | 26.39 | The name of the PI, whose research team measured or derived this parameter.
|  |  | Fisheries and Oceans Canada |  | 26.4 | The institution of the PI, whose research team measured or derived this parameter.
28 | Non-measured variables (e.g., depth, can be repeated as many as needed)* | Variable abbreviation in data files |  |  | 28.1 | For variables that are not measured variables, such as station number, cast number, date, longitude, latitude etc. The purpose of this section is to allow you to spell out all the abbreviations that appear in your data files.
|  | Full variable name |  |  | 28.2