## 2008-026 metadata
cruise |  | 2008-26
ship |  | Tully
dates |  | June 1-16, 2008
Chief Scientist |  | Marie Robert
Reference: | Miller, L.A., M. Davelaar, W.K. Johnson, and J. Linguanti, 2014. Line P Inorganic Carbon Data Set, Cruise 2008-26, June 2008. Institute of Ocean Sciences, Fisheries and Oceans Canada, Sidney, BC, Canada.
flags
3 = suspect sample
4 = bad sample
6 = mean of duplicate samples
Total Inorganic Carbon
Coulometric titration
| Reference: | Dickson, A.G., Sabine, C.L. and Christian, J.R. (Eds.) 2007. Guide to best practices for ocean CO2 measurements. PICES Special Publication 3, 191 pp.
Sampling: | Collected in 500-ml glass bottles with ground glass stoppers sealed with Apiezon M grease, elastic bands, and plastic clips.
Poisoned w/ 100 microlitres saturated HgCl2
Stored at 4 C in the dark and analyzed ashore
Analysis from the same glass bottle as alkalinity
Instrument: |  |  | SOMMA 1
Standardization technique: |  |  | CRM water
Analysis temperature (C) |  |  | 20
Analysts |  |  | M. Davelaar & M. Hennekes
Standards used:
Dickson CRM |  |  | 86
certified value |  |  | 1998.37+/-0.54
Dickson CRM |  |  | 88
certified value |  |  | 2013.42+/-0.46
correction formula
(known standard value/measured standard value) X measured sample value X 1.0002 (HgCl2 correction)
Notes: | Replicate niskins on calibration cast (samples 430-434) gave relatively poor reproducibility
| 58 | C system parameters inconsistent
| 59 | C system parameters inconsistent
| 61 | C system parameters inconsistent
| 70 | C system parameters inconsistent
| 204 | C system parameters inconsistent
| 218 | C system parameters inconsistent
| 251 | C system parameters inconsistent
| 252 | C system parameters inconsistent
| 475 | C system parameters inconsistent
Replicate Analyses (same niskin)
Sample | A | B | C | Average | difference | absolute | stdev
id | umol/kg | umol/kg | umol/kg | umol/kg | umol/kg | difference | umol/kg
58 | 2367.9952 | 2367.2445 |  | 2367.6199 | 0.75075 | 0.75075
200 | 2367.0932 | 2367.1221 |  | 2367.1077 | -0.028876 | 0.028876
246 | 2375.4926 | 2374.9444 |  | 2375.2185 | 0.54822 | 0.54822
355 | 2347.2572 | 2346.6504 |  | 2346.9538 | 0.60677 | 0.60677
430 | 2385.2086 | 2385.3515 | 2383.8781 | 2384.8127 |  |  | 0.81258
431 | 2384.4553 | 2384.0224 | 2384.7158 | 2384.3978 |  |  | 0.35025
432 | 2384.4162 | 2384.4568 | 2384.8153 | 2384.5628 |  |  | 0.21968
433 | 2383.0705 | 2383.175 | 2383.4295 | 2383.225 |  |  | 0.1847
434 | 2382.3958 | 2383.6494 | 2382.1649 | 2382.7367 |  |  | 0.79879
463 | 2354.9159 | 2354.1364 |  | 2354.5262 | 0.77946 | 0.77946
average variability: |  |  |  |  | 0.53127 | 0.54282 |  | 0.50801
standard deviation of variability: |  |  |  |  | 0.32769 | 0.30311 |  | 0.29125
Replicate Samples (different niskins)
Sample |  | Average | difference | absolute | stdev
id | umol/kg | umol/kg | umol/kg | difference | umol/kg
58 | 2367.6199
59 | 2367.5894
|  | 2367.6046 | -0.030462 | 0.030462
200 | 2367.1077
201 | 2367.1216
|  | 2367.1146 | 0.01391 | 0.01391
246 | 2375.2185
247 | 2374.8386
|  | 2375.0285 | -0.37984 | 0.37984
355 | 2346.9538
356 | 2346.6793
|  | 2346.8166 | -0.27449 | 0.27449
430 | 2384.8127
431 | 2384.3978
432 | 2384.5628
433 | 2383.225
434 | 2382.7367
|  | 2383.947 |  |  | 0.91078
average variability: |  |  | -0.16772 | 0.17468 |  | 0.3219
standard deviation of variability: |  |  | 0.18993 | 0.18138 |  | 0.36475
Precision estimate: |  | 0.51 | umol/kg
Total Alkalinity
Potentiometric titration
| Reference: | Dickson, A.G., Sabine, C.L. and Christian, J.R. (Eds.) 2007. Guide to best practices for ocean CO2 measurements. PICES Special Publication 3, 191 pp.
Sampling: | Collected in 500-ml glass bottles with ground glass stoppers sealed with Apiezon M grease, elastic bands, and plastic clips.
Poisoned w/ 100 microlitres saturated HgCl2
Stored at 4 C in the dark and analyzed ashore
Analysis from the same glass bottle as alkalinity
Cell type |  |  | Open
Endpoint determination |  |  | Non-linear least squares
Analysts |  |  | M. Davelaar & M. Hennekes
Standards used:
Dickson CRM |  |  | 86
certified value |  |  | 2175.56 ± 0.67
Dickson CRM |  |  | 88
certified value |  |  | 2205.41 ± 0.43
analysis temperature (C) |  |  | 25
Acid batch |  |  | 6
acid concentration |  |  | 0.098069
sample weight |  |  | 100-105 grams
correction formula
(known standard value/measured standard value) X measured sample value X 1.0002 (HgCl2 correction)
Notes: | 57 | Bad calibration
| 58 | C system parameters inconsistent
| 59 | C system parameters inconsistent
| 61 | C system parameters inconsistent
| 63 | High outlier? Inconsistent w/TIC & pH
| 70 | C system parameters inconsistent
| 73 | Low outlier
| 199 | High? Inconsistent w/ TIC & pH
| 204 | C system parameters inconsistent
| 213 | Bad calibration
| 214 | High outlier? Inconsistent w/TIC & pH
| 215 | Bad calibration
| 218 | C system parameters inconsistent
| 220 | Bad calibration
| 244 | High outlier? Inconsistent w/TIC & pH
| 245 | High outlier? Inconsistent w/TIC & pH
| 249 | High outlier? Inconsistent w/TIC & pH
| 251 | C system parameters inconsistent
| 252 | C system parameters inconsistent
| 253 | High outlier? Inconsistent w/TIC & pH
| 263 | High outlier? Inconsistent w/TIC & pH
| 355 | Large difference between replicates
| 373 | High outlier? Inconsistent w/TIC & pH
| 375 | High outlier? Inconsistent w/TIC & pH
| 432 | Different from replicate niskins
| 463 | Low outlier? Inconsistent w/TIC & pH
| 475 | C system parameters inconsistent
Replicate Analyses (same niskin)
Sample | A | B | C | Average | stdev | Difference | Absolute
id | umol/kg | umol/kg | umol/kg | umol/kg | umol/kg | umol/kg | Difference
58 | 2378.9373 | 2378.1162 |  | 2378.5267 |  | 0.8211 | 0.8211
200 | 2429.7182 | 2430.3721 |  | 2430.0452 |  | -0.65387 | 0.65387
246 | 2432.9103 | 2471.1875 |  | 2432.9103 |  |  |  |  | high outlier, relative to historical experience
355 | 2429.956 | 2428.5458 |  | 2429.2509 |  | 1.4102 | 1.4102
430 | 2416.2125 | 2416.7439 | 2417.3546 | 2416.7703 | 0.57151
431 | 2416.8327 | 2416.6739 | 2416.6099 | 2416.7055 | 0.11473
432 | 2410.8258 | 2411.4044 | 2411.1455 | 2411.4044 |  |  |  |  | Bad calibration
433 | 2414.9225 | 2416.78 | 2415.6687 | 2416.2243 |  | 1.1113 | 1.1113 |  | Bad calibration
434 | 2412.7312 | 2411.3554 | 2413.8615 | 2413.2964 |  | -1.1303 | 1.1303 |  | Bad calibration
463 | 2426.905 | 2426.9338 |  | 2426.9194 |  | -0.028788 | 0.028788
average variability: | [5 empty] | 0.25493 |  | 0.73022
standard deviation of variability: | [5 empty] | 1.0212 |  | 0.48957
Replicate Samples (different niskins)
Sample |  | Average | Stdev. | Difference | Absolute
id | umol/kg | umol/kg | umol/kg | umol/kg | Difference
58 | 2378.5267
59 | 2378.9821
|  | 2378.7544 |  | 0.45534 | 0.45534
200 | 2430.0452
201 | 2431.4281
|  | 2430.7366 |  | 1.3829 | 1.3829
246 | 2432.9103
247 | 2432.8502
|  | 2432.8802 |  | -0.060103 | 0.060103
355 | 2429.2509
356 | 2429.8194
|  | 2429.5351 |  | 0.5685 | 0.5685
430 | 2416.7703
431 | 2416.7055
432 | 2411.4044
433 | 2416.2243
434 | 2413.2964
|  | 2414.8802 | 2.4135
average variability: |  |  |  | 0.58667 |  | 0.97608
standard deviation of variability: |  |  |  | 0.5972 |  | 0.9365
Precision estimate: |  | 0.98 | micromol/kg
pH
Spectrophotometric
| Reference: | Dickson, A.G., Sabine, C.L. and Christian, J.R. (Eds.) 2007. Guide to best practices for ocean CO2 measurements. PICES Special Publication 3, 191 pp.
Sampling: | All samples were collected directly from the rosette into 10-cm spectrophotometer cells
pH scale: |  |  | Total hydrogen ion concentration
Analysis temperature: |  |  | 25 C
Analyst: |  |  | K. Johnson
Dye: | m-Cresol Purple
| Concentration: | [5 empty] | ≥ 2 mmol/L
| pH (after adjustment): | [5 empty] | 7.96
| Absorbance ratio (578nm/474nm): | [5 empty] | 1.47
| pH perturbation by dye addition: | [5 empty] | delta(A1/A2) = -0.0111(A1/A2) + 0.0042; (R2 = 0.98)
| Absorbance change at 730 nm w/dye addition: | [5 empty] | 0.0020±0.0027
| Stability constants: |  | Dickson, A.G., Sabine, C.L., and Christian, J.R. (Eds.) 2007. Guide to best practices for ocean CO2 measurements. PICES Special Publication 3, 191 pp.
Spectrophotometer model: |  |  | Agilent 8543
| Accuracy: |  | Peak wavelengths confirmed to within 1 nm by spectrophotometric scans of a sealed HoO standard
| Stability: |  | Self tests were run and passed
Notes: | Analysis times unknown, raw data listed in order of analysis
| 58 | C system parameters inconsistent
| 59 | C system parameters inconsistent
| 61 | C system parameters inconsistent
| 70 | C system parameters inconsistent
| 72 | Unstableanalysis
| 74 | Unstableanalysis
| 204 | C system parameters inconsistent
| 207 | Unstableanalysis
| 218 | C system parameters inconsistent
| 251 | C system parameters inconsistent
| 252 | C system parameters inconsistent
| 262 | Large difference between replicates
| 436 | Large difference between replicates
| 475 | C system parameters inconsistent
Replicate Analyses (same niskin)
| A | B | C | Average | stdev | difference | abs diff
60 | 7.2951 | 7.2903 |  | 7.2951 |  | 0.0047181 |  |  | unstable analysis
217 | 7.7803 | 7.7811 |  | 7.7807 |  | -0.00084078 | 0.00084078
221 | 7.8248 | 7.826 |  | 7.8254 |  | -0.0012501 | 0.0012501
244 | 7.5295 | 7.5288 |  | 7.5291 |  | 0.00063238 | 0.00063238
257 | 7.4468 | 7.4449 |  | 7.4459 |  | 0.0019104 | 0.0019104
262 | 7.759 | 7.7559 |  | 7.7575 |  | 0.003098 |  |  | unstable analyses
263 | 7.7907 | 7.7887 |  | 7.7897 |  | 0.0019736 | 0.0019736
265 | 7.796 | 7.7958 |  | 7.796 |  | 0.00013053 | 0.00013053
356 | 7.5298 | 7.5319 |  | 7.5298 |  | -0.0020808 |  |  | unstable analysis
360 | 7.3201 | 7.3155 |  | 7.3155 |  | 0.0045619 |  |  | air bubble
368 | 7.5635 | 7.565 |  | 7.5643 |  | -0.0014534 | 0.0014534
435 | 7.3885 | 7.3885 | 7.3884 | 7.3885 | 6.9828e-05
436 | 7.3831 | 7.3885 | 7.3887 | 7.3868 | 0.0031946
437 | 7.3883 | 7.3897 | 7.39 | 7.3893 | 0.0008823
438 | 7.388 | 7.3886 | 7.3897 | 7.3888 | 0.00087574
439 | 7.3903 | 7.3904 | 7.3929 | 7.3912 | 0.0014444
463 | 7.5376 | 7.538 |  | 7.538 |  | -0.00035861 | 0.00035861
475 | 7.3733 | 7.3741 |  | 7.3737 |  | -0.0008317 | 0.0008317
570 | 7.7522 | 7.751 |  | 7.7516 |  | 0.0011629 | 0.0011629
average variability: | [5 empty] | 0.00078535 |  | 0.0011341
standard deviation of variability: | [5 empty] | 0.0022757 |  | 0.00080472
Replicate Samples (different niskins)
|  | Average | stdev | difference | abs diff
58 | 7.2998
59 | 7.2994
|  | 7.2996 |  | -0.00040837 | 0.00040837
355 | 7.5286
356 | 7.5298
|  | 7.5292 |  | 0.001281 | 0.001281
435 | 7.3885
436 | 7.3868
437 | 7.3893
438 | 7.3888
439 | 7.3912
|  | 7.3889 | 0.0015877
average variability: |  |  |  | 0.00043629 |  | 0.0010923
standard deviation of variability: | [5 empty] | 0.00061187
Precision estimate: |  | 0.0011
Version control
2014-09-16 | First Archived